## Sheet1
PUBLIC UTILITY COMMISSION OF TEXAS
CENTERPOINT ENERGY HOUSTON ELECTRIC, LLC
SCHEDULE VI-M-2.1 LOAD INFORMATION SUPPORTING NEED FOR CERTAIN PROJECTS
TEST YEAR ENDING 12/31/2023
DOCKET NO. 56211
Sponsor: Eric Easton
Line No. | Project Name | Portion of Planning Studies that support Need for the Project | Load growth rate in area to be served by project during each of 5 calendar years immediately before project was energized | Load growth rate in area served by project during each clanedar year starting with year project initially energized | Peak load projected to be served by project as forecasted by applicant and consistent with planning study | Peak load served by project during each year since project was energized | Types of load the project was planned to serve (Industrial, Commercial, Residential) | Identity of customers if project was planned to serve a limited number of customers with relatively large loads 1
1 | Lake Houston Substation | Lake Houston was installed to both serve new load in the area and to relieve loading from three adjacent substations. | -1.6% in 2017 0.6% in 2018 2.9% in 2019 0.5% in 2020 -0.3% in 2021 | 14.7 % in 2022 16.7% in 2023 | 119.5 MW in 2023 | 83.7 MW in 2021 95.7 MW in 2022 111.7 MW in 2023 | Residential, Commercial, Small Industrial | Not Applicable
2 | Garth Substation | Garth was installed to support the load growth and balance the load in the area and to alleviate loading from four adjacent substations. | 4.7% in 2015 2.8% in 2016 -4.7% in 2017 -1.9% in 2018 4.8% in 2019 | -6.3% in 2021 10.6% in 2022 -1.1% in 2023 | 57.27 MW in 2024 | 42.24MW in 2020 39.59MW in 2021 43.77MW in 2022 43.29MW in 2023 | Residential, Commercial, Small Industrial | Not Applicable
3 | Limburg Substation | Limburg was installed to support the load growth and balance the load in the area and to alleviate loading from three adjacent substations. | 10.9% in 2015 1.0% in 2016 3.0% in 2017 9.2% in 2018 1.9% in 2019 | 31.2% in 2021 67.2% in 2022 10.5% in 2023 | 86.57 MW in 2025 | 34.06MW in 2020 44.69MW in 2021 74.73MW in 2022 82.55MW in 2023 | Residential, Commercial, Small Industrial | Not Applicable
4 | Red Bluff Substation | Red Bluff was installed to support the industrial load growth in the area and to provide service to Customer A. | -3.3% in 2014 13.7% in 2015 -10.5% in 2016 1.3% in 2017 3.9% in 2018 | 54.3% in 2020 -4.2% in 2021 23.6% in 2022 7.3% in 2023 | 29.05 MW in 2026 | 13.17MW in 2019 20.32MW in 2020 19.46MW in 2021 24.06MW in 2022 25.81MW in 2023 | Industrial, some Residential | Customer A
5 | Wortham Substation | Wortham was installed to both serve new load in the area and to relieve load from four adjacent substations. | -0.3% in 2017 1.1% in 2018 0.4% in 2019 -0.1% in 2020 -1.6% in 2021 | 57.8% in 2022 -4.0% in 2023 | 136.9 MW in 2025 | 79.7 MW in 2021 127.4 MW in 2022 122.2 MW in 2023 | Residential, Commercial, Small Industrial | Not Applicable
6 | Stone Lake Substation | Stone Lake was installed to both serve new load in the area and to relieve load from five adjacent substations. | -0.1% in 2019 2.3% in 2020 -2.6% in 2021 3.9% in 2022 4.1% in 2023 | n/a | 109.5 MW in 2026 | 54.2 MW in 2023 | Residential, Commercial, Small Industrial | Not Applicable
7 | Jones Creek | Jones Creek was installed to support the load growth and balance the load in the area and to alleviate loading from two adjacent substations | 4.3% in 2016 -1.7% in 2017 6.7% in 2018 -0.9% in 2019 -5.4% in 2020 | 27.9% in 2022 -19.5% in 2023 | 11.66 MW in 2026 | 10.80MW in 2021 13.82MW in 2022 11.12MW in 2023 | Residential, Commercial, Small Industrial | Not Applicable
8 | Hidden Valley | Significant load growth in the 45 BW8 area. | -1.6% in 2016 -4.8% in 2017 4.0% in 2018 2.6% in 2019 -2.0% in 2020 | 6.6% in 2020 9.7% in 2021 2.7% in 2022 9.7% in 2023 | 28.37 MW in 2020 | 22.82 MW in 2019 29.19 MW in 2020 31.11 MW in 2021 33.89 MW in 2022 40.52 MW in 2024 | Residential, Commercial, Small Industrial | Not Applicable
9 | Reading 35kV Sub 138-34.5kV Substation | The Reading 35kV substation was needed to serve load growth in the area by relieving ~36MW from Crabb River substation, and ~5.5MW from the Reading 12kV substation, address loading & voltage concerns, and correct power factor. | 13% in 2015 -2% in 2016 -8% in 2017 2% in 2018 8.5% in 2019 | -6.65% in 2020 12% in 2021 16.84% in 2022 16.94% in 2023 | 42.2 MW in 2022 | 38.19 MW in 2019 35.65 MW in 2020 39.93 MW in 2021 46.66 MW in 2022 54.56 MW in 2023 | Residential, Commercial, Industrial | Not Applicable
10 | Scenic Woods | Construct 35 kV to serve large load and provide redundancy and load balance to other 35 kV subs in the area. | -1.5% in 2018 2.2% in 2019 -4.1% in 2020 -8.5% in 2021 5.1% in 2022 | 4.9% in 2023 | 23.93 MW in 2024 | 7.70 MW in 2022 8.88 MW in 2023 | Residential, Commercial, Small Industrial | Not Applicable
1 Customer names have been removed, and a unique identifier has been assigned to each customer. A key that contains the unique identifier that corresponds to each customer name is provided as confidential. See Schedule VI-M-2.1.1.