## DiversityFactor
CNP Diversity Factor - Aug 2023
8/24/2023 16:16 Distribution System Peak KVA | 17502054.59
Non-Coincident Distribution System Peak KVA | 27250821.8265
Diversity Factor = | 64.23%
(Source: Pelcar for System Peak & Rate Case Service Type Report for Non-Coincident Distribution System Peak KVA)