TO:		Rowan Pruitt, Attorney

Legal Division

FROM:	Jaspinder Singh, Engineering Specialist

Infrastructure Division

DATE:	June 13, 2024

RE:	Docket No. 56385 – Application of New Water Systems, Inc. and Derby ING LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Frio County

- Application

On March 19, 2024, New Water Systems, Inc. (New Water Systems) and Derby ING LLC (Derby ING) (collectively “Applicants”) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Frio County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, New Water Systems is seeking to obtain a Certificate of Convenience and Necessity (CCN) and approval to acquire facilities and to transfer all of the water certificated service area from Derby ING under water CCN No. 12931.

- Notice:

Commission staff reviewed the proof of notice filed on April 25, 2024, under item 12. The proof of notice submission didn’t included proof that notice was provided to each landowner of tract of land that is at least 25 acres and is wholly or partly located in the requested area. Therefore, I recommend that the notice be deemed deficient.

- Factors Considered and Recommendations:

Staff reviewed and determined the application administratively complete on April 18, 2024. Staff recommends that this transaction be denied approval due to failure to demonstrate the technical and managerial capability to provide continuous and adequate service to the requested area under 16 TAC § 24.239(h). New Water Systems’ website (New Water Systems, Inc. - Home) lists that they operate eight water systems, Derby NWS (CCN No. 12931, CCN to be transferred in this docket), Fall Branch NWS, Oak Hill NWS, Pleasure Point NWS (CCN No. 11734, in receivership), Sellers Estates NWS, Solar Village NWS (CCN No. 13287), South Midland NWS (CCN No. 13223, in receivership), and Warren NWS (CCN No. 13001). It appears that three of these systems do not have a CCN number. According to Commission records, there is no entity listed under the name “New Water Systems, Inc.” and this is the only application that New Water Systems has filed. It is unknown at this time, if New Water Systems is operating the water systems, not in receivership, under a contract or as an owner. New Water System is currently being investigated by the Commission’s Division of Compliance and Enforcement.

Although, Mr. Christopher Martin (owner of New Water Systems) has been appointed as a receiver by the 261st Judicial District Court for South Midland County Water System and Pleasure Point through Texas Commission on Environmental Quality (TCEQ) referrals, I believe that New Water Systems will not meet the technical and managerial requirements to provide adequate and continuous service to the requested service area until these issues are addressed. I recommend that this application be dismissed given the seriousness of issues and the time needed to address them.