TO:		Rowan Pruitt, Attorney

Legal Division

FROM:	Jaspinder Singh, Engineering Specialist

Infrastructure Division

DATE:	July 2, 2024

RE:	Docket No. 56385 – Application of New Water Systems, Inc. and Derby ING LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Frio County

- Application

On March 19, 2024, New Water Systems, Inc. (New Water Systems) and Derby ING LLC (Derby ING) (collectively “Applicants”) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Frio County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, New Water Systems is seeking to obtain a Certificate of Convenience and Necessity (CCN) and approval to acquire facilities and to transfer all of the water certificated service area from Derby ING under water CCN No. 12931.

- Notice:

Commission staff reviewed the proof of notice filed on April 25, 2024, under item 12 and June 28, 2024, under item 20. Affidavits were provided affirming that notices were submitted to customers, cities, districts, neighboring retail public utilities, the county judge, groundwater conservation districts, and that there are no landowner of tract of land that is at least 25 acres and is wholly or partly located in the requested area. Therefore, I recommend that the notice be sufficient.

- Factors Considered and Recommendations:

Staff reviewed and determined the application administratively complete on April 18, 2024. On June 13, 2024, Staff filed recommendations that this application be dismissed given the issues and the time needed to address them. After conferring with New Water Systems and the Division of Compliance and Enforcement, Staff now has the understanding that New Water Systems submitted the Sale, Transfer, or Merger for a system it is already operating in order to get in compliance with Texas Water Code (TWC) § 13.301 and 16 TAC § 24.239. Therefore, Staff recommends withdrawing its previous recommendations to dismiss.