Heat Pump Working Group
Biweekly Agenda

Date: 07/16/2024 @ 11:00 CDT

| Contacts | Mark Bergum: (608) 316-3630 or mark.bergum@tetratech.com Graham Thorbrogger: (608) 316-3623 or graham.thorbrogger@tetratech.com |
| --- | --- |
| Meeting Link |  |
| Access | PUC – Interchange Filing: Case 56510 Interchange - Documents (texas.gov) Teams site: https://tetratechinc.sharepoint.com/:f:/r/teams/PUCTHeatPumpWorkinggroup/Shared%20Documents/General?csf=1&web=1&e=mCHkEh Past Meeting recordings: https://vimeo.com/channels/HPWG |
| Review of Residential Measure Barriers | Residential Measure 2.2.2 (Review) - Load Calculations (Manual J & S) - Consumption hours - Right-sizing calculations (limitations to different capacities) - Winter savings for gas heat replacement – Baseline as std. heat pump - Winter savings for HP replacement – Pre and post are both equal amount of supplemental heat (77%) - Current ID of VSHP is based on SEER being greater than 15.2 - VSHP do not have the mismatched equipment concern seen with units a few years ago. - New Construction baseline = 115% of summer load - Summer and Winter Peak Coincident demand factors need to adjust based on summer peak capacity and winter supplemental heat. - EFLH is multiplied times SEER/HSPF to determine consumption. - EUL is 15 years for heat pumps. |
| Identification of Commercial Barriers that vary from Residential | Commercial Measure 2.2.2 - Replacement capacity limited to 20% adjustment - New Construction baseline capacity = Installed capacity - Baseline efficiencies per DOE standards or IECC2015 |
| Discussion Schedule | - May 7: Identification of VSHP, Load Calculation requirements, Consumption calculation (EFLH), EUL - May 21: Summer Peak & Consumption - June 4: Winter Peak & Consumption - June 18: Baseline equipment, upsizing/downsizing calculation, and coincidence factor - July 09: Envelope incorporation - July 16: Draft measure - July 30: Review measure |
| Draft Measure | Review attached residential measure |
| Next Meeting | July 30 at 11:00 Topic – Measure Review and final comments from HPWG |

| Acronym | Term |
| --- | --- |
| ACCA | Air Conditioning Contractors of America Manual J is the sizing calculation from ACCA |
| AHRI | Air Conditioning, Heating, and Refrigeration Institute |
| ASHRAE | American Society of Heating, Refrigerating and Air-Conditioning Engineers |
| CCHP | Cold Climate Heat Pump (as defined by NEEP) |
| COP | Coefficient of Performance |
| CPUC | California Public Utilities Commission |
| DHW | Domestic Hot Water |
| DOE | United States Department of Energy |
| EER | Energy Efficiency Ratio |
| EFLH | Equivalent Full Load Hours |
| ER | Early Retirement |
| EUL | Effective Useful Life |
| HP | Heat Pump |
| HSPF | Heating Seasonal Performance Factor |
| IECC | International Energy Conservation Code |
| NC | New Construction |
| NEEP | Northeast Energy Efficiency Partnership |
| PNNL | Pacific Northwest National Laboratory |
| PUC | Public Utility Commission of Texas |
| ROB | Replace on Burnout |
| SEER | Seasonal Energy Efficiency Ratio |
| TRM | Technical Reference Manual |
| VSHP | Variable Speed Heat Pump |