Long term topics

Load

  - Commercial review of winter load compared to summer load by climate zone

  - Residential review of winter load compared to summer load by climate zone

  - Can we better adjust the Peak Demand calculation to match PDPF instead of Design temp?

  - How do the peak summer/winter loads adjust by VS units overdriving?

  - What is the standard oversizing that happens in the marketplace with units?

Design

  - What happens to sizing/savings when a Manual J is completed

  - What is the baseline variation in capacity to load ratio

  - What happens to winter consumption when CapDh is larger than Loadh

  - What is the minimum auxiliary heat need?

  - How do we determine if auxiliary heat is used?

  - Does the kW of the Auxiliary heat matter?

  - Is there a need for rating at 5F or cold climate designation

  - Is EER the best metric for peak demand estimation – How much does peak demand match with 100% capacity?

  - Does the thermostat type or controller matter

  - Is there a cyclical degradation factor for single speed compared to variable speed?

  - Do we update the EFLH or use alternate for VS versus SS?

  - Can we use actual performance curves?

Other

  - What is the alternate to EER/SEER/HSPF that better determines efficiency/consumption And where does the information come from

    - Do we want to use the NEEP database

    - How do utility/implementers adjust API connection to AHRI?

  - AHRI - Future COP or Dual Fuel HSPF for Winter?

  - Can envelope be used to reduce loadc/h and how is it quantified

  - Can auxiliary heat be connected to Emergency DR? fan speed?

  - Do we want to manage and what value is created by a 'Quality Install' designation

  - How can advanced control of VS control create savings?

Studies

  - PNNL will do field studies in Texas and needs locations

  - Consumption analysis of AMI should be possibleto identify a lot of installs.