Long-term research topics

Assumption Testing

- Eligibility Criteria

  - Can the measure be applied to Commercial?

  - What are critical eligibility criteria?

    - Does the number of speed settings matter?

    - Is a matched controller necessary?  What are critical components of the controller?

  - What percentage of heating is electric resistance in the market for Low Income, Hard to Reach, and Standard residential SOP participants?

- Certification

  - Do the values from AHRI meet the needs of the calculations?

  - Is any other certification source (NEEP database) acceptable?

- Load Determination

  - Is there a difference in equipment installed when a sizing calculation is completed?

  - What is the annual and peak cooling load compared to the cooling capacity in various climate zones?

  - What is the annual and peak heating load in various climate zones?

- Summer Savings Calculation

  - Do we use EER/SEER/Other for peak summer calculation?

  - Is the EFLHc and CFs still valid for the variable speed units?

  - How does the controller impact the summer peak kW or annual summer kWh?

- Winter Savings Calculation

  - Is the EFLHh and CFw still valid for the variable speed units?

  - How can we use HSPF (Region IV) for winter consumption?

  - What metric best matches the heat pump energy consumption at Texas Climate zone PDPF tables?

  - What is the aux. heat kW size?

  - What is the best way to determine aux. heat use?

  - How often does aux. heat engage with standard heat pumps and variable speed heat pumps?

  - What is the peak capacity in winter for each climate zone?

  - How does the controller impact the winter peak kW or annual heating kWh?

Transformational Approach

- How do we determine if aux. heat is used for an individual install?

Interactive Effects

- Can envelope be used to reduce Load of EFLH? And how is it quantified?

- Can auxiliary heat be connected to Emergency DR? fan speed?

- Do we want to manage and what value is created by a 'Quality Install' designation?

- Can advanced control create savings? How?

- Does commissioning the system increase savings?

Known Studies

- PNNL will do field studies in Texas and needs locations

- Consumption analysis of AMI should be possible to identify a lot of installs.