Heat Pump Working Group
Biweekly meeting agenda

Date: 05/07/2024 @ 11:00 CDT

| Contacts | Mark Bergum: (608)316-3630 or mark.bergum@tetratech.com Seham Shaldoum: (608) 316-3629 or seham.shaldoum@tetratech.com |
| --- | --- |
| Access | PUC – Interchange Filing: Case 56510 Interchange - Documents (texas.gov) Teams site: https://tetratechinc.sharepoint.com/:f:/r/teams/PUCTHeatPumpWorkinggroup/Shared%20Documents/General?csf=1&web=1&e=mCHkEh |
| Barriers (Review) | Residential Measure 2.2.2 (Review) - Load Calculations (Manual J & S) - Consumption hours - Right sizing calculations (limitations to different capacities) - Winter savings for gas heat replacement – Baseline as std. heat pump - Winter savings for HP replacement – Pre and post are both equal amount of supplemental heat (77%) - Current ID of VSHP is based on SEER being greater than 15.2 - VSHP do not have the mismatched equipment concern seen with units a few years ago. - New Construction baseline = 115% of summer load - Summer and Winter Peak Coincident demand factors need to adjust based on summer peak capacity and winter supplemental heat. - EFLH is multiplied times SEER/HSPF to determine consumption. - EUL is 15 years for heat pumps. Commercial Measure 2.2.2 |
| Opportunities | Schedule - May 7: Identification of VSHP, Load Calculation requirements, Consumption calculation (EFLH), EUL - May 21: Summer Peak & Sizing - June 4: Winter Peak & Sizing - June 18: Baseline Equipment and Right sizing calculation - July 02: Envelope incorporation - July 16: Draft measure May 7 - Identification of VSHP for measure - Load Calculation requirements - Consumption calculation (EFLH), Cooling Energy Savings kWhC=CapC,preηbaseline,C-CapC,postηinstalled,C×EFLHC×1 kW1,000 W Heating Energy Savings kWhH=CapH,preηbaseline,H-CapH,postηinstalled,H×EFLHH×1 kW1,000 W - Effective Useful Life |
| Action items |  |