## Reference 10.0 EULs PY2023
Estimated Useful Life Values (EULs)
Sector | TRM Measure | DO NOT DELETE; FOR SEARCH Step 2 tab | Energy Efficiency Measure | EUL (years) | TRM Version
Custom | NA | 1 | Custom | NA | NA | Custom
Residential | 2.1.1 | 2 | Res Energy Star General Service LED Lamps: ≤ 17,500 hour rated life | 16 | 10 | Res Energy Star General Service LED Lamps: ≤ 17,500 hour rated life
Residential | 2.1.1 | 3 | Res Energy Star General Service LED Lamps: >17,500 hour rated life | 20 | 10 | Res Energy Star General Service LED Lamps: >17,500 hour rated life
Residential | 2.1.2 | 4 | Res Specialty LED Lamps: < 17,500 hour rated life | 16 | 10 | Res Specialty LED Lamps: < 17,500 hour rated life
Residential | 2.1.2 | 5 | Res Specialty LED Lamps: > 17,500 hour rated life | 20 | 10 | Res Specialty LED Lamps: > 17,500 hour rated life
Residential | 2.1.3 | 6 | Res LED Nightlights | 8 | 10 | Res LED Nightlights
Residential | 2.2.1 | 7 | Res Air Conditioner (AC) and Heat Pump (HP) Tune-Ups | 5 | 10 | Res Air Conditioner (AC) and Heat Pump (HP) Tune-Ups
Residential | 2.2.2 | 8 | Res Central HPs without SEER2 Ratings | 15 | 10 | Res Central HPs without SEER2 Ratings
Residential | 2.2.3 | 9 | Res Mini-Split HPs without SEER2 Ratings | 15 | 10 | Res Mini-Split HPs without SEER2 Ratings
Residential | 2.2.4 | 10 | Res Central and Mini-Split ACs and HPs with SEER2 Ratings: ACs | 18 | 10 | Res Central and Mini-Split ACs and HPs with SEER2 Ratings: ACs
Residential | 2.2.4 | 11 | Res Central and Mini-Split ACs and HPs with SEER2 Ratings: HPs | 15 | 10 | Res Central and Mini-Split ACs and HPs with SEER2 Ratings: HPs
Residential | 2.2.5 | 12 | Res Room Air Conditioners (RAC) | 10 | 10 | Res Room Air Conditioners (RAC)
Residential | 2.2.6 | 13 | Res Packaged Terminal HPs (PTHP) | 15 | 10 | Res Packaged Terminal HPs (PTHP)
Residential | 2.2.7 | 14 | Res Ground Source Heat Pumps (GSHP) | 24 | 10 | Res Ground Source Heat Pumps (GSHP)
Residential | 2.2.8 | 15 | Res Large Capacity Split System and Packaged ACs and HPs - HPs | 15 | 10 | Res Large Capacity Split System and Packaged ACs and HPs - HPs
Residential | 2.2.8 | 16 | Res Large Capacity Split System and Packaged ACs and HPs - GSHPs | 20 | 10 | Res Large Capacity Split System and Packaged ACs and HPs - GSHPs
Residential | 2.2.9 | 17 | Res Evaporative Cooling | 15 | 10 | Res Evaporative Cooling
Residential | 2.2.10 | 18 | Res Connected Thermostats | 11 | 10 | Res Connected Thermostats
Residential | 2.2.11 | 19 | Res Smart Thermostat Load Management | 1 | 10 | Res Smart Thermostat Load Management
Residential | 2.2.12 | 20 | Res Duct Sealing | 18 | 10 | Res Duct Sealing
Residential | 2.3.1 | 21 | Res Air Infiltration | 11 | 10 | Res Air Infiltration
Residential | 2.3.2 | 22 | Res Ceiling Insulation | 25 | 10 | Res Ceiling Insulation
Residential | 2.3.3 | 23 | Res Attic Encapsulation | 25 | 10 | Res Attic Encapsulation
Residential | 2.3.4 | 24 | Res Wall Insulation | 25 | 10 | Res Wall Insulation
Residential | 2.3.5 | 25 | Res Floor Insulation | 25 | 10 | Res Floor Insulation
Residential | 2.3.6 | 26 | Res Radiant Barriers | 25 | 10 | Res Radiant Barriers
Residential | 2.3.7 | 27 | Res Cool Roofs | 15 | 10 | Res Cool Roofs
Residential | 2.3.8 | 28 | Res Solar Screens | 10 | 10 | Res Solar Screens
Residential | 2.3.9 | 29 | Res Windows | 25 | 10 | Res Windows
Residential | 2.3.10 | 30 | Res Storm Windows | 20 | 10 | Res Storm Windows
Residential | 2.4.1 | 31 | Res Water Heater Installations - Electric Tankless and Fuel Substitution (Gas and Electric Tankless) | 20 | 10 | Res Water Heater Installations - Electric Tankless and Fuel Substitution (Gas and Electric Tankless)
Residential | 2.4.1 | 32 | Res Water Heater Installations - Electric Tankless and Fuel Substitution (Gas Storage) | 11 | 10 | Res Water Heater Installations - Electric Tankless and Fuel Substitution (Gas Storage)
Residential | 2.4.2 | 33 | Res Heat Pump Water Heaters (HPWH) | 13 | 10 | Res Heat Pump Water Heaters (HPWH)
Residential | 2.4.3 | 34 | Res Solar Water Heaters | 15 | 10 | Res Solar Water Heaters
Residential | 2.4.4 | 35 | Res Water Heater Tank Insulation | 7 | 10 | Res Water Heater Tank Insulation
Residential | 2.4.5 | 36 | Res Water Heater Pipe Insulation | 13 | 10 | Res Water Heater Pipe Insulation
Residential | 2.4.6 | 37 | Res Faucet Aerators | 10 | 10 | Res Faucet Aerators
Residential | 2.4.7 | 38 | Res Low-Flow Showerheads (LFSH) | 10 | 10 | Res Low-Flow Showerheads (LFSH)
Residential | 2.4.8 | 39 | Res Showerhead Temperature Sensitive Restrictor Valves (TSRV) | 10 | 10 | Res Showerhead Temperature Sensitive Restrictor Valves (TSRV)
Residential | 2.4.9 | 40 | Res Tub Spout and Showerhead TSRVs | 10 | 10 | Res Tub Spout and Showerhead TSRVs
Residential | 2.4.10 | 41 | Res Water Heater Temperature Setback | 2 | 10 | Res Water Heater Temperature Setback
Residential | 2.5.1 | 42 | Res Ceiling Fans | 10 | 10 | Res Ceiling Fans
Residential | 2.5.2 | 43 | Res Clothes Washers | 11 | 10 | Res Clothes Washers
Residential | 2.5.3 | 44 | Res Clothes Dryers | 16 | 10 | Res Clothes Dryers
Residential | 2.5.4 | 45 | Res Dishwashers | 15 | 10 | Res Dishwashers
Residential | 2.5.5 | 46 | Res Refrigerators | 16 | 10 | Res Refrigerators
Residential | 2.5.6 | 47 | Res Freezers | 22 | 10 | Res Freezers
Residential | 2.5.7 | 48 | Res Refrigerator/Freezer Recycling | 8 | 10 | Res Refrigerator/Freezer Recycling
Residential | 2.5.8 | 49 | Res Air Purifiers | 9 | 10 | Res Air Purifiers
Residential | 2.5.9 | 50 | Res Pool Pumps | 10 | 10 | Res Pool Pumps
Residential | 2.5.10 | 51 | Res Advanced Power Strips (APS) | 10 | 10 | Res Advanced Power Strips (APS)
Residential | 2.5.11 | 52 | Res Electric Vehicle Supply Equipment (EVSE) | 10 | 10 | Res Electric Vehicle Supply Equipment (EVSE)
Residential | 2.5.12 | 53 | Res Induction Cooking | 16 | 10 | Res Induction Cooking
Commercial | 2.1.1 | 54 | Com Lamps and Fixtures - Halogen Lamps | 1.5 | 10 | Com Lamps and Fixtures - Halogen Lamps
Commercial | 2.1.1 | 55 | Com Lamps and Fixtures - High-Intensity Disgharge (HID) Lamps | 15 | 10 | Com Lamps and Fixtures - High-Intensity Disgharge (HID) Lamps
Commercial | 2.1.1 | 56 | Com Lamps and Fixtures - Integrated-Ballast Cold Cathode Fluorescent Lamps (CCFL) | 4.5 | 10 | Com Lamps and Fixtures - Integrated-Ballast Cold Cathode Fluorescent Lamps (CCFL)
Commercial | 2.1.1 | 57 | Com Lamps and Fixtures - Integrated-Ballast Compact Fluorescent Lamps (CFL) | 2.5 | 10 | Com Lamps and Fixtures - Integrated-Ballast Compact Fluorescent Lamps (CFL)
Commercial | 2.1.1 | 58 | Com Lamps and Fixtures - Integral Light Emitting Diode (LED) Lamps | 9 | 10 | Com Lamps and Fixtures - Integral Light Emitting Diode (LED) Lamps
Commercial | 2.1.1 | 59 | Com Lamps and Fixtures - LED Fixtures | 15 | 10 | Com Lamps and Fixtures - LED Fixtures
Commercial | 2.1.1 | 60 | Com Lamps and Fixtures - LED Corn Cob Lamps | 15 | 10 | Com Lamps and Fixtures - LED Corn Cob Lamps
Commercial | 2.1.1 | 61 | Com Lamps and Fixtures - LED Tubes (TLED) | 15 | 10 | Com Lamps and Fixtures - LED Tubes (TLED)
Commercial | 2.1.1 | 62 | Com Lamps and Fixtures - Modular CFL and CCFL Fixtures | 15 | 10 | Com Lamps and Fixtures - Modular CFL and CCFL Fixtures
Commercial | 2.1.1 | 63 | Com Lamps and Fixtures - T8 and T5 Linear Fluorescent Lamps | 15 | 10 | Com Lamps and Fixtures - T8 and T5 Linear Fluorescent Lamps
Commercial | 2.1.1 | 64 | Com Lamps and Fixtures - New Construction Interior Fixtures & Controls | 14 | 10 | Com Lamps and Fixtures - New Construction Interior Fixtures & Controls
Commercial | 2.1.1 | 65 | Com Lamps and Fixtures - New Construction Exterior Fixtures | 15 | 10 | Com Lamps and Fixtures - New Construction Exterior Fixtures
Commercial | 2.1.2 | 66 | Com Lighting Controls - Occupancy Sensors | 10 | 10 | Com Lighting Controls - Occupancy Sensors
Commercial | 2.1.2 | 67 | Com Lighting Controls - Daylighting Controls | 10 | 10 | Com Lighting Controls - Daylighting Controls
Commercial | 2.1.2 | 68 | Com Lighting Controls - Time Clocks | 10 | 10 | Com Lighting Controls - Time Clocks
Commercial | 2.1.2 | 69 | Com Lighting Controls - Tuning Controls | 10 | 10 | Com Lighting Controls - Tuning Controls
Commercial | 2.1.2 | 70 | Com Lighting Controls - New Construction Interior Fixtures & Controls | 14 | 10 | Com Lighting Controls - New Construction Interior Fixtures & Controls
Commercial | 2.1.3 | 71 | Com Exterior Photocell and Timeclock Repair | 1 | 10 | Com Exterior Photocell and Timeclock Repair
Commercial | 2.1.4 | 72 | Com LED Traffic Signals - 8" and 12" Red, Green, and Yellow Balls | 6 | 10 | Com LED Traffic Signals - 8" and 12" Red, Green, and Yellow Balls
Commercial | 2.1.4 | 73 | Com LED Traffic Signals - 8" and 12" Red, Green, and Yellow Arrows | 6 | 10 | Com LED Traffic Signals - 8" and 12" Red, Green, and Yellow Arrows
Commercial | 2.1.4 | 74 | Com LED Traffic Signals - Large (16" x 18") Pedestrian Signals | 5 | 10 | Com LED Traffic Signals - Large (16" x 18") Pedestrian Signals
Commercial | 2.1.4 | 75 | Com LED Traffic Signals - Small (12" x 12") Pedestrian Signals | 5 | 10 | Com LED Traffic Signals - Small (12" x 12") Pedestrian Signals
Commercial | 2.2.1 | 76 | Com Air Conditioner (AC) and Heat Pump (HP) Tune-Ups | 5 | 10 | Com Air Conditioner (AC) and Heat Pump (HP) Tune-Ups
Commercial | 2.2.2 | 77 | Com Split-System/Packaged ACs and HPs | 15 | 10 | Com Split-System/Packaged ACs and HPs
Commercial | 2.2.3 | 78 | Com Chillers (Screw, Scroll, and Reciprocating) | 20 | 10 | Com Chillers (Screw, Scroll, and Reciprocating)
Commercial | 2.2.3 | 79 | Com Chillers (Centrifugal) | 25 | 10 | Com Chillers (Centrifugal)
Commercial | 2.2.4 | 80 | Com Packaged Terminal ACs and HPs (PTAC/PTHP) | 15 | 10 | Com Packaged Terminal ACs and HPs (PTAC/PTHP)
Commercial | 2.2.4 | 81 | Com Room Air Conditioners (RAC) | 10 | 10 | Com Room Air Conditioners (RAC)
Commercial | 2.2.5 | 82 | Com Computer Room Air Conditioners (CRAC) | 15 | 10 | Com Computer Room Air Conditioners (CRAC)
Commercial | 2.2.6 | 83 | Com Computer Room Air Handlers (CRAH) - Premium Efficiency Motors | 15 | 10 | Com Computer Room Air Handlers (CRAH) - Premium Efficiency Motors
Commercial | 2.2.6 | 84 | Com Computer Room Air Handlers (CRAH) - HVAC VFDs | 15 | 10 | Com Computer Room Air Handlers (CRAH) - HVAC VFDs
Commercial | 2.2.7 | 85 | Com HVAC Variable Frequency Drives (VFD) | 15 | 10 | Com HVAC Variable Frequency Drives (VFD)
Commercial | 2.2.8 | 86 | Com Condenser Air Evaporative Pre-Cooling | 10 | 10 | Com Condenser Air Evaporative Pre-Cooling
Commercial | 2.2.9 | 87 | Com High-Volume Low-Speed (HVLS) Fans | 9 | 10 | Com High-Volume Low-Speed (HVLS) Fans
Commercial | 2.2.10 | 88 | Com Small Commercial Evaporative Cooling | 15 | 10 | Com Small Commercial Evaporative Cooling
Commercial | 2.2.11 | 89 | Com Small Commercial Smart Thermostats | 11 | 10 | Com Small Commercial Smart Thermostats
Commercial | 2.3.1 | 90 | Com Cool Roofs | 15 | 10 | Com Cool Roofs
Commercial | 2.3.2 | 91 | Com Window Treatments | 10 | 10 | Com Window Treatments
Commercial | 2.3.3 | 92 | Com Entrance and Exit Door Air Infiltration | 11 | 10 | Com Entrance and Exit Door Air Infiltration
Commercial | 2.4.1 | 93 | Com Combination Ovens | 12 | 10 | Com Combination Ovens
Commercial | 2.4.2 | 94 | Com Electric Convection Ovens | 12 | 10 | Com Electric Convection Ovens
Commercial | 2.4.3 | 95 | Com Dishwashers - Under Counter | 10 | 10 | Com Dishwashers - Under Counter
Commercial | 2.4.3 | 96 | Com Dishwashers - Stationary Single Tank Door | 15 | 10 | Com Dishwashers - Stationary Single Tank Door
Commercial | 2.4.3 | 97 | Com Dishwashers - Single Tank Conveyor | 20 | 10 | Com Dishwashers - Single Tank Conveyor
Commercial | 2.4.3 | 98 | Com Dishwashers - Multiple Tank Conveyor | 20 | 10 | Com Dishwashers - Multiple Tank Conveyor
Commercial | 2.4.3 | 99 | Com Dishwashers - Pot, Pan, and Utensil | 10 | 10 | Com Dishwashers - Pot, Pan, and Utensil
Commercial | 2.4.4 | 100 | Com Hot Food Holding Cabinets (HFHC) | 12 | 10 | Com Hot Food Holding Cabinets (HFHC)
Commercial | 2.4.5 | 101 | Com Electric Fryers | 12 | 10 | Com Electric Fryers
Commercial | 2.4.6 | 102 | Com Electric Steam Cookers | 12 | 10 | Com Electric Steam Cookers
Commercial | 2.4.7 | 103 | Com Ice Makers | 8.5 | 10 | Com Ice Makers
Commercial | 2.4.8 | 104 | Com Demand Controlled Kitchen Ventilation (DCKV) | 15 | 10 | Com Demand Controlled Kitchen Ventilation (DCKV)
Commercial | 2.4.9 | 105 | Com Pre-Rinse Spray Valves (PRSV) | 5 | 10 | Com Pre-Rinse Spray Valves (PRSV)
Commercial | 2.4.10 | 106 | Com Vacuum-Sealing and Packaging Machines | 10 | 10 | Com Vacuum-Sealing and Packaging Machines
Commercial | 2.5.1 | 107 | Com Door Heater Controls | 12 | 10 | Com Door Heater Controls
Commercial | 2.5.2 | 108 | Com Electronically Commutated Motors (ECM) Evaporator Fan Motors | 15 | 10 | Com Electronically Commutated Motors (ECM) Evaporator Fan Motors
Commercial | 2.5.3 | 109 | Com Electronic Defrost Controls | 10 | 10 | Com Electronic Defrost Controls
Commercial | 2.5.4 | 110 | Com Evaporator Fan Controls | 16 | 10 | Com Evaporator Fan Controls
Commercial | 2.5.5 | 111 | Com Night Covers for Open Refrigerated Display Cases | 5 | 10 | Com Night Covers for Open Refrigerated Display Cases
Commercial | 2.5.6 | 112 | Com Solid and Glass Door Reach-Ins | 12 | 10 | Com Solid and Glass Door Reach-Ins
Commercial | 2.5.7 | 113 | Com Strip Curtains for Walk-In Refrigerated Storage | 4 | 10 | Com Strip Curtains for Walk-In Refrigerated Storage
Commercial | 2.5.8 | 114 | Com Zero-Energy Doors for Refrigerated Cases | 12 | 10 | Com Zero-Energy Doors for Refrigerated Cases
Commercial | 2.5.9 | 115 | Com Door Gaskets for Walk-In and Reach-In Coolers and Freezers | 3 | 10 | Com Door Gaskets for Walk-In and Reach-In Coolers and Freezers
Commercial | 2.5.10 | 116 | Com High Speed Doors for Cold Storage | 5 | 10 | Com High Speed Doors for Cold Storage
Commercial | 2.6.1 | 117 | Com Central Domestic Hot Water (DHW) Controls | 15 | 10 | Com Central Domestic Hot Water (DHW) Controls
Commercial | 2.6.2 | 118 | Com Showerhead Temperature Sensitive Restrictor Valves (TSRV) | 10 | 10 | Com Showerhead Temperature Sensitive Restrictor Valves (TSRV)
Commercial | 2.6.3 | 119 | Com Tub Spout and Showerhead TSRVs | 10 | 10 | Com Tub Spout and Showerhead TSRVs
Commercial | 2.7.1 | 120 | Com Vending Machine Controls | 5 | 10 | Com Vending Machine Controls
Commercial | 2.7.2 | 121 | Com Lodging Guest Room Occupancy Sensor Controls | 10 | 10 | Com Lodging Guest Room Occupancy Sensor Controls
Commercial | 2.7.3 | 122 | Com Pump-Off Controllers | 15 | 10 | Com Pump-Off Controllers
Commercial | 2.7.4 | 123 | Com Pool Pumps | 10 | 10 | Com Pool Pumps
Commercial | 2.7.5 | 124 | Com Computer Power Management | 3 | 10 | Com Computer Power Management
Commercial | 2.7.6 | 125 | Com Premium Efficiency Motors | 15 | 10 | Com Premium Efficiency Motors
Commercial | 2.7.7 | 126 | Com Electric Vehicle Supply Equipment (EVSE) | 10 | 10 | Com Electric Vehicle Supply Equipment (EVSE)
Commercial | 2.7.8 | 127 | Com VFDs for Water Pumping | 12.5 | 10 | Com VFDs for Water Pumping
Commercial | 2.7.9 | 128 | Com Steam Trap Repair and Replacement - Standard Steam Traps | 6 | 10 | Com Steam Trap Repair and Replacement - Standard Steam Traps
Commercial | 2.7.9 | 129 | Com Steam Trap Repair and Replacement - Venturi Steam Traps | 20 | 10 | Com Steam Trap Repair and Replacement - Venturi Steam Traps
Commercial | 2.7.10 | 130 | Com Hydraulic Gear Lubricants | 10 | 10 | Com Hydraulic Gear Lubricants
Commercial | 2.7.11 | 131 | Com Hydraulic Oils | 10 | 10 | Com Hydraulic Oils
Commercial | 2.7.12 | 132 | Com Hand Dryers | 10 | 10 | Com Hand Dryers
Measurement and Verification | 2.1.1 | 133 | M&V Air Conditioning Tune-Ups | 5 | 10 | M&V Air Conditioning Tune-Ups
Measurement and Verification | 2.1.2 | 134 | M&V Ground Source Heat Pumps (GSHP) | 20 | 10 | M&V Ground Source Heat Pumps (GSHP)
Measurement and Verification | 2.1.3 | 135 | M&V Variable Refrigerant Flow (VRF) Systems | 15 | 10 | M&V Variable Refrigerant Flow (VRF) Systems
Measurement and Verification | 2.2.1 | 136 | M&V Residential New Construction | 23 | 10 | M&V Residential New Construction
Measurement and Verification | 2.2.2 | 137 | M&V Smart Home Energy Management Systems (SHEMS) | 10 | 10 | M&V Smart Home Energy Management Systems (SHEMS)
Measurement and Verification | 2.3.1 | 138 | M&V Residential Energy Code Compliance | 23 | 10 | M&V Residential Energy Code Compliance
Measurement and Verification | 2.4.1 | 139 | M&V Non-Residential Solar Photovoltaics (PV) | 30 | 10 | M&V Non-Residential Solar Photovoltaics (PV)
Measurement and Verification | 2.4.2 | 140 | M&V Residential Solar Photovoltaics (PV) | 30 | 10 | M&V Residential Solar Photovoltaics (PV)
Measurement and Verification | 2.4.3 | 141 | M&V Solar Shingles | 20 | 10 | M&V Solar Shingles
Measurement and Verification | 2.4.4 | 142 | M&V Solar Attic Fans | 15 | 10 | M&V Solar Attic Fans
Measurement and Verification | 2.5.1 | 143 | M&V Behavioral Measures | 1 | 10 | M&V Behavioral Measures
Measurement and Verification | 2.5.2 | 144 | M&V Air Compressors Less than 75 hp | 10 | 10 | M&V Air Compressors Less than 75 hp
Measurement and Verification | 2.5.3 | 145 | Nonresidential M&V: Custom | 10 | 10 | Nonresidential M&V: Custom
Measurement and Verification | 2.5.3 | 146 | Nonresidential M&V: Retrocomissioning (RCx) | 5 | 10 | Nonresidential M&V: Retrocomissioning (RCx)
Measurement and Verification | 2.5.3 | 147 | Nonresidential M&V: Advanced Controls and Sensors | 10 | 10 | Nonresidential M&V: Advanced Controls and Sensors
Measurement and Verification | 2.5.4 | 148 | M&V Thermal Energy Storage (TES) | 15 | 10 | M&V Thermal Energy Storage (TES)
Measurement and Verification | 2.6.1 | 149 | M&V Residential Load Curtailment | 1 | 10 | M&V Residential Load Curtailment
Measurement and Verification | 2.6.2 | 150 | M&V Non-Residential Load Curtailment | 1 | 10 | M&V Non-Residential Load Curtailment