## Performance Bonus
| Total Program Costs* | kW Saved | kWh Saved | Measure Life - Yrs | kW Avoided Costs** | kWh Avoided Costs** | Total Avoided Costs kW | Total Avoided Costs kWh | Total Avoided Costs | Net Benefits | Benefit Cost Ratio
Residential
Home Energy Efficiency SOP | 15734126.7 | 12146.46 | 21013650.1 |  |  |  | 10707897.6898 | 20938925.0997 | 31646822.7895 | 15912696.0895 | 2.0113
Ceiling Insulation |  | 0.72 | 711.5 | 25 | 1179.11 | 1.3435 | 848.9592 | 955.8647 | 1804.8239
Central Air Conditioner |  | 2782.77 | 4094145 | 18 | 968.26 | 1.1032 | 2694444.8802 | 4516701.7055 | 7211146.5857
Central Heat Pump |  | 9357.51 | 16408256.6 | 15 | 855.7 | 0.97496 | 8007221.307 | 15997393.8547 | 24004615.1617
Energy Star Thermostat |  | 0 | 453745.5 | 11 | 680.18 | 0.77498 | 0 | 351643.6876 | 351643.6876
Energy Star Window |  | 1.14 | 1982.1 | 25 | 1179.11 | 1.3435 | 1344.1854 | 2662.8522 | 4007.0376
Ground Source Heat Pump |  | 1.15 | 3481.9 | 24 | 1152.86 | 1.3135 | 1325.789 | 4573.6149 | 5899.4039
Mini-Split Heat Pump |  | 3.17 | 10753.1 | 15 | 855.7 | 0.97496 | 2712.569 | 10483.8424 | 13196.4114
Radiant Barrier |  | 0 | 40574.4 | 25 | 1179.11 | 1.3435 | 0 | 54509.6777 | 54509.6777
Retail Platform MTP Residential | 9405291.3 | 17480.8655 | 92195406 |  |  |  | 9398216.8388 | 58514028.8014 | 67912245.6401 | 58506954.3401 | 7.2206
Advance Power Strip |  | 425.7 | 3346696.5 | 10 | 631.19 | 0.71916 | 268697.583 | 2406810.2549 | 2675507.8379
Energy Star Clothes Dryers |  | 5.43 | 43347 | 16 | 894.9 | 1.0196 | 4859.307 | 44197.9016 | 49057.2086
Energy Star Clothes Washer |  | 15.2 | 103024 | 11 | 680.18 | 0.77498 | 10338.736 | 79841.5395 | 90180.2755
Energy Star Thermostat |  | 0 | 2815952 | 11 | 680.18 | 0.77498 | 0 | 2182306.481 | 2182306.481
Heat Pump Water Heaters |  | 27.29 | 118559.9 | 13 | 771.85 | 0.87943 | 21063.7865 | 104265.1329 | 125328.9194
LED Nightlights |  | 99.79 | 795276.3 | 8 | 526.41 | 0.59977 | 52530.4539 | 476982.8665 | 529513.3204
Pipe Insulation |  | 560.62 | 8045912.7 | 13 | 771.85 | 0.87943 | 432714.547 | 7075817.0058 | 7508531.5528
Residential LED Lighting |  | 16318.9155 | 76877421.8 | 8 | 526.41 | 0.59977 | 8590440.3084 | 46108771.273 | 54699211.5813
Room Air Conditioner |  | 26.93 | 43086.8 | 10 | 631.19 | 0.71916 | 16997.9467 | 30986.3031 | 47984.2498
Room Air Purifier |  | 0.99 | 6129 | 9 | 579.97 | 0.6608 | 574.1703 | 4050.0432 | 4624.2135
Solar PV MTP (Residential) | 2502176.6 | 1166.75 | 3910668.2 |  |  |  | 1509937.845 | 5766319.3676 | 7276257.2126 | 4774080.6126 | 2.908
Solar PV |  | 1166.75 | 3910668.2 | 30 | 1294.14 | 1.4745 | 1509937.845 | 5766319.3676 | 7276257.2126
Residential New Homes Construction MTP | 4903826.5 | 3361.37 | 5667459.5 |  |  |  | 3392774.3126 | 5560261.7995 | 8953036.1121 | 4049209.6121 | 1.8257
Central Air Conditioner |  | 1381.59 | 1077036.9 | 18 | 968.26 | 1.1032 | 1337738.3334 | 1188197.8784 | 2525936.2118
Central Heat Pump |  | 635.94 | 1315865.4 | 15 | 855.7 | 0.97496 | 544173.858 | 1282916.1304 | 1827089.9884
Energy Star Dishwasher |  | 4.55 | 16835 | 15 | 855.7 | 0.97496 | 3893.435 | 16413.4516 | 20306.8866
Energy Star Refrigerator |  | 1.28 | 19901.3 | 16 | 894.9 | 1.0196 | 1145.472 | 20291.9625 | 21437.4345
Energy Star Thermostat |  | 0 | 2167041 | 11 | 680.18 | 0.77498 | 0 | 1679413.4342 | 1679413.4342
Whole House-New Homes |  | 1338.01 | 1070779.9 | 23 | 1125.42 | 1.2823 | 1505823.2142 | 1373028.9424 | 2878852.1566
Multi-Family Smart Thermostat Direct Install (Pilot) | 617973 | 0 | 1889835.5 |  |  |  | 0 | 1464584.7158 | 1464584.7158 | 846611.7158 | 2.37
Energy Star Thermostat |  | 0 | 1889835.5 | 11 | 680.18 | 0.77498 | 0 | 1464584.7158 | 1464584.7158
Hard To Reach SOP | 8249844 | 12694.03 | 15426762.4 |  |  |  | 9213830.385 | 13097558.6856 | 22311389.0706 | 14061545.0706 | 2.7045
Air Infiltration |  | 10471.4 | 11472868.7 | 11 | 680.18 | 0.77498 | 7122436.852 | 8891243.7851 | 16013680.6371
Ceiling Insulation |  | 577.32 | 1038680 | 25 | 1179.11 | 1.3435 | 680723.7852 | 1395414.646 | 2076138.4312
Central Air Conditioner |  | 24.68 | 26694.2 | 18 | 968.26 | 1.1032 | 23896.6568 | 29449.3084 | 53345.9652
Central Heat Pump |  | 1620.63 | 2714802 | 15 | 855.7 | 0.97496 | 1386773.091 | 2646823.3579 | 4033596.4489
Energy Star Thermostat |  | 0 | 173717.5 | 11 | 680.18 | 0.77498 | 0 | 134627.5881 | 134627.5881
Low Income MF Smart Thermostat Direct Install (Pilot) | 305374.4 | 0 | 766815 |  |  |  | 0 | 594266.2887 | 594266.2887 | 288891.8887 | 1.946
Energy Star Thermostat |  | 0 | 766815 | 11 | 680.18 | 0.77498 | 0 | 594266.2887 | 594266.2887
Targeted Low-Income Program Weatherization | 8009519.5 | 2277.97 | 3958476.1 |  |  |  | 1972592.0855 | 3868624.9758 | 5841217.0613 | -2168302.4387 | 0.72928
Aerators |  | 0.51 | 1731.4 | 10 | 631.19 | 0.71916 | 321.9069 | 1245.1536 | 1567.0605
Air Infiltration |  | 1.78 | 1953.1 | 11 | 680.18 | 0.77498 | 1210.7204 | 1513.6134 | 2724.3338
Ceiling Insulation |  | 46.3 | 58272.6 | 25 | 1179.11 | 1.3435 | 54592.793 | 78286.3245 | 132879.1175
Central Heat Pump |  | 2198.61 | 3735545 | 15 | 855.7 | 0.97496 | 1881350.577 | 3642006.9532 | 5523357.5302
Energy Star Refrigerator |  | 0.01 | 159.4 | 16 | 894.9 | 1.0196 | 8.949 | 162.529 | 171.478
Energy Star Thermostat |  | 0 | 103047 | 11 | 680.18 | 0.77498 | 0 | 79859.3641 | 79859.3641
Energy Star Window |  | 0.31 | 545.4 | 25 | 1179.11 | 1.3435 | 365.5241 | 732.7176 | 1098.2417
Wall Insulation |  | 28.81 | 41986.8 | 25 | 1179.11 | 1.3435 | 33970.1591 | 56407.1665 | 90377.3256
Water Heater Pipe Insulation |  | 0 | 714.6 | 13 | 771.85 | 0.87943 | 0 | 628.4407 | 628.4407
Water Heater Tank Insulation |  | 1.64 | 14520.8 | 7 | 470.4 | 0.53597 | 771.456 | 7782.7132 | 8554.1692
Low Income HVAC Tune-Up Program | 1201786.4 | 1887.9 | 4167414 |  |  |  | 661935.498 | 1664840.2189 | 2326775.7169 | 1124989.3169 | 1.9361
AC Tuneup |  | 1887.9 | 4167414 | 5 | 350.62 | 0.39949 | 661935.498 | 1664840.2189 | 2326775.7169
Residential Demand Response SOP | 1687211.1 | 26700.61 | 80096.1 |  |  |  | 2042863.6711 | 6982.778 | 2049846.4491 | 362635.3491 | 1.2149
Load Management |  | 26700.61 | 80096.1 | 1 | 76.51 | 0.08718 | 2042863.6711 | 6982.778 | 2049846.4491
Residential Total | 52617129.5 | 77715.9555 | 149076582.9 |  |  |  | 38900048.3258 | 111476392.7308 | 150376441.0566 | 97759311.5566 | 2.8579
| Total Program Costs* | kW Saved | kWh Saved | Measure Life - Yrs | kW Avoided Costs** | kWh Avoided Costs** | Total Avoided Costs kW | Total Avoided Costs kWh | Total Avoided Costs | Net Benefits | Benefit Cost Ratio
Commerical
Commercial Load Management SOP | 4706171.3176 | 72712.5401 | 218137.6203 |  |  |  | 5563236.4431 | 19017.2377 | 5582253.6808 | 876082.3632 | 1.1862
Load Management |  | 72712.5401 | 218137.6203 | 1 | 76.51 | 0.08718 | 5563236.4431 | 19017.2377 | 5582253.6808
Commercial Midstream MTP | 1602954.8744 | 644.3 | 2320604.7 |  |  |  | 551327.51 | 2262496.7583 | 2813824.2683 | 1210869.3939 | 1.7554
Deemed Cooling (HVAC) |  | 644.3 | 2320604.7 | 15 | 855.7 | 0.97496 | 551327.51 | 2262496.7583 | 2813824.2683
Commercial SOP | 12812419.9 | 8791.58 | 53443610.9 |  |  |  | 7486325.1477 | 51858056.0285 | 59344381.1762 | 46531961.2762 | 4.6318
Central Heat Pump |  | 3210.89 | 5355435.8 | 15 | 855.7 | 0.97496 | 2747558.573 | 5221335.6876 | 7968894.2606
Deemed Cooling (HVAC) |  | 339.78 | 3270054.3 | 15 | 855.7 | 0.97496 | 290749.746 | 3188172.1403 | 3478921.8863
Deemed Cooling (HVAC) |  | 43.48 | 232783.4 | 20 | 1035.35 | 1.1797 | 45017.018 | 274602.9378 | 319619.9558
Deemed Cooling (HVAC) |  | 193.43 | 3006752.4 | 25 | 1179.11 | 1.3435 | 228075.2473 | 4039421.5118 | 4267496.7591
Energy Star Thermostat |  | 0 | 15174 | 11 | 680.18 | 0.77498 | 0 | 11759.5465 | 11759.5465
Lighting Control |  | 230.2 | 1233242.5 | 10 | 631.19 | 0.71916 | 145299.938 | 886898.6763 | 1032198.6143
Lighting New Construction |  | 694.29 | 20494084 | 14 | 814.71 | 0.92826 | 565645.0059 | 19023838.4138 | 19589483.4197
Lighting New Construction |  | 213.18 | 1249364.4 | 15 | 855.7 | 0.97496 | 182418.126 | 1218080.3154 | 1400498.4414
Lighting Retrofit |  | 0.39 | 1674.6 | 1.5 | 113.51 | 0.12933 | 44.2689 | 216.576 | 260.8449
Lighting Retrofit |  | 3766.18 | 17870817.2 | 15 | 855.7 | 0.97496 | 3222720.226 | 17423331.9373 | 20646052.1633
Lighting Retrofit |  | 94.52 | 384802.6 | 9 | 579.97 | 0.6608 | 54818.7644 | 254277.5581 | 309096.3225
Premium Efficiency Motor |  | 0.63 | 2781.4 | 15 | 855.7 | 0.97496 | 539.091 | 2711.7537 | 3250.8447
REF Door Reach In |  | 1.05 | 9235.8 | 12 | 727.04 | 0.82837 | 763.392 | 7650.6596 | 8414.0516
REF Zero Energy Doors |  | 2.88 | 25256 | 12 | 727.04 | 0.82837 | 2093.8752 | 20921.3127 | 23015.1879
VFD/ECM |  | 0.68 | 292152.5 | 15 | 855.7 | 0.97496 | 581.876 | 284837.0014 | 285418.8774
Small Business Direct Install MTP | 496904 | 64.91 | 296274.5 |  |  |  | 55543.487 | 288855.7865 | 344399.2735 | -152504.7265 | 0.69309
Lighting Retrofit |  | 64.91 | 296274.5 | 15 | 855.7 | 0.97496 | 55543.487 | 288855.7865 | 344399.2735
Strategic Energy Management MTP | 2522145.4 | 894.74 | 7807984.8 |  |  |  | 576329.7508 | 5395081.8721 | 5971411.6229 | 3449266.2229 | 2.3676
Custom Compressed Air |  | 152.23 | 1760131 | 8 | 526.41 | 0.59977 | 80135.3943 | 1055673.7699 | 1135809.1642
Custom HVAC |  | 55.37 | 1098809 | 8 | 526.41 | 0.59977 | 29147.3217 | 659032.6739 | 688179.9956
Custom Industrial Process |  | 391.81 | 3397702 | 8 | 526.41 | 0.59977 | 206252.7021 | 2037839.7285 | 2244092.4306
Deemed Cooling (HVAC) |  | 69.02 | 225635.5 | 20 | 1035.35 | 1.1797 | 71459.857 | 266170.9176 | 337630.7746
Deemed Cooling (HVAC) |  | 30.68 | 357665.2 | 25 | 1179.11 | 1.3435 | 36175.0948 | 480505.3129 | 516680.4077
Lighting Control |  | 6.68 | 35408.7 | 10 | 631.19 | 0.71916 | 4216.3492 | 25464.5207 | 29680.8699
Lighting Retrofit |  | 142.74 | 808857.9 | 15 | 855.7 | 0.97496 | 122142.618 | 788604.0982 | 910746.7162
Lighting Retrofit |  | 46.21 | 123775.5 | 9 | 579.97 | 0.6608 | 26800.4137 | 81790.8504 | 108591.2641
Retail Platform MTP Commercial | 614001.8 | 2683.3256 | 13861056.4 |  |  |  | 1412529.4291 | 8313445.797 | 9725975.2261 | 9111973.4261 | 15.8403
Residential LED Lighting |  | 2683.3256 | 13861056.4 | 8 | 526.41 | 0.59977 | 1412529.4291 | 8313445.797 | 9725975.2261
Solar PV MTP (Commercial) | 4121210 | 1883.31 | 5875626 |  |  |  | 2437266.8034 | 8663669.2933 | 11100936.0967 | 6979726.0967 | 2.6936
Solar PV |  | 1883.31 | 5875626 | 30 | 1294.14 | 1.4745 | 2437266.8034 | 8663669.2933 | 11100936.0967
Commercial Winter Load Management SOP | 1553294.1 | 22278.44 | 66835.2 |  |  |  | 1704523.4444 | 5826.6927 | 1710350.1371 | 157056.0371 | 1.1011
Load Management |  | 22278.44 | 66835.2 | 1 | 76.51 | 0.08718 | 1704523.4444 | 5826.6927 | 1710350.1371
Commercial Total | 28429101.392 | 109953.1457 | 83890130.1203 |  |  |  | 19787082.0154 | 76806449.4662 | 96593531.4817 | 68164430.0896 | 3.3977
Grand Total | 81046230.892 | 187669.1012 | 232966713.0203 |  |  |  | 58687130.3412 | 188282842.197 | 246969972.5382 | 165923741.6462 | 3.0473
* Program costs include incentive and administration expenses along with R&D, EM&V and the Performance Bonus collected in 2023 which are allocated among all programs as shown in workpaper WP/GDJ/7, column (i).
**Avoided Costs are calculated using the present value of Commission-approved initial avoided capicity cost of $80/kW and initial avoided energy cost of $0.09115/kWh
2023 Minimum Goal MW |  | 97 |  |  |  |  | Net Benefit Calculation
2023 Achieved Goal MW |  | 187.6691 |  |  |  |  | 246969972.5382 | Total Avoided Costs
Percentage Over Goal |  | 93.47% |  |  |  |  | -81046230.892 | Sum of Total Program Costs
[7 empty] | 165923741.6462 | Net Benefits
Earned Energy Efficiency Bonus Calculation % of Net Benefits (1% of every 2% the Demand Goal is exceeded) |  | 0.4674
Earned Energy Efficiency Bonus Based on 46.74% of Net Benefits
($165,923,741.65 x .4674) |  | 77552757
Bonus Capped at 10% of 2023 Total Net Benefits
($165,923,741.65 x .1) |  | 16592374.1646
Total Bonus |  | 16592374.1646