TO:		Dylan King,

Legal Division

FROM:		John Poole, P.E.,

Infrastructure Division

DATE:		July 19, 2024

RE:		Docket No. 56735, Application of Entergy Texas, Inc. for Approval of a System Resiliency Plan

On June 21, 2024, Entergy Texas, Inc. (Entergy) filed an application for approval of a system resiliency plan. I have reviewed the Application and all attachments filed by Entergy in this docket for compliance with 16 Tex. Admin. Code (TAC) § 22.62. After reviewing all the filed information, I found the application deficient in the following areas:

- 16 TAC § 25.62(c)(2) requires that the resiliency plan must be “organized by measure, including a description of any activities, actions, standards, services, procedures, practices, structures, or equipment associated with each measure.” Entergy’s application, while organized by measure, does not describe the activities, actions, services, procedures, structures, or equipment associated with each measure. Entergy’s application also does not explain how it utilizes the methods in 16 TAC § 25.62(c)(1). Therefore, I find the application deficient in this area.

- 16 TAC § 25.62(c)(2)(D) requires that “if a resiliency plan includes measures that are similar to other existing programs or measures, such as a storm hardening plan under §25.95 of this title (relating to Electric Utility Infrastructure Storm Hardening) or a vegetation management plan under §25.96 of this title (relating to Vegetation Management), or programs or measures otherwise required by law, the electric utility must distinguish the measures in the resiliency plan from these programs and measures and, if appropriate, explain how the related items work in conjunction with one another.” Entergy’s application lists measures very similar to their Electric Utility Infrastructure Storm Hardening and does not provide descriptions of the activities, as also required by 16 TAC § 25.62(c)(2) to distinguish them. Therefore, I find the application deficient in this area.

- 16 TAC § 25.62(c)(2)(E) requires that the resiliency plan must “provide implementation details for each of the plan’s measures, including estimated capital costs, estimated operations and maintenance expenses.” Entergy’s resiliency plan does not do this, outside of one footnote in the testimony of Sean Meredith, however this should be broken out clearly in the application. Therefore, I find the application deficient in this area.

Direct Testimony of Sean Meredith at 10.