## Q1-56
May 2024 Derecho
Q 1-56 | Feeder Circuits | Pole(s) Quantity (each feeder affected) | Pole Percentage Type (wood, composite, steel, concrete) (System-wide) |  |  |  | Pole(s) Failures (Quantity) | Pole(s) Failure Percentage (Quantity) | Primary Cause of Failure for Each Pole Type (tree, branches, wind, etc.) | Primary Point of Failure (crossarm, pole leaning, pole break, etc.) | NESC Construction Strength (Low, Medium, or High) | List Future Circuit Rebuild Plans to Higher Standard | Estiamate when Circuit Rebuild will Commence
|  |  | Wood | Composite | Steel | Concrete
1 | Hwy 96 | 324 | 324 | 0 | 0 | 0 | 11 |  | Wind, Tree Fallen | pole break | Medium | None | N/A
2 | Black Ankle | 324 | 324 | 0 | 0 | 0 | 4 |  | Wind, Tree Fallen | pole break | Medium | None | N/A
3
4
5
Hurricane Beryl
Q 1-56 | Feeder Circuits | Pole(s) Quantity (each feeder affected) | Pole Percentage Type (wood, composite, steel, concrete) (System-wide) |  |  |  | Pole(s) Failures (Quantity) | Pole(s) Failure Percentage (Quantity) | Primary Cause of Failure for Each Pole Type | Primary Point of Failure (crossarm, pole leaning, pole break, etc.) | NESC Construction Strength (Low, Medium, or High) | List Future Circuit Rebuild Plans to Higher Standard | Estiamate when Circuit Rebuild will Commence
|  |  | Wood | Composite | Steel | Concrete
1 | Hwy 96 | 324 | 324 | 0 | 0 | 0 | 1 |  | Wind, Fallen Tree | Pole Break | Medium | None | N/A
2 | Black Ankle | 324 | 324 | 0 | 0 | 0 | 0 |  | 0 | 0 | Medium | None | N/A
3 | 0
4 | 0
5 | 0

## Q1-78
May 2024 Derecho
Q 1-78 | Feeder Circuits | Outage Date | Outage Time | Duration of Outage | Voltage | Description - Cause of Outage (grow-in, fall-in, blow-in)
1 | Hwy 96 | 2024-05-16 | 21:30 | 11:30 | 7,200kV | Fall-In
2 | Black Ankle | 2024-05-16 | 21:30 | 11:30 | 7,200kV | Fall-In
3
4
5
Hurricane Beryl
Q 1-78 | Feeder Circuits | Outage Date | Outage Time | Duration of Outage | Voltage | Description - Cause of Outage (grow-in, fall-in, blow-in)
0
1 | Hwy 96 | 2024-07-09 | 13:00 | 16:00 | 7,200kV | Fall-In
2 | Black Ankle | 2024-07-09 | 13:00 | 16:00 | 7,200kV | Fall-In
3 | 0
4 | 0
5 | 0