## ps (69)
Substation | Circuit (a) | Customers Interrupted | Customer Outage Mins | Reason Code (d) | Contrib Reason (d) | Date Off (b) | Time Off (b) | Duration (Mins) (b) | Voltage (KV) (c) | NERC Veg. Category (e)
Alvin Substation | 1115 | 2155 | 1314550 | Hurricane | Trees | 2024-07-08 | 5:48AM | 610 | 12.47
Alvin Substation | 1116 | 2068 | 1470348 | Hurricane | Trees | 2024-07-08 | 6:03AM | 711 | 12.47
Alvin Substation | 1117 | 1715 | 800905 | Hurricane | Trees | 2024-07-08 | 5:20AM | 467 | 12.47
Alvin Substation | 1230 | 910 | 374920 | Hurricane | Trees | 2024-07-08 | 5:20AM | 412 | 12.47
Alvin Substation | 1231 | 2317 | 1255814 | Hurricane | Trees | 2024-07-08 | 6:14AM | 542 | 12.47
Alvin Substation | 1254 | 2020 | 751440 | Hurricane | Trees | 2024-07-08 | 4:53AM | 372 | 12.47
Alvin Substation | 1257 | 2317 | 1492148 | Hurricane | Trees | 2024-07-08 | 4:16AM | 644 | 12.47
Alvin Substation | 1259 | 751 | 111899 | Hurricane | Trees | 2024-07-08 | 8:18AM | 149 | 12.47
Angleton Substation | 1153 | 2805 | 984555 | Hurricane | Trees | 2024-07-08 | 10:17AM | 351 | 12.47
Angleton Substation | 1154 | 1978 | 1578444 | Hurricane | Trees | 2024-07-08 | 5:47AM | 798 | 12.47
Angleton Substation | 1155 | 1370 | 1474120 | Hurricane | Trees | 2024-07-08 | 4:29AM | 1076 | 12.47
Angleton Substation | 1240 | 1650 | 1006500 | Hurricane | Trees | 2024-07-08 | 5:38AM | 610 | 12.47
Angleton Substation | 1241 | 1578 | 1997748 | Hurricane | Trees | 2024-07-08 | 5:01AM | 1266 | 12.47
Angleton Substation | 1242 | 552 | 123096 | Hurricane | Trees | 2024-07-08 | 10:18AM | 223 | 12.47
Angleton Substation | 1243 | 1434 | 1471284 | Hurricane | Trees | 2024-07-08 | 4:02AM | 1026 | 12.47
Angleton Substation | 1244 | 1459 | 1238691 | Hurricane | Trees | 2024-07-08 | 7:00AM | 849 | 12.47
Angleton Substation | 1245 | 1114 | 540290 | Hurricane | Trees | 2024-07-08 | 4:27AM | 485 | 12.47
Brazoria Substation | 1270 | 955 | 4541980 | Hurricane | Trees | 2024-07-08 | 2:08AM | 4756 | 12.47
Brazoria Substation | 1271 | 1792 | 6272000 | Hurricane | Trees | 2024-07-08 | 5:00AM | 3500 | 12.47
Brazoria Substation | 1290 | 933 | 976851 | Hurricane | Trees | 2024-07-08 | 2:54AM | 1047 | 12.47
Brazoria Substation | 1291 | 659 | 531813 | Hurricane | Trees | 2024-07-08 | 2:58AM | 807 | 12.47
Butler Road Substation | 1437 | 1148 | 738164 | Hurricane | Trees | 2024-07-08 | 5:24AM | 643 | 12.47
Butler Road Substation | 1440 | 1430 | 878020 | Hurricane | Trees | 2024-07-08 | 8:17AM | 614 | 12.47
Butler Road Substation | 1442 | 494 | 354692 | Hurricane | Trees | 2024-07-08 | 5:24AM | 718 | 12.47
Clemens Dome Substation | 301 | 1 | 3580 | Hurricane | Trees | 2024-07-08 | 4:30AM | 3580 | 12.47
Dickinson Substation | 1272 | 1535 | 1373825 | Hurricane | Trees | 2024-07-08 | 4:50AM | 895 | 12.47
Dickinson Substation | 1279 | 2969 | 1906098 | Hurricane | Trees | 2024-07-08 | 5:53AM | 642 | 12.47
Freeway Park Substation | 1297 | 361 | 289883 | Hurricane | Trees | 2024-07-08 | 4:31AM | 803 | 12.47
Friendswood Substation | 1107 | 1810 | 1422660 | Hurricane | Trees | 2024-07-08 | 3:24AM | 786 | 12.47
Friendswood Substation | 1108 | 1892 | 1403864 | Hurricane | Trees | 2024-07-08 | 5:34AM | 742 | 12.47
Friendswood Substation | 1109 | 1538 | 862818 | Hurricane | Trees | 2024-07-08 | 5:46AM | 561 | 12.47
Friendswood Substation | 1251 | 1814 | 1521946 | Hurricane | Trees | 2024-07-08 | 7:21AM | 839 | 12.47
Friendswood Substation | 1252 | 1698 | 838812 | Hurricane | Trees | 2024-07-08 | 7:28AM | 494 | 12.47
Heights Substation | 1224 | 1565 | 748070 | Hurricane | Trees | 2024-07-08 | 6:58AM | 478 | 12.47
La Marque Substation | 1204 | 1611 | 964989 | Hurricane | Trees | 2024-07-08 | 5:55AM | 599 | 12.47
La Marque Substation | 1205 | 996 | 607560 | Hurricane | Trees | 2024-07-08 | 5:14AM | 610 | 12.47
League City Main Substation | 1010 | 1150 | 1938900 | Hurricane | Trees | 2024-07-08 | 8:23AM | 1686 | 12.47
League City Main Substation | 1011 | 1045 | 978120 | Hurricane | Trees | 2024-07-08 | 5:52AM | 936 | 12.47
League City Main Substation | 1280 | 1486 | 2440012 | Hurricane | Trees | 2024-07-08 | 6:56AM | 1642 | 12.47
League City Main Substation | 1281 | 623 | 887152 | Hurricane | Trees | 2024-07-08 | 8:50AM | 1424 | 12.47
League City Main Substation | 1282 | 2025 | 1255500 | Hurricane | Trees | 2024-07-08 | 5:00AM | 620 | 12.47
League City Main Substation | 1283 | 2228 | 1312292 | Hurricane | Trees | 2024-07-08 | 6:53AM | 589 | 12.47
League City Main Substation | 1285 | 1524 | 1100328 | Hurricane | Trees | 2024-07-08 | 6:44AM | 722 | 12.47
Magnolia Substation | 1148 | 915 | 416325 | Hurricane | Trees | 2024-07-08 | 6:28AM | 455 | 12.47
Magnolia Substation | 1149 | 1593 | 1248912 | Hurricane | Trees | 2024-07-08 | 8:18AM | 784 | 12.47
Magnolia Substation | 1150 | 842 | 563298 | Hurricane | Trees | 2024-07-08 | 8:21AM | 669 | 12.47
Northside Substation | 1293 | 618 | 292314 | Hurricane | Trees | 2024-07-08 | 6:16AM | 473 | 12.47
Northside Substation | 1295 | 2326 | 1293256 | Hurricane | Trees | 2024-07-08 | 4:14AM | 556 | 12.47
Old Ocean Substation | 1261 | 194 | 765524 | Hurricane | Trees | 2024-07-08 | 1:42AM | 3946 | 12.47
Old Ocean Substation | 1262 | 491 | 1747960 | Hurricane | Trees | 2024-07-08 | 7:50AM | 3560 | 12.47
Seminole Substation | 1402 | 2084 | 1592176 | Hurricane | Trees | 2024-07-08 | 5:04AM | 764 | 12.47
Seminole Substation | 1403 | 1263 | 1049553 | Hurricane | Trees | 2024-07-08 | 4:45AM | 831 | 12.47
Seminole Substation | 1404 | 2502 | 4761306 | Hurricane | Trees | 2024-07-08 | 7:42AM | 1903 | 12.47
Sweeny Substation | 1128 | 1493 | 2635145 | Hurricane | Trees | 2024-07-08 | 3:28AM | 1765 | 12.47
Sweeny Substation | 1129 | 709 | 1432180 | Hurricane | Trees | 2024-07-08 | 2:52AM | 2020 | 12.47
Sweeny Substation | 1263 | 513 | 362178 | Hurricane | Trees | 2024-07-08 | 2:39AM | 706 | 12.47
Sweeny Substation | 1264 | 1397 | 1437513 | Hurricane | Trees | 2024-07-08 | 4:08AM | 1029 | 12.47
West Columbia Local Substation | 1234 | 1570 | 1033060 | Hurricane | Trees | 2024-07-08 | 6:09AM | 658 | 12.47
West Columbia Local Substation | 1237 | 799 | 4602240 | Hurricane | Trees | 2024-07-08 | 12:38PM | 5760 | 12.47