## a. section
Circuit Name | Concrete | Percent Concrete | Fiberglass | Percent Fiberglass | Steel | Percent Steel | Street Light | Percent Street Light | Wood | Percent Wood
104SL | 1 | 0.1218% | 0 | 0% | 0 | 0% | 1 | 0.1218% | 819 | 99.76%
105SL | 25 | 0.9174% | 0 | 0% | 41 | 1.505% | 26 | 0.9541% | 2633 | 96.62%
112MC | 3 | 0.3695% | 0 | 0% | 3 | 0.3695% | 11 | 1.355% | 795 | 97.91%
121EL | 3 | 0.2256% | 0 | 0% | 0 | 0% | 47 | 3.534% | 1280 | 96.24%
127SO | 0 | 0% | 1 | 0.07194% | 0 | 0% | 0 | 0% | 1389 | 99.93%
135TG | 0 | 0% | 0 | 0% | 18 | 7.5% | 25 | 10.42% | 197 | 82.08%
137TG | 9 | 1.347% | 0 | 0% | 11 | 1.647% | 30 | 4.491% | 618 | 92.51%
138CI | 0 | 0% | 0 | 0% | 2 | 0.07449% | 0 | 0% | 2683 | 99.93%
141LV | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1501 | 100%
151RS | 1 | 0.1443% | 0 | 0% | 4 | 0.5772% | 29 | 4.185% | 659 | 95.09%
152RS | 0 | 0% | 0 | 0% | 2 | 0.565% | 5 | 1.412% | 347 | 98.02%
154BE | 0 | 0% | 0 | 0% | 2 | 0.06947% | 0 | 0% | 2877 | 99.93%
155BE | 1 | 0.02657% | 2 | 0.05315% | 29 | 0.7707% | 4 | 0.1063% | 3727 | 99.04%
156BE | 0 | 0% | 0 | 0% | 7 | 0.6903% | 0 | 0% | 1007 | 99.31%
158HA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2250 | 100%
162VD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2121 | 100%
163VD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2406 | 100%
166CH | 0 | 0% | 0 | 0% | 1 | 0.122% | 0 | 0% | 819 | 99.88%
17LOB | 4 | 0.3846% | 0 | 0% | 0 | 0% | 0 | 0% | 1036 | 99.62%
180AM | 0 | 0% | 0 | 0% | 1 | 0.08613% | 2 | 0.1723% | 1158 | 99.74%
182AM | 0 | 0% | 0 | 0% | 7 | 0.3337% | 0 | 0% | 2091 | 99.67%
211BA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1694 | 100%
238CR | 0 | 0% | 0 | 0% | 2 | 0.1315% | 0 | 0% | 1519 | 99.87%
240WS | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1943 | 100%
251KP | 0 | 0% | 0 | 0% | 10 | 0.2663% | 0 | 0% | 3745 | 99.73%
257GV | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 437 | 100%
261TR | 0 | 0% | 0 | 0% | 2 | 0.2481% | 0 | 0% | 804 | 99.75%
268RV | 0 | 0% | 0 | 0% | 1 | 0.02691% | 0 | 0% | 3715 | 99.97%
269RV | 0 | 0% | 0 | 0% | 4 | 0.0579% | 0 | 0% | 6904 | 99.94%
26HRN | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2340 | 100%
307SP | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2338 | 100%
308FR | 2 | 0.367% | 0 | 0% | 11 | 2.018% | 35 | 6.422% | 497 | 91.19%
30BRC | 2 | 0.1407% | 1 | 0.07037% | 5 | 0.3519% | 87 | 6.122% | 1326 | 93.31%
310SP | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 3298 | 100%
311SP | 0 | 0% | 0 | 0% | 11 | 0.6567% | 0 | 0% | 1664 | 99.34%
317TA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 751 | 100%
31BRC | 0 | 0% | 0 | 0% | 1 | 0.2232% | 31 | 6.92% | 416 | 92.86%
320AP | 0 | 0% | 0 | 0% | 1 | 0.04904% | 0 | 0% | 2038 | 99.95%
324CO | 0 | 0% | 0 | 0% | 37 | 2.953% | 35 | 2.793% | 1181 | 94.25%
326CO | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.08897% | 1123 | 99.91%
327CO | 0 | 0% | 0 | 0% | 4 | 0.353% | 1 | 0.08826% | 1128 | 99.56%
32BRC | 3 | 0.2732% | 1 | 0.09107% | 30 | 2.732% | 68 | 6.193% | 996 | 90.71%
334NC | 0 | 0% | 6 | 0.1356% | 8 | 0.1808% | 0 | 0% | 4410 | 99.68%
336NC | 0 | 0% | 26 | 2.281% | 10 | 0.8772% | 0 | 0% | 1104 | 96.84%
342JT | 0 | 0% | 7 | 0.5872% | 0 | 0% | 0 | 0% | 1185 | 99.41%
342WN | 0 | 0% | 0 | 0% | 1 | 0.08104% | 0 | 0% | 1233 | 99.92%
345JT | 0 | 0% | 13 | 0.3079% | 1 | 0.02369% | 0 | 0% | 4208 | 99.67%
346JT | 0 | 0% | 6 | 1.245% | 0 | 0% | 0 | 0% | 476 | 98.76%
350PW | 0 | 0% | 0 | 0% | 1 | 0.06337% | 0 | 0% | 1577 | 99.94%
360BD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1092 | 100%
363HT | 0 | 0% | 16 | 0.8155% | 12 | 0.6116% | 0 | 0% | 1934 | 98.57%
364HT | 0 | 0% | 5 | 0.1873% | 16 | 0.5993% | 0 | 0% | 2649 | 99.21%
365HT | 0 | 0% | 1 | 0.08361% | 0 | 0% | 0 | 0% | 1195 | 99.92%
380MC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 4213 | 100%
392WO | 0 | 0% | 0 | 0% | 3 | 0.5181% | 1 | 0.1727% | 575 | 99.31%
405CV | 0 | 0% | 1 | 0.0545% | 2 | 0.109% | 8 | 0.436% | 1824 | 99.4%
406CV | 0 | 0% | 2 | 0.05645% | 0 | 0% | 0 | 0% | 3541 | 99.94%
40LNB | 6 | 0.515% | 47 | 4.034% | 42 | 3.605% | 24 | 2.06% | 1046 | 89.79%
425CV | 0 | 0% | 3 | 0.03387% | 10 | 0.1129% | 2 | 0.02258% | 8842 | 99.83%
426CV | 2 | 0.02769% | 0 | 0% | 19 | 0.2631% | 5 | 0.06923% | 7196 | 99.64%
432KT | 0 | 0% | 0 | 0% | 1 | 0.04778% | 0 | 0% | 2092 | 99.95%
436TI | 0 | 0% | 0 | 0% | 5 | 0.1903% | 0 | 0% | 2622 | 99.81%
441LU | 0 | 0% | 7 | 0.1828% | 1 | 0.02612% | 1 | 0.02612% | 3820 | 99.76%
453KT | 0 | 0% | 0 | 0% | 1 | 0.09149% | 1 | 0.09149% | 1091 | 99.82%
457FL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1293 | 100%
461SI | 0 | 0% | 0 | 0% | 10 | 1.299% | 0 | 0% | 760 | 98.7%
462SI | 0 | 0% | 0 | 0% | 2 | 0.2121% | 0 | 0% | 941 | 99.79%
471NS | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2217 | 100%
472NS | 3 | 0.4739% | 0 | 0% | 1 | 0.158% | 0 | 0% | 629 | 99.37%
474MD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 67 | 100%
476MD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1343 | 100%
477MD | 0 | 0% | 0 | 0% | 1 | 0.03628% | 0 | 0% | 2755 | 99.96%
48TCO | 2 | 0.2381% | 0 | 0% | 39 | 4.643% | 0 | 0% | 799 | 95.12%
490LI | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 601 | 100%
4CAL | 0 | 0% | 13 | 0.1933% | 16 | 0.2379% | 0 | 0% | 6696 | 99.57%
506WR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 4039 | 100%
507CN | 0 | 0% | 1 | 0.06711% | 1 | 0.06711% | 5 | 0.3356% | 1483 | 99.53%
511CN | 0 | 0% | 0 | 0% | 1 | 0.1493% | 0 | 0% | 669 | 99.85%
513CN | 0 | 0% | 4 | 0.314% | 0 | 0% | 2 | 0.157% | 1268 | 99.53%
519DO | 0 | 0% | 2 | 0.08749% | 1 | 0.04374% | 0 | 0% | 2283 | 99.87%
520BW | 0 | 0% | 2 | 0.0854% | 15 | 0.6405% | 1 | 0.0427% | 2324 | 99.23%
521BW | 6 | 0.7905% | 0 | 0% | 3 | 0.3953% | 0 | 0% | 750 | 98.81%
536SH | 0 | 0% | 1 | 0.07133% | 19 | 1.355% | 0 | 0% | 1382 | 98.57%
537LA | 0 | 0% | 3 | 0.1197% | 1 | 0.0399% | 0 | 0% | 2502 | 99.84%
539LA | 0 | 0% | 1 | 0.08084% | 2 | 0.1617% | 0 | 0% | 1234 | 99.76%
53BAT | 1 | 0.03683% | 0 | 0% | 2 | 0.07366% | 0 | 0% | 2712 | 99.89%
545PL | 0 | 0% | 0 | 0% | 17 | 1.943% | 0 | 0% | 858 | 98.06%
546PL | 0 | 0% | 0 | 0% | 11 | 6.215% | 0 | 0% | 166 | 93.79%
549JT | 0 | 0% | 6 | 0.2424% | 4 | 0.1616% | 0 | 0% | 2465 | 99.6%
551EP | 0 | 0% | 0 | 0% | 9 | 0.6875% | 0 | 0% | 1300 | 99.31%
552EP | 0 | 0% | 29 | 3.69% | 0 | 0% | 0 | 0% | 757 | 96.31%
563WD | 0 | 0% | 0 | 0% | 20 | 11.49% | 0 | 0% | 154 | 88.51%
566CR | 0 | 0% | 3 | 0.08816% | 6 | 0.1763% | 2 | 0.05877% | 3392 | 99.68%
568DC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1704 | 100%
570CR | 0 | 0% | 0 | 0% | 1 | 0.04078% | 0 | 0% | 2451 | 99.96%
570DC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 3118 | 100%
577CN | 1 | 0.05737% | 14 | 0.8032% | 7 | 0.4016% | 0 | 0% | 1721 | 98.74%
592WR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 6689 | 100%
593WD | 0 | 0% | 0 | 0% | 1 | 0.1225% | 1 | 0.1225% | 814 | 99.75%
594WD | 0 | 0% | 0 | 0% | 0 | 0% | 3 | 0.1524% | 1965 | 99.85%
598TA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1596 | 100%
600HU | 0 | 0% | 0 | 0% | 4 | 0.09217% | 0 | 0% | 4336 | 99.91%
607HU | 0 | 0% | 0 | 0% | 2 | 0.1685% | 0 | 0% | 1185 | 99.83%
608HU | 0 | 0% | 4 | 0.3676% | 3 | 0.2757% | 0 | 0% | 1081 | 99.36%
611HU | 0 | 0% | 0 | 0% | 7 | 0.5582% | 0 | 0% | 1247 | 99.44%
628TE | 22 | 1.921% | 0 | 0% | 3 | 0.262% | 0 | 0% | 1120 | 97.82%
634WT | 0 | 0% | 1 | 0.06223% | 0 | 0% | 0 | 0% | 1606 | 99.94%
654VT | 0 | 0% | 3 | 0.7092% | 0 | 0% | 0 | 0% | 420 | 99.29%
657VT | 9 | 3.913% | 0 | 0% | 2 | 0.8696% | 0 | 0% | 219 | 95.22%
670GE | 0 | 0% | 0 | 0% | 1 | 0.03147% | 0 | 0% | 3177 | 99.97%
711MG | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1958 | 100%
723DY | 0 | 0% | 0 | 0% | 0 | 0% | 5 | 0.3556% | 1401 | 99.64%
724DY | 1 | 0.04277% | 1 | 0.04277% | 7 | 0.2994% | 13 | 0.556% | 2316 | 99.06%
727DY | 0 | 0% | 0 | 0% | 3 | 0.4425% | 1 | 0.1475% | 674 | 99.41%
72ECH | 1 | 0.1404% | 0 | 0% | 0 | 0% | 0 | 0% | 711 | 99.86%
736CY | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 522 | 100%
738CY | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1703 | 100%
740OK | 0 | 0% | 4 | 0.2831% | 2 | 0.1415% | 0 | 0% | 1407 | 99.58%
741DA | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.2183% | 457 | 99.78%
742OK | 0 | 0% | 0 | 0% | 45 | 28.3% | 0 | 0% | 114 | 71.7%
743DA | 37 | 3.309% | 0 | 0% | 1 | 0.08945% | 0 | 0% | 1080 | 96.6%
744DA | 16 | 0.9029% | 0 | 0% | 9 | 0.5079% | 1 | 0.05643% | 1746 | 98.53%
750FO | 7 | 0.8294% | 2 | 0.237% | 3 | 0.3555% | 0 | 0% | 832 | 98.58%
753FO | 2 | 0.4219% | 0 | 0% | 1 | 0.211% | 0 | 0% | 471 | 99.37%
75RAY | 1 | 0.09814% | 0 | 0% | 2 | 0.1963% | 0 | 0% | 1016 | 99.71%
761SA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1383 | 100%
762AL | 0 | 0% | 14 | 2.559% | 4 | 0.7313% | 1 | 0.1828% | 528 | 96.53%
763AL | 1 | 2.778% | 0 | 0% | 0 | 0% | 0 | 0% | 35 | 97.22%
768AL | 0 | 0% | 0 | 0% | 1 | 0.8197% | 0 | 0% | 121 | 99.18%
781EG | 0 | 0% | 0 | 0% | 1 | 0.04156% | 0 | 0% | 2405 | 99.96%
806PD | 0 | 0% | 3 | 0.05728% | 20 | 0.3819% | 1 | 0.01909% | 5213 | 99.54%
809PD | 0 | 0% | 0 | 0% | 2 | 0.04072% | 0 | 0% | 4909 | 99.96%
883GR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2574 | 100%
904NA | 1 | 0.06859% | 2 | 0.1372% | 7 | 0.4801% | 20 | 1.372% | 1428 | 97.94%
905NA | 3 | 0.05996% | 0 | 0% | 23 | 0.4597% | 13 | 0.2598% | 4964 | 99.22%
90MPL | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.2247% | 444 | 99.78%
917SW | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 114 | 100%
920DO | 0 | 0% | 0 | 0% | 5 | 0.08224% | 0 | 0% | 6075 | 99.92%
92CHI | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2640 | 100%
945ID | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 80 | 100%
949IN | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 23 | 100%
969NA | 5 | 0.282% | 10 | 0.564% | 37 | 2.087% | 3 | 0.1692% | 1718 | 96.9%
981GR | 0 | 0% | 0 | 0% | 6 | 0.6608% | 0 | 0% | 902 | 99.34%
982GR | 0 | 0% | 0 | 0% | 1 | 0.03734% | 0 | 0% | 2677 | 99.96%
88WED | 77 | 8.004% | 3 | 0.3119% | 19 | 1.975% | 2 | 0.2079% | 861 | 89.5%
176PR | 9 | 3.766% | 0 | 0% | 5 | 2.092% | 21 | 8.787% | 204 | 85.36%
35HDN | 3 | 0.158% | 0 | 0% | 0 | 0% | 0 | 0% | 1896 | 99.84%
682VI | 0 | 0% | 0 | 0% | 4 | 0.1637% | 8 | 0.3275% | 2431 | 99.51%
352ON | 1 | 0.1406% | 0 | 0% | 15 | 2.11% | 6 | 0.8439% | 689 | 96.91%
362BD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1252 | 100%
681VI | 0 | 0% | 0 | 0% | 7 | 0.6375% | 0 | 0% | 1091 | 99.36%
18LOB | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 811 | 100%
479MD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1442 | 100%
233ST | 0 | 0% | 0 | 0% | 12 | 0.5259% | 0 | 0% | 2270 | 99.47%

## b. section
Circuit Name | Concrete | Concrete Percent Failure | Fiberglass | Fiberglass Percent Failure | Steel | Steel Percent Failure | Street Light | Percent Street Light Failure | Wood | Wood Percent Failure
104SL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.1218%
105SL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
112MC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
121EL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
127SO | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
135TG | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
137TG | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
138CI | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
141LV | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
151RS | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
152RS | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
154BE | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
155BE | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
156BE | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
158HA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
162VD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
163VD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
166CH | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
17LOB | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.09615%
180AM | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.08613%
182AM | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
211BA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
238CR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
240WS | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
251KP | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
257GV | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
261TR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
268RV | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
269RV | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
26HRN | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
307SP | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
308FR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
30BRC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
310SP | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
311SP | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
317TA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.1332%
31BRC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
320AP | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
324CO | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
326CO | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
327CO | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
32BRC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
334NC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.0226%
336NC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
342JT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
342WN | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
345JT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
346JT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
350PW | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
360BD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
363HT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
364HT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
365HT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
380MC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
392WO | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
405CV | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
406CV | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
40LNB | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
425CV | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
426CV | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
432KT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.04778%
436TI | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
441LU | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
453KT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2 | 0.183%
457FL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
461SI | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.1299%
462SI | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 3 | 0.3181%
471NS | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 5 | 0.2255%
472NS | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
474MD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
476MD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.07446%
477MD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 5 | 0.1814%
48TCO | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
490LI | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
4CAL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
506WR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
507CN | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
511CN | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.1493%
513CN | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
519DO | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
520BW | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
521BW | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.1318%
536SH | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
537LA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
539LA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
53BAT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 4 | 0.1473%
545PL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
546PL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
549JT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
551EP | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
552EP | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
563WD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
566CR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
568DC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
570CR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
570DC | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
577CN | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
592WR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
593WD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
594WD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
598TA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
600HU | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
607HU | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
608HU | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
611HU | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
628TE | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
634WT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
654VT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
657VT | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
670GE | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
711MG | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
723DY | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
724DY | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.04277%
727DY | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
72ECH | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
736CY | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
738CY | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
740OK | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
741DA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
742OK | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
743DA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.08945%
744DA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
750FO | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
753FO | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
75RAY | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
761SA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 5 | 0.3615%
762AL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
763AL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
768AL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
781EG | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
806PD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
809PD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
883GR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
904NA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
905NA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
90MPL | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
917SW | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
920DO | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2 | 0.03289%
92CHI | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
945ID | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
949IN | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
969NA | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
981GR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0%
982GR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 4 | 0.1494%
88WED | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.104%
176PR | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.4184%
35HDN | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.05266%
682VI | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.04093%
352ON | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.1406%
362BD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.07987%
681VI | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.09107%
18LOB | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 3 | 0.3699%
479MD | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1 | 0.06935%
233ST | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2 | 0.08764%

## c. and d. section
Circuit Name | Concrete | Concrete Failure Cause | Fiberglass | Fiberglass Failure Cause | Steel | Steel Failure Cause | Street Light | Street Light Failure Cause | Wood | Cause and Point of Failure (where available)
104SL | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Equipment Failure- Equipment Failure - Pole
105SL | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Equipment Failure- Equipment Failure - Crossarm
112MC | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
121EL | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree/Limb Growing Inside R.O.W.
127SO | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
135TG | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Animal- Squirrel
137TG | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
138CI | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
141LV | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
151RS | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
152RS | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
154BE | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
155BE | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
156BE | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
158HA | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
162VD | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
163VD | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Equipment Failure-Primary Conductor
166CH | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
17LOB | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Transmission/Substation- Transmission Other (Describe in remarks)
180AM | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Lightning- Lightning
182AM | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
211BA | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Equipment Failure- Slack Conductor / Inadequate Phase Spacing
238CR | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
240WS | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
251KP | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
257GV | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree/Limb Growing Inside R.O.W.
261TR | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
268RV | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
269RV | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
26HRN | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
307SP | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
308FR | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Other- Inspected Unknown
30BRC | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
310SP | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree/Limb Growing Inside R.O.W.
311SP | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
317TA | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Vegetation- Tree On Line Outside R.O.W.
31BRC | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
320AP | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
324CO | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
326CO | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
327CO | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
32BRC | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
334NC | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Lightning-Lightning
336NC | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
342JT | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
342WN | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
345JT | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
346JT | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
350PW | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
360BD | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
363HT | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
364HT | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
365HT | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
380MC | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
392WO | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
405CV | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
406CV | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
40LNB | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
425CV | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
426CV | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
432KT | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Vegetation- Tree On Line Outside R.O.W.
436TI | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
441LU | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Equipment Failure-Primary Conductor
453KT | 0 | None | 0 | None | 0 | None | 0 | None | 2 | Vegetation- Tree On Line Outside R.O.W.
457FL | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
461SI | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Lightning- Lightning
462SI | 0 | None | 0 | None | 0 | None | 0 | None | 3 | Vegetation- Tree On Line Outside R.O.W.
471NS | 0 | None | 0 | None | 0 | None | 0 | None | 5 | Vegetation- Tree On Line Outside R.O.W.
472NS | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Transmission/Substation- Unknown - Under Investigation
474MD | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Transmission/Substation-Transmission Line Out
476MD | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Vegetation- Tree on Line from Inside R.O.W
477MD | 0 | None | 0 | None | 0 | None | 0 | None | 5 | Vegetation- Tree On Line Outside R.O.W.
48TCO | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Transmission/Substation-Transmission Line Out
490LI | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Transmission/Substation-Transmission Line Out
4CAL | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Equipment Failure- Equipment Failure - Transformer
506WR | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
507CN | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
511CN | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Lightning- Lightning
513CN | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
519DO | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Animal- Squirrel
520BW | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Customer- Foreign Trouble - Customer Equipment
521BW | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Vegetation- Overhanging Limb
536SH | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
537LA | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
539LA | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree/Limb Growing Inside R.O.W.
53BAT | 0 | None | 0 | None | 0 | None | 0 | None | 4 | Transmission/Substation-Transmission Line Out
545PL | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Equipment Failure- Equipment Failure - Crossarm
546PL | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
549JT | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Equipment Failure- Equipment Failure - Transformer
551EP | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
552EP | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Equipment Failure-Primary Conductor
563WD | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Transmission/Substation- Customer Equipment
566CR | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Transmission/Substation-Transmission Line Out
568DC | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
570CR | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Transmission/Substation-Transmission Line Out
570DC | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
577CN | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Vine Growing into Line
592WR | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
593WD | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
594WD | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
598TA | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
600HU | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
607HU | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
608HU | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
611HU | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
628TE | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
634WT | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
654VT | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
657VT | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
670GE | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
711MG | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
723DY | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
724DY | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Vegetation- Tree On Line Outside R.O.W.
727DY | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
72ECH | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
736CY | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree/Limb Growing Inside R.O.W.
738CY | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree/Limb Growing Inside R.O.W.
740OK | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
741DA | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
742OK | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Equipment Failure- Equipment Failure - Fuse Switch
743DA | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Vegetation- Tree On Line Outside R.O.W.
744DA | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
750FO | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
753FO | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
75RAY | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
761SA | 0 | None | 0 | None | 0 | None | 0 | None | 5 | Transmission/Substation- Transmission Line Out
762AL | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
763AL | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
768AL | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
781EG | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
806PD | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
809PD | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
883GR | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
904NA | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree/Limb Growing Inside R.O.W.
905NA | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning-Lightning
90MPL | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
917SW | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Exceeds equipment design capability
920DO | 0 | None | 0 | None | 0 | None | 0 | None | 2 | Vegetation- Tree On Line Outside R.O.W.
92CHI | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Overhanging Limb
945ID | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Transmission/Substation- Transmission Line Out
949IN | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Transmission/Substation- Transmission Business Unit (Describe in remarks)
969NA | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Lightning- Lightning
981GR | 0 | None | 0 | None | 0 | None | 0 | None | 0 | Vegetation- Tree On Line Outside R.O.W.
982GR | 0 | None | 0 | None | 0 | None | 0 | None | 4 | Vegetation- Tree On Line Outside R.O.W.
88WED | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Equipment Failure- Equipment Failure - Pole
176PR | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Equipment Failure- Equipment Failure - Pole
35HDN | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Equipment Failure- BROKEN 35' LIFT POLE
682VI | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Vegetation- Tree/Limb Growing Inside R.O.W.
352ON | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Vegetation- Tree On Line Outside R.O.W.
362BD | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Equipment Failure- BROKEN 35' LIFT POLE
681VI | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Equipment Failure- Equipment Failure - Pole
18LOB | 0 | None | 0 | None | 0 | None | 0 | None | 3 | Equipment Failure- BROKEN 35' LIFT POLE
479MD | 0 | None | 0 | None | 0 | None | 0 | None | 1 | Equipment Failure- Equipment Failure - Pole
233ST | 0 | None | 0 | None | 0 | None | 0 | None | 2 | Equipment Failure- Equipment Failure - Pole

## e. section
NESC 250B | Entergy Texas' ("ETI") territory is both within the Medium and Light Loading Zones of the NESC 250B rules (see below map).
NESC 250C | From the adoption of Entergy's new Extreme Wind Standard, new distribution construction is built to Entergy's Extreme Wind Speed standards.
Circuit Name | Entergy's Extreme Wind Speed (mph)
100BL | 150
101BL | 150
102CD | 140
102LA | 125
103CD | 140
104CD | 140
104SL | 125
105CD | 140
105SL | 125
106HM | 140
107HM | 125
108HM | 140
110MC | 125
111MC | 125
111WS | 140
112MC | 125
112WS | 140
113MC | 125
113WS | 140
119RB | 150
11TRV | 125
120EL | 125
121EL | 125
122EL | 125
123EL | 125
126SO | 100
127SO | 100
129VI | 125
12FTW | 140
130CE | 140
130VI | 125
131CE | 140
131VI | 125
132CE | 140
132VI | 125
133CE | 140
134TG | 125
135TG | 125
136TG | 125
137TG | 125
138CI | 100
13TRV | 125
141LV | 125
142LV | 140
14TRV | 125
150RS | 125
151RS | 125
152RS | 125
153RS | 125
154BE | 125
155BE | 125
156BE | 125
157HA | 125
158HA | 125
159CH | 125
15LCN | 125
15WWK | 140
160CH | 125
161VD | 125
162VD | 125
163VD | 125
164VD | 125
165CH | 125
166CH | 125
16LCN | 125
171PR | 125
176PR | 125
17LOB | 125
180AM | 125
181AM | 125
182AM | 125
184PS | 125
185PS | 125
18LOB | 125
18WWK | 140
193NE | 125
194NE | 125
195CR | 125
197NE | 125
198CR | 125
201SD | 150
202SD | 150
204TB | 140
205TB | 140
206TB | 140
207TB | 140
211BA | 140
212BA | 140
213BA | 140
21NOE | 125
226HI | 150
227HI | 150
228HI | 150
22HKS | 140
22YAN | 125
231ST | 140
232ST | 140
233ST | 140
238CR | 110
239CR | 110
23HKS | 140
23YAN | 125
240WS | 140
241WS | 140
24HKS | 140
24YAN | 125
250BY | 140
251KP | 100
257GV | 100
25HKS | 140
25YAN | 125
261TR | 100
262TR | 100
268RV | 100
269RV | 100
26HRN | 100
26NOE | 125
270BC | 125
27NOE | 125
280ML | 140
281ML | 140
28HRN | 100
28NOE | 125
29NOE | 125
304NC | 110
307FR | 125
307SP | 125
308FR | 125
308SP | 110
309SP | 125
30BRC | 125
310FR | 125
310SP | 125
311SP | 110
316TA | 110
317TA | 110
31BRC | 125
320AP | 110
321AP | 110
324CO | 125
325CO | 125
326CO | 125
327CO | 125
32BRC | 125
330AD | 125
331AD | 125
332AD | 125
333NC | 110
334NC | 125
335NC | 110
336NC | 110
337NC | 110
338NC | 110
33BRC | 125
340WN | 125
341WN | 125
342JT | 110
342WN | 125
343JT | 110
345JT | 110
345OI | 125
346JT | 110
34KOL | 140
350ON | 125
350PW | 125
351ON | 125
351PW | 125
352ON | 125
35HDN | 125
35KOL | 140
360BD | 125
360HT | 110
361BD | 125
361HT | 110
362BD | 125
362HT | 110
363BD | 125
363HT | 110
364HT | 110
365HT | 110
36KOL | 140
36TSC | 100
374MR | 125
375MR | 125
37KOL | 140
37TYR | 125
380MC | 125
381MC | 125
382MC | 125
38TYR | 125
392WO | 125
393WO | 125
403CV | 125
404CV | 125
405CV | 125
406CV | 125
40LNB | 125
41LNB | 125
425CV | 110
426CV | 110
42LNB | 125
430TI | 125
432KT | 125
433TI | 125
435KT | 125
436TI | 125
437TI | 125
43LNB | 125
441LU | 125
451KT | 125
452KT | 125
453KT | 125
456FL | 125
457FL | 125
45PTN | 140
461SI | 125
462SI | 125
463SI | 125
46PTN | 140
471NS | 125
472NS | 125
476MD | 125
477MD | 125
478MD | 125
479MD | 125
48TCO | 125
490LI | 125
491LI | 125
4CAL | 100
504CN | 110
505CN | 110
506CN | 110
506WR | 110
507CN | 110
50FTW | 140
511CN | 110
512CN | 110
513CN | 110
514CN | 110
515CN | 110
516CN | 110
519DO | 110
51FTW | 140
520BW | 110
521BW | 110
522BW | 110
525PA | 110
528CM | 110
529CM | 110
52FTW | 140
530CM | 110
535SH | 110
536SH | 110
537LA | 110
538LA | 110
539LA | 110
53BAT | 125
540LA | 110
544JT | 110
545PL | 110
546PL | 110
549JT | 110
54FTW | 140
550EP | 110
551EP | 110
552EP | 110
55FTW | 110
560WD | 110
562WD | 110
563WD | 110
564WD | 110
566CR | 110
567CR | 110
567FT | 150
568DC | 110
569DC | 110
570CR | 110
570DC | 110
572CN | 110
573CN | 110
574CN | 110
575CN | 110
576CN | 110
577CN | 110
580LM | 110
581LM | 110
582LM | 110
583LM | 110
584LM | 110
585LM | 110
590AP | 110
591AP | 110
592AP | 110
592WR | 110
593WD | 110
594WD | 110
598TA | 110
599TA | 110
59GRO | 140
600HU | 100
607HU | 100
608HU | 100
609HU | 100
60CRK | 125
610HU | 100
611HU | 100
61CRK | 125
61GRO | 140
627TE | 100
628TE | 100
62GRO | 140
632WT | 100
633WT | 100
634WT | 100
63CRK | 125
63GRO | 140
64CRK | 125
650VT | 100
651VT | 100
652VT | 100
653VT | 100
654VT | 100
655VT | 100
657VT | 100
65CRK | 125
65MAN | 140
66MAN | 140
670GE | 100
671MA | 125
673MA | 125
674MA | 125
67MAN | 140
67PTA | 140
681GR | 100
681VI | 125
682GR | 100
682Vi | 125
68PTA | 140
698CE | 100
69PTA | 140
6CAL | 100
701GL | 110
702GL | 110
703GL | 110
704GL | 110
705GL | 110
706GL | 110
707GL | 110
708GL | 110
709GL | 110
70ECH | 125
70PAS | 140
710GL | 110
711MG | 125
714SL | 125
715ME | 110
716ME | 110
717ME | 110
718ME | 110
719ME | 110
71ECH | 125
720ME | 110
721ME | 110
722ME | 110
723DY | 125
723ME | 110
724DY | 125
724ME | 110
725DY | 125
726DY | 125
727DY | 125
72ECH | 125
731SN | 125
733SN | 125
736CY | 125
737CY | 125
738CY | 125
739CY | 125
73ECH | 125
73RAY | 125
740OK | 110
741DA | 125
741OK | 110
742OK | 110
743DA | 125
743OK | 110
744DA | 125
744OK | 110
745OK | 110
74RAY | 125
750FO | 110
751FO | 110
752FO | 110
753FO | 110
754FO | 110
755FO | 110
756FO | 110
757FO | 110
758FO | 110
759FO | 110
75JRU | 125
75RAY | 125
761SA | 125
762AL | 110
763AL | 110
764AL | 110
765AL | 110
766AL | 110
767AL | 110
768AL | 110
769AL | 110
76JRU | 125
770AL | 110
771AL | 110
77JRU | 125
781EG | 125
782PW | 125
78JRU | 125
7FTW | 140
801FE | 140
806PD | 100
808PD | 100
809PD | 100
80LAV | 140
80WED | 125
810PD | 100
819MD | 100
81LAV | 140
82WED | 125
84DQN | 140
85DQN | 140
85WED | 125
86WED | 125
87DQN | 140
87WED | 125
883GR | 100
88WED | 125
8TRV | 125
904NA | 100
905NA | 100
90MPL | 125
90STG | 140
917SW | 100
91MPL | 125
91STG | 140
920DO | 100
92CHI | 125
92STG | 140
93CHI | 125
93STG | 140
945ID | 100
969NA | 100
981GR | 100
982GR | 100
98SPU | 140
99FTW | 140
99SPU | 140
88WED | 125
176PR | 125
35HDN | 125
682VI | 125
352ON | 125
362BD | 125
681VI | 125
18LOB | 125
479MD | 125
233ST | 140

## f. and g. section
Circuit Name | Future Projects | Estimate Year
104SL | ETI's Comprehensive Hardening Projects | 2032
105SL | ETI's Comprehensive Hardening Projects | 2026
112MC | ETI's Comprehensive Hardening Projects | 2029
121EL | ETI's Comprehensive Hardening Projects | 2033
127SO | ETI's Comprehensive Hardening Projects | 2029
135TG | - | TBD
137TG | ETI's Comprehensive Hardening Projects | 2032
138CI | ETI's Comprehensive Hardening Projects | 2031
141LV | ETI's Comprehensive Hardening Projects | 2033
151RS | ETI's Comprehensive Hardening Projects | 2034
152RS | ETI's Comprehensive Hardening Projects | 2032
154BE | ETI's Comprehensive Hardening Projects | 2025
155BE | ETI's Comprehensive Hardening Projects | 2029
156BE | ETI's Comprehensive Hardening Projects | 2030
158HA | ETI's Comprehensive Hardening Projects | 2029
162VD | ETI's Comprehensive Hardening Projects | 2030
163VD | ETI's Comprehensive Hardening Projects | 2033
166CH | ETI's Comprehensive Hardening Projects | 2029
17LOB | ETI's Comprehensive Hardening Projects | 2032
180AM | ETI's Comprehensive Hardening Projects | 2034
182AM | ETI's Comprehensive Hardening Projects | 2029
211BA | ETI's Comprehensive Hardening Projects | 2028
238CR | ETI's Comprehensive Hardening Projects | 2033
240WS | ETI's Comprehensive Hardening Projects | 2032
251KP | ETI's Comprehensive Hardening Projects | 2029
257GV | - | TBD
261TR | ETI's Comprehensive Hardening Projects | 2031
268RV | ETI's Comprehensive Hardening Projects | 2028
269RV | ETI's Comprehensive Hardening Projects | 2033
26HRN | ETI's Comprehensive Hardening Projects | 2029
307SP | ETI's Comprehensive Hardening Projects | 2029
308FR | ETI's Comprehensive Hardening Projects | 2029
30BRC | ETI's Comprehensive Hardening Projects | 2033
310SP | ETI's Comprehensive Hardening Projects | 2027
311SP | ETI's Comprehensive Hardening Projects | 2031
317TA | ETI's Comprehensive Hardening Projects | 2029
31BRC | ETI's Comprehensive Hardening Projects | 2034
320AP | ETI's Comprehensive Hardening Projects | 2029
324CO | ETI's Comprehensive Hardening Projects | 2031
326CO | ETI's Comprehensive Hardening Projects | 2028
327CO | ETI's Comprehensive Hardening Projects | 2032
32BRC | ETI's Comprehensive Hardening Projects | 2028
334NC | ETI's Comprehensive Hardening Projects | 2026
336NC | ETI's Comprehensive Hardening Projects | 2025
342JT | ETI's Comprehensive Hardening Projects | 2028
342WN | ETI's Comprehensive Hardening Projects | 2033
345JT | ETI's Comprehensive Hardening Projects | 2029
346JT | - | TBD
350PW | ETI's Comprehensive Hardening Projects | 2029
360BD | ETI's Comprehensive Hardening Projects | 2028
363HT | ETI's Comprehensive Hardening Projects | 2031
364HT | ETI's Comprehensive Hardening Projects | 2027
365HT | ETI's Comprehensive Hardening Projects | 2029
380MC | ETI's Comprehensive Hardening Projects | 2027
392WO | ETI's Comprehensive Hardening Projects | 2032
405CV | ETI's Comprehensive Hardening Projects | 2029
406CV | ETI's Comprehensive Hardening Projects | 2025
40LNB | ETI's Comprehensive Hardening Projects | 2031
425CV | ETI's Comprehensive Hardening Projects | 2027
426CV | ETI's Comprehensive Hardening Projects | 2028
432KT | ETI's Comprehensive Hardening Projects | 2032
436TI | - | TBD
441LU | ETI's Comprehensive Hardening Projects | 2033
453KT | ETI's Comprehensive Hardening Projects | 2033
457FL | ETI's Comprehensive Hardening Projects | 2031
461SI | ETI's Comprehensive Hardening Projects | 2029
462SI | ETI's Comprehensive Hardening Projects | 2033
471NS | ETI's Comprehensive Hardening Projects | 2033
472NS | ETI's Comprehensive Hardening Projects | 2034
474MD | - | TBD
476MD | ETI's Comprehensive Hardening Projects | 2029
477MD | ETI's Comprehensive Hardening Projects | 2033
48TCO | ETI's Comprehensive Hardening Projects | 2033
490LI | ETI's Comprehensive Hardening Projects | 2033
4CAL | ETI's Comprehensive Hardening Projects | 2033
506WR | ETI's Comprehensive Hardening Projects | 2033
507CN | ETI's Comprehensive Hardening Projects | 2027
511CN | ETI's Comprehensive Hardening Projects | 2026
513CN | ETI's Comprehensive Hardening Projects | 2025
519DO | ETI's Comprehensive Hardening Projects | 2026
520BW | ETI's Comprehensive Hardening Projects | 2029
521BW | ETI's Comprehensive Hardening Projects | 2030
536SH | ETI's Comprehensive Hardening Projects | 2031
537LA | ETI's Comprehensive Hardening Projects | 2029
539LA | ETI's Comprehensive Hardening Projects | 2033
53BAT | ETI's Comprehensive Hardening Projects | 2025
545PL | ETI's Comprehensive Hardening Projects | 2031
546PL | ETI's Comprehensive Hardening Projects | 2034
549JT | - | TBD
551EP | ETI's Comprehensive Hardening Projects | 2028
552EP | ETI's Comprehensive Hardening Projects | 2029
563WD | ETI's Comprehensive Hardening Projects | 2026
566CR | ETI's Comprehensive Hardening Projects | 2031
568DC | ETI's Comprehensive Hardening Projects | 2033
570CR | ETI's Comprehensive Hardening Projects | 2028
570DC | ETI's Comprehensive Hardening Projects | 2033
577CN | ETI's Comprehensive Hardening Projects | 2025
592WR | ETI's Comprehensive Hardening Projects | 2031
593WD | ETI's Comprehensive Hardening Projects | 2034
594WD | ETI's Comprehensive Hardening Projects | 2033
598TA | ETI's Comprehensive Hardening Projects | 2031
600HU | ETI's Comprehensive Hardening Projects | 2029
607HU | ETI's Comprehensive Hardening Projects | 2031
608HU | ETI's Comprehensive Hardening Projects | 2029
611HU | ETI's Comprehensive Hardening Projects | 2032
628TE | ETI's Comprehensive Hardening Projects | 2031
634WT | ETI's Comprehensive Hardening Projects | 2027
654VT | - | TBD
657VT | - | TBD
670GE | ETI's Comprehensive Hardening Projects | 2029
711MG | ETI's Comprehensive Hardening Projects | 2029
723DY | ETI's Comprehensive Hardening Projects | 2029
724DY | ETI's Comprehensive Hardening Projects | 2030
727DY | ETI's Comprehensive Hardening Projects | 2026
72ECH | ETI's Comprehensive Hardening Projects | 2029
736CY | - | TBD
738CY | - | TBD
740OK | ETI's Comprehensive Hardening Projects | 2029
741DA | ETI's Comprehensive Hardening Projects | 2032
742OK | ETI's Comprehensive Hardening Projects | 2034
743DA | ETI's Comprehensive Hardening Projects | 2028
744DA | ETI's Comprehensive Hardening Projects | 2032
750FO | ETI's Comprehensive Hardening Projects | 2029
753FO | ETI's Comprehensive Hardening Projects | 2029
75RAY | ETI's Comprehensive Hardening Projects | 2031
761SA | ETI's Comprehensive Hardening Projects | 2026
762AL | ETI's Comprehensive Hardening Projects | 2030
763AL | ETI's Comprehensive Hardening Projects | 2025
768AL | ETI's Comprehensive Hardening Projects | 2029
781EG | ETI's Comprehensive Hardening Projects | 2027
806PD | ETI's Comprehensive Hardening Projects | 2030
809PD | ETI's Comprehensive Hardening Projects | 2033
883GR | ETI's Comprehensive Hardening Projects | 2031
904NA | ETI's Comprehensive Hardening Projects | 2031
905NA | ETI's Comprehensive Hardening Projects | 2031
90MPL | ETI's Comprehensive Hardening Projects | 2031
917SW | - | TBD
920DO | ETI's Comprehensive Hardening Projects | 2027
92CHI | ETI's Comprehensive Hardening Projects | 2028
945ID | ETI's Comprehensive Hardening Projects | 2034
949IN | - | TBD
969NA | ETI's Comprehensive Hardening Projects | 2029
981GR | ETI's Comprehensive Hardening Projects | 2025
982GR | ETI's Comprehensive Hardening Projects | 2030
88WED | ETI's Comprehensive Hardening Projects | 2029
176PR | ETI's Comprehensive Hardening Projects | 2031
35HDN | ETI's Comprehensive Hardening Projects | 2029
682VI | ETI's Comprehensive Hardening Projects | 2033
352ON | ETI's Comprehensive Hardening Projects | 2032
362BD | ETI's Comprehensive Hardening Projects | 2031
681VI | ETI's Comprehensive Hardening Projects | 2028
18LOB | ETI's Comprehensive Hardening Projects | 2030
479MD | ETI's Comprehensive Hardening Projects | 2034
233ST | ETI's Comprehensive Hardening Projects | 2030