## a. section
Feeder Name
223HI | 129VI | 159CH | 233ST | 324CO | 364HT
102CD | 12FTW | 15LCN | 238CR | 325CO | 36KOL
193NE | 130VI | 165CH | 239CR | 326CO | 37KOL
103CD | 131VI | 171PR | 23HKS | 327CO | 37TYR
105CD | 132CE | 176PR | 23YAN | 32BRC | 380MC
105SL | 132VI | 17LOB | 241WS | 330AD | 381MC
106HM | 135TG | 7FTW | 24HKS | 336NC | 38TYR
107HM | 136TG | 180AM | 24YAN | 33BRC | 403CV
108HM | 137TG | 181AM | 250BY | 340WN | 40LNB
110MC | 13TRV | 18LOB | 25YAN | 341WN | 425CV
111MC | 141LV | 194NE | 268RV | 342WN | 426CV
111WS | 195CR | 197NE | 269RV | 345OI | 432KT
112MC | 150RS | 198CR | 27NOE | 34KOL | 435KT
112WS | 151RS | 204TB | 29NOE | 350ON | 43LNB
567FT | 152RS | 205TB | 307FR | 351ON | 441LU
11TRV | 153RS | 21NOE | 307SP | 35HDN | 451KT
120EL | 154BE | 226HI | 308SP | 35KOL | 456FL
121EL | 155BE | 227HI | 309SP | 360BD | 457FL
122EL | 156BE | 22YAN | 30BRC | 361BD | 461SI
123EL | 158HA | 232ST | 321AP | 363BD | 462SI
463SI | 580LM | 67MAN | 758FO | 99SPU | -
46PTN | 99FTW | 682VI | 761SA | - | -
471NS | 607HU | 68PTA | 76JRU | - | -
472NS | 608HU | 6CAL | 77JRU | - | -
479MD | 60CRK | 70ECH | 781EG | - | -
48TCO | 610HU | 70PAS | 78JRU | - | -
490LI | 611HU | 71ECH | 800FE | - | -
506WR | 61CRK | 724DY | 801FE | - | -
516CN | 61GRO | 725DY | 80WED | - | -
521BW | 627TE | 726DY | 85WED | - | -
522BW | 628TE | 727DY | 86WED | - | -
536SH | 62GRO | 738CY | 883GR | - | -
53BAT | 632WT | 73RAY | 88WED | - | -
552EP | 634WT | 740OK | 905NA | - | -
566CR | 63CRK | 741OK | 90STG | - | -
568DC | 64CRK | 743DA | 91STG | - | -
569DC | 657VT | 743OK | 920DO | - | -
574CN | 65CRK | 744DA | 92STG | - | -
576CN | 66MAN | 744OK | 93CHI | - | -
577CN | 673MA | 753FO | 98SPU | - | -

## b. section
Feeder | Outage Cause Description
102CD | None
103CD | Equipment Failure - Equipment Failure - Air Break / Disconnect Switch
103CD | Equipment Failure - Equipment Failure - Air Break / Disconnect Switch
105CD | None
105SL | Equipment Failure - Equipment Failure - Pole
105SL | Equipment Failure - Equipment Failure - Pole
106HM | Equipment Failure - Equipment Failure - Transformer
106HM | Equipment Failure - Equipment Failure - Transformer
107HM | None
108HM | None
110MC | None
111MC | Vegetation - Overhanging Limb
111MC | Vegetation - Overhanging Limb
111WS | None
112MC | Equipment Failure - Equipment Failure - Pole
112MC | Equipment Failure - Equipment Failure - Pole
112WS | Equipment Failure - Neutral Conductor
112WS | Equipment Failure - Neutral Conductor
11TRV | None
120EL | Vegetation - Tree On Line Outside R.O.W.
120EL | Vegetation - Tree On Line Outside R.O.W.
121EL | Vegetation - Tree On Line Outside R.O.W.
121EL | Vegetation - Tree On Line Outside R.O.W.
122EL | Vegetation - Overhanging Limb
122EL | Vegetation - Overhanging Limb
123EL | Vegetation - Tree/Limb Growing Inside R.O.W.
123EL | Vegetation - Tree/Limb Growing Inside R.O.W.
129VI | None
12FTW | None
130VI | None
131VI | Vegetation - Tree On Line Outside R.O.W.
131VI | Vegetation - Tree On Line Outside R.O.W.
132CE | Secondary/Service Conductor
132CE | Secondary/Service Conductor
132VI | None
135TG | Animal- Squirrel
135TG | Animal- Squirrel
136TG | None
137TG | Lightning- Lightning
137TG | Lightning- Lightning
13TRV | None
141LV | Vegetation- Overhanging Limb
141LV | Vegetation- Overhanging Limb
150RS | None
151RS | Vegetation- Tree On Line Outside R.O.W.
151RS | Vegetation- Tree On Line Outside R.O.W.
152RS | Vegetation- Overhanging Limb
152RS | Vegetation- Overhanging Limb
153RS | None
154BE | Vegetation- Tree On Line Outside R.O.W.
154BE | Vegetation- Tree On Line Outside R.O.W.
155BE | Vegetation- Overhanging Limb
155BE | Vegetation- Overhanging Limb
156BE | Vegetation- Tree On Line Outside R.O.W.
156BE | Vegetation- Tree On Line Outside R.O.W.
158HA | Lightning- Lightning
158HA | Lightning- Lightning
159CH | Equipment Failure - Equipment Failure - Crossarm
159CH | Equipment Failure - Equipment Failure - Crossarm
15LCN | None
165CH | None
171PR | None
176PR | None
17LOB | Transmission/Substation- Transmission Other (Describe in remarks)
17LOB | Transmission/Substation- Transmission Other (Describe in remarks)
180AM | Lightning- Lightning
180AM | Lightning- Lightning
181AM | None
18LOB | None
193NE | Vegetation - Tree On Line Outside R.O.W.
193NE | Vegetation - Tree On Line Outside R.O.W.
194NE | None
195CR | Equipment Failure - Equipment Failure - Pole
195CR | Equipment Failure - Equipment Failure - Pole
197NE | None
198CR | None
204TB | Vegetation - Tree On Line Outside R.O.W.
204TB | Vegetation - Tree On Line Outside R.O.W.
205TB | None
21NOE | Vegetation - Tree On Line Outside R.O.W.
21NOE | Vegetation - Tree On Line Outside R.O.W.
223HI | Lightning
223HI | Lightning
226HI | Equipment Failure - Equipment Failure - Insulator
226HI | Equipment Failure - Equipment Failure - Insulator
227HI | Unknown - Under Investigation
227HI | Unknown - Under Investigation
22YAN | Equipment Failure - Equipment Failure - Pole
22YAN | Equipment Failure - Equipment Failure - Pole
232ST | Vegetation - Overhanging Limb
232ST | Vegetation - Overhanging Limb
233ST | Vegetation - Tree On Line Outside R.O.W.
233ST | Vegetation - Tree On Line Outside R.O.W.
238CR | Vegetation - Tree On Line Outside R.O.W.
238CR | Vegetation - Tree On Line Outside R.O.W.
239CR | Vegetation - Tree On Line Outside R.O.W.
239CR | Vegetation - Tree On Line Outside R.O.W.
23HKS | None
23YAN | None
241WS | Equipment Failure - Equipment Failure - Pole
241WS | Equipment Failure - Equipment Failure - Pole
24HKS | None
24YAN | None
250BY | Equipment Failure - Equipment Failure - Pole
250BY | Equipment Failure - Equipment Failure - Pole
25YAN | None
268RV | Vegetation - Tree On Line Outside R.O.W.
268RV | Vegetation - Tree On Line Outside R.O.W.
269RV | Vegetation - Tree On Line Outside R.O.W.
269RV | Vegetation - Tree On Line Outside R.O.W.
27NOE | None
29NOE | None
307FR | None
307SP | Vegetation - Tree/Limb Growing Inside R.O.W.
307SP | Vegetation - Tree/Limb Growing Inside R.O.W.
308SP | None
309SP | None
30BRC | Vegetation - Overhanging Limb
30BRC | Vegetation - Overhanging Limb
321AP | Transmission Line Out
321AP | Transmission Line Out
324CO | Equipment Failure - Equipment Failure - Transformer
324CO | Equipment Failure - Equipment Failure - Transformer
325CO | Vegetation - Vine Growing into Line
325CO | Vegetation - Vine Growing into Line
326CO | Lightning- Lightning
326CO | Lightning- Lightning
327CO | Lightning- Lightning
327CO | Lightning- Lightning
32BRC | Vegetation - Tree On Line Outside R.O.W.
32BRC | Vegetation - Tree On Line Outside R.O.W.
330AD | None
336NC | Vegetation - Tree On Line Outside R.O.W.
336NC | Vegetation - Tree On Line Outside R.O.W.
33BRC | None
340WN | None
341WN | None
342WN | Lightning- Lightning
342WN | Lightning- Lightning
345OI | None
34KOL | None
350ON | None
351ON | None
35HDN | Vegetation - Tree On Line Outside R.O.W.
35HDN | Vegetation - Tree On Line Outside R.O.W.
35KOL | None
360BD | Lightning- Lightning
360BD | Lightning- Lightning
361BD | None
363BD | Vegetation - Tree On Line Outside R.O.W.
363BD | Vegetation - Tree On Line Outside R.O.W.
364HT | Vegetation - Tree On Line Outside R.O.W.
364HT | Vegetation - Tree On Line Outside R.O.W.
36KOL | None
37KOL | None
37TYR | Vegetation - Tree/Limb Growing Inside R.O.W.
37TYR | Vegetation - Tree/Limb Growing Inside R.O.W.
380MC | Vegetation - Tree/Limb Growing Inside R.O.W.
380MC | Vegetation - Tree/Limb Growing Inside R.O.W.
381MC | None
38TYR | None
403CV | Vegetation - Tree On Line Outside R.O.W.
403CV | Vegetation - Tree On Line Outside R.O.W.
40LNB | Vegetation - Tree On Line Outside R.O.W.
40LNB | Vegetation - Tree On Line Outside R.O.W.
425CV | Vegetation - Tree On Line Outside R.O.W.
425CV | Vegetation - Tree On Line Outside R.O.W.
426CV | Vegetation - Tree On Line Outside R.O.W.
426CV | Vegetation - Tree On Line Outside R.O.W.
432KT | Vegetation- Tree On Line Outside R.O.W.
432KT | Vegetation- Tree On Line Outside R.O.W.
435KT | None
43LNB | None
441LU | Vegetation - Tree on Line from Inside R.O.W
441LU | Vegetation - Tree on Line from Inside R.O.W
451KT | None
456FL | None
457FL | Vegetation - Tree on Line from Inside R.O.W
457FL | Vegetation - Tree on Line from Inside R.O.W
461SI | Lightning- Lightning
461SI | Lightning- Lightning
462SI | Vegetation- Tree On Line Outside R.O.W.
462SI | Vegetation- Tree On Line Outside R.O.W.
463SI | None
46PTN | None
471NS | Vegetation - Tree On Line Outside R.O.W.
471NS | Vegetation - Tree On Line Outside R.O.W.
472NS | Transmission/Substation- Unknown - Under Investigation
472NS | Transmission/Substation- Unknown - Under Investigation
479MD | Vegetation - Tree On Line Outside R.O.W.
479MD | Vegetation - Tree On Line Outside R.O.W.
48TCO | Vegetation - Tree On Line Outside R.O.W.
48TCO | Vegetation - Tree On Line Outside R.O.W.
490LI | Transmission/Substation- Unknown - Under Investigation
490LI | Transmission/Substation- Unknown - Under Investigation
506WR | Vegetation - Tree On Line Outside R.O.W.
506WR | Vegetation - Tree On Line Outside R.O.W.
516CN | None
521BW | Equipment Failure - Equipment Failure - Air Break / Disconnect Switch
521BW | Equipment Failure - Equipment Failure - Air Break / Disconnect Switch
522BW | Equipment Failure - Equipment Failure - Other (Describe in Remarks Field)
522BW | Equipment Failure - Equipment Failure - Other (Describe in Remarks Field)
536SH | Lightning- Lightning
536SH | Lightning- Lightning
53BAT | Transmission/Substation-Transmission Line Out
53BAT | Transmission/Substation-Transmission Line Out
552EP | Equipment Failure-Primary Conductor
552EP | Equipment Failure-Primary Conductor
566CR | Vegetation - Tree On Line Outside R.O.W.
566CR | Vegetation - Tree On Line Outside R.O.W.
567FT | None
568DC | Vegetation - Overhanging Limb
568DC | Vegetation - Overhanging Limb
569DC | None
574CN | Vegetation - Tree On Line Outside R.O.W.
574CN | Vegetation - Tree On Line Outside R.O.W.
576CN | None
577CN | Vegetation - Tree/Limb Growing Inside R.O.W.
577CN | Vegetation - Tree/Limb Growing Inside R.O.W.
580LM | Vegetation - Tree On Line Outside R.O.W.
580LM | Vegetation - Tree On Line Outside R.O.W.
607HU | Vegetation - Tree On Line Outside R.O.W.
607HU | Vegetation - Tree On Line Outside R.O.W.
608HU | Vegetation- Tree On Line Outside R.O.W.
608HU | Vegetation- Tree On Line Outside R.O.W.
60CRK | None
610HU | None
611HU | Vegetation - Tree on Line from Inside R.O.W
611HU | Vegetation - Tree on Line from Inside R.O.W
61CRK | None
61GRO | None
627TE | Vegetation - Tree On Line Outside R.O.W.
627TE | Vegetation - Tree On Line Outside R.O.W.
628TE | Vegetation - Tree On Line Outside R.O.W.
628TE | Vegetation - Tree On Line Outside R.O.W.
62GRO | Equipment Failure - Equipment Failure - Pole
62GRO | Equipment Failure - Equipment Failure - Pole
632WT | Vegetation - Tree On Line Outside R.O.W.
632WT | Vegetation - Tree On Line Outside R.O.W.
634WT | Vegetation - Tree On Line Outside R.O.W.
634WT | Vegetation - Tree On Line Outside R.O.W.
63CRK | None
64CRK | None
657VT | Vegetation - Tree On Line Outside R.O.W.
657VT | Vegetation - Tree On Line Outside R.O.W.
65CRK | None
66MAN | Vegetation - Overhanging Limb
66MAN | Vegetation - Overhanging Limb
673MA | None
67MAN | Equipment Failure - Equipment Failure - Pole
67MAN | Equipment Failure - Equipment Failure - Pole
682VI | Vegetation - Tree/Limb Growing Inside R.O.W.
682VI | Vegetation - Tree/Limb Growing Inside R.O.W.
68PTA | Equipment Failure - Equipment Failure - Other (Describe in Remarks Field)
68PTA | Equipment Failure - Equipment Failure - Other (Describe in Remarks Field)
6CAL | None
70ECH | None
70PAS | None
71ECH | None
724DY | Vegetation - Tree On Line Outside R.O.W.
724DY | Vegetation - Tree On Line Outside R.O.W.
725DY | None
726DY | Vegetation - Tree On Line Outside R.O.W.
726DY | Vegetation - Tree On Line Outside R.O.W.
727DY | Vegetation- Overhanging Limb
727DY | Vegetation- Overhanging Limb
738CY | Vegetation- Tree/Limb Growing Inside R.O.W.
738CY | Vegetation- Tree/Limb Growing Inside R.O.W.
73RAY | Equipment Failure - Equipment Failure - Pole
73RAY | Equipment Failure - Equipment Failure - Pole
740OK | Vegetation - Tree On Line Outside R.O.W.
740OK | Vegetation - Tree On Line Outside R.O.W.
741OK | Secondary/Service Conductor
741OK | Secondary/Service Conductor
743DA | Vegetation - Tree On Line Outside R.O.W.
743DA | Vegetation - Tree On Line Outside R.O.W.
743OK | Vegetation - Tree On Line Outside R.O.W.
743OK | Vegetation - Tree On Line Outside R.O.W.
744DA | Vegetation - Tree On Line Outside R.O.W.
744DA | Vegetation - Tree On Line Outside R.O.W.
744OK | Vegetation - Tree On Line Outside R.O.W.
744OK | Vegetation - Tree On Line Outside R.O.W.
753FO | Lightning
753FO | Lightning
758FO | None
761SA | Transmission/Substation- Transmission Line Out
761SA | Transmission/Substation- Transmission Line Out
76JRU | None
77JRU | None
781EG | Equipment Failure - Equipment Failure - Pole
781EG | Equipment Failure - Equipment Failure - Pole
78JRU | None
7FTW | None
800FE | None
801FE | None
80WED | None
85WED | None
86WED | None
883GR | Vegetation - Tree/Limb Growing Inside R.O.W.
883GR | Vegetation - Tree/Limb Growing Inside R.O.W.
88WED | Vegetation - Tree On Line Outside R.O.W.
88WED | Vegetation - Tree On Line Outside R.O.W.
905NA | Vegetation - Tree/Limb Growing Inside R.O.W.
905NA | Vegetation - Tree/Limb Growing Inside R.O.W.
90STG | None
91STG | None
920DO | Vegetation - Tree/Limb Growing Inside R.O.W.
920DO | Vegetation - Tree/Limb Growing Inside R.O.W.
92STG | Vegetation - Tree/Limb Growing Inside R.O.W.
92STG | Vegetation - Tree/Limb Growing Inside R.O.W.
93CHI | Vegetation - Tree On Line Outside R.O.W.
93CHI | Vegetation - Tree On Line Outside R.O.W.
98SPU | None
99FTW | None
99SPU | None