## May-16 Event (Distribution)
Circuit | FIRST CALL DATE TIME | AVG Duration Minutes | Voltage (kV) | Cause Description
112MC | 2024-05-16 19:45 | 149.4061 | 13.2 | Overhanging Limb
121EL | 2024-05-16 19:27 | 789.9144 | 13.2 | Tree/Limb Growing Inside R.O.W.
127SO | 2024-05-16 17:14 | 691.257 | 13.2 | Tree On Line Outside R.O.W.
141LV | 2024-05-16 19:51 | 818.7972 | 13.2 | Overhanging Limb
151RS | 2024-05-16 19:32 | 1299.6846 | 13.2 | Tree On Line Outside R.O.W.
152RS | 2024-05-16 15:38 | 90.3349 | 13.2 | Overhanging Limb
154BE | 2024-05-16 19:29 | 740.7444 | 34.5 | Tree On Line Outside R.O.W.
155BE | 2024-05-16 19:19 | 204.7201 | 34.5 | Overhanging Limb
156BE | 2024-05-16 19:30 | 626.9904 | 34.5 | Tree On Line Outside R.O.W.
163VD | 2024-05-16 19:45 | 940.5198 | 13.2 | Tree On Line Outside R.O.W.
257GV | 2024-05-16 15:49 | 83.1751 | 13.2 | Tree/Limb Growing Inside R.O.W.
268RV | 2024-05-16 16:34 | 1091.9598 | 34.5 | Tree On Line Outside R.O.W.
269RV | 2024-05-16 15:45 | 2155.0632 | 34.5 | Overhanging Limb
26HRN | 2024-05-16 18:35 | 357.6976 | 34.5 | Overhanging Limb
310SP | 2024-05-16 19:02 | 590.7107 | 13.2 | Tree/Limb Growing Inside R.O.W.
317TA | 2024-05-16 18:19 | 1505.6028 | 13.2 | Tree On Line Outside R.O.W.
31BRC | 2024-05-16 19:59 | 83.6684 | 13.2 | Tree On Line Outside R.O.W.
320AP | 2024-05-16 18:28 | 1336.3368 | 13.2 | Tree On Line Outside R.O.W.
342JT | 2024-05-16 19:20 | 1603.581 | 34.5 | Tree On Line Outside R.O.W.
345JT | 2024-05-16 17:53 | 102.1392 | 34.5 | Overhanging Limb
350PW | 2024-05-16 18:27 | 1098.2502 | 13.2 | Overhanging Limb
364HT | 2024-05-16 18:41 | 904.1424 | 34.5 | Tree On Line Outside R.O.W.
365HT | 2024-05-16 17:58 | 1179.1704 | 34.5 | Overhanging Limb
380MC | 2024-05-16 19:48 | 745.848 | 34.5 | Tree On Line Outside R.O.W.
406CV | 2024-05-16 17:59 | 802.6932 | 13.2 | Tree On Line Outside R.O.W.
40LNB | 2024-05-16 20:00 | 1583.7696 | 13.2 | Tree On Line Outside R.O.W.
425CV | 2024-05-16 17:13 | 3281.7276 | 34.5 | Tree On Line Outside R.O.W.
426CV | 2024-05-16 17:15 | 718.4934 | 34.5 | Tree On Line Outside R.O.W.
432KT | 2024-05-16 18:27 | 1775.2284 | 34.5 | Tree On Line Outside R.O.W.
436TI | 2024-05-16 16:32 | 865.7634 | 13.2 | Overhanging Limb
453KT | 2024-05-16 18:19 | 765.6762 | 34.5 | Tree On Line Outside R.O.W.
462SI | 2024-05-16 19:00 | 2559.8976 | 13.2 | Tree On Line Outside R.O.W.
471NS | 2024-05-16 18:32 | 1399.3176 | 13.2 | Tree On Line Outside R.O.W.
476MD | 2024-05-16 18:30 | 3014.9382 | 13.2 | Tree on Line from Inside R.O.W
477MD | 2024-05-16 18:31 | 1205.0166 | 13.2 | Tree On Line Outside R.O.W.
4CAL | 2024-05-16 15:06 | 193.3652 | 34.5 | Tree On Line Outside R.O.W.
506WR | 2024-05-16 16:58 | 568.0772 | 13.2 | Tree On Line Outside R.O.W.
513CN | 2024-05-16 17:53 | 145.0094 | 13.2 | Tree On Line Outside R.O.W.
521BW | 2024-05-16 17:08 | 563.8667 | 34.5 | Overhanging Limb
537LA | 2024-05-16 17:32 | 660.9102 | 13.2 | Overhanging Limb
539LA | 2024-05-16 17:34 | 914.0166 | 13.2 | Tree/Limb Growing Inside R.O.W.
545PL | 2024-05-16 17:44 | 339.4952 | 13.2 | Tree On Line Outside R.O.W.
546PL | 2024-05-16 17:38 | 2587.8318 | 13.2 | Overhanging Limb
549JT | 2024-05-16 17:45 | 1704.9492 | 34.5 | Tree on Line from Inside R.O.W
552EP | 2024-05-16 17:31 | 695.4036 | 34.5 | Tree On Line Outside R.O.W.
570DC | 2024-05-16 16:07 | 192.2872 | 34.5 | Tree On Line Outside R.O.W.
577CN | 2024-05-16 18:39 | 717.0834 | 34.5 | Vine Growing into Line
592WR | 2024-05-16 16:49 | 1186.5144 | 34.5 | Tree On Line Outside R.O.W.
594WD | 2024-05-16 16:34 | 425.6845 | 13.2 | Tree On Line Outside R.O.W.
598TA | 2024-05-16 18:33 | 2158.2636 | 13.2 | Tree On Line Outside R.O.W.
600HU | 2024-05-16 16:50 | 1271.9238 | 34.5 | Tree On Line Outside R.O.W.
608HU | 2024-05-16 17:14 | 1223.7054 | 13.2 | Tree On Line Outside R.O.W.
611HU | 2024-05-16 15:51 | 150.8074 | 34.5 | Tree On Line Outside R.O.W.
634WT | 2024-05-16 17:18 | 1127.6172 | 13.2 | Tree On Line Outside R.O.W.
654VT | 2024-05-16 18:14 | 443.5064 | 13.2 | Tree On Line Outside R.O.W.
657VT | 2024-05-16 17:10 | 189.3542 | 13.2 | Tree On Line Outside R.O.W.
670GE | 2024-05-16 16:11 | 273.3096 | 13.2 | Tree On Line Outside R.O.W.
711MG | 2024-05-16 16:53 | 2841.5706 | 13.2 | Tree On Line Outside R.O.W.
724DY | 2024-05-16 18:37 | 2496.1362 | 13.2 | Tree On Line Outside R.O.W.
727DY | 2024-05-16 18:45 | 1076.874 | 13.2 | Overhanging Limb
736CY | 2024-05-16 18:45 | 1038.5172 | 13.2 | Tree/Limb Growing Inside R.O.W.
738CY | 2024-05-16 18:19 | 167.6743 | 13.2 | Tree/Limb Growing Inside R.O.W.
740OK | 2024-05-16 17:59 | 705.8358 | 13.2 | Tree On Line Outside R.O.W.
741DA | 2024-05-16 19:19 | 985.7988 | 13.2 | Tree On Line Outside R.O.W.
743DA | 2024-05-16 18:58 | 2608.0092 | 13.2 | Tree On Line Outside R.O.W.
744DA | 2024-05-16 18:50 | 1444.2732 | 13.2 | Tree On Line Outside R.O.W.
750FO | 2024-05-16 18:41 | 161.7615 | 34.5 | Tree On Line Outside R.O.W.
763AL | 2024-05-16 18:16 | 113.9233 | 34.5 | Tree On Line Outside R.O.W.
806PD | 2024-05-16 15:36 | 217.5097 | 34.5 | Overhanging Limb
904NA | 2024-05-16 16:36 | 242.0089 | 13.2 | Tree/Limb Growing Inside R.O.W.
920DO | 2024-05-16 17:06 | 274.3417 | 34.5 | Tree On Line Outside R.O.W.
92CHI | 2024-05-16 19:21 | 1013.0964 | 13.2 | Overhanging Limb
981GR | 2024-05-16 16:19 | 115.8575 | 34.5 | Tree On Line Outside R.O.W.
982GR | 2024-05-16 16:02 | 263.7212 | 34.5 | Tree On Line Outside R.O.W.

## May-16 Event (Transmission)
* note: Based on intended transmission design, unplanned outages on transmission lines do not necessarly result in interruptions.
Circuit | FIRST CALL DATE TIME | Duration Minutes* | Voltage (kV) | Cause Description
HIGHTOWER - CYPRESS 138.00 kV (187) | 2024-05-16 05:40 | 5992 | 138 | Fell From On R-O-W
CLEVELAND [TX] - SOUTHLINE 138.00 kV (808) | 2024-05-16 05:53 | 14580 | 138 | Fell From Off R-O-W
ETEC URLAND - WARREN 138.00 kV (589) | 2024-05-16 05:55 | 1320 | 138 | Fell From Off R-O-W
HIGHTOWER-RYE CO (187.1) | 2024-05-16 05:57 | 1474 | 138 | Fell From Off R-O-W
JACINTO - PEACH CREEK 230.00 kV (524) | 2024-05-16 05:57 | 3280 | 230 | Fell From Off R-O-W
JACINTO - CLEVELAND [TX] 138.00 kV (579) | 2024-05-16 06:11 | less than 1 minute | 138 | Fell From Off R-O-W
BATSON - SOUR LAKE 69.00 kV (55) | 2024-05-16 06:26 | 211 | 69 | Fell From Off R-O-W
SARATOGA JUNCTION SS - SARATOGA 69.00 kV (102) | 2024-05-16 06:26 | 211 | 69 | Fell From Off R-O-W
KOUNTZE BULK - EVADALE 138.00 kV (538) | 2024-05-16 06:28 | 1169 | 138 | Fell From Off R-O-W
CHINA - SHECO BATISTE CREEK 230.00 kV (583) | 2024-05-16 07:01 | 2591 | 230 | Fell From Off R-O-W
FOREST [TX] - GOSLIN 138.00 kV (320) | 2024-05-17 07:04 | 11357 | 138 | Fell From Off R-O-W
BENTWATER - GRIMES 138.00 kV (113) | 2024-05-17 09:07 | 5895 | 138 | Fell From On R-O-W

## Hurricane Beryl (Distribution)
Circuit | First Call Date Time | AVG Duration Minutes | Voltage (kV) | Cause Description
102CD | 2024-07-08 09:59 | 839.9165 | 13.2 | Tree/Limb Growing Inside R.O.W.
104SL | 2024-07-08 10:20 | 4384.8997 | 13.2 | Tree On Line Outside R.O.W.
105SL | 2024-07-08 07:05 | 4559.857 | 13.2 | Tree On Line Outside R.O.W.
121EL | 2024-07-08 09:06 | 2715.2207 | 13.2 | Tree On Line Outside R.O.W.
122EL | 2024-07-08 07:00 | 1198.1521 | 13.2 | Tree On Line Outside R.O.W.
123EL | 2024-07-08 06:10 | 1831.1414 | 13.2 | Tree/Limb Growing Inside R.O.W.
127SO | 2024-07-08 11:03 | 91.2357 | 13.2 | Tree/Limb Growing Inside R.O.W.
131CE | 2024-07-08 09:29 | 1769.3237 | 13.2 | Overhanging Limb
131VI | 2024-07-08 10:12 | 3968.9141 | 13.2 | Tree On Line Outside R.O.W.
134TG | 2024-07-08 06:13 | 654.3483 | 13.2 | Overhanging Limb
154BE | 2024-07-08 10:31 | 1101.7475 | 34.5 | Tree/Limb Growing Inside R.O.W.
155BE | 2024-07-08 08:12 | 1680.8313 | 34.5 | Tree/Limb Growing Inside R.O.W.
156BE | 2024-07-08 08:52 | 2173.3246 | 34.5 | Tree On Line Outside R.O.W.
157HA | 2024-07-08 07:21 | 672.4805 | 13.2 | Overhanging Limb
161VD | 2024-07-08 10:50 | 3040.3559 | 13.2 | Overhanging Limb
162VD | 2024-07-08 07:37 | 2784.6972 | 13.2 | Tree On Line Outside R.O.W.
163VD | 2024-07-08 06:56 | 2240.8347 | 13.2 | Tree/Limb Growing Inside R.O.W.
164VD | 2024-07-08 11:27 | 3020.7905 | 13.2 | Tree/Limb Growing Inside R.O.W.
17LOB | 2024-07-08 07:04 | 1300.9165 | 13.2 | Tree/Limb Growing Inside R.O.W.
180AM | 2024-07-08 07:03 | 1191.3095 | 34.5 | Tree On Line Outside R.O.W.
182AM | 2024-07-08 08:21 | 1878.5683 | 34.5 | Tree/Limb Growing Inside R.O.W.
185PS | 2024-07-08 06:13 | 527.1698 | 13.2 | Tree On Line Outside R.O.W.
18LOB | 2024-07-08 08:59 | 1452.5148 | 13.2 | Tree On Line Outside R.O.W.
193NE | 2024-07-08 12:12 | 2708.0223 | 34.5 | Tree On Line Outside R.O.W.
204TB | 2024-07-08 07:46 | 3922.1482 | 13.2 | Tree On Line Outside R.O.W.
206TB | 2024-07-08 06:12 | 4177.5539 | 13.2 | Tree On Line From Outside R.O.W.
211BA | 2024-07-08 06:01 | 2961.1816 | 13.2 | Tree On Line Outside R.O.W.
213BA | 2024-07-08 04:43 | 4800.0625 | 13.2 | Tree/Limb Growing Inside R.O.W.
21NOE | 2024-07-08 09:20 | 3187.2286 | 13.2 | Tree On Line Outside R.O.W.
22YAN | 2024-07-08 09:32 | 3281.7035 | 13.2 | Tree On Line Outside R.O.W.
239CR | 2024-07-08 09:35 | 4698.8769 | 34.5 | Tree on Line from Inside R.O.W
23HKS | 2024-07-08 06:42 | 1538.3907 | 13.2 | Tree/Limb Growing Inside R.O.W.
251KP | 2024-07-08 11:22 | 7224.2583 | 34.5 | Tree On Line Outside R.O.W.
261TR | 2024-07-08 09:50 | 8852.2262 | 13.2 | Tree/Limb Growing Inside R.O.W.
268RV | 2024-07-08 09:50 | 4170.0236 | 34.5 | Tree On Line Outside R.O.W.
269RV | 2024-07-08 08:29 | 5300.6961 | 34.5 | Tree On Line Outside R.O.W.
270BC | 2024-07-08 07:21 | 4198.9176 | 13.2 | Tree/Limb Growing Inside R.O.W.
280ML | 2024-07-08 14:26 | 344.7414 | 13.2 | Overhanging Limb
281ML | 2024-07-08 11:55 | 993.2489 | 13.2 | Tree On Line Outside R.O.W
29NOE | 2024-07-08 07:03 | 1711.4826 | 4.2 | Tree On Line Outside R.O.W.
304NC | 2024-07-08 07:03 | 6161.3575 | 13.2 | Tree On Line Outside R.O.W.
307SP | 2024-07-08 06:11 | 8332.1124 | 13.2 | Tree On Line Outside of R.O.W
308FR | 2024-07-08 11:57 | 7014.2046 | 13.2 | Overhanging Limb
308SP | 2024-07-08 07:12 | 6364.1664 | 13.2 | Tree Fell On Line From Outside R.O.W
309SP | 2024-07-08 07:00 | 5773.8549 | 13.2 | Tree Fell On Line From Outside R.O.W
30BRC | 2024-07-08 09:00 | 1832.9888 | 13.2 | Tree On Line Outside R.O.W.
310SP | 2024-07-08 07:18 | 5694.3223 | 13.2 | Tree On Line Outside R.O.W.
311SP | 2024-07-08 06:20 | 7003.0359 | 13.2 | Tree On Line Outside R.O.W.
316TA | 2024-07-08 07:33 | 9238.3478 | 13.2 | Tree Fell On Line From Outside R.O.W
317TA | 2024-07-08 09:07 | 10306.0163 | 13.2 | Tree Fell On Line From Outside R.O.W
31BRC | 2024-07-08 07:06 | 1875.1994 | 13.2 | Vine Growing into Line
320AP | 2024-07-08 06:20 | 7839.1689 | 13.2 | Tree Fell On Line From Outside R.O.W
324CO | 2024-07-08 06:30 | 2321.5338 | 13.2 | Vegetation - Overloaded Line
325CO | 2024-07-08 09:40 | 2912.4172 | 13.2 | Overhanging Limb
326CO | 2024-07-08 11:51 | 1357.6421 | 13.2 | Overhanging Limb
333NC | 2024-07-08 09:00 | 3283.2829 | 34.5 | Tree On Line Outside R.O.W.
334NC | 2024-07-08 05:41 | 6906.585 | 34.5 | Tree On Line Outside R.O.W.
335NC | 2024-07-08 03:33 | 1407.1455 | 34.5 | Tree On Line Outside R.O.W.
336NC | 2024-07-08 06:30 | 7557.1483 | 34.5 | Tree On Line Outside of R.O.W
337NC | 2024-07-08 06:39 | 4005.533 | 34.5 | Tree On Line Outside R.O.W.
338NC | 2024-07-08 06:43 | 3494.4438 | 34.5 | Tree On Line Outside of R.O.W
340WN | 2024-07-08 09:45 | 751.5624 | 13.2 | Overhanging Limb
341WN | 2024-07-08 06:43 | 675.4572 | 13.2 | Tree On Line Outside R.O.W.
342JT | 2024-07-08 05:22 | 6632.6797 | 34.5 | Tree On Line Outside of R.O.W
342WN | 2024-07-08 11:39 | 3705.111 | 13.2 | Vine Growing into Line
343JT | 2024-07-08 06:21 | 8831.0364 | 34.5 | Tree On Line Outside R.O.W.
345JT | 2024-07-08 06:46 | 8462.8164 | 34.5 | Tree On Line Outside R.O.W.
345OI | 2024-07-08 06:47 | 3047.4892 | 13.2 | Tree On Line Outside R.O.W.
346JT | 2024-07-08 07:28 | 7195.4664 | 34.5 | Tree On Line Outside R.O.W.
34KOL | 2024-07-08 14:10 | 1636.1551 | 13.2 | Tree On Line Outside of R.O.W
350ON | 2024-07-08 10:07 | 3076.6283 | 13.2 | Tree On Line Outside R.O.W.
350PW | 2024-07-08 03:32 | 9492.0146 | 13.2 | Tree On Line Outside R.O.W.
351ON | 2024-07-08 13:36 | 4464.2346 | 13.2 | Tree On Line Outside R.O.W.
351PW | 2024-07-08 09:55 | 5562.1886 | 13.2 | Tree On Line Outside R.O.W.
35HDN | 2024-07-08 08:25 | 2162.3862 | 13.2 | Tree On Line Outside R.O.W.
35KOL | 2024-07-08 07:29 | 2721.08 | 13.2 | Tree On Line Outside R.O.W.
360BD | 2024-07-08 09:31 | 2729.9359 | 13.2 | Tree On Line Outside of R.O.W
360HT | 2024-07-08 07:44 | 8566.9247 | 34.5 | Tree On Line Outside R.O.W.
361BD | 2024-07-08 10:53 | 787.3759 | 13.2 | Tree On Line Outside R.O.W.
361HT | 2024-07-08 12:31 | 6195.5746 | 34.5 | Overhanging Limb
362HT | 2024-07-08 06:25 | 7340.7963 | 34.5 | Tree On Line Outside of R.O.W
363BD | 2024-07-08 09:19 | 1680.5509 | 13.2 | Tree On Line Outside R.O.W.
363HT | 2024-07-08 05:53 | 7305.1631 | 34.5 | Tree On Line Outside R.O.W.
364HT | 2024-07-08 06:26 | 8195.9826 | 34.5 | Tree On Line Outside R.O.W.
365HT | 2024-07-08 07:35 | 7505.5383 | 34.5 | Tree On Line Outside of R.O.W
36KOL | 2024-07-08 06:38 | 1660.5311 | 13.2 | Vine Growing into Line
374MR | 2024-07-08 11:46 | 1798.5589 | 13.2 | Tree On Line Outside R.O.W.
375MR | 2024-07-08 05:58 | 2836.5761 | 13.2 | Tree On Line Outside R.O.W.
37TYR | 2024-07-08 06:56 | 1698.0644 | 13.2 | Tree/Limb Growing Inside R.O.W.
380MC | 2024-07-08 07:31 | 517.1377 | 34.5 | Tree On Line Outside R.O.W.
381MC | 2024-07-08 09:41 | 903.7356 | 34.5 | Vine Growing into Line
382MC | 2024-07-08 10:51 | 1400.0176 | 34.5 | Tree On Line Outside R.O.W.
403CV | 2024-07-08 07:26 | 6392.8285 | 13.2 | Vine Growing into Line
404CV | 2024-07-08 07:28 | 5750.8495 | 13.2 | Tree on Line from Inside R.O.W
406CV | 2024-07-08 08:40 | 10696.1884 | 13.2 | Tree On Line Outside R.O.W.
425CV | 2024-07-08 05:30 | 10152.9588 | 34.5 | Tree On Line Outside R.O.W.
426CV | 2024-07-08 06:46 | 8246.5579 | 34.5 | Tree On Line Outside of R.O.W.
432KT | 2024-07-08 10:15 | 1609.1984 | 34.5 | Tree On Line Outside R.O.W.
433TI | 2024-07-08 09:28 | 1716.7438 | 13.2 | Tree On Line Outside R.O.W.
436TI | 2024-07-08 05:31 | 10736.1097 | 13.2 | Tree On Line Outside of R.O.W.
437TI | 2024-07-08 09:33 | 6621.1688 | 13.2 | Tree On Line Outside R.O.W.
43LNB | 2024-07-08 08:56 | 416.1408 | 13.2 | Tree/Limb Growing Inside R.O.W.
441LU | 2024-07-08 07:11 | 733.5804 | 34.5 | Tree On Line Outside R.O.W.
452KT | 2024-07-08 07:44 | 1093.8905 | 34.5 | Tree On Line Outside R.O.W.
453KT | 2024-07-08 10:10 | 1893.8054 | 34.5 | Tree on Line from Inside R.O.W
456FL | 2024-07-08 09:45 | 1692.3167 | 13.2 | Tree On Line Outside R.O.W.
457FL | 2024-07-08 02:53 | 2188.5411 | 13.2 | Tree On Line Outside of R.O.W.
45PTN | 2024-07-08 10:48 | 1456.2016 | 13.2 | Tree On Line Outside of R.O.W.
461SI | 2024-07-08 09:27 | 561.406 | 13.2 | Tree On Line Outside of R.O.W.
462SI | 2024-07-08 09:30 | 1550.2334 | 13.2 | Tree on Line from Inside R.O.W
46PTN | 2024-07-08 06:45 | 1889.714 | 13.2 | Tree/Limb Growing Inside R.O.W.
471NS | 2024-07-08 07:37 | 1058.4214 | 13.2 | Tree on Line from Inside R.O.W
476MD | 2024-07-08 06:51 | 1328.1932 | 13.2 | Tree On Line Outside R.O.W.
477MD | 2024-07-08 06:13 | 646.9922 | 13.2 | Tree On Line Outside of R.O.W.
478MD | 2024-07-08 14:31 | 539.6238 | 13.2 | Overhanging Limb
479MD | 2024-07-08 07:15 | 2044.6063 | 13.2 | Tree On Line Outside of R.O.W.
491LI | 2024-07-08 11:52 | 1340.848 | 13.2 | Overhanging Limb
4CAL | 2024-07-08 11:27 | 11641.6605 | 34.5 | Tree On Line Outside R.O.W.
504CN | 2024-07-08 08:59 | 3559.9242 | 13.2 | Overhanging Limb
505CN | 2024-07-08 07:21 | 5996.9905 | 13.2 | Tree On Line Outside R.O.W.
506CN | 2024-07-08 08:59 | 4182.083 | 13.2 | Tree on Line from Inside R.O.W
506WR | 2024-07-08 09:21 | 2048.069 | 13.2 | Tree On Line Outside R.O.W.
507CN | 2024-07-08 04:34 | 6461.041 | 13.2 | Tree on Line from Inside R.O.W
511CN | 2024-07-08 07:29 | 3220.3422 | 13.2 | Tree On Line Outside of R.O.W.
512CN | 2024-07-08 06:33 | 3470.9462 | 13.2 | Tree on Line from Inside R.O.W
513CN | 2024-07-08 08:57 | 3325.2596 | 13.2 | Tree on Line from Inside R.O.W
514CN | 2024-07-08 07:41 | 3480.3683 | 13.2 | Tree on Line from Inside R.O.W
515CN | 2024-07-08 09:15 | 3307.293 | 34.5 | Tree On Line Outside of R.O.W.
516CN | 2024-07-08 07:41 | 3309.1033 | 34.5 | Tree On Line Outside of R.O.W.
519DO | 2024-07-08 06:54 | 3342.2602 | 34.5 | Tree On Line Outside R.O.W.
520BW | 2024-07-08 07:44 | 6118.7281 | 34.5 | Tree On Line Outside R.O.W.
521BW | 2024-07-08 09:04 | 2851.6966 | 34.5 | Tree On Line Outside R.O.W
522BW | 2024-07-08 07:03 | 2330.9921 | 34.5 | Tree On Line Outside of R.O.W.
525PA | 2024-07-08 07:26 | 6531.2804 | 13.2 | Vegetation Outside Fence
529CM | 2024-07-08 14:40 | 1696.3666 | 34.5 | Overhanging Limb
535SH | 2024-07-08 10:27 | 6480.226 | 13.2 | Tree On Line Outside of R.O.W.
536SH | 2024-07-08 09:01 | 6683.2447 | 13.2 | Tree On Line Outside of R.O.W.
537LA | 2024-07-08 07:25 | 4029.6986 | 13.2 | Tree On Line Outside R.O.W.
538LA | 2024-07-08 07:50 | 6533.8321 | 13.2 | Vegetation Outside Fence
539LA | 2024-07-08 09:52 | 7501.4507 | 13.2 | Tree On Line Outside R.O.W
53BAT | 2024-07-08 05:45 | 1333.4912 | 13.2 | Tree On Line Outside R.O.W.
540LA | 2024-07-08 06:52 | 4664.5406 | 13.2 | Tree On Line Outside R.O.W
544JT | 2024-07-08 07:02 | 7003.7627 | 34.5 | Tree On Line Outside R.O.W.
545PL | 2024-07-08 07:01 | 9968.1867 | 13.2 | Vegetation Outside Fence
546PL | 2024-07-08 07:19 | 8265.125 | 13.2 | Tree On Line Outside R.O.W.
549JT | 2024-07-08 06:31 | 11800.7381 | 34.5 | Tree On Line Outside R.O.W
550EP | 2024-07-08 09:45 | 7288.6287 | 34.5 | Tree On Line Outside R.O.W.
551EP | 2024-07-08 07:56 | 5038.1313 | 34.5 | Tree/Limb Growing Inside R.O.W.
552EP | 2024-07-08 06:54 | 6601.4722 | 34.5 | Tree On Line Outside R.O.W
560WD | 2024-07-08 08:37 | 2446.1431 | 13.2 | Tree On Line Outside R.O.W
562WD | 2024-07-08 08:50 | 4866.0089 | 34.5 | Tree On Line Outside R.O.W.
563WD | 2024-07-08 07:59 | 4724.7342 | 34.5 | Tree On Line Outside R.O.W.
566CR | 2024-07-08 06:33 | 5198.6137 | 34.5 | Tree On Line Outside R.O.W.
567CR | 2024-07-08 06:39 | 5393.2872 | 13.2 | Tree on Line from Inside R.O.W
568DC | 2024-07-08 09:35 | 904.9792 | 34.5 | Tree/Limb Growing Inside R.O.W.
569DC | 2024-07-08 13:17 | 2091.6046 | 34.5 | Tree/Limb Growing Inside R.O.W.
570CR | 2024-07-08 07:01 | 4731.2014 | 34.5 | Tree/Limb Growing Inside R.O.W.
570DC | 2024-07-08 10:02 | 2471.8882 | 34.5 | Tree On Line Outside R.O.W.
572CN | 2024-07-08 06:20 | 2823.7645 | 34.5 | Tree on Line from Inside R.O.W
574CN | 2024-07-08 09:10 | 3421.4514 | 34.5 | Tree On Line Outside R.O.W
575CN | 2024-07-08 09:06 | 5013.0863 | 34.5 | Tree On Line Outside R.O.W
576CN | 2024-07-08 07:36 | 5039.452 | 34.5 | Tree On Line Outside R.O.W
577CN | 2024-07-08 06:33 | 3068.1165 | 34.5 | Tree/Limb Growing Inside R.O.W.
580LM | 2024-07-08 06:54 | 8950.6075 | 34.5 | Tree On Line Outside R.O.W.
581LM | 2024-07-08 08:46 | 4699.8116 | 34.5 | Tree On Line Outside R.O.W.
583LM | 2024-07-08 06:33 | 8968.2244 | 34.5 | Tree On Line Outside R.O.W.
584LM | 2024-07-08 09:56 | 3374.0464 | 34.5 | Tree On Line Outside R.O.W.
585LM | 2024-07-08 09:14 | 2380.8333 | 34.5 | Overhanging Limb
590AP | 2024-07-08 14:44 | 3210.0454 | 13.2 | Tree On Line Outside R.O.W
591AP | 2024-07-08 10:27 | 2790.336 | 13.2 | Tree On Line Outside R.O.W
592AP | 2024-07-08 09:09 | 3546.5473 | 13.2 | Tree On Line Outside R.O.W.
592WR | 2024-07-08 10:04 | 1904.7092 | 34.5 | Tree On Line Outside R.O.W.
593WD | 2024-07-08 09:35 | 2950.1921 | 13.2 | Tree On Line Outside R.O.W.
594WD | 2024-07-08 10:58 | 1583.0442 | 13.2 | Tree On Line Outside R.O.W.
598TA | 2024-07-08 06:39 | 9380.4278 | 13.2 | Tree On Line Outside R.O.W.
599TA | 2024-07-08 06:40 | 9064.9016 | 13.2 | Tree On Line Outside R.O.W.
600HU | 2024-07-08 08:43 | 3219.0519 | 34.5 | Tree On Line Outside R.O.W.
607HU | 2024-07-08 08:39 | 3429.4852 | 13.2 | Vine Growing into Line
608HU | 2024-07-08 10:57 | 3865.6458 | 13.2 | Tree On Line Outside R.O.W.
609HU | 2024-07-08 13:32 | 3035.321 | 13.2 | Tree On Line Outside R.O.W.
610HU | 2024-07-08 09:46 | 1690.1216 | 13.2 | Tree On Line Outside R.O.W.
611HU | 2024-07-08 08:41 | 2994.6038 | 34.5 | Tree on Line from Inside R.O.W
627TE | 2024-07-08 08:52 | 4052.8531 | 13.2 | Tree On Line Outside R.O.W.
628TE | 2024-07-08 09:07 | 4504.8154 | 13.2 | Tree On Line Outside R.O.W.
632WT | 2024-07-08 11:48 | 4379.8873 | 13.2 | Tree On Line Outside R.O.W.
633WT | 2024-07-08 11:00 | 3111.2042 | 13.2 | Tree On Line Outside R.O.W
634WT | 2024-07-08 08:18 | 2161.5094 | 13.2 | Overhanging Limb
64CRK | 2024-07-08 11:19 | 542.1214 | 13.2 | Tree On Line Outside R.O.W.
650VT | 2024-07-08 09:53 | 6299.0475 | 13.2 | Tree On Line Outside R.O.W
651VT | 2024-07-08 11:17 | 3264.2562 | 13.2 | Tree on Line from Inside R.O.W
652VT | 2024-07-08 11:28 | 4060.9525 | 13.2 | Tree On Line Outside R.O.W.
653VT | 2024-07-08 09:37 | 1318.6453 | 13.2 | Tree On Line Outside R.O.W.
655VT | 2024-07-08 12:18 | 3386.1313 | 13.2 | Tree On Line Outside R.O.W.
657VT | 2024-07-08 09:52 | 4448.3478 | 13.2 | Tree On Line Outside R.O.W
65MAN | 2024-07-08 08:54 | 433.6669 | 13.2 | Overhanging Limb
66MAN | 2024-07-08 06:45 | 1331.1759 | 13.2 | Overhanging Limb
670GE | 2024-07-08 07:54 | 4569.0141 | 13.2 | Tree On Line Outside R.O.W.
673MA | 2024-07-08 09:39 | 2862.971 | 13.2 | Tree On Line Outside R.O.W
674MA | 2024-07-08 05:51 | 1381.483 | 13.2 | Tree On Line Outside R.O.W.
682GR | 2024-07-08 08:38 | 6198.8127 | 13.2 | Tree/Limb Growing Inside R.O.W.
682VI | 2024-07-08 06:57 | 1301.9856 | 13.2 | Overhanging Limb
68PTA | 2024-07-08 09:10 | 73.5865 | 13.2 | Tree On Line Inside R.O.W.
69PTA | 2024-07-08 11:25 | 2133.1631 | 13.2 | Tree/Limb Growing Inside R.O.W.
70ECH | 2024-07-08 09:07 | 1793.9489 | 13.2 | Tree/Limb Growing Inside R.O.W.
711MG | 2024-07-08 05:11 | 3534.4877 | 13.2 | Tree On Line Outside R.O.W.
723DY | 2024-07-08 07:00 | 4049.7384 | 13.2 | Tree On Line Outside R.O.W.
724DY | 2024-07-08 06:25 | 3342.2639 | 13.2 | Tree On Line Outside R.O.W.
726DY | 2024-07-08 06:17 | 2661.4881 | 13.2 | Tree On Line Outside R.O.W.
727DY | 2024-07-08 07:26 | 3503.7676 | 13.2 | Tree On Line Outside R.O.W.
72ECH | 2024-07-08 09:47 | 1211.6169 | 13.2 | Tree On Line Outside R.O.W.
736CY | 2024-07-08 07:12 | 4917.4846 | 13.2 | Vine Growing into Line
738CY | 2024-07-08 06:08 | 2961.3224 | 13.2 | Tree On Line Outside R.O.W.
73ECH | 2024-07-08 10:14 | 594.5991 | 13.2 | Tree On Line Outside R.O.W.
73RAY | 2024-07-08 06:40 | 4935.0301 | 13.2 | Tree On Line Outside R.O.W.
740OK | 2024-07-08 06:35 | 7661.6142 | 13.2 | Tree/Limb Growing Inside R.O.W.
741DA | 2024-07-08 13:55 | 4045.8997 | 13.2 | Tree On Line Outside R.O.W
743DA | 2024-07-08 07:37 | 2435.2161 | 13.2 | Tree On Line Outside R.O.W.
743OK | 2024-07-08 06:11 | 8197.8088 | 34.5 | Tree On Line Outside R.O.W.
744DA | 2024-07-08 07:18 | 3267.1406 | 13.2 | Tree On Line Outside R.O.W.
745OK | 2024-07-08 06:57 | 5767.6877 | 34.5 | Tree On Line Outside R.O.W
74RAY | 2024-07-08 07:18 | 2238.1884 | 13.2 | Tree On Line Outside R.O.W
750FO | 2024-07-08 06:21 | 3452.3115 | 34.5 | Tree On Line Outside R.O.W.
751FO | 2024-07-08 07:32 | 2715.2828 | 34.5 | Overhanging Limb
752FO | 2024-07-08 06:40 | 2676.5732 | 34.5 | Tree On Line Outside R.O.W.
753FO | 2024-07-08 06:40 | 8426.5414 | 34.5 | Tree On Line Outside R.O.W.
754FO | 2024-07-08 08:08 | 3091.1128 | 34.5 | Tree On Line Outside R.O.W.
755FO | 2024-07-08 07:44 | 3210.1316 | 34.5 | Tree On Line Outside R.O.W.
757FO | 2024-07-08 09:05 | 3212.5386 | 34.5 | Tree On Line Outside R.O.W.
758FO | 2024-07-08 09:53 | 4155.7902 | 34.5 | Tree On Line Outside R.O.W.
759FO | 2024-07-08 08:13 | 9226.3741 | 34.5 | Tree On Line Outside R.O.W.
765AL | 2024-07-08 00:18 | 2868.9478 | 34.5 | Tree On Line Outside R.O.W.
770AL | 2024-07-08 06:58 | 3846.771 | 34.5 | Tree On Line Outside R.O.W.
77JRU | 2024-07-08 10:47 | 1893.1018 | 4.2 | Vine Growing into Line
781EG | 2024-07-08 06:24 | 3455.466 | 13.2 | Vine Growing into Line
782PW | 2024-07-08 06:48 | 4488.2812 | 13.2 | Vine Growing into Line
801FE | 2024-07-08 09:08 | 1991.1283 | 13.2 | Tree On Line Outside R.O.W
806PD | 2024-07-08 09:58 | 1823.9851 | 34.5 | Tree On Line Outside R.O.W
809PD | 2024-07-08 11:18 | 2704.1518 | 34.5 | Tree/Limb Growing Inside R.O.W.
80WED | 2024-07-08 09:35 | 3018.9289 | 4.2 | Tree On Line Outside R.O.W
810PD | 2024-07-08 11:16 | 4204.0031 | 34.5 | Tree On Line Outside R.O.W
819MD | 2024-07-08 10:30 | 4308.5656 | 13.2 | Tree On Line Outside R.O.W
883GR | 2024-07-08 09:42 | 2968.7873 | 34.5 | Tree/Limb Growing Inside R.O.W.
904NA | 2024-07-08 08:30 | 1373.4727 | 13.2 | Tree On Line Inside R.O.W
905NA | 2024-07-08 08:44 | 1457.8992 | 34.5 | Tree On Line Inside R.O.W
91MPL | 2024-07-08 08:15 | 3144.8883 | 4.2 | Tree On Line Outside R.O.W
920DO | 2024-07-08 07:48 | 1282.1991 | 34.5 | Tree On Line Outside R.O.W
969NA | 2024-07-08 09:20 | 2031.03 | 34.5 | Overhanging Limb
981GR | 2024-07-08 08:51 | 1890.2933 | 34.5 | Overhanging Limb
982GR | 2024-07-08 08:44 | 1669.9019 | 34.5 | Tree/Limb Growing Inside R.O.W.
GORD | 2024-07-08 10:25 | 7244.8738 | 13.2 | Tree On Line Outside R.O.W.

## Hurricane Beryl (Transmission)
* note: Based on intended transmission design, unplanned outages on transmission lines do not necessarly result in interruptions.
Circuit | FIRST CALL DATE TIME | Duration Minutes* | Voltage (kV) | Cause Description
HELBIG - ELIZABETH 69.00 kV (585) | 2024-07-08 01:11 | less than 1 minute | 69 | Fell From Off R-O-W
TANGLEWOOD (L-463) TAP - TANGLEWOOD 69.00 kV (463) | 2024-07-08 01:11 | less than 1 minute | 69 | Fell From Off R-O-W
CHINA - COLONY 230.00 kV (822) | 2024-07-08 01:29 | 2015 | 230 | Fell From Off R-O-W
KOLBS - ATLANTIC BULK 69.00 kV (117) | 2024-07-08 06:36 | 5764 | 69 | Fell From Off R-O-W
JAYHAWKER CREEK CO-SHECO SECURITY (811.1) | 2024-07-08 07:05 | 4360 | 138 | Fell From Off R-O-W
SPLENDORA - PORTER 138.00 kV (571) | 2024-07-08 07:23 | 3 | 138 | Fell From Off R-O-W
JACINTO - SPLENDORA (871.1) | 2024-07-08 08:21 | 1 | 138 | Fell From Off R-O-W
SPLENDORA - PORTER 138.00 kV (571) | 2024-07-08 08:38 | 7352 | 138 | Fell From Off R-O-W
BATSON - DAISETTA 69.00 kV (56) | 2024-07-08 09:04 | 2 | 69 | Fell From Off R-O-W
HULL (L-103) TAP - HULL 69 kV 103.0 | 2024-07-08 09:04 | 2 | 69 | Fell From Off R-O-W
DAYTON BULK - PARKWAY 138.00 kV (86) | 2024-07-08 09:13 | less than 1 minute | 138 | Fell From Off R-O-W
EASTGATE - HUFFMAN 138.00 kV (802) | 2024-07-08 09:13 | less than 1 minute | 138 | Fell From Off R-O-W
L-533 (KLEMP-EXPOSAIC) TAP - KLEMP 138 kV 533.0 | 2024-07-08 09:13 | less than 1 minute | 138 | Fell From Off R-O-W
HELBIG - SOUTH SILSBEE 69.00 kV (467) | 2024-07-08 09:26 | 3 | 69 | Fell From Off R-O-W
NORTH SILSBEE - SOUTH SILSBEE TAP 69.00 kV (470) | 2024-07-08 09:26 | 3 | 69 | Fell From Off R-O-W
ALDEN - LEWIS CREEK 138 SWYD 138.00 kV (569) | 2024-07-08 09:36 | 1364 | 138 | Fell From Off R-O-W
DAYTON BULK - PARKWAY 138.00 kV (86) | 2024-07-08 09:39 | 2 | 138 | Fell From Off R-O-W
EASTGATE - HUFFMAN 138.00 kV (802) | 2024-07-08 09:39 | 2 | 138 | Fell From Off R-O-W
L-533 (KLEMP-EXPOSAIC) TAP - KLEMP 138 kV 533.0 | 2024-07-08 09:39 | 2 | 138 | Fell From Off R-O-W
DAYTON BULK - PARKWAY 138.00 kV (86) | 2024-07-08 09:44 | 2976 | 138 | Fell From Off R-O-W
EASTGATE - HUFFMAN 138.00 kV (802) | 2024-07-08 09:44 | 2976 | 138 | Fell From Off R-O-W
GOSLIN - ALDEN 138.00 kV (869) | 2024-07-08 09:44 | 15 | 138 | Fell From Off R-O-W
L-533 (KLEMP-EXPOSAIC) TAP - KLEMP 138 kV 533.0 | 2024-07-08 09:44 | 2976 | 138 | Fell From Off R-O-W
PONDEROSA - NAVASOTA 138.00 kV (96) | 2024-07-08 09:48 | 1 | 138 | Fell From Off R-O-W
JACINTO - HIGHTOWER 138.00 kV (887) | 2024-07-08 10:06 | 3905 | 138 | Fell From Off R-O-W
METRO - OAK RIDGE (TX) (169.1) | 2024-07-08 10:09 | 1510 | 138 | Fell From Off R-O-W
BENTWATER - PONDEROSA 138.00 kV (112) | 2024-07-08 10:21 | 1 | 138 | Fell From Off R-O-W
CHINA - GARDEN 230.00 kV (496) | 2024-07-08 10:46 | 2 | 230 | Fell From Off R-O-W
CEDAR HILL - MALLARD 138 kV 813.0 | 2024-07-08 10:57 | 4048 | 138 | Fell From Off R-O-W
CONROE BULK - TAMINA 138.00 kV (886) | 2024-07-08 10:57 | 4048 | 138 | Fell From Off R-O-W
JEFFCON (L-555) TAP - JEFFCON 138 kV 555.0 | 2024-07-08 11:10 | 2726 | 138 | Fell From Off R-O-W
SHECO SECURITY - LEWIS CREEK 138 SWYD 138.00 kV (503) | 2024-07-08 11:10 | 2726 | 138 | Fell From Off R-O-W
JACINTO - SHECO BATISTE CREEK 230.00 kV (568) | 2024-07-08 11:17 | 2444 | 230 | Fell From Off R-O-W
RICH (SHECO) - SHECO SHEPHERD 138 kV 417.0 | 2024-07-08 11:45 | less than 1 minute | 138 | Fell From Off R-O-W
FOREST [TX] - GOSLIN 138.00 kV (320) | 2024-07-08 12:05 | 2540 | 138 | Fell From Off R-O-W
JACINTO - PEACH CREEK 230.00 kV (524) | 2024-07-08 12:07 | 2471 | 230 | Fell From Off R-O-W
CLEVELAND [TX] - SOUTHLINE 138.00 kV (808) | 2024-07-08 12:16 | 9652 | 138 | Fell From Off R-O-W
SOUTH BEAUMONT - YANKEE DOODLE 69.00 kV (576) | 2024-07-08 12:27 | less than 1 minute | 69 | Fell From Off R-O-W
SHECO CALVIN - MOSCOW 138.00 kV (411) | 2024-07-08 12:43 | 4014 | 138 | Fell From Off R-O-W
RAYWOOD - SOUTH LIBERTY (440.1) | 2024-07-09 01:36 | 4394 | 69 | Fell From Off R-O-W
ETEC URLAND - WARREN 138.00 kV (589) | 2024-07-09 04:58 | 4165 | 138 | Fell From Off R-O-W
GOSLIN - METRO (803.1) | 2024-07-09 06:59 | 259 | 138 | Fell From Off R-O-W
RAYWOOD - DAYTON BULK 138.00 kV (542) | 2024-07-09 10:37 | 483 | 138 | Fell From Off R-O-W