## Water Tracking
Internal Information ONLY
Area | Division | COUNTY | PWSID/Permit | System Name | Connection Count | Sys Typ | Issue | Storm Related | Initial Reported | Generator Avalible (Permanent) | Water On | Normal Operations (Line Power/BWN lifted) | BWN Issued | BWN Lifted | last update | Comments & Updates | Bottled Water Needed | Minium Amount 2 case/conn | Bottled Water Delivered (Amt.)/Distributed | Delivery Date(s) | Advisory BWA/SPA/Etc ID | Disruption Event ID
NTX | Fort Worth | Parker | TX1840017 | Agnes | 21 | DW
SETX | Spring NW | MONTGOMERY | TX1700006 | Airport Heights | 18 | DW | Power Outage | Yes | 2024-07-09 |  | Yes | Yes | 2024-07-09 | 2024-07-12 | 2024-07-12 07:35 | Power Restored |  |  |  |  | 388346
SETX | Spring NE | HARRIS | TX1010092 | Aldine Meadows | 81 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-14 | 2024-07-14 17:34 | Power restored |  |  |  |  | 379946
SETX | Spring NE | HARRIS | TX1012806 | Alton Theiss Subdivision | 9 | DW | Power Outage | Yes | 2024-07-09 |  | Yes | Yes | 2024-07-09 | 2024-07-14 | 2024-07-12 14:50 | Power Restored |  |  |  |  | 387946 | 530408
CTX | Kerrville | Kerr | TX1330062 | Aqua Vista | 99 | DW
SETX | Spring NW | MONTGOMERY | TX1700171 | Arrowhead Lake_Frontier Lake | 736 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | yes | N/A |  | 2024-07-15 | 7/15 - Power restored over weekend On Generator Power -off gen
NTX | Fort Worth | Parker | TX1840013 | Ashcreek Addition | 105 | DW
SETX | Spring SE | Fort Bend | TX0790261 | Astro_Niagra | 56 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-17 | 2024-07-17 08:22 | Power Restored |  |  |  |  | 382347
SETX | Spring NE | HARRIS | TX1011687 | Atascocita Acres Subdivision | 128 | DW | Power Outage and Flooding | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-14 | 2024-07-14 17:37 | Power Restored |  |  |  |  | 384347 | 533204
NTX | Fort Worth | TARRANT | TX2200184 | Avondale Heights | 141 | DW
SETX | Spring SW | HARRIS | TX1010809 | Bammel Oaks Estates No 1 | 12 | DW | Power Outage | Yes | 2024-07-09 |  | Yes |  | 2024-07-09 | 2024-07-16 | 2024-07-16 13:14 | System did not go offline. BWN can be lifted interconnected with a MUD. |  |  |  |  | 385947 | 539604
SETX | Spring SW | HARRIS | TX1010810 | Bammel Oaks Estates No 2 | 82 | DW | Power Outage | Yes | 2024-07-09 |  | Yes |  | 2024-07-09 | 2024-07-16 | 2024-07-16 13:16 | 7/12 - bottled water availbe 11-11:30 at 12010 box elder 7/9 - On Generator Power 7/15 Power restored |  |  |  |  | 387947 | 530409
SETX | Spring SE | Chambers | TX0360122 | Barrow Ranch | 255 | DW |  |  |  | Yes
NTX | Lake Palestine | Hunt | TX1160066 | Barrow Subdivision | 104 | DW
CTX | West Austin | Travis | TX2270282 | Barton Creek Lakeside | 362 | DW | [14 empty] | 391546
CTX | Wimberley | Travis | TX2270043 | Bear Creek | 91 | DW
CTX | Kerrville | Kerr | TX1330126 | Bear Paw | 140 | DW |  |  |  | Yes
NTX | Waco | McLennan | TX1550130 | Behringer | 25 | DW
NTX | Granbury | HOOD | TX1110116 | Bentwater | 458 | DW |  |  |  | Yes
SETX | Spring NE | HARRIS | TX1010099 | Bergville Addition | 14 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-17 | 2024-07-17 08:43 | Power Restored |  |  |  |  | 377949
SETX | Spring SE | Brazoria | TX0200065 | Bernard Acres | 90 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-10 17:20 | Power Restored |  |  |  |  | 377950 | 533604
SETX | Spring SW | HARRIS | TX1011860 | Berry Hill Estates | 51 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-10 | 2024-07-10 13:28 | Power Restored |  |  |  |  | 382348
SETX | Spring NW | MONTGOMERY | TX1700851 | Black Oak | 164 | DW
CTX | Kerrville | Bandera | TX0100030 | Blue Medina | 80 | DW
NTX | Fort Worth | TARRANT | TX2200100 | Blue Mound Estates | 37 | DW
NTX | Granbury | HOOD | TX1110079 | Blue Water Shores | 364 | DW |  |  |  | Yes
NTX | Fort Worth | Parker | TX1840133 | Boling Ranch | 154 | DW
SETX | Spring NW | HARRIS | TX1011084 | Boudreaux Gardens | 35 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes |  | 2024-07-08 | 2024-07-11 | 2024-07-08 12:00 | On Generator Power |  |  |  |  | 375946
NTX | Granbury | HOOD | TX1110042 | Boynton Bend Water | 68 | DW
NTX | Granbury | HOOD | TX1110028 | Brazos River Acres | 137 | DW
SETX | Spring SE | Victoria | TX2350005 | Brentwood_Water | 153 | DW
CTX | West Austin | Travis | TX2270354 | Briarcreek Manor | 1026 | DW
SETX | Spring SW | HARRIS | TX1011014 | Brittmoore Utility Company | 1344 | DW |  |  |  | Yes | Yes | [10 empty] | 532804
CTX | West Austin | Williamson | TX2460050 | Brushy Bend Park PWS | 213 | DW | [14 empty] | 393546 | 539205
SETX | Spring SW | MONTGOMERY | TX1700601 | Brushy Creek Utility Inc | 140 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-16 | 2024-07-16 14:04 | Power Restored |  |  |  |  | 375946 | 540004
SETX | Spring SE | Brazoria | TX0200152 | Calico Farms | 24 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-10 | Power Restored |  |  |  |  | 375547
SETX | Spring NE | SAN JACINTO | TX2040038 | Camilla Twin Harbor | 174 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-18 | 2024-07-18 15:52 | Power restored, but leaks in the distribution system section of system valved off. |  |  |  |  | 376348
SETX | Spring NW | HARRIS | TX1010532 | Candlelight Hills Subdivision | 755 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | yes | 2024-07-09 | 2024-07-11 | 2024-07-15 | Power restored |  |  |  |  | 385549
NTX | Granbury | HOOD | TX1110070 | Canyon Creek Water | 965 | DW |  |  |  | Yes
CTX | Wimberley | Comal | TX0460063 | Canyon Lake MH Estates | 714 | DW |  |  |  | Yes
CTX | West Austin | Travis/Burnet | TX2270342 | Canyon Ridge Springs | 44 | DW
CTX | Wimberley | Comal | TX0460022 | Canyon Springs | 519 | DW |  |  |  | Yes
CTX | West Austin | HAYS | TX1050068 | Cardinal Valley | 70 | DW |  |  |  | Yes
SETX | Spring NW | MONTGOMERY | TX1700279 | Carriage Hills | 609 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | yes | N/A |  | 2024-07-15 | Power Restored
SETX | Spring NE | Chambers | TX0360093 | Carriage Trail Subdivision | 31 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-16 | 2024-07-18 | 2024-07-18 15:55 | Power Restored_Ran out of fuel |  |  |  |  | 381946 | 530805
NTX | Lake Palestine | Henderson | TX1070074 | Carrizo Water Company _Forest Grove | 408 | DW |  |  |  | Yes
NTX | Granbury | TARRANT | TX2200343 | Carson Ranch | 317 | DW |  |  |  | Yes
SETX | Spring NE | Liberty | TX1460102 | Cedar Estates | 76 | DW
SETX | Spring NE | Polk | TX1870155 | Cedar Point | 614 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-10 | 7/9 - a leak has drained the tank. Working to reestablish service. Still working off a generator. 7/8 - Plant #2 operational
SETX | Spring SE | Brazoria | TX0200190 | Centennial Place | 30 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-12 | 2024-07-08 12:00 | Power Restored |  |  |  |  | 377547
CTX | Kerrville | Kerr | TX1330010 | Center Point Taylor | 188 | DW
CTX | Kerrville | Kerr | TX1330111 | Center Point_North | 90 | DW
CTX | Wimberley | HAYS | TX1050029 | Chaparral | 148 | DW
NTX | Lake Palestine | Camp | TX0320015 | Cherokee Pointe | 61 | DW
CTX | Kerrville | Kerr | TX1330147 | Cherry Ridge | 23 | DW
NTX | Waco | McLennan | TX1550021 | China Spring | 694 | DW |  |  |  | Yes
NTX | Waco | Bosque | TX0180082 | China Springs Ranches | 127 | DW
NTX | Fort Worth | Wise | TX2490060 | Chisholm Springs | 649 | DW |  |  |  | Yes
SETX | Spring NW | MONTGOMERY | TX1700555 | Cimarron Country | 242 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | yes | N/A |  | 2024-07-15 | 7/15 - Power Restored 7/10 - Special sample requested due to low pressure but a BWN not needed. On Generator Power
NTX | Fort Worth | Denton | TX0610209 | Cinnamon Ridge | 167 | DW
SETX | Spring NE | HARRIS | TX1013144 | Classic Pines | 319 | DW |  |  |  | Yes
SETX | Spring SW | MONTGOMERY | TX1700437 | Clear Creek Forest Section 12 | 612 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | Yes | 2024-07-08 | 2024-07-11 | 2024-07-15 | Power Restored |  |  |  |  | 373149
NTX | Lake Palestine | Wood | TX2500017 | Clear Lakes | 368 | DW |  |  |  | Yes
SETX | Spring NE | HARRIS | TX1010116 | Colonial Hills | 315 | DW | Power Outage/electrical issues at plant | Yes | 2024-07-08 | Yes | Yes |  | 2024-07-08 | 2024-07-14 | 2024-07-14 17:35 | On Generator Power |  |  |  |  | 384346
CTX | Kerrville | Bandera | TX0100065 | Comanche Cliffs | 73 | DW
CTX | Wimberley | HAYS | TX1050082 | Copper Hills | 47 | DW
NTX | Fort Worth | TARRANT | TX2200045 | Cottonwood Hill Est | 90 | DW
SETX | Spring NW | HARRIS | TX1013189 | Country Club Greens | 151 | DW
SETX | Spring SE | Brazoria | TX0200337 | Country Creek Estates | 72 | DW | Power outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-17 | 2024-07-17 08:20 | Power Restored |  |  |  |  | 377948
NTX | Granbury | HOOD | TX1110089 | Country Meadows | 118 | DW
SETX | Spring NE | Jefferson | TX1230037 | Country Side Estates | 446 | DW
CTX | Kerrville | Medina | TX1630026 | Country View Estates | 110 | DW |  |  |  | Yes
NTX | Lake Palestine | Hunt | TX1160093 | Country Wood | 145 | DW
NTX | Lake Palestine | Hunt | TX1160067 | Crazy Horse | 191 | DW
SETX | Spring SW | HARRIS | TX1011647 | Creekside Estates South | 309 | DW | Power Outage | yes | 2024-07-08 | Yes | Yes |  | 2024-07-08 | 2024-07-16 | 2024-07-16 13:46 | Power Restored |  |  |  |  | 377548
NTX | Lake Palestine | Marion | TX1580016 | Crestwood Water | 245 | DW
SETX | Spring NW | HARRIS | TX1010947 | Cricket Hill Estates | 44 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | yes | 2024-07-08 | 2024-07-11 | 2024-07-08 12:00 | On Generator Power |  |  |  |  | 373547
SETX | Spring NW | MONTGOMERY | TX1700096 | Crystal Forest Subdivision | 214 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | yes | 2024-07-08 | 2024-07-12 | 2024-07-12 | Power Restored |  |  |  |  | 383946
SETX | Spring SW | HARRIS | TX1013296 | Cypress Creek Ranch | 92 | DW
SETX | Spring SW | HARRIS | TX1011651 | Cypress Fields Subdivision | 155 | DW | [8 empty] | 2024-07-12 | Power Restored
SETX | Spring SW | HARRIS | TX1010254 | Cypress Place | 49 | DW | Power outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-13 | 2024-07-12 09:00 | 7/12 - bottle water 10 to 10:30 at 11810 cypress place 7/11 - On Generator Power |  |  |  |  | 374748 | 534404
CTX | Kerrville | Kerr | TX1330156 | Cypress Springs | 113 | DW
CTX | Kerrville | Medina | TX1630045 | Dancing Bear | 148 | DW
SETX | Spring NE | Liberty | TX1460141 | Dayton Creek Water System | 96 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-11 | 2024-07-10 12:30 | Power Restored
SETX | Spring NE | Liberty | TX1460136 | Dayton Oaks Estate | 120 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-12 | 2024-07-10 15:31 | 7/10 - power restored 7/9 - Power company working on lines to restore power |  |  |  |  | 380746 | 535204
NTX | Fort Worth | Wise | TX2490030 | Decatur Acres | 122 | DW
SETX | Spring NW | MONTGOMERY | TX1700330 | Decker Woods Subdivision | 237 | DW | Power outage | Yes | 2024-07-08 |  | Yes | yes | 2024-07-08 | 2024-07-15 | 2024-07-15 10:36 | On Generator Power |  |  |  |  | 379548
NTX | Fort Worth | Parker | TX1840037 | Deer Butte Subdivision | 75 | DW
SETX | Spring SW | Fort Bend | TX0790612 | Deer Run Meadows | 210 | DW
SETX | Spring NW | MONTGOMERY | TX1700264 | Deerwood Subdivision | 453 | DW | Submonitor Tripped | yes | 2024-07-08 | Yes | Yes | 2024-07-12 | n/a |  | 2024-07-12 | Power Restored
CTX | Kerrville | Gillespie | TX0860098 | Deerwood Subdivision_Harper | 119 | DW
SETX | Spring SW | MONTGOMERY | TX1700129 | Dogwood Hills | 353 | DW |  |  |  | Yes | [10 empty] | 389146
NTX | Lake Palestine | Anderson | TX0010038 | Dogwood Hills_North | 77 | DW
NTX | Lake Palestine | Anderson | TX0010039 | Dogwood_East | 83 | DW
SETX | Spring SW | HARRIS | TX1010122 | Dorsett Place | 12 | DW
NTX | Fort Worth | Denton | TX0610210 | Dove Hollow | 81 | DW
CTX | Wimberley | Wilson | TX2470022 | Eagle Creek Ranch | 794 | DW |  |  |  | Yes
NTX | Lake Palestine | Cherokee | TX0370052 | Eagles Bluff | 495 | DW |  |  |  | Yes
NTX | Fort Worth | TARRANT | TX2200185 | Eagles Nest | 29 | DW
NTX | Granbury | HOOD | TX1110052 | Eastwood Village | 152 | DW
CTX | Kerrville | Bandera | TX0100053 | Elmwood Estates | 43 | DW
SETX | Spring SW | MONTGOMERY | TX1700040 | Enchanted Forest | 23 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-16 | 2024-07-16 13:59 | Power Restored |  |  |  |  | 381147
NTX | Lake Palestine | Smith | TX2120045 | Enchanted Lakes | 174 | DW
CTX | Kerrville | Kerr | TX1330036 | Erlund Subdivision | 270 | DW
SETX | Spring NE | MONTGOMERY | TX1700702 | Estates of Legends Ranch | 196 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-13 | 2024-07-14 | 2024-07-14 17:17 | On Generator Power |  |  |  |  | 378746
SETX | Spring NW | HARRIS | TX1013262 | Estates of Willow Creek | 238 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | yes | n/a |  | 2024-07-15 | Power Restored On Generator Power - off gen
CTX | Wimberley | Bexar | TX0150431 | Estates Utility Co_Stonegate | 92 | DW
SETX | Spring NW | MONTGOMERY | TX1700852 | Estates Woodland II | 416 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | 2024-07-12 | n/a |  | 2024-07-12 | Power Restored
SETX | Spring NE | HARRIS | TX1013127 | Fairway Crossing | 242 | DW | Submonitor Tripped | Yes | 2024-07-09 |  | Yes | Yes | 2024-07-09 | 2024-07-12 | 2024-07-12 | Power Restored |  |  |  |  | 387546
CTX | Kerrville | Kerr | TX1330154 | Falling Water | 157 | DW
NTX | Fort Worth | Parker | TX1840035 | Flat Rock Estates | 35 | DW | [15 empty] | 535604
SETX | Spring SE | Brazoria | TX0200153 | Flora 6 | 18 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-17 | 2024-07-17 08:14 | Interconnect with Wellborn Acres |  |  |  |  | 375148 | 532405
SETX | Spring SE | Brazoria | TX0200151 | Flora 7 | 15 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-12 18:23 | Power Restored |  |  |  |  | 372747 | 536004
NTX | Granbury | TARRANT | TX2200186 | Forest Acres Gardens | 140 | DW
NTX | Lake Palestine | Gregg | TX0920026 | Forest Lake Subdivision | 145 | DW
SETX | Spring NE | MONTGOMERY | TX1700106 | Forest Woods Subd | 75 | DW | Power Outage | Yes | 2024-07-09 |  | Yes | Yes | 2024-07-09 | 2024-07-14 | 2024-07-12 15:20 | Power Restored |  |  |  |  | 385548 | 532005
CTX | Kerrville | Kerr | TX1330113 | Four Seasons_Woodcreek | 353 | DW
NTX | Fort Worth | Denton | TX0610164 | Fox Bane Est | 487 | DW
NTX | Fort Worth | Cooke | TX0490042 | FRF 1 3 4 5 6 7 8 | 121 | DW
SETX | Spring SW | Fort Bend | TX0790385 | Fulbrook Subdivision Water Plant | 338 | DW |  |  |  | Yes
NTX | Granbury | JOHNSON | TX1260092 | Garden Acres | 26 | DW
CTX | Wimberley | Nueces | TX1780019 | Golden Acres | 69 | DW
NTX | Waco | McLennan | TX1550126 | Goodall | 56 | DW
SETX | Spring NW | MONTGOMERY | TX1700853 | Grand Estates WTP | 811 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | 2024-07-12 | n/a |  | 2024-07-12 | Power Restored
CTX | Wimberley | HAYS | TX1050080 | Granite Creek | 74 | DW
SETX | Spring SE | Chambers | TX0360005 | Gray Utility Service_Veranda | 2668 | DW |  |  |  | Yes
NTX | Granbury | Somervell | TX2130036 | Greenfields on Squaw Creek | 25 | DW
SETX | Spring NE | HARRIS | TX1010011 | Greenwood Village | 840 | DW | Flooded Roads | Yes | 2024-07-08 | Yes | Yes | yes | n/a |  | 2024-07-08 11:00 | Power Restored
CTX | Wimberley | Comal | TX0460185 | Gruene River | 25 | DW
CTX | Kerrville | Kerr | TX1330009 | Guadalupe Heights Utility Co_Harper | 224 | DW
SETX | Spring SE | Chambers | TX0360100 | Hackberry Creek | 61 | DW
NTX | Fort Worth | Denton | TX0610166 | Hanby Acres | 88 | DW
CTX | Kerrville | Gillespie | TX0860106 | Harper City Water | 121 | DW |  |  |  | Yes
CTX | Kerrville | Gillespie | TX0860005 | Harper Road Estates | 114 | DW
SETX | Spring SE | Brazoria | TX0200218 | Hastings Homeowners WS | 72 | DW | Power outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-14 18:24 | On Generator Power |  |  |  |  | 375950 | 536404
NTX | Fort Worth | Wise | TX2490077 | Hawk Ridge | 44 | DW
SETX | Spring SE | Brazoria | TX0200349 | Heights Country Subd | 37 | DW | Power outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-10 20:30 | Power Restored |  |  |  |  | 377947 | 531206
NTX | Fort Worth | Grayson | TX0910139 | Heritage Estates | 44 | DW
NTX | Granbury | TARRANT | TX2200090 | Heritage Oaks Addition | 31 | DW
SETX | Spring SW | HARRIS | TX1013089 | Heron Lakes | 904 | DW |  |  |  | Yes
SETX | Spring NE | MONTGOMERY | TX1700173 | Hidden Forest Estates | 292 | DW |  |  |  | Yes
NTX | Fort Worth | Denton | TX0610099 | Hidden Valley | 61 | DW
NTX | Lake Palestine | Henderson | TX1070233 | High Point | 62 | DW
NTX | Fort Worth | Wise | TX2490057 | Highland Hills | 150 | DW
NTX | Fort Worth | Wise | TX2490042 | Highland Meadows | 81 | DW
CTX | West Austin | Travis | TX2270173 | Hill Country NW_Cherry Hollow | 348 | DW
NTX | Lake Palestine | Hunt | TX1160028 | Holiday Estates | 76 | DW
CTX | Kerrville | Kerr | TX1330118 | Horseshoe Oaks | 37 | DW |  |  |  | Yes
SETX | Spring NE | HARRIS | TX1013159 | Hunter's Village | 57 | DW | Power Outage | Yes | 2024-07-09 | Yes | Yes |  | 2024-07-09 | 2024-07-12 | 2024-07-10 | On Generator Power |  |  |  |  | 385946
NTX | Granbury | HOOD | TX1110083 | Hunterwood Subdivision | 205 | DW
SETX | Spring NE | MONTGOMERY | TX1700324 | Huntington Estates | 154 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-11 | 2024-07-09 08:05 | Power Restored |  |  |  |  | 379546
SETX | Spring NE | HARRIS | TX1013153 | Imperial Valley MHC | 114 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-12 | 2024-07-12 | Power Restored |  |  |  |  | 378346
CTX | West Austin | Travis | TX2270210 | Indian Springs Subdivision | 53 | DW
SETX | Spring SW | MONTGOMERY | TX1700651 | Indigo Ranch | 129 | DW | Power Outage | Yes | 2024-07-09 |  | Yes |  | 2024-07-09 | 2024-07-16 | 2024-07-16 14:01 | On Generator Power | [5 empty] | 530405
SETX | Spring SE | HARRIS | TX1010068 | Industrial Utilities | 98 | DW | Power Outage | Yes | 2024-07-11 |  | Yes |  | 2024-07-11 | 2024-07-15 | 2024-07-15 11:03 | Power at interconnection (main) plant down. Backup groundwater plant put online. Assuming power loss is due to storm related issues or repairs.
CTX | Kerrville | Kerr | TX1330011 | Ingram | 1967 | DW
CTX | Kerrville | Kendall | TX1300041 | Kendall Pointe | 113 | DW
SETX | Spring NE | HARRIS | TX1010163 | Kenwood Subdivision | 4 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-17 | 2024-07-17 08:41 | 1 |  |  |  |  | 376349 | 530406
NTX | Fort Worth | Wise | TX2490013 | Killough Addition | 28 | DW
NTX | Granbury | Parker | TX1840094 | Kinbrook Estates | 98 | DW
NTX | Fort Worth | Wise | TX2490032 | Kings Rest | 176 | DW
SETX | Spring SW | HARRIS | TX1011536 | Kitzwood Subdivision | 35 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-16 | 2024-07-16 13:50 | Power Restored |  |  |  |  | 392746
NTX | Fort Worth | Parker | TX1840016 | La Junta | 31 | DW
NTX | Fort Worth | Parker | TX1840038 | Lago Lindo | 44 | DW
SETX | Spring NE | MONTGOMERY | TX1700015 | Laird Estates | 20 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-15 | 2024-07-17 | 2024-07-17 08:37 | On Generator Power - ran out of fuel |  |  |  |  | 373147 | 538805
CTX | West Austin | Travis | TX2270327 | Lake Cliff on Lake Travis | 113 | DW
SETX | Spring NW | MONTGOMERY | TX1700134 | Lake Conroe Forest Subdivision | 426 | DW | Power outage | Yes | 2024-07-08 | Yes | Yes | yes | 2024-07-08 | 2024-07-12 | 2024-07-12 07:27 | On Generator Power |  |  |  |  | 373548
SETX | Spring NW | MONTGOMERY | TX1700543 | Lake Conroe Village | 850 | DW | Power outage | Yes | 2024-07-09 |  | Yes | 2024-07-10 | n/a |  | 2024-07-10 | Power Restored
SETX | Spring NW | MONTGOMERY | TX1700041 | Lake Conroe West | 60 | DW | Power outage | Yes | 2024-07-08 |  | Yes | yes | 2024-07-08 | 2024-07-12 | 2024-07-12 07:35 | On Generator Power |  |  |  |  | 382346
NTX | Granbury | HOOD | TX1110059 | Lake Country Acres | 190 | DW
SETX | Spring NW | MONTGOMERY | TX1700529 | Lake Creek Forest | 274 | DW
SETX | Spring NE | Polk | TX1870156 | Lake Livingston Village | 546 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes |  | 2024-07-08 | 2024-07-15 | 2024-07-15 10:55 | Power Restored |  |  |  |  | 373150
NTX | Lake Palestine | Henderson | TX1070198 | Lake Palestine | 832 | DW |  |  |  | Yes
NTX | Lake Palestine | Henderson | TX1070059 | Lake Utility | 113 | DW
CTX | Wimberley | Live Oak | TX1490017 | Lake Vista | 287 | DW |  |  |  | Yes
SETX | Spring SW | Fort Bend | TX0790423 | Lakes of Mission Grove | 169 | DW | Power Outage | yes | 2024-07-10 | Yes | Yes | Yes | 2024-07-10 | 2024-07-12 | 2024-07-12 13:00 | Power Restored |  |  |  |  | 391147
SETX | Spring SW | HARRIS | TX1013050 | Lakes of Rosehill Water System | 413 | DW
CTX | Kerrville | Bandera | TX0100047 | Lakewood Water | 269 | DW |  |  |  | Yes
NTX | Waco | Bosque | TX0180072 | Lame Duck | 59 | DW
SETX | Spring SE | Brazoria | TX0200067 | Las Playas | 147 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-08 15:13 | Power Restored |  |  |  |  | 382752 | 534405
NTX | Granbury | Parker | TX1840018 | Lazy Bend | 58 | DW
SETX | Spring NE | Liberty | TX1460145 | Leaning-Towering Oaks Subdivision | 86 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-12 | 2024-07-10 | Power Restored |  |  |  |  | 381546
CTX | Wimberley | HAYS | TX1050043 | Leisurewoods | 447 | DW |  |  |  | Yes
NTX | Fort Worth | TARRANT | TX2200061 | Linkwood Estates | 143 | DW
NTX | Fort Worth | Parker | TX1840012 | Live Oak Hills | 79 | DW
CTX | Kerrville | Kerr | TX1330041 | Loma Vista | 1229 | DW
CTX | Kerrville | Kimble | TX1340019 | London Water System | 31 | DW
NTX | Granbury | HOOD | TX1110017 | Long Creek Water System | 117 | DW
NTX | Granbury | TARRANT | TX2200208 | Lunar Lane | 233 | DW
NTX | Granbury | HOOD | TX1110112 | Mallard Pointe | 170 | DW
SETX | Spring SW | HARRIS | TX1011510 | Mark's Glen Subdivision | 87 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-17 | 2024-07-17 10:05 | Power Restored |  |  |  |  | 377550 | 536804
SETX | Spring NE | HARRIS | TX1010100 | Mary Francis Subdivision | 595 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | n/a |  | 2024-07-08 16:55 | Power Restored
SETX | Spring NE | Liberty | TX1460033 | Maywood Acres | 73 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-15 | 2024-07-17 | 2024-07-17 08:26 | On Generator Power - ran out of fuel |  |  |  |  | 374346
CTX | Wimberley | HAYS | TX1050077 | Meadow Woods | 523 | DW |  |  |  | Yes
SETX | Spring SE | Brazoria | TX0200347 | Meadowland Subdivision | 122 | DW | Power outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-09 20:50 | Power Restored |  |  |  |  | 375947
SETX | Spring SE | Brazoria | TX0200271 | Meadowlark Subdivision | 29 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-12 18:23 | Power Restored |  |  |  |  | 376347 | 537604
SETX | Spring SE | Brazoria | TX0200189 | Meadowview Subdivision | 48 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-14 | 2024-07-12 18:23 | On Generator Power |  |  |  |  | 376747 | 532805
NTX | Fort Worth | Wise | TX2490047 | Mesa Ridge | 265 | DW |  |  |  | Yes
NTX | Granbury | HOOD | TX1110094 | Midhaven Estates | 47 | DW
SETX | Spring SW | HARRIS | TX1010288 | Mobile Home Estates | 183 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-09 | 2024-07-19 11:29 | Power Restored
NTX | Granbury | HOOD | TX1110102 | Moore Estates (Sunset Canyon) | 40 | DW
CTX | Wimberley | Travis | TX2270114 | Mooreland Water Supply | 84 | DW
SETX | Spring SE | Brazoria | TX0200227 | Moreland Subdivision Blks 1 - 4 | 97 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-10 | Power Restored |  |  |  |  | 375949 | 536405
CTX | Wimberley | HAYS | TX1050111 | Mountain Crest | 104 | DW
NTX | Granbury | Erath | TX0720037 | Mountain Lakes | 347 | DW |  |  |  | Yes
NTX | Granbury | HOOD | TX1110035 | Mountain View Estates | 333 | DW |  |  |  | Yes
CTX | Kerrville | Kerr | TX1330097 | Nickerson Farms | 74 | DW |  |  |  | Yes
CTX | West Austin | Travis | TX2270190 | Nighthawk WSC | 128 | DW
NTX | Granbury | HOOD | TX1110080 | Nolan Creek Estates | 60 | DW
NTX | Waco | McLennan | TX1550129 | North Bosque Estates | 109 | DW
NTX | Waco | McLennan | TX1550049 | North County | 218 | DW
NTX | Fort Worth | Collin | TX0430077 | North Custer Road Plant | 918 | DW |  |  |  | Yes
NTX | Granbury | HOOD | TX1110074 | North Fork Creek I | 66 | DW
NTX | Granbury | HOOD | TX1110088 | North Fork Creek II | 136 | DW
NTX | Fort Worth | TARRANT | TX2200329 | North Fork Estates | 196 | DW
NTX | Fort Worth | TARRANT | TX2200326 | North Ridge Estates | 46 | DW
SETX | Spring NW | HARRIS | TX1010915 | North Woods Estates | 445 | DW
CTX | Kerrville | Gillespie | TX0860086 | Northwest Hills_Gillespie | 73 | DW
CTX | Kerrville | Kerr | TX1330124 | Northwest Hills_Kerr | 111 | DW
SETX | Spring SE | Brazoria | TX0200146 | Oak Bend Estates | 56 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-11 | Power Restored |  |  |  |  | 382747
CTX | Kerrville | Kerr | TX1330091 | Oak Forest South | 216 | DW
SETX | Spring SE | Matagorda | TX1610031 | Oak Hollow Subdivision | 26 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-12 | 2024-07-10 | Power Restored |  |  |  |  | 373152 | 537605
SETX | Spring NE | HARRIS | TX1011633 | Oak Manor | 44 | DW | Power Outage & Plant Damage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-17 | 2024-07-17 08:34 | 7/12 - bottled water 1:15 pm to 1:45 mills branch road On Generator power low pressure |  |  |  |  | 375147 | 534005
CTX | Wimberley | HAYS | TX1050100 | Oak Meadows | 318 | DW |  |  |  | Yes
SETX | Spring NE | Liberty | TX1460100 | Oak Meadows Subdivision II & III | 82 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-12 | 2024-07-10 | Power Restored |  |  |  |  | 373148 | 538804
NTX | Lake Palestine | Hunt | TX1160079 | Oak Ridge Estates | 19 | DW
NTX | Granbury | JOHNSON | TX1260010 | Oakview Farms | 133 | DW
SETX | Spring NW | MONTGOMERY | TX1700216 | Oakwood Acres | 82 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-12 | 2024-07-12 | Power Restored |  |  |  |  | 377549 | 530407
SETX | Spring NW | HARRIS | TX1011803 | Oakwood Village Mobile Home Subdivision | 59 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | yes | 2024-07-08 | 2024-07-11 | 2024-07-15 | Power Restored |  |  |  |  | 375546
NTX | Fort Worth | Wise | TX2490036 | Old Chisholm Estates | 180 | DW
SETX | Spring NW | MONTGOMERY | TX1700666 | Old Egypt Subd | 2814 | DW |  |  |  | Yes
NTX | Fort Worth | Denton | TX0610224 | Old Stony Estates | 18 | DW
CTX | Wimberley | Travis | TX2270059 | Onion Creek Meadows | 236 | DW
NTX | Granbury | Somervell | TX2130046 | Orchards on the Brazos | 28 | DW
SETX | Spring SE | Brazoria | TX0200617 | Palm Crest | 92 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-09 09:57 | Power Restored |  |  |  |  | 379948
SETX | Spring SE | Brazoria | TX0200242 | Palmetto Subdivision | 45 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-09 13:45 | 7/9 - Power restored. 7/8 - No Power/System Flooded |  |  |  |  | 372748
SETX | Spring SW | HARRIS | TX1013041 | Park Forest Water System | 69 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-12 | 2024-07-12 13:00 | Power Restored |  |  |  |  | 375948
CTX | Kerrville | Kerr | TX1330127 | Park Place | 50 | DW
NTX | Granbury | JOHNSON | TX1260067 | Peaceful Meadows | 47 | DW
CTX | West Austin | Llano | TX1500043 | Pecan Utility_Oakridge | 201 | DW
CTX | Kerrville | Kerr | TX1330107 | Pecan Valley | 47 | DW
SETX | Spring SW | HARRIS | TX1011955 | Peek Road Utilities | 162 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-10 | 2024-07-10 13:33 | Power Restored |  |  |  |  | 383947
NTX | Granbury | HOOD | TX1110115 | Peninsula Addition | 115 | DW |  |  |  | Yes
NTX | Lake Palestine | Henderson | TX1070211 | Phoenix Water Works | 530 | DW |  |  |  | Yes | [10 empty] | 390746 | 530004
SETX | Spring NE | HARRIS | TX1010535 | Pine Trails Utility Company Inc. | 2323 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes |  | 2024-07-08 | 2024-07-12 | 2024-07-09 09:55 | On Generator Power |  |  |  |  | 377946
SETX | Spring NW | MONTGOMERY | TX1700078 | Pine Vista MH Village | 79 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-12 | 2024-07-15 | Power Restored |  |  |  |  | 381547
SETX | Spring NW | MONTGOMERY | TX1700061 | Piney Point | 107 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-11 | 2024-07-12 | Power Restored |  |  |  |  | 383147
SETX | Spring SE | Chambers | TX0360096 | Plantation on Cotton Bayou | 517 | DW |  |  |  | Yes
NTX | Granbury | HOOD | TX1110082 | Plaza East | 31 | DW
SETX | Spring SE | Brazoria | TX0200223 | Pleasant Meadows Subd | 27 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-14 | 2024-07-10 10:34 | Interconnect with Meadowland |  |  |  |  | 380748 | 532406
SETX | Spring SE | Brazoria | TX0200248 | Pleasantdale Subd | 20 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-09 | Power Restored |  |  |  |  | 374749
NTX | Fort Worth | Denton | TX0610201 | Ponder Acres | 41 | DW
NTX | Fort Worth | Denton | TX0610233 | Ponderosa Ranch | 150 | DW
SETX | Spring NE | Trinity | TX2280031 | Port Adventure | 197 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-15 | 2024-07-15 11:01 | Power Restored |  |  |  |  | 380346 | 537205
NTX | Fort Worth | TARRANT | TX2200348 | Prairie Ridge Estates | 109 | DW
SETX | Spring SE | Wharton | TX2410010 | Pyssen's Live Oak Estates | 55 | DW
SETX | Spring SE | Brazoria | TX0200219 | Quail Meadows Subd | 38 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-10 | Power Restored |  |  |  |  | 383146
NTX | Lake Palestine | Hunt | TX1160063 | Quinlan North | 72 | DW
NTX | Lake Palestine | Hunt | TX1160064 | Quinlan South | 45 | DW
NTX | Fort Worth | Denton | TX0610234 | Radecke Road | 14 | DW
NTX | Fort Worth | TARRANT | TX2200291 | Ranch Oaks | 187 | DW
NTX | Granbury | JOHNSON | TX1260078 | Rancho Villa Subdivision | 65 | DW |  |  |  | Yes
CTX | Kerrville | Kerr | TX1330139 | Real Oaks | 26 | DW
NTX | Fort Worth | Wise | TX2490056 | Reatta Estates | 92 | DW |  |  |  | Yes
SETX | Spring NE | HARRIS | TX1010307 | Redwood Estates Mobile Home Park | 160 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-12 | Power Restored |  |  |  |  | 373946
NTX | Fort Worth | Parker | TX1840047 | Remuda Ranch | 61 | DW
NTX | Granbury | HOOD | TX1110084 | Ridge Utilities | 125 | DW
CTX | West Austin | Burnet | TX0270141 | Rio Ancho | 192 | DW
NTX | Granbury | HOOD | TX1110045 | River Country Acres | 81 | DW
NTX | Granbury | HOOD | TX1110076 | River Run | 112 | DW
NTX | Waco | McLennan | TX1550089 | Rivercrest - Waco | 127 | DW
CTX | West Austin | Travis | TX2270041 | Rivercrest_Austin | 329 | DW |  |  |  | Yes
SETX | Spring SW | Fort Bend | TX0790405 | Riverwood Forest | 271 | DW |  |  |  | Yes
NTX | Granbury | HOOD | TX1110024 | Rock Harbor | 148 | DW
NTX | Lake Palestine | Hunt | TX1160011 | Rockwall East Mini Ranch | 38 | DW
SETX | Spring NW | HARRIS | TX1011861 | Rolling Oaks | 99 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-11 | 2024-07-15 | Power Restored |  |  |  |  | 384746
SETX | Spring SE | Fort Bend | TX0790396 | Rosemeadows III | 246 | DW
CTX | Kerrville | Kerr | TX1330013 | Royal Oaks | 40 | DW
NTX | Fort Worth | Parker | TX1840130 | Saddle Club | 157 | DW
CTX | Kerrville | Kerr | TX1330155 | Saddlewood Subdivision | 134 | DW
NTX | Lake Palestine | Henderson | TX1070247 | Safari | 248 | DW
CTX | West Austin | Williamson | TX2460046 | San Gabriel River Ranch | 309 | DW |  |  |  | Yes
CTX | Kerrville | Bandera | TX0100052 | San Julian Creek Estates | 24 | DW
NTX | Fort Worth | Parker | TX1840098 | Sandy Acres | 61 | DW
NTX | Granbury | HOOD | TX1110026 | Sandy Beach | 141 | DW
CTX | West Austin | Travis | TX2270054 | Sandy Creek Ranches | 681 | DW
SETX | Spring SE | Brazoria | TX0200255 | Sandy Ridge Subd | 21 | DW | Power Outage/Flooded | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-14 | 7/9/2024 20:00:00 AM | Power Restored |  |  |  |  | 383546
NTX | Fort Worth | Denton | TX0610163 | Saratoga Estates | 162 | DW
NTX | Fort Worth | TARRANT | TX2200338 | Savanna Estates | 117 | DW
CTX | Wimberley | Comal | TX0460060 | Scenic Heights | 180 | DW
SETX | Spring NE | MONTGOMERY | TX1700393 | Shadow Bay Subdivision | 328 | DW |  |  |  | Yes
SETX | Spring SW | Fort Bend | TX0790389 | Shadow Grove | 37 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-12 | 2024-07-12 13:00 | Power Restored |  |  |  |  | 376346
NTX | Granbury | JOHNSON | TX1260071 | Shady Hills Estates | 50 | DW
CTX | Wimberley | Travis | TX2270212 | Shady Hollow Estates | 235 | DW
NTX | Granbury | JOHNSON | TX1260072 | Shady Meadows Estates | 48 | DW
NTX | Fort Worth | Denton | TX0610238 | Shale Creek W & WW | 488 | DW |  |  |  | Yes
NTX | Fort Worth | Parker | TX1840021 | Shangri-La | 118 | DW
SETX | Spring SE | Brazoria | TX0200258 | Sharondale Subd | 33 | DW | Power outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-10 12:30 | Power restored |  |  |  |  | 373549
CTX | Wimberley | HAYS | TX1050134 | Sierra West | 165 | DW
NTX | Fort Worth | TARRANT | TX2200277 | Silver Creek Estates | 57 | DW
NTX | Fort Worth | Wise | TX2490031 | Singing Meadows | 43 | DW
NTX | Fort Worth | TARRANT | TX2200072 | Slay Estates | 89 | DW
CTX | Kerrville | Kerr | TX1330101 | Sleepy Hollow | 62 | DW
NTX | Waco | McLennan | TX1550091 | Smith Water Co | 37 | DW
NTX | Fort Worth | Denton | TX0610165 | Song Bird Addition | 110 | DW
SETX | Spring NE | Liberty | TX1460115 | South Dayton Oaks | 33 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-12 | 2024-07-12 | Power Restored |  |  |  |  | 381146 | 538005
SETX | Spring SE | Brazoria | TX0200415 | South Meadows East | 107 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 7/10/2024 14:30:00 PM | Power restored |  |  |  |  | 374747 | 539204
SETX | Spring SE | Brazoria | TX0200413 | South Meadows West | 159 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 7/10/2024 14:30:00 PM | Power restored |  |  |  |  | 380747 | 531207
CTX | West Austin | Williamson | TX2460026 | South San Gabriel Ranches | 161 | DW
NTX | Lake Palestine | Freestone | TX0810034 | Southern Oaks Water Supply | 639 | DW |  |  |  | Yes
CTX | Wimberley | HAYS | TX1050058 | Southwest Territory | 105 | DW
NTX | Granbury | TARRANT | TX2200108 | Southwood Addition | 80 | DW
NTX | Fort Worth | Denton | TX0610214 | Spanish Oaks Addition | 35 | DW
SETX | Spring NE | HARRIS | TX1010334 | Spring Creek Forest | 41 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-09 10:11 | Power Restored |  |  |  |  | 377146
NTX | Fort Worth | Denton | TX0610218 | Spring Hill Estates | 79 | DW
NTX | Waco | McLennan | TX1550044 | Spring Valley WSC | 900 | DW |  |  |  | Yes
NTX | Fort Worth | Parker | TX1840015 | Springtown Subd | 25 | DW
NTX | Granbury | Somervell | TX2130021 | Squaw Creek | 84 | DW |  |  |  | Yes
SETX | Spring SW | HARRIS | TX1013103 | Stable Gates | 249 | DW
SETX | Spring SE | Brazoria | TX0200363 | Sterling Estates | 31 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-09 | Power restored |  |  |  |  | 382748
SETX | Spring NE | HARRIS | TX1010216 | Stetner Addition | 48 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-15 | 2024-07-15 10:58 | Power Restored |  |  |  |  | 380347 | 538405
CTX | West Austin | Burnet | TX0270134 | Stone Mountain | 28 | DW
NTX | Fort Worth | Denton | TX0610236 | Stone Valley Farm | 112 | DW
CTX | Kerrville | Kendall | TX1300032 | Stonegate | 101 | DW
NTX | Fort Worth | Wise | TX2490037 | Stonegate Park | 66 | DW
NTX | Fort Worth | Denton | TX0610220 | Stony Hill | 242 | DW
NTX | Fort Worth | Wise | TX2490045 | Strawberry Estates | 42 | DW
SETX | Spring NE | HARRIS | TX1013187 | Summer Lake Ranch | 163 | DW | Power Outage | Yes | 2024-07-08 | Yes | Yes | yes | n/a |  | 2024-07-08 16:55 | Power Restored
NTX | Fort Worth | TARRANT | TX2200337 | Sun Valley Estates | 76 | DW
NTX | Granbury | HOOD | TX1110087 | Sunchase Meadows | 160 | DW
SETX | Spring NE | Jefferson | TX1230083 | Sunchase Subdivision | 35 | DW | Power Outage | Yes | 2024-07-15 |  |  |  | 2024-07-15 | 2024-07-17 | 2024-07-17 08:09 | Due to a power outage from the hurricane, Aqua is notifying all customers to boil their water
NTX | Granbury | HOOD | TX1110077 | Sunset Acres MHP | 50 | DW
NTX | Fort Worth | Wise | TX2490040 | Sunshine Meadows | 306 | DW |  |  |  | Yes
CTX | West Austin | Williamson | TX2460064 | Tal Tex | 314 | DW
NTX | Fort Worth | Parker | TX1840011 | Tanglewood Estates | 237 | DW
SETX | Spring NE | HARRIS | TX1011865 | Tasfield | 71 | DW
CTX | Kerrville | Kendall | TX1300036 | Ten West Ranches | 42 | DW
SETX | Spring NE | Harris | TX1012978 | The Commons Water Supply Inc | 1006 | DW |  |  |  | Yes
NTX | Fort Worth | TARRANT | TX2200344 | The Resort at Eagle Mountain Lake | 520 | DW |  |  |  | Yes | [10 empty] | 391946 | 531604
SETX | Spring SE | Matagorda | TX1610033 | Tidewater Oaks Subd | 62 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 7/10/20024 16:21 | Power Restored |  |  |  |  | 373151 | 530806
NTX | Fort Worth | Parker | TX1840108 | Timbercreek Valley | 57 | DW
SETX | Spring SW | MONTGOMERY | TX1700641 | Timberloch Estates | 235 | DW
NTX | Fort Worth | Denton | TX0610203 | Trail Creek | 423 | DW |  |  |  | Yes
SETX | Spring SE | Matagorda | TX1610017 | Tres Palacious Oaks Subd | 251 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-12 | 2024-07-12 | Power Restored |  |  |  |  | 381148
SETX | Spring SE | Chambers | TX0360084 | Trinity Cove | 35 | DW
NTX | Waco | McLennan | TX1550125 | Tubbs | 30 | DW
SETX | Spring SW | MONTGOMERY | TX1700287 | Turtle Creek | 182 | DW | Power outage | Yes | 2024-07-09 |  | Yes | Yes | 2024-07-09 | 2024-07-12 | 2024-07-12 13:00 | Power Restored |  |  |  |  | 389546
CTX | Kerrville | Medina | TX1630040 | Valentine Ranch | 63 | DW
NTX | Fort Worth | TARRANT | TX2200341 | Van Zandt Farms | 234 | DW
SETX | Spring SE | Brazoria | TX0200341 | Village Trace WS | 164 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-09 12:45 | Power Restored |  |  |  |  | 383547
SETX | Spring SE | Brazoria | TX0200024 | Wagon Wheel Utility Company | 89 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-10 12:30 | Power Restored |  |  |  |  | 382750
NTX | Granbury | JOHNSON | TX1260101 | Walden Estates | 89 | DW
CTX | Kerrville | Kendall | TX1300034 | Walnut Hills | 194 | DW
SETX | Spring SW | MONTGOMERY | TX1700128 | Walnut Springs | 205 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-11 | 2024-07-15 | Power Restored |  |  |  |  | 379146
SETX | Spring NE | HARRIS | TX1013195 | Walraven Subdivision | 66 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-17 | 2024-07-17 08:30 | On Generator Power |  |  |  |  | 376746 | 538406
SETX | Spring NE | Liberty | TX1460137 | Webb Way | 13 | DW | power outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-11 | 2024-07-10 15:31 | 7/10 - Power restored Webb way gets its water from Dayton creek, and Dayton creek is still without power at this time. |  |  |  |  | 373546
SETX | Spring SE | Brazoria | TX0200211 | Wellborn Acres | 22 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-10 19:15 | Power Restored |  |  |  |  | 375149 | 534406
NTX | Waco | Falls | TX0730021 | West Brazos WSC | 960 | DW |  |  |  | Yes
SETX | Spring SW | Grimes | TX0930042 | West Magnolia Forest | 48 | DW | Power Outage | Yes | 2024-07-09 |  | Yes | Yes | 2024-07-09 | 2024-07-12 | 2024-07-12 13:06 | Power Restored |  |  |  |  | 390346
CTX | Kerrville | Gillespie | TX0860100 | West Oak Heights | 71 | DW
CTX | Kerrville | Kerr | TX1330028 | Westcreek Estates | 141 | DW
NTX | Waco | McLennan | TX1550072 | Western Hills | 997 | DW |  |  |  | Yes
SETX | Spring SW | HARRIS | TX1010622 | Westgate Subdivision | 50 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-13 | 2024-07-12 14:17 | Power Restored |  |  |  |  | 385146 | 534805
SETX | Spring SE | Brazoria | TX0200254 | Westwood Subd | 27 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-09 20:08 | Power Restored |  |  |  |  | 382749
SETX | Spring SE | Brazoria | TX0200019 | Weybridge Subd | 38 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-08 | 2024-07-14 | 2024-07-12 18:23 | On Generator Power |  |  |  |  | 379949
NTX | Granbury | HOOD | TX1110027 | Whippoorwill Bay | 272 | DW |  |  |  | Yes
SETX | Spring NW | MONTGOMERY | TX1700670 | White Oak Ranch | 167 | DW | Power Outage | Yes | 2024-07-08 | No | Yes | yes | N/A |  | 2024-07-15 | on plant Interconnect Opened with City of Conroe
NTX | Fort Worth | Denton | TX0610237 | Willow Springs | 66 | DW
NTX | Fort Worth | Denton | TX0610212 | Willow Wood_Meadow Vista | 125 | DW
SETX | Spring NE | MONTGOMERY | TX1700321 | Wilshire Subdivision | 97 | DW | Power Outage | Yes | 2024-07-08 |  | Yes |  | 2024-07-15 | 2024-07-19 | 2024-07-19 14:56 | On Generator Power: ran out of fuel |  |  |  |  | 373146 | 537206
SETX | Spring SE | Brazoria | TX0200229 | Windsong Subdivision | 52 | DW | Power Outage | Yes | 2024-07-08 |  | Yes | Yes | 2024-07-08 | 2024-07-14 | 2024-07-09 20:00 | Power Restored |  |  |  |  | 382746
NTX | Fort Worth | Parker | TX1840076 | Windsor Est | 31 | DW
CTX | Wimberley | HAYS | TX1050037 | Woodcreek I | 899 | DW |  |  |  | Yes
CTX | Wimberley | HAYS | TX1050039 | Woodcreek II | 1301 | DW
NTX | Fort Worth | Denton | TX0610084 | Woodland Hills | 36 | DW
SETX | Spring NE | MONTGOMERY | TX1700657 | Woodland Ranch | 119 | DW
NTX | Fort Worth | Parker | TX1840138 | Woodlands of Parker Co & Old B | 76 | DW
NTX | Fort Worth | Denton | TX0610009 | Wren Estates | 250 | DW
NTX | Lake Palestine | Smith | TX2120077 | WWWW | 33 | DW

## WWTP Tracking
Area | Division | COUNTY | Permit # | System Name | Sys Typ | Issue | Initital Reported | Generator | WWTP Operational | ETA to Return Service | SSO/UD | UD Gal. | Last Update | Comments & Updates | Storm Related
SETX | Spring SE | Brazoria | WQ0014039-001 | Ashley Oaks | WW | Power Outage | 2024-07-08 |  | Yes |  |  |  | 2024-07-11 | Power Restored
SETX | Spring SE | Fort Bend | WQ0013600-001 | Astro Commercial | WW | Power Outage | 2024-07-10 |  | Yes |  |  |  | 2024-07-11 19:22 | Power Restored
CTX | West Austin | Burnet | WQ0011332-001 | B&W Gatherings | WW
CTX | West Austin | Travis | WQ0013477-001 | Barton Creek Lakeside (Lake Side) | WW
NTX | Granbury | HOOD | WQ0013022-001 | Blue Water Shores | WW
SETX | Spring SE | Victoria | WQ0010742-001 | Brentwood Manor | WW | N/A |  |  | Yes |  |  |  | 2024-07-11
CTX | West Austin | Travis | WQ0014061-001 | Briarcreek WWTP | WW
SETX | Spring SW | HARRIS | WQ0011193-001 | Brittmoore I_II | WW | Power Outage | 2024-07-10 |  | Yes |  |  |  | 2024-07-16 16:45 | Power Restored
SETX | Spring SW | HARRIS | WQ0014117-001 | Brittmoore III | WW | N/A |  |  | Yes |  |  |  | 2024-07-11
SETX | Spring SW | HARRIS | WQ0012222-001 | Brittmoore WxNW | WW | Power Outage | 2024-07-10 |  | Yes |  |  |  | 2024-07-16 14:00 | Power Restored
SETX | Spring SW | MONTGOMERY | WQ0012898-001 | Brushy Creek Utility | WW | N/A |  |  | Yes |  |  |  | 2024-07-12
SETX | Spring NW | HARRIS | WQ0011314-001 | Candlelight Hills | WW | Power Outage |  | Yes | Yes |  | 2024-07-08 | 3000 | 2024-07-15 | Power Restored
NTX | Granbury | HOOD | WQ0013786-001 | Canyon Creek Wastewater | WW
SETX | Spring NE | Polk | WQ0012454-001 | Cedar Point | WW | Power Outage | 2024-07-10 | Yes | Yes |  | 2024-07-11 | 50 | 2024-07-14 13:00 | Power Restored
NTX | Fort Worth | Wise | WQ0014910-001 | Chisholm Springs | WW
SETX | Spring NE | HARRIS | WQ0013870-001 | Classic Pines | WW | Power Outage | 2024-07-08 |  | Yes |  | 2024-07-10 | 2000 | 2024-07-16 14:00 | Power Restored
SETX | Spring NE | HARRIS | WQ0010694-001 | Colonial Hills | WW | Power Outage | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-15 | Power Restored
SETX | Spring NE | Jefferson | WQ0011249-001 | Country Side Estates | WW | N/A |  |  | Yes |  |  |  | 2024-07-11
SETX | Spring SW | HARRIS | WQ0011375-001 | Creekside | WW | Power Outage | 2024-07-10 |  | Yes |  |  |  | 2024-07-12 14:00 | Power Restored
NTX | Lake Palestine | Marion | WQ0012563-001 | Crestwood WWTP | WW
SETX | Spring SW | Fort Bend | WQ0015642-001 | Deer Run Meadows | WW | N/A |  |  | Yes |  |  |  | 2024-07-11
CTX | Wimberley | Wilson | WQ0014626-001 | Eagle Creek | WW
NTX | Lake Palestine | Cherokee | WQ0013994-001 | Eagles Bluff | WW
CTX | Wimberley | HAYS | WQ0013293-001 | Goforth aka Sandy Creek | WW
SETX | Spring NW | MONTGOMERY | WQ0014013-001 | Greenfield Forest | WW | Power Outage | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-15 | Power Restored
SETX | Spring NE | Harris | WQ0011255-001 | Greenwood Village | WW | Flooding / Power Outage | 2024-07-08 | Yes | Yes |  |  |  | 2024-07-12 | Power Restored
SETX | Spring SW | HARRIS | WQ0013433-001 | Heron Lakes | WW | N/A |  |  | Yes |  |  |  | 2024-07-11
CTX | Wimberley | Bexar | WQ0015962-001 | Hickory Ridge WWTP | WW
SETX | Spring NE | HARRIS | WQ0014106-001 | Imperial Valley | WW | Power Outage | 2024-07-08 |  | Yes |  |  |  | 2024-07-12 | Power Restored
SETX | Spring SE | HARRIS | WQ0012122-001 | Industrial Utilities Services Inc | WW | Power Outage | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-11 | Power Restored
SETX | Spring NW | MONTGOMERY | WQ0014357-001 | Lake Conroe Forest | WW | Power Outage | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-15 | Power Restored
SETX | Spring NW | MONTGOMERY | WQ0014018-001 | Lake Conroe Village | WW | N/A |  |  |  |  | 2024-07-10 | 4900
SETX | Spring NE | Polk | WQ0013209-001 | Lake Livingston Village | WW | Power Outage | 2024-07-10 | Yes | Yes |  | 2024-07-08 | unk | 2024-07-12 | Power Restored ; SSO amount undetermined
SETX | Spring SW | Fort Bend | WQ0014243-001 | Lakes of Mission Grove | WW | Power Outage | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-11 | Power Restored
CTX | West Austin | HAYS | WQ0013337-001 | Leander Hills_Sandy Creek | WW
SETX | Spring NW | HARRIS | WQ0014181-001 | Mahaffy Rd (Estates Willow Creek) | WW | Power Outage | 2024-07-10 |  | Yes |  |  |  | 2024-07-11
SETX | Spring NW | HARRIS | WQ0012303-001 | Oakwood Village | WW | Power Outage | 2024-07-10 |  | Yes |  |  |  | 2024-07-11
SETX | Spring NW | MONTGOMERY | WQ0014141-001 | Old Egypt | WW | Power Outage | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-15 | Power Restored
SETX | Spring SE | Brazoria | WQ0014279-001 | Palm Crest | WW | Power Outage | 2024-07-08 |  | Yes |  |  |  | 2024-07-11 10:50 | Power Restored
SETX | Spring NE | HARRIS | WQ0011701-001 | Pine Trails | WW | Power Outage | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-11 | Power Restored
SETX | Spring NE | Trinity | WQ0014096-001 | Port Adverture | WW | Power Outage | 2024-07-08 |  | Yes |  |  |  | 2024-07-12 | Power Restored
SETX | Spring NE | HARRIS | WQ0012996-001 | Redwood | WW | Power Outage | 2024-07-08 |  | Yes |  |  |  | 2024-07-12 | Power Restored
NTX | Granbury | HOOD | WQ0013025-001 | Ridge Utilities Wastewater | WW
SETX | Spring SW | Fort Bend | WQ0014194-001 | Riverwood Forest | WW | Power Outage | 2024-07-08 |  | Yes |  | 2024-07-09 | 4000 | 2024-07-11 | Power Restored
SETX | Spring SE | Fort Bend | WQ0014175-001 | Rosemeadows III | WW | Power Outage | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-11
SETX | Spring NE | MONTGOMERY | WQ0011419-001 | Shadow Bay | WW | Power Outage | 2024-07-10 | Yes | Yes |  | 2024-07-08 | 7000 | 2024-07-16 14:00 | On generator
NTX | Fort Worth | Denton | WQ0014186-001 | Shale Creek WWTP | WW
SETX | Spring NW | HARRIS | WQ0015158-001 | Spring Creek Regional | WW | N/A | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-11
SETX | Spring SW | HARRIS | WQ0014032-001 | Stable Gate | WW | Power Outage | 2024-07-08 | Yes | Yes |  | 2024-07-10 |  | 2024-07-16 | Power Restored
CTX | Wimberley | Hays | WQ0015293-001 | Sunset Oaks | WW
NTX | Fort Worth | TARRANT | WQ0014125-001 | The Resort | WW
SETX | Spring SW | MONTGOMERY | WQ0014007-001 | Timberloch | WW | Power Outage | 2024-07-08 |  | Yes |  |  |  | 2024-07-11
SETX | Spring NW | HARRIS | WQ0012519-001 | Timberwild | WW | Power Outage | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-11 | Power Restored
NTX | Granbury | HOOD | WQ0014147-001 | Treaty Oaks | WW
SETX | Spring SE | Chambers | WQ0011449-001 | Veranda | WW | Power Outage | 2024-07-10 |  | Yes |  | 2024-07-08 | unk | 2024-07-11 16:25 | Back on utility power. 2nd SSO reported on 7/11, SSO amount undetermined
SETX | Spring SE | Brazoria | WQ0012822-001 | Village Trace | WW | N/A |  |  | Yes |  |  |  | 2024-07-11
SETX | Spring SE | Brazoria | WQ0014324-001 | Weybridge | WW | Power Outage | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-16 | Power Restored
SETX | Spring NW | MONTGOMERY | WQ0014114-001 | White Oak Ranch | WW | N/A |  |  | Yes |  |  |  | 2024-07-11
SETX | Spring NW | HARRIS | WQ0013619-001 | Willow Oaks | WW | Power Outage | 2024-07-10 |  | Yes |  |  |  | 2024-07-15 | Power Restored
CTX | Wimberley | HAYS | WQ0013989-001 | Woodcreek | WW
SETX | Spring NW | MONTGOMERY | WQ0014973-001 | Woodlands 50MF | WW | Power Outage | 2024-07-10 | Yes | Yes |  |  |  | 2024-07-15 | Power Restored

## Water Summary
| No Water Service |  | Precautionary BWA |  | Mandatory BWN, |  | Mandatory BWN (w/water) |  | Affected - No Outage |  | BWN Lifted |  | BWN and/or BWA |  | Totals Systems SETX |  | Updated: | 7/15/07:00
Date | systems | connection | systems | connection | systems | connection | systems | connection | systems | connection | systems | connection | systems | connection | systems | connections
2024-07-07 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0
2024-07-08 16:00 | 74 | 9350 |  |  |  |  | 7 | 1818 | 7 | 3545
2024-07-09 16:00 | 48 | 3775 |  |  |  |  | 42 | 8027 | 14 | 7037 |  |  | 0 | 0 | 104 | 18839 | 104 | 18839 | 90 | 11802
2024-07-10 22:00 | 12 | 554 |  |  |  |  | 87 | 12765 | 11 | 5270 |  |  | 0 | 0 | 110 | 18589 | 110 | 18589 | 99 | 13319
2024-07-11 20:00 | 0 | 0 |  |  |  |  | 79 | 11025 | 12 | 5544 | 13 | 2392 | 0 | 0 | 104 | 18961 | 104 | 18961 | 79 | 11025
2024-07-12 18:00 | 0 | 0 |  |  |  |  | 62 | 5977 | 8 | 3590 | 38 | 7440 | 0 | 0 | 108 | 17007 | 108 | 17007 | 62 | 5977
2024-07-13 | 0 | 0 |  |  |  |  | 60 | 5878 | 8 | 3590 | 40 | 7535 | 0 | 0 | 108 | 17003 | 108 | 17003 | 60 | 5878
2024-07-14 | 0 | 0 |  |  |  |  | 27 | 3329 | 8 | 3590 | 73 | 10088 | 0 | 0 | 108 | 17007 | 108 | 17007 | 27 | 3329
2024-07-15 16:00 | 0 | 0 |  |  |  |  | 21 | 1673 | 0 | 0 | 80 | 11779 | 0 | 0 | 101 | 13452 | 101 | 13452 | 21 | 1673
2024-07-16 | 0 | 0 |  |  |  |  | 14 | 943 | 0 | 0 | 87 | 12509 | 0 | 0 | 101 | 13452 | 101 | 13452 | 14 | 943
2024-07-17 | 0 | 0 |  |  |  |  | 4 | 458 | 0 | 0 | 97 | 12967 | 0 | 0 | 101 | 13425 | 101 | 13425 | 4 | 458
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Some systems data is still tenative and may affect summary