## Q1-56
May 2024 Derecho
Q 1-56 | Feeder Circuits | Pole(s) Quantity (each feeder affected) | Pole Percentage Type (wood, composite, steel, concrete) (System-wide) |  |  |  | Pole(s) Failures (Quantity) | Pole(s) Failure Percentage (Quantity) | Primary Cause of Failure for Each Pole Type (trees, branches, wind, etc. ) | Primary Point of Failure (crossarm, pole leaning, pole break, etc.) | NESC Construction Strength (Low, Medium, or High) | List Future Circuit Rebuild Plans to Higher Standard | Estiamate when Circuit Rebuild will Commence
|  |  | Wood | Composite | Steel | Concrete
1 | WR 70 | 100 | 100 | 0 | 0 | 0 | 2 | 2% | Trees | Break | Medium | 0 | N/A
2 | WR 90 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | Trees | Break | Medium | 0 | N/A
3 | WR 80 | 100 | 100 | 0 | 0 | 0 | 2 | 2% | Trees | Break | Medium | 0 | N/A
4
5
Hurricane Beryl
Q 1-56 | Feeder Circuits | Pole(s) Quantity (each feeder affected) | Pole Percentage Type (wood, composite, steel, concrete) (System-wide) |  |  |  | Pole(s) Failures (Quantity) | Pole(s) Failure Percentage (Quantity) | Primary Cause of Failure for Each Pole Type (trees, branches, wind, etc. ) | Primary Point of Failure (crossarm, pole leaning, pole break, etc.) | NESC Construction Strength (Low, Medium, or High) | List Future Circuit Rebuild Plans to Higher Standard | Estiamate when Circuit Rebuild will Commence
|  |  | Wood | Composite | Steel | Concrete
1 | WR 70 | 100 | 100 | 0 | 0 | 0 | 0 | N/A | N/A | N/A | Medium | 0 | N/A
2 | WR 90 | 100 | 100 | 0 | 0 | 0 | 0 | N/A | N/A | N/A | Medium | 0 | N/A
3 | WR 80 | 100 | 100 | 0 | 0 | 0 | 0 | N/A | N/A | N/A | Medium | 0 | N/A
4 | 0
5 | 0

## Q1-78
May 2024 Derecho
Q 1-78 | Feeder Circuits | Outage Date | Outage Time | Duration of Outage | Voltage | Description - Cause of Outage (grow-in, fall-in, blow-in)
1 | HS10 | 2024-05-16 | 17:30 | 12hrs | ? | Fall-In
2 | HS20 | 0 | 0 | 0 | 0 | 0
3 | HS30 | 2024-05-16 | 17:30 | 12hrs | ? | Fall-In
4
5
Hurricane Beryl
Q 1-78 | Feeder Circuits | Outage Date | Outage Time | Duration of Outage | Voltage | Description - Cause of Outage (grow-in, fall-in, blow-in)
0
1 | HS10 | 0 | 0 | 0 | 0 | 0
2 | HS20 | 0 | 0 | 0 | 0 | 0
3 | HS30 | 0 | 0 | 0 | 0 | 0
4 | 0
5 | 0