## Q1-56
May 2024 Derecho
Q 1-56 | Feeder Circuits | Pole(s) Quantity (each feeder affected) | Pole Percentage Type (wood, composite, steel, concrete) (System-wide) |  |  |  | Pole(s) Failures (Quantity) | Pole(s) Failure Percentage (Quantity) | Primary Cause of Failure for Each Pole Type | Primary Point of Failure (crossarm, pole leaning, pole break, etc.) | NESC Construction Strength (Low, Medium, or High) | List Future Circuit Rebuild Plans to Higher Standard | Estiamate when Circuit Rebuild will Commence
|  |  | Wood | Composite | Steel | Concrete
1 | TS10 | 0 | - | - | - | - | - | - | - | - | - | 0 | N/A
2
3
4
5
Hurricane Beryl
Q 1-56 | Feeder Circuits | Pole(s) Quantity (each feeder affected) | Pole Percentage Type (wood, composite, steel, concrete) (System-wide) |  |  |  | Pole(s) Failures (Quantity) | Pole(s) Failure Percentage (Quantity) | Primary Cause of Failure for Each Pole Type | Primary Point of Failure (crossarm, pole leaning, pole break, etc.) | NESC Construction Strength (Low, Medium, or High) | List Future Circuit Rebuild Plans to Higher Standard | Estiamate when Circuit Rebuild will Commence
|  |  | Wood | Composite | Steel | Concrete
1 | TS10 | 11 | 11 | - | - | - | 11 | 1.5% | Wind | Pole Broke | Low | 0 | N/A
2 | 0
3 | 0
4 | 0
5 | 0