## Instructions (hidden)
§25.52. -- Reliability and Continuity of Service.
http://www.puc.texas.gov/agency/rulesnlaws/subrules/electric/25.52/25.52.pdf
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.texas.gov/agency/rulesnlaws/statutes/Pura15.pdf
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | AEP-TX
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 1220
Due: |  | February 14, 2020
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 46717
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
David Smithson
Infrastructure & Reliability Division
Commission Staff
Voice: | 512 936 7156
Fax: | 512 936 7328
E-mail: | david.smithson@puc.texas.gov

## Cover
Vegetation Report
To The
Public Utility Commission of Texas
2019 Reporting Year
AEP Texas

## System-SAIFI
AEP Texas
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2019 | 0.17456 | 0.010825 | 0.0061699 | 0.010482 | 0.024344 | 0.015541 | 0.016736 | 0.014916 | 0.01327 | 0.02608 | 0.017466 | 0.014726 | 0.0040071
Scheduled
2019
Outside Causes
2019
Major Events
2019 | 0.0073486 | May: 0.0027293; June: 0.0046193

## System-SAIDI
AEP Texas
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2019 | 19.729 | 1.0075 | 0.50601 | 0.73206 | 2.9244 | 2.4109 | 2.7457 | 1.461 | 1.426 | 2.2554 | 2.2402 | 1.61 | 0.40979
Scheduled
2019
Outside Causes
2019
Major Events
2019 | 3.3649 | May: 1.1683; June: 2.1966

## Feeder
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 1220
Add or Delete Rows as Necessary
AEP Texas
Feeder Identification | Substation Identification | Number of Customers | 2019 SAIDI Value | 2019 SAIFI Value
94CN10 | LULING - LCRA | 406 | 346.0197 | 1.8103
94CN1020 | PETTUS | 461 | 198.0239 | 1.8221
94CN1030 | BLESSING | 282 | 79.922 | 0.60284
94CN1040 | REFUGIO | 164 | 2.3659 | 0.02439
94CN1110 | BAY CITY | 1236 | 302.9684 | 2.4053
94CN1120 | BLACK BAYOU | 314 | 3.0828 | 0.025478
94CN1170 | REFUGIO | 841 | 39.3436 | 0.15577
94CN1210 | REFUGIO | 182 | 39.5659 | 0.2033
94CN1240 | SHROPSHIRE | 70 | 216.0429 | 0.57143
94CN1320 | GEORGE WEST | 709 | 85.4372 | 0.63611
94CN1380 | MEDIO CREEK | 760 | 2.7855 | 0.038158
94CN1390 | VICTORIA POWER PLANT | 1075 | 17.573 | 0.10512
94CN1430 | LEARY LANE | 1684 | 14.5505 | 0.13242
94CN1470 | NORTH VICTORIA | 474 | 4.2616 | 0.012658
94CN1540 | LEARY LANE | 794 | 2.4106 | 0.041562
94CN1550 | STAFFORD HILL | 228 | 577.0921 | 2.5307
94CN1580 | NORTH VICTORIA | 961 | 25.5359 | 0.32154
94CN1740 | MATTHEWS | 161 | 78.0373 | 0.32298
94CN1760 | BEEVILLE | 1817 | 58.1332 | 0.59218
94CN1875 | CARANCAHUA | 433 | 8.1801 | 0.046189
94CN1890 | LEARY LANE | 1629 | 8.4579 | 0.07919
94CN1900 | WEAVER ROAD | 59 | 7.0169 | 0.050847
94CN1910 | WEAVER ROAD | 26 | 0 | 0
94CN1940 | PRAIRIE PUMP | 79 | 290.1899 | 1.9241
94CN1960 | KENEDY | 70 | 1.3571 | 0.028571
94CN1970 | KENEDY | 564 | 9.8652 | 0.19326
94CN20 | LULING - LCRA | 281 | 177.5943 | 0.78648
94CN2010 | THREE RIVERS | 315 | 79.4571 | 0.72381
94CN2025 | NIXON | 513 | 29.1209 | 0.18324
94CN2050 | BAY CITY | 542 | 52.4852 | 0.1679
94CN2200 | BEEVILLE | 735 | 9.2884 | 0.12653
94CN22202 | PAWNEE (STEC OWNED) | 192 | 29.8646 | 0.125
94CN2240 | NORTH VICTORIA | 731 | 0.79891 | 0.0095759
94CN2315 | KARNES CITY | 1027 | 10.7186 | 0.1334
94CN2325 | KARNES CITY | 659 | 13.1214 | 0.18816
94CN2340 | KARNES CITY | 793 | 1.7491 | 0.02396
94CN2380 | BEEVILLE | 218 | 1.5596 | 0.013761
94CN245 | MAGRUDER | 1238 | 15.2157 | 0.13893
94CN2480 | PORT LAVACA | 1542 | 2.1284 | 0.023346
94CN2490 | PORT LAVACA | 1049 | 12.693 | 0.12774
94CN2550 | FOSTER FIELD | 57 | 0 | 0
94CN2560 | GARWOOD CITY | 195 | 32.3795 | 0.22564
94CN2570 | GARWOOD CITY | 141 | 183.5248 | 1.4539
94CN2580 | THREE RIVERS | 124 | 26.1694 | 0.096774
94CN2700 | BAY CITY | 1082 | 54.756 | 0.3854
94CN2740 | GREENLAKE | 361 | 16.1801 | 0.055402
94CN2760 | GREENLAKE | 1171 | 3.1008 | 0.041845
94CN2800 | EL CAMPO | 822 | 41.3771 | 0.24209
94CN2860 | EL CAMPO | 1484 | 34.1523 | 0.25809
94CN300 | BEEVILLE | 1658 | 57.9349 | 0.40953
94CN305 | MOCKINGBIRD | 312 | 27.5385 | 0.37821
94CN310 | EAGLE LAKE | 723 | 143.8714 | 1.2213
94CN3130 | YORKTOWN | 475 | 78.3747 | 0.68211
94CN315 | MAGNOLIA | 77 | 1.987 | 0.012987
94CN320 | EAGLE LAKE | 622 | 616.2026 | 4.5354
94CN3250 | RUNGE | 256 | 25.2695 | 0.40234
94CN3300 | NIXON | 580 | 59.9207 | 0.38621
94CN3380 | NORDHEIM | 168 | 4.4345 | 0.047619
94CN3575 | SHROPSHIRE | 33 | 759.4242 | 2.697
94CN360 | FASHING | 37 | 0 | 0
94CN370 | MOCKINGBIRD | 37 | 41.7838 | 0.21622
94CN3760 | KITTIE WEST | 237 | 49.8987 | 0.35021
94CN3765 | KITTIE WEST | 317 | 86.8927 | 0.49211
94CN390 | O_CONNER | 197 | 82.4518 | 1.1015
94CN400 | MOCKINGBIRD | 405 | 103.4321 | 0.72099
94CN420 | BIG OAK | 152 | 279.0329 | 1.5263
94CN4275 | NORDHEIM | 82 | 0 | 0
94CN4465 | RUNGE | 374 | 31.6524 | 0.29144
94CN460 | CHASE FIELD | 18 | 8.2222 | 0.11111
94CN490 | BEEVILLE | 957 | 12.0313 | 0.1139
94CN5100 | THREE RIVERS | 70 | 240.4857 | 0.94286
94CN5120 | REFUGIO | 690 | 0.31594 | 0.0028986
94CN5190 | THREE RIVERS | 477 | 16.8491 | 0.13417
94CN5390 | CHOKE CANYON | 411 | 46.8735 | 0.27494
94CN5550 | MARKHAM | 21 | 0 | 0
94CN5745 | EL CAMPO | 915 | 40.7607 | 0.30164
94CN5765 | EDNA | 1118 | 23.6315 | 0.20751
94CN5775 | EDNA | 499 | 18.2445 | 0.096192
94CN5785 | EDNA | 1376 | 17.9557 | 0.10102
94CN5795 | GANADO | 472 | 116.2119 | 1.5064
94CN5815 | GANADO | 600 | 11.765 | 0.1
94CN5870 | CARANCAHUA | 76 | 554.75 | 3.5
94CN5960 | BAY CITY | 2075 | 177.0053 | 0.81012
94CN6005 | LEARY LANE | 1377 | 9.6768 | 0.10748
94CN6060 | POINT COMFORT | 361 | 98.5873 | 1.0083
94CN6175 | LEARY LANE | 2509 | 6.2587 | 0.051415
94CN6180 | COLUMBUS | 464 | 2.9289 | 0.015086
94CN6270 | KENEDY | 543 | 22.7477 | 0.27624
94CN6330 | LOLITA | 31 | 56.9032 | 0.3871
94CN6370 | EL CAMPO | 746 | 30.1595 | 0.22922
94CN6390 | NORTH VICTORIA | 1510 | 86.5457 | 0.40464
94CN6440 | MARKHAM | 461 | 166.8764 | 0.90889
94CN6450 | BAY CITY | 937 | 80.2476 | 0.60832
94CN6540 | GOLIAD | 1213 | 126.5763 | 2.0956
94CN6630 | NIXON | 616 | 39.6039 | 0.31006
94CN6670 | BAY CITY | 1614 | 106.9139 | 0.55204
94CN6680 | MAGRUDER | 690 | 32.2667 | 0.23913
94CN6690 | MAGRUDER | 742 | 12.8989 | 0.17655
94CN6700 | MAGRUDER | 1358 | 74.1657 | 0.36451
94CN6750 | KENEDY S.S. | 63 | 7.4286 | 0.12698
94CN6830 | PALACIOS | 842 | 45.3694 | 0.61876
94CN6840 | PALACIOS | 1506 | 53.405 | 0.29283
94CN6850 | PORT LAVACA | 682 | 1.607 | 0.0058651
94CN7190 | BROOKHOLLOW | 280 | 1.2643 | 0.028571
94CN7260 | EL CAMPO | 531 | 10.1431 | 0.06968
94CN730 | GEORGE WEST | 921 | 37.7514 | 0.27144
94CN7430 | NORTH VICTORIA | 1684 | 19.4768 | 0.14964
94CN7440 | NORTH VICTORIA | 1616 | 60.2351 | 0.3948
94CN7480 | BAY CITY | 2108 | 43.1205 | 0.2538
94CN7530 | LEARY LANE | 3011 | 53.1475 | 0.35636
94CN7550 | MALONE | 192 | 349.3177 | 1.6458
94CN7560 | MALONE | 116 | 91.8276 | 0.74138
94CN7580 | BROOKHOLLOW | 502 | 0 | 0
94CN7600 | VICTORIA POWER PLANT | 161 | 66.2236 | 0.82609
94CN7660 | WADSWORTH | 1420 | 113.9345 | 0.2493
94CN7690 | MAGRUDER | 547 | 4.5229 | 0.078611
94CN7710 | EL CAMPO | 1057 | 34.7351 | 0.22327
94CN7770 | NORTH VICTORIA | 824 | 13.125 | 0.21238
94CN7860 | NORTH VICTORIA | 1501 | 14.6529 | 0.15923
94CN7870 | MAGRUDER | 1266 | 39.4021 | 0.36414
94CN7890 | GRETA | 265 | 118.6868 | 0.92075
94CN7915 | JOSLIN POWER PLANT | 11 | 0 | 0
94CN7970 | PLACEDO | 490 | 3.6694 | 0.069388
94CN7980 | PLACEDO | 426 | 2.5188 | 0.028169
94CN8070 | VICTORIA POWER PLANT | 604 | 4.3841 | 0.044702
94CN8090 | BEEVILLE | 1364 | 30.9238 | 0.26173
94CN8170 | VICTORIA POWER PLANT | 820 | 16.1573 | 0.10122
94CN8210 | PETTUS | 329 | 223.9301 | 1.1489
94CN8220 | GOLIAD | 1048 | 28.354 | 0.32729
94CN8310 | PORT LAVACA | 352 | 19.7699 | 0.21307
94CN8320 | KENEDY S.S. | 142 | 0 | 0
94CN8340 | KENEDY S.S. | 323 | 13.6687 | 0.068111
94CN8380 | YORKTOWN | 777 | 23.6461 | 0.16988
94CN8420 | YORKTOWN | 665 | 44.5083 | 0.31128
94CN8430 | THREE RIVERS | 195 | 122.2359 | 0.66667
94CN8490 | TATTON | 347 | 35.3718 | 0.16138
94CN8510 | BEEVILLE | 813 | 28.059 | 0.17712
94CN8550 | PALACIOS | 45 | 240.8 | 1.8
94CN8630 | WADSWORTH | 672 | 207.1488 | 0.76786
94CN8720 | JOSLIN POWER PLANT | 19 | 0 | 0
94CN8780 | BLESSING | 59 | 345.4576 | 0.88136
94CN8790 | BLESSING | 772 | 234.7254 | 1.2591
94CN8880 | FOSTER FIELD | 289 | 91.9689 | 0.80623
94CN8950 | BROOKHOLLOW | 888 | 37.9617 | 0.40878
94CN8960 | BROOKHOLLOW | 597 | 2.1441 | 0.023451
94CN9010 | PARKER | 20 | 210.25 | 2.1
94CN9060 | COLUMBUS | 368 | 35.7908 | 0.25
94CN9255 | CHOKE CANYON | 364 | 74.1758 | 0.39835
94CN9260 | PARKER | 111 | 100.3784 | 0.41441
94CN930 | COLUMBUS | 914 | 86.3425 | 0.51422
94CN9455 | EAGLE LAKE | 596 | 53.7433 | 0.29195
94CN9580 | THOMASTON | 44 | 35.1818 | 0.11364
94CN990 | BERCLAIR | 208 | 78.5529 | 1.1202
94CNNETVIC | VICTORIA POWER PLANT | 88 | 0 | 0
94CS1000 | PORT ARANSAS | 2115 | 0 | 0
94CS1010 | NORTH PADRE ISLAND | 2185 | 0 | 0
94CS1070 | LIVE OAK | 2517 | 0.70083 | 0.0055622
94CS1080 | LIVE OAK | 1329 | 12.2144 | 0.13619
94CS1090 | LIVE OAK | 254 | 0 | 0
94CS1110 | WOOLRIDGE | 1730 | 0 | 0
94CS1120 | WOOLRIDGE | 2725 | 39.258 | 0.99413
94CS1130 | KINGSVILLE | 2292 | 7.1165 | 0.041885
94CS1140 | KINGSVILLE | 1019 | 5.0432 | 0.039254
94CS1170 | WOOLRIDGE | 2140 | 0.2785 | 0.0037383
94CS1180 | TAFT | 952 | 15.2815 | 0.092437
94CS1185 | PHARAOH | 1642 | 1.8465 | 0.010353
94CS1220 | HOLLY | 3374 | 19.92 | 0.091879
94CS1250 | ARANSAS PASS | 636 | 25.4544 | 0.13208
94CS1260 | TAFT | 173 | 33.6994 | 0.31792
94CS1285 | PHARAOH | 1780 | 5.3517 | 0.032022
94CS130 | BANQUETTE | 228 | 13.0439 | 0.13158
94CS1300 | CASA BLANCA | 287 | 16.9268 | 0.17073
94CS1350 | KINGSVILLE | 391 | 0.12788 | 0.0051151
94CS1360 | ARCADIA | 1444 | 21.1302 | 0.14404
94CS1365 | PHARAOH | 681 | 3.9383 | 0.013216
94CS1370 | HOLLY | 1890 | 44.9275 | 0.17407
94CS140 | MCKENZIE ROAD | 277 | 8.0072 | 0.039711
94CS1400 | ARCADIA | 437 | 5.135 | 0.15103
94CS1410 | MATHIS | 469 | 57.5053 | 0.46695
94CS1420 | MATHIS | 897 | 1.3222 | 0.013378
94CS1440 | ARCADIA | 1653 | 7.0248 | 0.07925
94CS1450 | ARCADIA | 2000 | 2.528 | 0.02
94CS1460 | ARCADIA | 2091 | 15.8699 | 0.13678
94CS1480 | HOLLY | 1703 | 32.6078 | 0.23488
94CS150 | MCKENZIE ROAD | 23 | 24.1304 | 0.13043
94CS1560 | KLEBERG | 1447 | 14.7104 | 0.132
94CS1650 | ROBSTOWN | 363 | 3.2094 | 0.016529
94CS1660 | KINGSVILLE | 1971 | 63.0807 | 1.1294
94CS1670 | KINGSVILLE | 413 | 25.8692 | 0.11864
94CS1700 | KEPLER | 22 | 0 | 0
94CS1730 | RODD FIELD | 2192 | 1.3631 | 0.015967
94CS1750 | SINTON | 505 | 6.2455 | 0.043564
94CS180 | SINTON | 955 | 46.378 | 0.17801
94CS1855 | TYNAN | 136 | 0 | 0
94CS1950 | HOLLY | 827 | 8.9746 | 0.048368
94CS1990 | WEIL TRACT (138/12KV) | 1391 | 3.1474 | 0.19482
94CS2020 | FULTON | 1701 | 0.22457 | 0.0023516
94CS205 | RODD FIELD | 2049 | 0 | 0
94CS2170 | CLARKWOOD | 576 | 0 | 0
94CS2190 | RODD FIELD | 2899 | 3.7406 | 0.070369
94CS2220 | HEARN ROAD | 1649 | 42.6161 | 0.57671
94CS225 | RODD FIELD | 243 | 95.6626 | 0.92593
94CS240 | CABANISS | 1571 | 1.3673 | 0.017823
94CS2420 | GREGORY | 860 | 0 | 0
94CS245 | RODD FIELD | 2878 | 0 | 0
94CS2495 | INGLESIDE CITY | 261 | 0 | 0
94CS2500 | VALADEZ | 941 | 0.043571 | 0.0010627
94CS2515 | MORRIS STREET | 1059 | 97.271 | 0.53636
94CS2520 | WEIL TRACT (138/12KV) | 79 | 38.3291 | 0.98734
94CS2665 | KEPLER | 40 | 0 | 0
94CS2690 | BISHOP | 637 | 0.9011 | 0.015699
94CS2740 | ALAZAN | 35 | 14.4286 | 0.14286
94CS280 | KLEBERG | 1320 | 3.3015 | 0.031818
94CS2870 | MATHIS | 879 | 1.19 | 0.0091013
94CS3010 | RODD FIELD | 2023 | 36.0158 | 0.98814
94CS3030 | PORT ARANSAS | 739 | 23.0176 | 0.10961
94CS3070 | FULTON | 1432 | 0 | 0
94CS330 | MCKENZIE ROAD | 2397 | 12.7839 | 0.060909
94CS340 | MATHIS | 1377 | 46.5773 | 1.0247
94CS345 | GILA | 66 | 0 | 0
94CS350 | GILA | 144 | 0 | 0
94CS360 | SINTON | 317 | 4.5741 | 0.063091
94CS375 | ODEM | 1035 | 26.0589 | 0.20097
94CS380 | SKIDMORE | 153 | 0.58824 | 0.013072
94CS385 | ODEM | 470 | 57.7149 | 1.0128
94CS4000 | TYNAN | 27 | 0 | 0
94CS4010 | TYNAN | 41 | 5.5366 | 0.04878
94CS4095 | LANTANA | 191 | 21.8639 | 0.25131
94CS4170 | CASA BLANCA | 1062 | 6.3945 | 0.057439
94CS420 | GREGORY | 455 | 0 | 0
94CS440 | FULTON | 1943 | 3.4617 | 0.021101
94CS4665 | HOMEPORT | 429 | 0 | 0
94CS5020 | ARCADIA | 1445 | 11.5606 | 0.077509
94CS5030 | ARCADIA | 1572 | 20.652 | 0.1215
94CS5170 | NORTH PADRE ISLAND | 1292 | 0 | 0
94CS5175 | PHARAOH | 1287 | 24.1981 | 0.22455
94CS5185 | PHARAOH | 2348 | 15.8092 | 0.04046
94CS5230 | TAFT | 824 | 8.193 | 0.058252
94CS5335 | SOUTHSIDE | 1360 | 12.7257 | 0.15809
94CS5345 | SOUTHSIDE | 396 | 0.22727 | 0.0025253
94CS5405 | WEIL TRACT (138/12KV) | 172 | 0 | 0
94CS5440 | CASA BLANCA | 137 | 0 | 0
94CS55 | CASA BLANCA | 857 | 16.021 | 0.13769
94CS5525 | CLARKWOOD | 666 | 0.62012 | 0.003003
94CS5575 | ODEM | 68 | 0 | 0
94CS5655 | MORRIS STREET | 379 | 2.0844 | 0.013193
94CS5820 | HOLLY | 918 | 0 | 0
94CS5870 | AIRLINE | 911 | 0 | 0
94CS590 | ARANSAS PASS | 410 | 0 | 0
94CS5900 | GREGORY | 108 | 0 | 0
94CS5920 | GREGORY | 696 | 0.1092 | 0.0014368
94CS5930 | ROCKPORT | 1341 | 0.095451 | 0.00074571
94CS5940 | ROCKPORT | 49 | 0 | 0
94CS5950 | ROCKPORT | 524 | 18.4351 | 0.22901
94CS600 | SKIDMORE | 355 | 4.0479 | 0.030986
94CS6000 | KLEBERG | 1444 | 10.8934 | 0.058172
94CS6040 | INGLESIDE CITY | 399 | 6.1579 | 0.067669
94CS6050 | ARMSTRONG | 80 | 0 | 0
94CS6070 | FULTON | 3357 | 0.82931 | 0.010724
94CS620 | ALAZAN | 163 | 0 | 0
94CS625 | MAYO | 201 | 5.8507 | 0.069652
94CS6410 | KLEBERG | 246 | 7.1341 | 0.10163
94CS650 | ARANSAS PASS | 895 | 0.2905 | 0.0044693
94CS6505 | PORTLAND | 1815 | 18.205 | 0.15647
94CS660 | ARANSAS PASS | 741 | 0 | 0
94CS6720 | HIGHWAY 9 | 1301 | 2.2982 | 0.014604
94CS6730 | HIGHWAY 9 | 541 | 0.63956 | 0.0018484
94CS6760 | HIGHWAY 9 | 966 | 14.4824 | 0.062112
94CS6770 | HIGHWAY 9 | 1035 | 36.3362 | 0.21159
94CS6780 | HIGHWAY 9 | 762 | 107.0144 | 0.37795
94CS6860 | SINTON | 1656 | 2.5821 | 0.02657
94CS6930 | ARCADIA | 1486 | 13.7954 | 0.081427
94CS6940 | PORT ARANSAS | 1530 | 7.2261 | 0.054902
94CS6970 | AIRLINE | 1393 | 3.0215 | 0.040201
94CS6980 | EDROY | 201 | 0.68159 | 0.0049751
94CS6990 | EDROY | 281 | 4.5196 | 0.05694
94CS7150 | LANTANA | 268 | 61.4291 | 0.26119
94CS7180 | BISHOP | 918 | 0.35948 | 0.0010893
94CS720 | NORTH PADRE ISLAND | 1307 | 0 | 0
94CS7200 | HIGHWAY 9 | 649 | 0 | 0
94CS7210 | HIGHWAY 9 | 355 | 0 | 0
94CS7220 | CLARKWOOD | 894 | 3.7248 | 0.016779
94CS7230 | CLARKWOOD | 602 | 4.8704 | 0.046512
94CS7270 | AIRLINE | 1037 | 0.08486 | 0.00096432
94CS7280 | AIRLINE | 642 | 75.6791 | 0.95327
94CS7390 | AIRLINE | 2217 | 84.83 | 0.9788
94CS7465 | MORRIS STREET | 787 | 0.92249 | 0.0088945
94CS75 | CABANISS | 2219 | 2.8337 | 0.0076611
94CS7610 | CLARKWOOD | 104 | 0 | 0
94CS7620 | HOLLY | 2707 | 33.7728 | 1.0255
94CS7625 | MORRIS STREET | 537 | 0 | 0
94CS7740 | HOLLY | 2201 | 0 | 0
94CS7840 | GILA | 765 | 0 | 0
94CS7900 | NORTH PADRE ISLAND | 2297 | 0 | 0
94CS7905 | SOUTHSIDE | 1820 | 21.7923 | 0.19176
94CS7925 | SOUTHSIDE | 1274 | 10.4741 | 0.096546
94CS7950 | NAVAL BASE | 313 | 11.3962 | 0.13099
94CS7955 | SOUTHSIDE | 1060 | 14.3132 | 0.12736
94CS7995 | SOUTHSIDE | 1564 | 97.0678 | 1.1138
94CS80 | CABANISS | 1328 | 61.4887 | 1.0218
94CS8005 | SOUTHSIDE | 746 | 39.2601 | 0.1756
94CS8020 | BONNIEVIEW | 548 | 35.6423 | 0.25182
94CS8025 | SOUTHSIDE | 1055 | 16.4322 | 0.054976
94CS8035 | SOUTHSIDE | 1098 | 25.9016 | 0.12842
94CS8045 | SOUTHSIDE | 965 | 19.1192 | 0.13264
94CS8050 | INGLESIDE CITY | 1252 | 31.8323 | 0.23243
94CS8055 | SOUTHSIDE | 857 | 5.4387 | 0.02217
94CS8060 | INGLESIDE CITY | 2236 | 4.0778 | 0.014311
94CS8140 | KLEBERG | 643 | 0 | 0
94CS8200 | TATTON | 1099 | 0.31756 | 0.0018198
94CS8260 | AIRLINE | 1429 | 19.6837 | 0.14206
94CS8270 | ARANSAS PASS | 391 | 0 | 0
94CS8280 | ARANSAS PASS | 590 | 17.8068 | 0.23051
94CS8330 | WOODSBORO | 290 | 43.3586 | 0.47241
94CS8370 | AIRLINE | 282 | 0 | 0
94CS8510 | MUSTANG ISLAND | 466 | 0 | 0
94CS8540 | NAVAL BASE | 1581 | 5.2486 | 0.060721
94CS8560 | GREGORY | 251 | 4.7809 | 0.063745
94CS8570 | ARCADIA | 1445 | 38.4235 | 0.32941
94CS870 | HEARN ROAD | 1184 | 159.6275 | 1.0498
94CS8715 | MORRIS STREET | 1614 | 18.4349 | 0.15551
94CS8800 | VALADEZ | 1750 | 0 | 0
94CS8820 | MORRIS STREET | 1216 | 3.7393 | 0.027961
94CS8830 | MORRIS STREET | 1541 | 16.0688 | 0.13303
94CS8840 | MORRIS STREET | 648 | 0.78395 | 0.007716
94CS8850 | MORRIS STREET | 402 | 0 | 0
94CS8890 | AIRLINE | 526 | 0 | 0
94CS8980 | HEARN ROAD | 1255 | 16.1952 | 0.05259
94CS8990 | HEARN ROAD | 1300 | 7.6815 | 0.035385
94CS9000 | BANQUETTE | 457 | 79.0131 | 1.0044
94CS9030 | AIRLINE | 412 | 15.983 | 0.22573
94CS9050 | FULTON | 1640 | 80.8744 | 1.3848
94CS9065 | LAGUNA | 2356 | 2.525 | 0.03056
94CS9085 | WEST OSO | 923 | 0.32069 | 0.0021668
94CS9090 | WEST OSO | 1648 | 36.1778 | 0.29187
94CS9095 | WEST OSO | 1582 | 10.2314 | 0.041087
94CS9130 | ARANSAS PASS | 361 | 0 | 0
94CS9270 | PORTLAND | 1646 | 0.13183 | 0.0018226
94CS9290 | PORTLAND | 1782 | 5.9186 | 0.075196
94CS9325 | SEAWALL | 1499 | 2.2068 | 0.022015
94CS9370 | PORTLAND | 2078 | 0 | 0
94CS9390 | AIRLINE | 2069 | 2.7946 | 0.023683
94CS9395 | KLEBERG | 1278 | 262.6362 | 1.0743
94CS9420 | SEAWALL | 754 | 0.23475 | 0.0013263
94CS9450 | SEAWALL | 269 | 0 | 0
94CS9470 | MUSTANG ISLAND | 686 | 0.68659 | 0.0043732
94CS950 | TATTON | 488 | 6.668 | 0.026639
94CS9570 | CLARKWOOD | 1173 | 78.4817 | 0.31799
94CS9590 | LAGUNA | 3186 | 2.0348 | 0.021971
94CS9605 | AIRLINE | 710 | 0.36479 | 0.015493
94CS9665 | HEARN ROAD | 679 | 21.3932 | 0.070692
94CS9675 | HOLLY | 1778 | 3.2857 | 0.03712
94CS9720 | NAVAL BASE | 2499 | 3.3878 | 0.033213
94CS9830 | HIGHWAY 9 | 146 | 12.5685 | 0.027397
94CS990 | PORT ARANSAS | 1346 | 0 | 0
94CSBLACK | MORRIS STREET | 89 | 0 | 0
94CSBROWN | MORRIS STREET | 62 | 0 | 0
94CSGREEN | MORRIS STREET | 232 | 0 | 0
94CSNET CC | MORRIS STREET | 317 | 0 | 0
94CSRED | MORRIS STREET | 129 | 0 | 0
94CSYELLOW | MORRIS STREET | 45 | 0 | 0
94LA10 | DEL MAR | 1859 | 3.2275 | 0.017214
94LA1070 | FALFURRIAS | 985 | 36.8142 | 0.22335
94LA1080 | FALFURRIAS | 448 | 2.9844 | 0.053571
94LA110 | COTULLA | 58 | 0 | 0
94LA1100 | BRUNI | 598 | 1.7408 | 0.0083612
94LA1120 | BRUNI | 276 | 0 | 0
94LA1130 | RIO BRAVO | 1019 | 11.2728 | 0.063788
94LA120 | PLEASANTON | 1244 | 27.2709 | 0.11576
94LA1275 | READING | 57 | 0 | 0
94LA130 | PUEBLO | 1438 | 48.0981 | 0.44506
94LA1425 | CRYSTAL CITY | 1163 | 1.8779 | 0.0094583
94LA1445 | READING | 554 | 0.58845 | 0.0072202
94LA1500 | FREER | 201 | 0 | 0
94LA1510 | ESCONDIDO | 730 | 1.0548 | 0.009589
94LA1570 | BIG WELLS | 432 | 0.24306 | 0.0023148
94LA16060 | SAN YGNACIO | 491 | 0 | 0
94LA1770 | ALICE | 1634 | 0.77662 | 0.010404
94LA1780 | ALICE | 244 | 0.34016 | 0.0040984
94LA1790 | ALICE | 464 | 12.8707 | 0.11207
94LA1815 | FRIO | 1064 | 8.5301 | 0.071429
94LA1930 | DEL RIO CITY | 1548 | 180.1828 | 0.97933
94LA1960 | CHARLOTTE | 499 | 143.1042 | 1.1082
94LA1980 | SAN DIEGO | 587 | 150.402 | 0.42589
94LA200 | SABINAL | 428 | 10.9159 | 0.16355
94LA2035 | ESCONDIDO | 2717 | 28.9139 | 0.15274
94LA2080 | PLEASANTON | 1637 | 81.1552 | 0.5785
94LA2100 | HEIGHTS | 1948 | 9.7808 | 0.095483
94LA2120 | DEL MAR | 1273 | 0 | 0
94LA2160 | ENCINAL | 231 | 2.5801 | 0.025974
94LA2170 | CRYSTAL CITY | 716 | 15.1872 | 0.10615
94LA220 | DEL MAR | 1423 | 33.2221 | 0.14828
94LA2240 | HOLCOMB | 440 | 2.8886 | 0.022727
94LA2250 | ANNA STREET | 1524 | 13.5682 | 0.1273
94LA2270 | FRIO | 608 | 7.449 | 0.12993
94LA230 | COMSTOCK | 181 | 0 | 0
94LA2310 | WASHINGTON STREET | 46 | 0 | 0
94LA2320 | WASHINGTON STREET | 35 | 0 | 0
94LA2330 | WASHINGTON STREET | 68 | 0 | 0
94LA2350 | WASHINGTON STREET | 3016 | 3.5892 | 0.029509
94LA2360 | WASHINGTON STREET | 210 | 3.0095 | 0.019048
94LA2380 | CATARINA | 181 | 16.5525 | 0.038674
94LA2390 | HEIGHTS | 1702 | 0.43008 | 0.0029377
94LA2440 | LA PRYOR | 717 | 141.2078 | 0.71409
94LA2450 | HEIGHTS | 2074 | 0.75313 | 0.0053038
94LA2470 | WASHINGTON STREET | 443 | 1.3002 | 0.024831
94LA250 | JOURDANTON | 770 | 61.9532 | 0.56104
94LA2510 | EAGLE PASS CITY | 568 | 0.13204 | 0.0017606
94LA2530 | ALICE | 1476 | 13.6416 | 0.088753
94LA2540 | ALICE | 982 | 1.3839 | 0.009165
94LA260 | CRESTONIO | 1726 | 2.3314 | 0.027231
94LA2600 | ROCKSPRINGS | 374 | 23.262 | 0.13369
94LA2610 | CAMPWOOD | 956 | 81.3149 | 0.46548
94LA2630 | BIG WELLS | 29 | 10 | 0.068966
94LA2635 | ZACATE CREEK | 975 | 1.3456 | 0.01641
94LA2650 | EAGLE PASS CITY | 1355 | 20.8244 | 0.11513
94LA2665 | ZACATE CREEK | 1706 | 2.4853 | 0.0046893
94LA2675 | ZACATE CREEK | 1212 | 0 | 0
94LA270 | CRESTONIO | 619 | 0.072698 | 0.0016155
94LA2710 | ZAPATA | 1306 | 1.5452 | 0.019142
94LA2720 | PREMONT | 755 | 36.951 | 0.44901
94LA2730 | PREMONT | 194 | 1.4691 | 0.015464
94LA2745 | EAGLE PASS CITY | 929 | 0 | 0
94LA275 | PUEBLO | 2806 | 2.1882 | 0.047042
94LA2770 | EAGLE PASS CITY | 2980 | 46.0178 | 0.4094
94LA2780 | CHARLOTTE | 56 | 21.875 | 0.25
94LA2790 | CHARLOTTE | 205 | 9.4537 | 0.04878
94LA2830 | FALFURRIAS | 1468 | 2.701 | 0.02248
94LA2850 | LYTLE | 710 | 74.007 | 0.54507
94LA2880 | SAN DIEGO | 1296 | 7.9606 | 0.029321
94LA2890 | SAN DIEGO | 1033 | 2.0436 | 0.029042
94LA2900 | FREER | 159 | 0 | 0
94LA2930 | SAN DIEGO | 571 | 7.1226 | 0.029772
94LA300 | RIO BRAVO | 788 | 0.44036 | 0.0025381
94LA3025 | HOLCOMB | 343 | 9.1603 | 0.040816
94LA305 | UNIVERSITY | 2112 | 0 | 0
94LA3060 | MILO | 129 | 0 | 0
94LA3065 | MILO | 19 | 0 | 0
94LA3070 | MILO | 1875 | 0 | 0
94LA3350 | ESCONDIDO | 464 | 0 | 0
94LA3430 | CAMPWOOD | 109 | 66.055 | 0.22018
94LA3440 | DEL MAR | 1477 | 13.6493 | 0.064997
94LA350 | GATEWAY | 1919 | 0 | 0
94LA3540 | SIERRA VISTA | 969 | 0 | 0
94LA3595 | GATEWAY | 1475 | 1.541 | 0.017627
94LA3680 | MINES ROAD | 1202 | 0.36273 | 0.0033278
94LA370 | CARRIZO SPRINGS | 544 | 2.1305 | 0.014706
94LA3745 | MINES ROAD | 1923 | 2.5455 | 0.033801
94LA3775 | ESCONDIDO | 172 | 0 | 0
94LA3795 | DILLEY | 821 | 5.7771 | 0.045067
94LA390 | GATEWAY | 3241 | 0.86115 | 0.0080222
94LA4120 | DIMMIT | 1314 | 29.29 | 0.10426
94LA4175 | ASHERTON | 89 | 0 | 0
94LA420 | DEL RIO CITY | 2007 | 19.135 | 0.17439
94LA4275 | MINES ROAD | 219 | 0.36986 | 0.0045662
94LA430 | DEL RIO CITY | 2022 | 3.2038 | 0.01632
94LA440 | DEL RIO CITY | 1093 | 0.11802 | 0.00091491
94LA450 | EAGLE PASS CITY | 954 | 0.20755 | 0.0020964
94LA460 | COTULLA | 511 | 0.85323 | 0.011742
94LA465 | UNIVERSITY | 874 | 0.098398 | 0.0011442
94LA4715 | UNITEC | 185 | 0 | 0
94LA480 | UVALDE | 1429 | 124.5493 | 0.95311
94LA485 | SABINAL | 487 | 10.46 | 0.12526
94LA490 | DEL MAR | 789 | 0 | 0
94LA5 | RIO BRAVO | 705 | 5.9574 | 0.039716
94LA500 | ASPHALT MINES | 44 | 0 | 0
94LA5020 | MILO | 106 | 2.1509 | 0.018868
94LA5055 | GATEWAY | 1723 | 3.3691 | 0.024956
94LA5060 | UVALDE | 1291 | 18.3834 | 0.12239
94LA510 | DILLEY | 556 | 3.4137 | 0.044964
94LA515 | SANTO NINO | 2195 | 0.030524 | 0.00045558
94LA5200 | FREER | 1023 | 1.0479 | 0.016618
94LA5210 | FALFURRIAS | 1128 | 39.2234 | 0.30674
94LA540 | UVALDE | 1199 | 5.7373 | 0.070892
94LA5440 | BRUNI | 132 | 0.57576 | 0.0075758
94LA5450 | AMISTAD DAM | 1284 | 0 | 0
94LA5495 | ASHERTON | 608 | 3.7155 | 0.024671
94LA550 | UVALDE | 719 | 13.662 | 0.10292
94LA5545 | DIMMIT | 563 | 0.91297 | 0.0035524
94LA5580 | PEARSALL | 837 | 12.3584 | 0.19952
94LA5685 | JOURDANTON | 354 | 6.6186 | 0.09887
94LA5695 | JOURDANTON | 320 | 52.9781 | 0.19375
94LA570 | LA PRYOR | 157 | 664.1465 | 2.0573
94LA5730 | ESCONDIDO | 1222 | 0 | 0
94LA5780 | ANNA STREET | 653 | 0 | 0
94LA580 | LA PRYOR | 255 | 74.4471 | 0.54118
94LA610 | COTULLA | 721 | 10.2968 | 0.09154
94LA6320 | FREER | 163 | 0.63804 | 0.006135
94LA6355 | WASHINGTON STREET | 944 | 0.7839 | 0.003178
94LA6365 | KNIPPA | 315 | 7.0952 | 0.057143
94LA6400 | DILLEY | 172 | 0 | 0
94LA645 | SANTO NINO | 1092 | 0 | 0
94LA6525 | WASHINGTON STREET | 2070 | 0.70338 | 0.0072464
94LA6535 | KNIPPA | 23 | 0 | 0
94LA6570 | PREMONT | 761 | 104.4915 | 0.47438
94LA6595 | RACHAL | 331 | 0.56193 | 0.0030211
94LA6610 | PREMONT | 821 | 41.5347 | 0.27527
94LA6620 | UVALDE | 2808 | 44.0484 | 0.48362
94LA6660 | CRESTONIO | 772 | 0.15803 | 0.0012953
94LA6800 | GOVERNMENT WELLS | 223 | 0 | 0
94LA6810 | HEIGHTS | 2078 | 2.1107 | 0.024543
94LA6820 | HEIGHTS | 1893 | 0.1775 | 0.002113
94LA6890 | WASHINGTON STREET | 20 | 0 | 0
94LA6940 | MILO | 871 | 0 | 0
94LA695 | SANTO NINO | 1590 | 0 | 0
94LA6950 | STADIUM | 529 | 23.8544 | 0.22684
94LA70 | SANTO NINO | 1669 | 0.96944 | 0.0095866
94LA7015 | WASHINGTON STREET | 1529 | 8.0249 | 0.061478
94LA7050 | PEARSALL | 960 | 27.4125 | 0.31042
94LA7060 | EAGLE PASS CITY | 869 | 0 | 0
94LA7090 | DEVINE | 994 | 13.2596 | 0.10161
94LA7100 | DEVINE | 1113 | 2.5544 | 0.031447
94LA7170 | SIERRA VISTA | 1437 | 0 | 0
94LA7240 | GOVERNMENT WELLS | 223 | 0.81166 | 0.0044843
94LA7250 | GOVERNMENT WELLS | 564 | 3.4326 | 0.015957
94LA7325 | LAS CRUSES | 2715 | 2.123 | 0.020626
94LA7330 | ZAPATA | 1323 | 5.4573 | 0.062736
94LA7360 | SIERRA VISTA | 1613 | 0 | 0
94LA7425 | CRYSTAL CITY | 436 | 40.9174 | 0.40367
94LA7490 | STADIUM | 1304 | 1.9463 | 0.017638
94LA75 | SANTO NINO | 1501 | 1.3338 | 0.0093271
94LA750 | CARRIZO SPRINGS | 575 | 7.9217 | 0.055652
94LA780 | ANNA STREET | 470 | 0.14043 | 0.0021277
94LA7800 | STADIUM | 673 | 0.84993 | 0.011887
94LA7810 | STADIUM | 1591 | 10.9573 | 0.060968
94LA7880 | JOURDANTON | 589 | 157.4516 | 1.18
94LA7930 | DEL MAR | 1600 | 1.6494 | 0.01625
94LA80 | SANTO NINO | 1897 | 4.7022 | 0.051661
94LA8040 | ROCKSPRINGS | 350 | 17.5914 | 0.17429
94LA8100 | DEVINE | 1585 | 28.6202 | 0.19054
94LA8120 | CHARLOTTE | 216 | 10.4028 | 0.027778
94LA8145 | RACHAL | 348 | 14.6782 | 0.08046
94LA8205 | SIERRA VISTA | 1010 | 0 | 0
94LA8290 | ZAPATA | 489 | 79.4724 | 0.21268
94LA8300 | ZAPATA | 2057 | 0.44677 | 0.0048614
94LA8350 | RANDADO | 128 | 0 | 0
94LA8360 | RANDADO | 168 | 1.3631 | 0.0059524
94LA8365 | MILO | 1868 | 0 | 0
94LA8380 | CRYSTAL CITY | 1343 | 10.583 | 0.079672
94LA8460 | BRACKETTVILLE | 1187 | 55.5813 | 0.61078
94LA850 | ANNA STREET | 1565 | 3.6556 | 0.021086
94LA8505 | LAREDO PLANT | 997 | 0.91474 | 0.01003
94LA8530 | LAS CRUSES | 112 | 0 | 0
94LA8540 | STADIUM | 1570 | 1.2675 | 0.017834
94LA8565 | LAREDO PLANT | 1714 | 0.98658 | 0.026838
94LA8580 | CONOCO-CHITTAM RANCH | 26 | 0 | 0
94LA860 | CARRIZO SPRINGS | 32 | 0 | 0
94LA8695 | LAREDO PLANT | 1400 | 56.0743 | 1.0014
94LA8705 | LAREDO PLANT | 207 | 0 | 0
94LA8725 | JOURDANTON | 40 | 0 | 0
94LA8745 | LAREDO PLANT | 752 | 2.9415 | 0.025266
94LA880 | JOURDANTON | 961 | 0.9615 | 0.011446
94LA8965 | BUENA VISTA | 923 | 3.0119 | 0.010834
94LA90 | COTULLA | 1069 | 4.6399 | 0.043966
94LA900 | ANNA STREET | 2834 | 23.7809 | 0.22371
94LA9035 | BUENA VISTA | 1950 | 6.3282 | 0.026667
94LA9080 | HEIGHTS | 687 | 0.35517 | 0.0014556
94LA910 | CARRIZO SPRINGS | 867 | 11.6863 | 0.05421
94LA920 | UNIVERSITY | 731 | 0.082079 | 0.001368
94LA930 | UNIVERSITY | 94 | 0 | 0
94LA9305 | LAREDO PLANT | 1068 | 110.0618 | 1.0571
94LA9385 | BUENA VISTA | 2005 | 2.9761 | 0.035411
94LA9400 | HEIGHTS | 1396 | 0.13754 | 0.00071633
94LA9475 | PLEASANTON | 1346 | 127.9993 | 1.11
94LA95 | PUEBLO | 1272 | 5.0731 | 0.043239
94LA950 | UNIVERSITY | 2130 | 1.123 | 0.012207
94LA9505 | PLEASANTON | 1753 | 9.8774 | 0.14604
94LA9645 | HAMILTON ROAD | 288 | 1.9167 | 0.013889
94LA9655 | HAMILTON ROAD | 1265 | 0.16047 | 0.001581
94LA9665 | HAMILTON ROAD | 1241 | 13.0137 | 0.059629
94LA9680 | MAVERICK | 771 | 280.262 | 1.1064
94LA9770 | UVALDE | 948 | 198.5401 | 1.6635
94LA9790 | DEL RIO CITY | 2303 | 0.64307 | 0.009987
94LA9850 | DEL RIO CITY | 1015 | 0.50739 | 0.0019704
94LA9870 | PUEBLO | 1363 | 43.0939 | 0.14894
94LA9900 | SIERRA VISTA | 2152 | 0 | 0
94LA9905 | PEARSALL | 415 | 40.3373 | 0.52289
94LAL30 | BANDERA ELECTRIC (LEAKEY) | 268 | 17.791 | 0.089552
94LANETLAR | WASHINGTON STREET | 163 | 0 | 0
94SB1090 | COFFEE PORT | 1220 | 0.065574 | 0.0032787
94SB1095 | COFFEE PORT | 1032 | 77.8595 | 0.9845
94SB1150 | SUNCHASE | 1303 | 2.1873 | 0.019954
94SB1155 | SUNCHASE | 1458 | 0 | 0
94SB1215 | SOUTH SANTA ROSA | 1668 | 31.2338 | 0.15468
94SB1225 | SOUTH SANTA ROSA | 854 | 6.8407 | 0.063232
94SB1235 | SOUTH SANTA ROSA | 637 | 3.6044 | 0.023548
94SB1240 | SOUTH SANTA ROSA | 1605 | 8.7526 | 0.092835
94SB1280 | RAYMONDVILLE #2 | 990 | 4.0535 | 0.035354
94SB1300 | PALMHURST | 2188 | 3.1686 | 0.015996
94SB1620 | PHARR | 2740 | 24.0668 | 0.15803
94SB1625 | PHARR | 1743 | 11.7269 | 0.035571
94SB1640 | PHARR | 1380 | 0.11812 | 0.0014493
94SB1645 | PHARR | 2373 | 3.5579 | 0.043405
94SB1650 | PHARR | 847 | 9.0519 | 0.028335
94SB1655 | MCCOLL ROAD | 1033 | 5.4385 | 0.065828
94SB1790 | MAYBERRY | 1798 | 0 | 0
94SB1850 | WESMER | 1406 | 3.2845 | 0.044097
94SB1980 | VILLA CAVAZOS | 2128 | 0.59633 | 0.0032895
94SB2010 | SHARYLAND | 1163 | 0 | 0
94SB2020 | SHARYLAND | 2565 | 13.5548 | 0.092398
94SB2035 | SHARYLAND | 771 | 0.61997 | 0.014267
94SB2130 | GARCENO | 1783 | 5.3264 | 0.049916
94SB2135 | GARCENO | 1423 | 66.5474 | 0.38089
94SB2150 | SHARYLAND | 391 | 2.8798 | 0.043478
94SB2160 | LOS FRESNOS | 1504 | 0.56184 | 0.0046543
94SB2165 | GARCENO | 1961 | 9.9291 | 0.17848
94SB2195 | WESLACO UNIT | 1088 | 2.466 | 0.022978
94SB2525 | PALMHURST | 2175 | 17.4423 | 0.090575
94SB2530 | PALMHURST | 1831 | 6.3119 | 0.072638
94SB2535 | PALMHURST | 2346 | 12.2076 | 0.14919
94SB270 | HAINE DRIVE | 1094 | 2.1472 | 0.0054845
94SB2750 | NORTH MCALLEN | 2877 | 75.5652 | 1.0792
94SB2810 | MCCOLL ROAD | 2165 | 22.2397 | 0.12009
94SB2820 | PALMHURST | 1787 | 23.4287 | 0.13598
94SB2900 | MESQUITE | 912 | 9.9616 | 0.15241
94SB2980 | NORTH MCALLEN | 1788 | 2.6655 | 0.039709
94SB3000 | EAST HARRISON | 533 | 2.9343 | 0.052533
94SB3010 | MAYBERRY | 91 | 0 | 0
94SB3030 | EAST HARRISON | 684 | 1.3626 | 0.020468
94SB3045 | LA GRULLA | 1139 | 18.6365 | 0.16857
94SB3050 | BROWNSVILLE | 1989 | 183.6903 | 1.5053
94SB3060 | ROMA | 1551 | 1.2959 | 0.011605
94SB3070 | ROMA | 904 | 2.1515 | 0.017699
94SB3080 | EAST HARRISON | 423 | 17.1489 | 0.2695
94SB3110 | MOORE FIELD | 679 | 20.0309 | 0.16789
94SB3120 | MOORE FIELD | 149 | 2.8054 | 0.013423
94SB3130 | RAYMONDVILLE #1 | 269 | 22.9368 | 0.24164
94SB3160 | MAYBERRY | 542 | 8.3856 | 0.053506
94SB3170 | RAYMONDVILLE #2 | 742 | 2.6981 | 0.025606
94SB3190 | EAST HARRISON | 1490 | 115.9933 | 3.0242
94SB320 | HARLINGEN SWITCH | 1572 | 32.3422 | 0.62277
94SB3210 | RIO GRANDE CITY | 1872 | 3.3958 | 0.018697
94SB3220 | RIO GRANDE CITY | 1361 | 3.1301 | 0.02939
94SB3230 | RIO GRANDE CITY | 2597 | 16.8267 | 0.11513
94SB3240 | RAYMONDVILLE #2 | 938 | 6.032 | 0.044776
94SB3250 | RAYMONDVILLE #2 | 26 | 109.8462 | 1.0769
94SB3360 | MESQUITE | 774 | 2.4289 | 0.0077519
94SB3400 | HIDALGO | 891 | 6.9282 | 0.069585
94SB3410 | RANGERVILLE | 192 | 0 | 0
94SB3460 | HALL ACRES ROAD | 3129 | 70.6031 | 1.1103
94SB3470 | CITRUS CITY | 1590 | 12.3107 | 0.13459
94SB3490 | HAINE DRIVE | 1160 | 0 | 0
94SB3500 | ELSA | 1263 | 24.9905 | 0.14648
94SB3520 | ELSA | 806 | 13.7457 | 0.11042
94SB3530 | GOODWIN | 320 | 4.0844 | 0.046875
94SB3570 | NORTH EDINBURG | 1016 | 10.7539 | 0.12992
94SB3580 | NORTH ALAMO | 837 | 26.9737 | 0.14456
94SB3590 | SOUTH MISSION | 558 | 122.6613 | 0.53405
94SB360 | HARLINGEN | 2450 | 8.0335 | 0.060816
94SB3610 | NORTH ALAMO | 1905 | 2.9759 | 0.026247
94SB3620 | SOUTH MISSION | 2041 | 16.4723 | 0.13572
94SB3640 | SOUTH MCALLEN | 303 | 0.83168 | 0.0066007
94SB3650 | CONTINENTAL | 17 | 237 | 1
94SB3670 | HALL ACRES ROAD | 1118 | 2.7728 | 0.022361
94SB3680 | HIDALGO | 321 | 29.3614 | 0.17445
94SB370 | HARLINGEN | 1208 | 15.2599 | 0.16887
94SB3700 | WEST HARLINGEN | 1802 | 0.85794 | 0.012209
94SB3720 | WEST HARLINGEN | 2131 | 35.5143 | 0.29798
94SB3740 | RIO GRANDE CITY | 2334 | 3.5981 | 0.020566
94SB3760 | PORT ISABEL S.S. | 728 | 14.7212 | 0.065934
94SB3770 | 8TH STREET | 1693 | 2.1069 | 0.012995
94SB3790 | SOUTH MCALLEN | 1444 | 1.4972 | 0.015928
94SB380 | HARLINGEN | 2734 | 27.5424 | 0.32553
94SB3800 | WEST HARLINGEN | 1394 | 7.5158 | 0.11263
94SB3810 | NORTH EDINBURG | 1270 | 0.062992 | 0.0007874
94SB3820 | PORT ISABEL S.S. | 181 | 61.0276 | 0.58564
94SB3830 | NORTH MCALLEN | 1404 | 0.35399 | 0.002849
94SB3840 | NORTH MERCEDES | 663 | 0.19306 | 0.0030166
94SB3850 | SOUTH MCALLEN | 1338 | 11.5673 | 0.059043
94SB3860 | SAN BENITO | 230 | 0.25652 | 0.0043478
94SB3890 | PALMHURST | 2747 | 0.10448 | 0.0029123
94SB3910 | SAN BENITO | 1784 | 26.0174 | 0.23318
94SB3920 | SAN BENITO | 2217 | 8.5792 | 0.085701
94SB3930 | PALMVIEW | 1129 | 14.6864 | 0.034544
94SB3935 | SOUTH MCALLEN | 1006 | 1.2525 | 0.020875
94SB3940 | SOUTH MISSION | 843 | 1.3855 | 0.014235
94SB3950 | EAST HARRISON | 675 | 127.6474 | 0.36444
94SB3960 | MOORE FIELD | 2110 | 111.8403 | 0.36967
94SB3980 | SOUTH MISSION | 1857 | 31.602 | 0.61982
94SB4015 | SOUTH EAST EDINBURG | 307 | 0.99023 | 0.009772
94SB4030 | SAN BENITO | 2723 | 3.9798 | 0.051781
94SB4050 | WESMER | 1943 | 78.3453 | 0.86979
94SB4070 | PORT ISABEL S.S. | 275 | 3.6327 | 0.018182
94SB4080 | CONTINENTAL | 66 | 0 | 0
94SB4090 | HARLINGEN SWITCH | 2299 | 15.7107 | 0.19791
94SB4110 | HARLINGEN SWITCH | 853 | 4.313 | 0.079719
94SB4120 | LA GRULLA | 1427 | 5.3203 | 0.028031
94SB4135 | SAN BENITO | 1281 | 4.2912 | 0.019516
94SB4160 | RAYMONDVILLE #2 | 340 | 0.72941 | 0.0088235
94SB4170 | POLK AVENUE | 1453 | 2.02 | 0.010323
94SB4180 | POLK AVENUE | 1302 | 2.7704 | 0.023041
94SB4190 | POLK AVENUE | 1704 | 1.6538 | 0.01115
94SB4230 | HARLINGEN SWITCH | 1359 | 36.3341 | 1.0706
94SB4240 | NORTH EDINBURG | 2997 | 5.4952 | 0.061395
94SB4275 | OLMITO | 792 | 0 | 0
94SB4280 | BROWNSVILLE | 319 | 39.7398 | 1.0219
94SB4290 | BROWNSVILLE | 505 | 1.4079 | 0.009901
94SB4310 | EAST HARRISON | 1197 | 1.4277 | 0.024227
94SB4315 | LOS FRESNOS | 1120 | 7.6696 | 0.084821
94SB4360 | EAST HARRISON | 1737 | 3.0127 | 0.023028
94SB4370 | NORTH ALAMO | 1582 | 11.402 | 0.088496
94SB4380 | GOODWIN | 1556 | 25.0951 | 0.11504
94SB4390 | GOODWIN | 402 | 0.32836 | 0.0024876
94SB4400 | MCCOLL ROAD | 1455 | 33.2639 | 0.29759
94SB4480 | WESMER | 1134 | 0.45855 | 0.0026455
94SB4505 | WEST MCALLEN | 1898 | 0.6844 | 0.01844
94SB4515 | WEST MCALLEN | 875 | 36.0503 | 0.16457
94SB4520 | POLK AVENUE | 937 | 2.3799 | 0.018143
94SB4535 | WEST MCALLEN | 2850 | 2.7319 | 0.030526
94SB4550 | SOUTH EAST EDINBURG | 1754 | 5.5855 | 0.022805
94SB4555 | WEST MCALLEN | 1665 | 72.2186 | 0.66246
94SB4570 | SOUTH EAST EDINBURG | 1900 | 102.3058 | 0.83684
94SB4595 | WEST MCALLEN | 1184 | 6.5954 | 0.065034
94SB4600 | POLK AVENUE | 3244 | 0.17109 | 0.0015413
94SB4610 | POLK AVENUE | 1171 | 3.5739 | 0.026473
94SB4620 | EAST HARRISON | 773 | 4.8318 | 0.05304
94SB4625 | GOODWIN | 2005 | 1.219 | 0.013965
94SB4650 | SOUTH MISSION | 1023 | 7.4536 | 0.095797
94SB4675 | SOUTH PADRE ISLAND | 169 | 0 | 0
94SB4695 | SOUTH PADRE ISLAND | 1330 | 23.7113 | 0.14737
94SB4740 | POLK AVENUE | 1681 | 3.6907 | 0.030339
94SB4765 | CAUSEWAY | 973 | 0.42549 | 0.0030832
94SB4775 | CAUSEWAY | 1054 | 0 | 0
94SB4780 | MCCOLL ROAD | 1958 | 0.66241 | 0.0091931
94SB4790 | MCCOLL ROAD | 2063 | 22.0693 | 0.15124
94SB4795 | CAUSEWAY | 1234 | 1.2139 | 0.018639
94SB4810 | NORTH WESLACO | 1498 | 4.7023 | 0.040053
94SB4815 | WEST MCALLEN | 668 | 3.7141 | 0.053892
94SB4830 | NORTH WESLACO | 519 | 22.3661 | 0.15414
94SB4845 | HIDALGO | 1339 | 14.168 | 0.070948
94SB4860 | NORTH MERCEDES | 1488 | 54.4556 | 2.1579
94SB4870 | WEST HARLINGEN | 1061 | 16.0763 | 0.11122
94SB4880 | CONTINENTAL | 68 | 0 | 0
94SB4895 | HALL ACRES ROAD | 852 | 0 | 0
94SB4900 | POLK AVENUE | 2938 | 6.6487 | 0.030293
94SB4910 | MCCOLL ROAD | 337 | 0 | 0
94SB4945 | SAN BENITO | 1725 | 112.513 | 1.0249
94SB4965 | WEST MCALLEN | 925 | 0.13297 | 0.0021622
94SB4995 | NORTH MCALLEN | 2439 | 8.1255 | 0.083231
94SB5005 | LA GRULLA | 1166 | 0.87393 | 0.009434
94SB5045 | SOUTH EAST EDINBURG | 2185 | 14.4462 | 0.088787
94SB5050 | RIO RICO | 1803 | 8.1453 | 0.048253
94SB5055 | NORTH MCALLEN | 3261 | 0.038332 | 0.00030665
94SB5060 | NORTH MCALLEN | 2493 | 74.2776 | 1.2495
94SB5065 | SOUTH MCALLEN | 137 | 11.6788 | 0.14599
94SB5070 | CITRUS CITY | 923 | 166.9393 | 0.73348
94SB5105 | SHARYLAND | 1785 | 1.0269 | 0.016246
94SB5110 | LA GRULLA | 999 | 0.65666 | 0.011011
94SB5215 | SOUTH MISSION | 1265 | 5.6474 | 0.018182
94SB5335 | LOS FRESNOS | 2577 | 1.1129 | 0.0069849
94SB5340 | MAYBERRY | 34 | 0 | 0
94SB5350 | HARLINGEN SWITCH | 930 | 1.514 | 0.068817
94SB5465 | HALL ACRES ROAD | 1429 | 0.42687 | 0.0048985
94SB5485 | MCCOLL ROAD | 1040 | 5.3654 | 0.043269
94SB5490 | GARCENO | 1405 | 0.90961 | 0.0049822
94SB5585 | HALL ACRES ROAD | 1444 | 106.3248 | 1.0963
94SB560 | NORTH EDINBURG | 1910 | 6.5162 | 0.053927
94SB5635 | SHARYLAND | 2258 | 3.5979 | 0.025244
94SB5680 | VILLA CAVAZOS | 1839 | 2.9652 | 0.030451
94SB5770 | MAYBERRY | 820 | 0 | 0
94SB5850 | SOUTH PADRE ISLAND | 1314 | 5.5304 | 0.060122
94SB5970 | WESLACO UNIT | 2472 | 2.1266 | 0.021036
94SB6000 | CITRUS CITY | 2251 | 9.5598 | 0.092848
94SB6150 | LA GRULLA | 1556 | 0.63046 | 0.0044987
94SB620 | RAYMONDVILLE #1 | 643 | 1.5241 | 0.017107
94SB630 | RAYMONDVILLE #1 | 787 | 6.8259 | 0.057179
94SB6385 | WEST MCALLEN | 239 | 0.95397 | 0.012552
94SB6440 | SOUTH PADRE ISLAND | 2694 | 9.2769 | 0.10505
94SB6450 | MAYBERRY | 28 | 0 | 0
94SB6580 | SOUTH EAST EDINBURG | 445 | 246.1843 | 4.636
94SB660 | HARLINGEN | 1945 | 3.8581 | 0.035476
94SB6745 | SHARYLAND | 2158 | 12.0199 | 0.094069
94SB6790 | PALMVIEW | 2240 | 0.83616 | 0.00625
94SB690 | ELSA | 2406 | 1.3932 | 0.010806
94SB6900 | WESMER | 1633 | 10.4562 | 0.14207
94SB700 | ELSA | 1484 | 142.9805 | 2.0532
94SB710 | ELSA | 1932 | 0.83592 | 0.0062112
94SB715 | OLMITO | 637 | 44.7237 | 0.42072
94SB720 | EL GATO | 2492 | 144.8483 | 1.9763
94SB7270 | LOS FRESNOS | 2235 | 3.37 | 0.042506
94SB7380 | GOODWIN | 1882 | 1.5213 | 0.01594
94SB7455 | WESLACO UNIT | 1205 | 0.11784 | 0.0024896
94SB7485 | SOUTH SANTA ROSA | 1081 | 36.025 | 0.40241
94SB7505 | CLOSNER | 502 | 0 | 0
94SB7595 | PALMVIEW | 3157 | 11.9671 | 0.078556
94SB7615 | VILLA CAVAZOS | 1065 | 10.4977 | 0.99624
94SB7630 | WESLACO UNIT | 2574 | 30.8539 | 0.17754
94SB7760 | WESMER | 2545 | 94.2106 | 1.009
94SB780 | EL GATO | 1799 | 13.6509 | 0.21957
94SB7985 | CITRUS CITY | 1135 | 10.4273 | 0.076652
94SB800 | RAYMONDVILLE #1 | 727 | 0.40715 | 0.002751
94SB8065 | HAINE DRIVE | 1362 | 0.0558 | 0.00073421
94SB8195 | WESLACO UNIT | 1650 | 4.0685 | 0.036364
94SB8290 | RIO RICO | 289 | 137.1972 | 1.4879
94SB8330 | RIO RICO | 451 | 10.6585 | 0.075388
94SB8340 | MESQUITE | 750 | 37.7427 | 0.20933
94SB8610 | WESLACO UNIT | 1160 | 3.3862 | 0.031897
94SB8870 | HALL ACRES ROAD | 2410 | 6.7535 | 0.042739
94SB890 | EL GATO | 2938 | 4.8216 | 0.033016
94SB905 | OLMITO | 1594 | 0.42785 | 0.0075282
94SB910 | EL GATO | 2476 | 1.6135 | 0.0080775
94SB9240 | HAINE DRIVE | 33 | 0 | 0
94SB9295 | PORT ISABEL S.S. | 2304 | 37.5356 | 0.31033
94SB9595 | HALL ACRES ROAD | 1507 | 2.0557 | 0.027206
94SB9640 | NORTH MCALLEN | 1511 | 0.73594 | 0.0079418
94SB9660 | NORTH MCALLEN | 2126 | 4.0169 | 0.016463
94SB9680 | PALMVIEW | 1020 | 6.7578 | 0.10098
94SB9685 | PALMVIEW | 2879 | 34.7412 | 0.34074
94SB9690 | HAINE DRIVE | 592 | 13.1098 | 0.20608
94SB9700 | HAINE DRIVE | 1113 | 1.5103 | 0.015274
94SB9705 | WESMER | 1071 | 21.8357 | 0.32306
94SB9775 | CITRUS CITY | 1539 | 28.6784 | 0.39116
94SB9805 | WESLACO UNIT | 2182 | 7.8666 | 0.072869
94SBSH112 | TAYLOR | 636 | 0 | 0
97AB100 | QUANAH | 90 | 0 | 0
97AB1020 | CISCO | 423 | 10.7376 | 0.044917
97AB1070 | ASPERMONT | 319 | 0.8652 | 0.012539
97AB11301 | CLIMAX/BRADSHAW | 63 | 0 | 0
97AB136 | SWENSON | 27 | 0 | 0
97AB1375 | PEACOCK | 45 | 0 | 0
97AB1480 | CHILDRESS 69 | 291 | 0.92784 | 0.017182
97AB1495 | HAROLD | 24 | 0 | 0
97AB1520 | VERNON | 713 | 1.3296 | 0.023843
97AB1565 | ABILENE PLANT | 275 | 1.8 | 0.010909
97AB1570 | ABILENE PLANT | 939 | 6.1363 | 0.027689
97AB1575 | ABILENE PLANT | 606 | 3.8119 | 0.016502
97AB1635 | AB OVER STREET 12KV | 514 | 23.8307 | 0.050584
97AB1645 | AB OVER STREET 12KV | 793 | 0.35561 | 0.016393
97AB1735 | ABILENE PLANT | 83 | 0.60241 | 0.012048
97AB1740 | ABILENE PLANT | 18 | 0 | 0
97AB1750 | VERNON | 244 | 3.3279 | 0.11475
97AB1755 | CLYDE | 131 | 0 | 0
97AB1760 | CLYDE | 447 | 5.3669 | 0.071588
97AB1775 | AB DYESS 1 | 740 | 10.0257 | 0.036486
97AB1795 | CROSS PLAINS | 439 | 8.8246 | 0.045558
97AB1800 | CHILDRESS 69 | 540 | 7.0352 | 0.044444
97AB1810 | AB ELM CREEK | 839 | 2.0608 | 0.022646
97AB1815 | AB ELM CREEK | 372 | 0.11559 | 0.0026882
97AB1820 | AB ELM CREEK | 95 | 2.3474 | 0.010526
97AB1825 | AB ELM CREEK | 214 | 0 | 0
97AB1830 | QUANAH | 626 | 0.46805 | 0.0095847
97AB1840 | AB OVER STREET 12KV | 888 | 12.1059 | 0.086712
97AB1852 | FLOMOT | 74 | 0 | 0
97AB1860 | ROTAN | 717 | 0.25244 | 0.0027894
97AB1865 | ROTAN | 184 | 6.4022 | 0.054348
97AB1890 | MERKEL | 578 | 0.56055 | 0.0051903
97AB1895 | MERKEL | 704 | 19.5014 | 0.019886
97AB1910 | ABILENE PLANT | 251 | 5.5777 | 0.035857
97AB1915 | ABILENE PLANT | 60 | 0 | 0
97AB1930 | PADUCAH CITY | 575 | 1.047 | 0.02087
97AB1935 | PADUCAH CITY | 278 | 15.1727 | 0.13309
97AB2015 | MUNDAY REA (BKEC) | 21 | 0 | 0
97AB2029 | ALBANY | 231 | 0.45455 | 0.008658
97AB2065 | ROARING SPRINGS | 213 | 0.69484 | 0.0046948
97AB2080 | MUNDAY | 477 | 0.1761 | 0.0020964
97AB2090 | THROCKMORTON | 70 | 0 | 0
97AB2107 | MORAN | 220 | 1.3182 | 0.0045455
97AB2108 | MORAN | 318 | 0.53459 | 0.0062893
97AB2129 | PUTNAM | 217 | 0.40553 | 0.0046083
97AB2131 | PUTNAM | 123 | 118.3577 | 0.68293
97AB2225 | AFTON | 52 | 0 | 0
97AB2276 | ROBY | 317 | 0.32808 | 0.0031546
97AB2310 | AFTON | 239 | 0 | 0
97AB2355 | AFTON | 45 | 0 | 0
97AB2590 | CORINTH | 11 | 0 | 0
97AB260 | SPUR | 157 | 0 | 0
97AB2665 | WYLIE | 1049 | 1.3441 | 0.021926
97AB2675 | WYLIE | 800 | 0 | 0
97AB2710 | AB REBECCA LANE | 265 | 0 | 0
97AB2720 | PLASTERCO (MWEC) | 113 | 0 | 0
97AB2780 | AB OIL MILL | 745 | 0 | 0
97AB2785 | AB OIL MILL | 249 | 5.4096 | 0.076305
97AB2800 | CHILDRESS 69 | 341 | 0.22581 | 0.0029326
97AB2815 | STAMFORD | 713 | 6.2875 | 0.033661
97AB2835 | STAMFORD | 134 | 0 | 0
97AB2850 | TRENT | 27 | 0 | 0
97AB2915 | CROSS PLAINS | 762 | 47.2585 | 0.27559
97AB2920 | CROSS PLAINS | 568 | 27.3891 | 0.18134
97AB2980 | TURKEY | 316 | 2.1741 | 0.022152
97AB30 | WOODSON OIL FIELD | 35 | 0 | 0
97AB300 | SPUR | 209 | 1.5311 | 0.014354
97AB3030 | MATADOR | 210 | 0.51429 | 0.0047619
97AB3040 | AB SHELTON ST | 174 | 0 | 0
97AB3045 | AB SHELTON ST | 550 | 0 | 0
97AB3050 | AB SHELTON ST | 641 | 33.1326 | 0.25117
97AB3055 | HAROLD | 29 | 0 | 0
97AB3060 | AB SHELTON ST | 1585 | 16.8278 | 0.12303
97AB3090 | MATADOR | 304 | 33.023 | 0.34868
97AB3100 | QUANAH | 552 | 4.788 | 0.068841
97AB3110 | AB WALNUT ST | 669 | 8.2825 | 0.038864
97AB3140 | AB OVER STREET 12KV | 667 | 49.3778 | 0.17841
97AB3145 | AB SHELTON ST | 1081 | 1.0472 | 0.010176
97AB3150 | TWILIGHT TRAIL | 720 | 0.066667 | 0.0013889
97AB3175 | ABILENE PLANT | 112 | 0 | 0
97AB3190 | THROCKMORTON | 609 | 4.5829 | 0.034483
97AB3235 | AB MCMURRY | 790 | 2.8228 | 0.012658
97AB3240 | AB MCMURRY | 752 | 4.4654 | 0.0066489
97AB3245 | AB MCMURRY | 792 | 55.2071 | 0.17298
97AB3250 | AB WALNUT ST | 11 | 0 | 0
97AB3255 | AB ONYX REA | 30 | 0 | 0
97AB3260 | AB ONYX REA | 136 | 5.8529 | 0.014706
97AB3270 | HAMLIN | 877 | 0 | 0
97AB3290 | ROCHESTER | 78 | 0 | 0
97AB3295 | ROCHESTER | 213 | 0 | 0
97AB3300 | KNOX CITY | 466 | 4.2532 | 0.038627
97AB3305 | TUSCOLA | 1100 | 0.62545 | 0.0018182
97AB3315 | GRAYBACK | 45 | 1.4889 | 0.022222
97AB3340 | VERNON | 540 | 0.59815 | 0.0018519
97AB3365 | MUNDAY | 397 | 1.937 | 0.032746
97AB3378 | RULE | 103 | 5.9223 | 0.048544
97AB3380 | ASPERMONT | 404 | 0 | 0
97AB3390 | KNOX CITY | 371 | 4.3612 | 0.026954
97AB3396 | RULE | 428 | 2.4089 | 0.018692
97AB3435 | AB SHELTON ST | 304 | 0 | 0
97AB3445 | AB WALNUT ST | 59 | 0 | 0
97AB3490 | CROWELL | 176 | 0 | 0
97AB3495 | HASKELL 12KV | 816 | 2.9424 | 0.028186
97AB3530 | QUANAH | 340 | 0 | 0
97AB3540 | ALBANY | 623 | 5.0995 | 0.048154
97AB3545 | KIRKLAND | 28 | 0 | 0
97AB3630 | CLYDE | 571 | 15.6865 | 0.045534
97AB3635 | CLYDE | 722 | 44.9488 | 0.15928
97AB3640 | ALBANY | 333 | 0.73874 | 0.006006
97AB3655 | ALBANY | 627 | 4.9968 | 0.028708
97AB3660 | AB SHELTON ST | 649 | 14.1957 | 0.14792
97AB3685 | AB HARTFORD ST | 367 | 0 | 0
97AB3690 | AB HARTFORD ST | 169 | 0 | 0
97AB3730 | TUSCOLA | 1419 | 54.1445 | 0.68428
97AB3770 | HASKELL 12KV | 450 | 6.3378 | 0.11778
97AB3775 | HAMLIN | 254 | 0.22047 | 0.015748
97AB3785 | AB WALNUT ST | 544 | 1.7004 | 0.012868
97AB3795 | ROBY | 72 | 0 | 0
97AB3815 | AB HARTFORD ST | 1125 | 13.7422 | 0.20089
97AB3820 | AB HARTFORD ST | 928 | 1.2985 | 0.016164
97AB3825 | TURKEY | 389 | 4.0437 | 0.033419
97AB3830 | ASPR CONTINENTAL | 27 | 0 | 0
97AB3845 | TRUSCOTT | 31 | 0 | 0
97AB3895 | AB OIL MILL | 136 | 3.8088 | 0.0073529
97AB3900 | AB OIL MILL | 676 | 22.6583 | 0.050296
97AB3930 | STAMFORD PUMP | 43 | 0 | 0
97AB3975 | QUANAH | 211 | 1.3412 | 0.0094787
97AB3980 | CROWELL | 490 | 0.13469 | 0.0020408
97AB3985 | KNOX CITY | 23 | 0 | 0
97AB4070 | AB MAPLE ST | 1038 | 0.30058 | 0.0019268
97AB4085 | AB ELMDALE | 42 | 0 | 0
97AB4115 | CEDAR GAP (TEC) | 529 | 0 | 0
97AB4150 | ACME BESTWALL | 65 | 3.6923 | 0.030769
97AB4220 | AB RAINEY CREEK | 193 | 0 | 0
97AB4225 | AB RAINEY CREEK | 116 | 0 | 0
97AB4245 | TRENT | 179 | 3.5028 | 0.039106
97AB4270 | AB RAINEY CREEK | 1401 | 9.4069 | 0.059243
97AB4275 | VERNON | 597 | 7.3735 | 0.063652
97AB4285 | TWILIGHT TRAIL | 1153 | 7.7095 | 0.027754
97AB4290 | TWILIGHT TRAIL | 985 | 19.1289 | 0.1066
97AB4350 | AB MCMURRY | 704 | 0.96165 | 0.0085227
97AB4355 | AB MCMURRY | 999 | 1.8378 | 0.004004
97AB4360 | AB MCMURRY | 1096 | 0.34124 | 0.0036496
97AB4405 | AB VOGEL ST | 576 | 4.8264 | 0.03125
97AB4410 | AB VOGEL ST | 766 | 2.3695 | 0.022193
97AB4455 | HAWLEY | 625 | 7.0912 | 0.048
97AB4490 | ROUNDTOP | 53 | 0 | 0
97AB4510 | AB MCMURRY | 827 | 19.3083 | 0.031439
97AB4520 | AB ELMDALE | 263 | 0 | 0
97AB4525 | CHILLICOTHE | 117 | 1.3162 | 0.017094
97AB4530 | CHILLICOTHE | 496 | 9.8004 | 0.14113
97AB4550 | AB RAINEY CREEK | 995 | 8.5709 | 0.074372
97AB4560 | AB VOGEL ST | 1469 | 3.9905 | 0.023826
97AB4565 | STAMFORD | 790 | 9.9215 | 0.06962
97AB4600 | AILEEN | 251 | 0 | 0
97AB4605 | AILEEN | 773 | 0.29495 | 0.0012937
97AB4640 | AB SHELTON ST | 655 | 0.94351 | 0.012214
97AB4650 | AB VOGEL ST | 807 | 10.5118 | 0.097893
97AB4725 | AB COUNTRY CLUB | 222 | 0 | 0
97AB4730 | AB COUNTRY CLUB | 535 | 3.4692 | 0.013084
97AB4735 | AB COUNTRY CLUB | 119 | 0 | 0
97AB4745 | AB ELM CREEK | 950 | 0.15579 | 0.0021053
97AB4775 | AB ELM CREEK | 890 | 1.4528 | 0.013483
97AB4780 | AB ELM CREEK | 534 | 0 | 0
97AB4800 | ASPR CONTINENTAL | 33 | 0.39394 | 0.030303
97AB4820 | AB EAST 12KV | 1142 | 3.514 | 0.035026
97AB4825 | AB EAST 12KV | 426 | 0 | 0
97AB4830 | AB EAST 12KV | 603 | 0.73466 | 0.0082919
97AB4855 | AB COUNTRY CLUB | 783 | 2.4381 | 0.037037
97AB4865 | CHILDRESS 69 | 767 | 2.8018 | 0.023468
97AB5000 | VERNON | 242 | 6.5083 | 0.086777
97AB5025 | AB CANYON ROCK | 52 | 0 | 0
97AB5030 | AB CANYON ROCK | 872 | 0.5367 | 0.0045872
97AB5035 | AB CANYON ROCK | 978 | 0 | 0
97AB5045 | AB ELM CREEK | 377 | 25.4828 | 0.10345
97AB5075 | RISING STAR | 655 | 17.2534 | 0.20305
97AB5080 | RISING STAR | 588 | 1.3673 | 0.015306
97AB5120 | BAIRD | 449 | 7.5924 | 0.044543
97AB5125 | BAIRD | 594 | 209.633 | 1.0185
97AB5170 | SPUR | 370 | 0.2 | 0.0027027
97AB5195 | SAND ROAD | 253 | 0.083004 | 0.0039526
97AB5200 | BUSH KNOB | 287 | 1.3728 | 0.0069686
97AB5215 | ANSON REA (SEC) | 245 | 0 | 0
97AB5240 | HASKELL 12KV | 650 | 0.96154 | 0.018462
97AB5290 | SAND ROAD | 810 | 0.68272 | 0.012346
97AB5295 | SAND ROAD | 542 | 2.1624 | 0.042435
97AB530 | PECAN BAYOU | 19 | 0 | 0
97AB5445 | CEDAR GAP (TEC) | 316 | 0 | 0
97AB5550 | AB REBECCA LANE | 723 | 0 | 0
97AB5555 | AB REBECCA LANE | 1277 | 0 | 0
97AB5655 | SAND ROAD | 609 | 1.312 | 0.014778
97AB5680 | BENJAMIN (BEPC) | 158 | 0.65823 | 0.0063291
97AB5720 | CHILDRESS 20TH ST | 178 | 0.5618 | 0.02809
97AB5725 | CHILDRESS 20TH ST | 656 | 0.32012 | 0.0030488
97AB5750 | AB MAPLE ST | 404 | 0 | 0
97AB5755 | AB MAPLE ST | 836 | 0.55981 | 0.0035885
97AB5760 | AB EAST 12KV | 208 | 0 | 0
97AB5770 | VERNON CITY PLANT | 93 | 0 | 0
97AB5775 | VERNON CITY PLANT | 812 | 2.0591 | 0.025862
97AB5855 | TWILIGHT TRAIL | 1449 | 1.4907 | 0.013803
97AB5900 | WAGGONER | 27 | 0 | 0
97AB6125 | JAYTON | 351 | 0.02849 | 0.002849
97AB6155 | ROARING SPRINGS | 29 | 0 | 0
97AB6255 | STAMFORD | 402 | 1.5522 | 0.0199
97AB6260 | GIRARD | 44 | 0 | 0
97AB6330 | HAMLIN SHELL | 25 | 0 | 0
97AB6335 | AB DYESS 2 | 355 | 0 | 0
97AB6340 | WYLIE | 745 | 0.60537 | 0.0040268
97AB6435 | AILEEN | 842 | 0 | 0
97AB6490 | WEINERT | 128 | 0.5 | 0.03125
97AB6495 | WYLIE | 323 | 0 | 0
97AB6530 | CISCO | 524 | 22.7634 | 0.10496
97AB6630 | ANSON 12KV | 708 | 0.18644 | 0.0028249
97AB6635 | ANSON 12KV | 379 | 0 | 0
97AB6715 | MUNDAY | 249 | 9.4498 | 0.072289
97AB6810 | PECAN BAYOU | 429 | 2.0886 | 0.006993
97AB6815 | PECAN BAYOU | 1511 | 37.2482 | 0.083388
97AB6915 | AB REBECCA LANE | 998 | 0 | 0
97AB7400 | CISCO | 820 | 45.4341 | 0.17805
97AB81335 | FLOMOT | 35 | 0 | 0
97AB9715 | CISCO | 1016 | 27.6555 | 0.14075
97SA1100 | SANTA RITA | 110 | 0 | 0
97SA1105 | SANTA RITA | 72 | 0 | 0
97SA1110 | PAINT ROCK | 66 | 0 | 0
97SA11370 | RUSSEK STREET | 204 | 0 | 0
97SA1140 | SANTA RITA | 14 | 0 | 0
97SA12295 | RUSSEK STREET | 306 | 0 | 0
97SA1445 | STERLING CITY | 899 | 0.26585 | 0.0022247
97SA14685 | GONZALES | 1058 | 0.46597 | 0.0037807
97SA14765 | VERHALEN | 20 | 0 | 0
97SA1530 | MERTZON (CVEC) | 322 | 0 | 0
97SA15390 | GONZALES | 1348 | 0.39095 | 0.0029674
97SA1552 | SARAGOSA | 774 | 3.5207 | 0.020672
97SA15680 | HOEFFS ROAD | 11 | 0 | 0
97SA1590 | SARAGOSA | 105 | 0 | 0
97SA1655 | SA AVENUE N | 503 | 0.15507 | 0.0019881
97SA1695 | SA AVENUE N | 1489 | 0.085292 | 0.00067159
97SA1700 | SA CONCHO | 489 | 0 | 0
97SA1705 | SA CONCHO | 898 | 0 | 0
97SA1715 | SA CONCHO | 284 | 0 | 0
97SA1725 | SA CONCHO | 25 | 0 | 0
97SA1730 | SA AVENUE N | 817 | 0.98531 | 0.0085679
97SA1780 | EDEN | 235 | 1.7149 | 0.012766
97SA1845 | ELDORADO | 748 | 1.0027 | 0.0080214
97SA1900 | MARFA | 772 | 2.6684 | 0.060881
97SA1905 | MARFA | 1133 | 2.8385 | 0.050309
97SA1975 | SA AVENUE N | 325 | 1.2523 | 0.033846
97SA2045 | SONORA | 617 | 0.46353 | 0.0032415
97SA205 | BRYANTS RANCH | 21 | 0 | 0
97SA2050 | IRAAN | 189 | 0.44974 | 0.005291
97SA2055 | IRAAN | 544 | 3.5625 | 0.034926
97SA2113 | WINTERS | 805 | 0.7354 | 0.0074534
97SA2415 | MCCAMEY | 151 | 0 | 0
97SA2420 | MCCAMEY | 110 | 0 | 0
97SA250 | RUSSEK STREET | 166 | 1.012 | 0.0060241
97SA2528 | POWELL FIELD | 25 | 0 | 0
97SA2595 | SA SOUTH | 1016 | 0 | 0
97SA2690 | INDIAN MESA | 70 | 0 | 0
97SA2695 | INDIAN MESA | 168 | 0 | 0
97SA2830 | MCCAMEY | 464 | 0 | 0
97SA2855 | MCCAMEY | 82 | 0 | 0
97SA2880 | ELDORADO | 349 | 2.8166 | 0.031519
97SA2905 | MERTZON (CVEC) | 588 | 0 | 0
97SA3005 | NEW BLUFFS | 266 | 0 | 0
97SA3115 | SA NORTH | 563 | 0 | 0
97SA3120 | SA NORTH | 1111 | 7.2277 | 0.090909
97SA3125 | SA NORTH | 1256 | 0 | 0
97SA3130 | SA NORTH | 222 | 0 | 0
97SA3155 | ALPINE 12KV | 1148 | 0.39199 | 0.0043554
97SA3160 | ALPINE 12KV | 1003 | 0 | 0
97SA3180 | PERKINS PROTHO | 23 | 0 | 0
97SA3195 | EDEN | 520 | 1.4654 | 0.015385
97SA3325 | SA CONCHO | 290 | 1.0621 | 0.024138
97SA3345 | FT DAVIS | 425 | 0 | 0
97SA3415 | SANTA ANNA | 336 | 0 | 0
97SA3420 | SANTA ANNA | 355 | 0 | 0
97SA3440 | MIDWAY LANE | 65 | 0 | 0
97SA3500 | SA SOUTH | 289 | 0 | 0
97SA3555 | OZONA | 165 | 0 | 0
97SA3560 | BRONTE | 253 | 0 | 0
97SA3590 | BRONTE | 176 | 0.15909 | 0.0056818
97SA3670 | MCCAMEY | 376 | 0 | 0
97SA3725 | BARNHART | 144 | 0 | 0
97SA3765 | WINTERS | 804 | 0 | 0
97SA3810 | OZONA | 649 | 0.21726 | 0.0046225
97SA3835 | RIO PECOS | 123 | 0 | 0
97SA3875 | ALPINE 12KV | 625 | 0 | 0
97SA3885 | DUNE FIELD (N CRANE) | 73 | 0 | 0
97SA3905 | SA COKE ST | 650 | 4.3938 | 0.078462
97SA3910 | SA WALNUT ST | 150 | 0 | 0
97SA3915 | SA WALNUT ST | 782 | 0.2532 | 0.0025575
97SA3920 | SA WALNUT ST | 907 | 0.045204 | 0.0011025
97SA3925 | SA WALNUT ST | 885 | 0 | 0
97SA3990 | SA SOUTH | 738 | 0.79675 | 0.0094851
97SA3995 | SA SOUTH | 1386 | 0.88167 | 0.007215
97SA4075 | PECOS VALLEY | 21 | 0 | 0
97SA4080 | PECOS VALLEY | 119 | 0 | 0
97SA4120 | ROBERT LEE | 561 | 0 | 0
97SA4125 | ROBERT LEE | 264 | 0 | 0
97SA4160 | BRONTE | 212 | 0 | 0
97SA4175 | SPUDDER FLAT | 54 | 0 | 0
97SA4180 | SPUDDER FLAT | 47 | 0 | 0
97SA4185 | OZONA | 1358 | 0.64875 | 0.0036819
97SA4250 | SA JACKSON ST | 340 | 0 | 0
97SA4255 | SA SOUTH | 871 | 0 | 0
97SA4260 | SA JACKSON ST | 664 | 1.1611 | 0.0075301
97SA4265 | SA JACKSON ST | 800 | 1.4663 | 0.0075
97SA4295 | SILVER | 14 | 0 | 0
97SA4300 | SUN VALLEY | 69 | 0 | 0
97SA4305 | IRAAN | 76 | 1.8947 | 0.013158
97SA4335 | JUNCTION | 784 | 2.4528 | 0.039541
97SA4340 | JUNCTION | 800 | 87.0512 | 1.0212
97SA4370 | BALLINGER | 835 | 0 | 0
97SA4375 | BALLINGER | 1046 | 0.43499 | 0.0057361
97SA4395 | BALLINGER | 534 | 0 | 0
97SA4415 | SONORA ATLANTIC (SWTEC) | 31 | 0 | 0
97SA4460 | VERHALEN | 69 | 0 | 0
97SA4465 | VERHALEN | 30 | 0 | 0
97SA4480 | ROWENA | 220 | 0 | 0
97SA4515 | FT DAVIS | 992 | 0.077621 | 0.0010081
97SA4620 | SA EMERSON ST | 430 | 0 | 0
97SA4625 | SA EMERSON ST | 429 | 0 | 0
97SA4630 | SA EMERSON ST | 1217 | 106.5062 | 0.86771
97SA4635 | SA WALNUT ST | 1552 | 1.3769 | 0.0096649
97SA4670 | MILES | 544 | 0.81434 | 0.0018382
97SA4685 | SA JACKSON ST | 1434 | 0.14296 | 0.0013947
97SA4690 | SA JACKSON ST | 1128 | 0.62234 | 0.0079787
97SA4695 | SA JACKSON ST | 563 | 0 | 0
97SA4700 | SA GRAPE CREEK | 722 | 0.1759 | 0.0027701
97SA4790 | SA MATHIS FIELD | 179 | 0 | 0
97SA4795 | SA SOUTH | 1296 | 0 | 0
97SA4805 | SONORA 138 SUB | 457 | 0.62144 | 0.0043764
97SA4810 | SONORA 138 SUB | 915 | 1.7115 | 0.014208
97SA4835 | COLLEGE HILLS | 442 | 0 | 0
97SA4840 | COLLEGE HILLS | 214 | 0 | 0
97SA4845 | COLLEGE HILLS | 416 | 0 | 0
97SA485 | CHERRY CREEK TAP | 52 | 0 | 0
97SA4860 | SA EMERSON ST | 233 | 1.5622 | 0.030043
97SA4870 | FREISS RANCH | 100 | 1.07 | 0.01
97SA4910 | SA COKE ST | 1766 | 0.46489 | 0.0039638
97SA4915 | SA COKE ST | 17 | 0 | 0
97SA4950 | EOLA | 238 | 2.3866 | 0.033613
97SA4955 | MELVIN | 90 | 5 | 0.066667
97SA5015 | BRADY | 197 | 0.73096 | 0.010152
97SA50207 | ESPY WELLS | 29 | 0 | 0
97SA50208 | PONDER KENNEDY | 12 | 0 | 0
97SA5050 | SA SOUTHLAND HILLS | 888 | 0 | 0
97SA5055 | SA SOUTHLAND HILLS | 846 | 0 | 0
97SA5100 | SA MATHIS FIELD | 244 | 0.86885 | 0.0081967
97SA5110 | SHAFTER | 52 | 0 | 0
97SA513 | RIO PECOS | 33 | 0 | 0
97SA5165 | MCELROY | 104 | 0 | 0
97SA5180 | TALPA ATLANTIC | 67 | 0 | 0
97SA5220 | SA GRAPE CREEK | 681 | 10.3289 | 0.1116
97SA5235 | PAINT ROCK | 129 | 1.1008 | 0.015504
97SA5260 | TANKERSLY (CVEC) | 472 | 0.49576 | 0.0042373
97SA5265 | TANKERSLY (CVEC) | 371 | 0.94879 | 0.010782
97SA5365 | SA GRAPE CREEK | 811 | 0 | 0
97SA5455 | SA SOUTHLAND HILLS | 1413 | 0.15994 | 0.0014154
97SA5505 | YELLOW JACKET | 529 | 1.8526 | 0.056711
97SA5515 | COLLEGE HILLS | 349 | 0 | 0
97SA5520 | COLLEGE HILLS | 435 | 0 | 0
97SA5590 | VALENTINE | 211 | 0.39336 | 0.0047393
97SA5735 | RANKIN | 188 | 0 | 0
97SA5860 | SA SOUTHLAND HILLS | 1197 | 0 | 0
97SA5865 | SA LAKE DR | 1041 | 0.46974 | 0.0048031
97SA5880 | SA LAKE DR | 794 | 1.0202 | 0.0062972
97SA590 | BARNHART | 20 | 0 | 0
97SA6030 | SA LAKE DR | 758 | 2.2467 | 0.01715
97SA6145 | COLLEGE HILLS | 714 | 0.56583 | 0.0056022
97SA6170 | EDITH HUMBLE | 85 | 0 | 0
97SA6175 | BEN FICKLIN | 715 | 29.0308 | 0.37063
97SA6180 | BEN FICKLIN | 1072 | 2.8825 | 0.027985
97SA6185 | BEN FICKLIN | 568 | 3.2289 | 0.022887
97SA6280 | PAULANN | 418 | 0 | 0
97SA6285 | PAULANN | 72 | 0 | 0
97SA6310 | PAULANN | 1076 | 0 | 0
97SA6325 | VALENTINE | 576 | 0 | 0
97SA6370 | HIGHLAND | 268 | 8.1418 | 0.12313
97SA6375 | HIGHLAND | 280 | 0 | 0
97SA6380 | HIGHLAND | 479 | 0.10647 | 0.0020877
97SA6385 | HIGHLAND | 1336 | 0.20359 | 0.0022455
97SA6400 | RANKIN | 72 | 0 | 0
97SA6405 | RANKIN | 377 | 0 | 0
97SA6430 | SHEFFIELD | 210 | 0 | 0
97SA6515 | FT CHADBOURNE | 86 | 6.0698 | 0.10465
97SA6520 | FT CHADBOURNE | 550 | 0 | 0
97SA6555 | NORTH MCCAMEY | 510 | 0 | 0
97SA6615 | CHRISTOVAL | 423 | 31.1064 | 0.30496
97SA6620 | CHRISTOVAL | 597 | 15.943 | 0.14573
97SA6650 | BRONTE AMBASSADOR | 14 | 0 | 0
97SA6655 | BOBCAT HILLS | 21 | 0 | 0
97SA6820 | ALPINE 12KV | 771 | 0.28016 | 0.002594
97SA6825 | ALPINE 12KV | 1959 | 0 | 0
97SA7015 | VALERA HUMBLE | 74 | 0 | 0
97SA7045 | MESA VIEW | 102 | 0 | 0
97SA72103 | KEMPER EXXON HUMBLE | 28 | 0 | 0
97SA7280 | NEW BLUFFS | 1546 | 0 | 0
97SA73703 | CROCKETT HEIGHTS | 82 | 0 | 0
97SA7425 | RANKIN | 116 | 0 | 0
97SA7705 | RUSSEK STREET | 1345 | 0 | 0
97SA7935 | YELLOW JACKET | 792 | 96.9343 | 0.25379
97SA800 | MASTERSON FIELD | 189 | 0 | 0
97SA9110 | NEW BLUFFS | 603 | 0 | 0
97SA940 | MELVIN | 44 | 0 | 0
97SAPAISAN | PAISANO | 133 | 0 | 0
Feeders from last year that are not in this year's list
| Substation Identification | Feeder ID | Reason not in 2019
| ASHERTON | 94LA2660 | Count is now less than 10
| ASHERTON | 94LA2670 | Count is now less than 10
| CHERRY CREEK TAP | 97SA5245 | Retired
| NORTH MCCAMEY | 97SA6560 | Count is now less than 10
| DARST | 94CN790 | Count is now less than 10
| SANTA RITA | 97SA1135 | Count is now less than 10