## Q1-56
May 2024 Derecho
Q 1-56 | Feeder Circuits | Pole(s) Quantity (each feeder affected) | Pole Percentage Type (wood, composite, steel, concrete) (System-wide) |  |  |  | Pole(s) Failures (Quantity) | Pole(s) Failure Percentage (Quantity) | Primary Cause of Failure for Each Pole Type (trees, branches, wind, etc. ) | Primary Point of Failure (crossarm, pole leaning, pole break, etc.) | NESC Construction Strength (Low, Medium, or High) | List Future Circuit Rebuild Plans to Higher Standard | Estiamate when Circuit Rebuild will Commence
|  |  | Wood | Composite | Steel | Concrete
1 | BS10 | 450 | 405 | 0 | 42 | 3 | 4 | N/A | WIND, TREES. | BROKEN POLES | Medium | 0 | N/A
2 | BS20 | 825 | 814 | 0 | 5 | 6 | 3 | N/A | WIND, TREES. | BROKEN POLES | Medium | 0 | N/A
3 | BS50 | 825 | 816 | 0 | 2 | 7 | 8 | N/A | WIND, TREES. | BROKEN POLES | Medium | 0 | N/A
4
5
Hurricane Beryl
Q 1-56 | Feeder Circuits | Pole(s) Quantity (each feeder affected) | Pole Percentage Type (wood, composite, steel, concrete) (System-wide) |  |  |  | Pole(s) Failures (Quantity) | Pole(s) Failure Percentage (Quantity) | Primary Cause of Failure for Each Pole Type (trees, branches, wind, etc. ) | Primary Point of Failure (crossarm, pole leaning, pole break, etc.) | NESC Construction Strength (Low, Medium, or High) | List Future Circuit Rebuild Plans to Higher Standard | Estiamate when Circuit Rebuild will Commence
|  |  | Wood | Composite | Steel | Concrete
1 | BS10 | 450 | 1 | 0 | 42 | 3 | 1 | N/A | N/A | N/A | Medium | 0 | N/A
2 | BS20 | 825 | 814 | 0 | 5 | 6 | 3 | N/A | N/A | N/A | Medium | 0 | N/A
3 | BS50 | 825 | 2 | 0 | 2 | 7 | 2 | N/A | N/A | N/A | Medium | 0 | N/A
4 | 0
5 | 0

## Q1-78
May 2024 Derecho
Q 1-78 | Feeder Circuits | Outage Date | Outage Time | Duration of Outage | Voltage | Description - Cause of Outage (grow-in, fall-in, blow-in)
1 | BS10 | 2024-05-14 | 8:15AM | 14 HR | 12470 Y | FALL IN, BLOW IN.
2 | BS20 | 2024-05-14 | 8:15AM | 26 HR | 12470 Y | FALL IN, BLOW IN.
3 | BS50 | 2024-05-14 | 8:15AM | 47HR | 12470 Y | FALL IN, BLOW IN.
4
5
Hurricane Beryl
Q 1-78 | Feeder Circuits | Outage Date | Outage Time | Duration of Outage | Voltage | Description - Cause of Outage (grow-in, fall-in, blow-in)
0
1 | BS10 | 2024-07-08 | 7AM | 7 HR | 12470 Y | BLOW IN.
2 | BS20 | 2024-07-08 | 7AM | 15.5 HR | 12470 Y | BLOW IN.
3 | BS50 | 2024-07-08 | 7AM | 10 HR | 12470 Y | BLOW IN.
4 | 0
5 | 0