## 1-66
District | Substation | Circuit | Location Number | CONDITION_CODE | TREATMENT_CODE | Last Inspection Data | Owner | Status | Beryl Replacement Size | Latitude | Longitude | Failure Cause | Material Type | Date_Installed | Year Installed
CORPUS | BAY CITY | 2700 | 56193875532092 | Report | Visual Inspection | 2018-06-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.985 | -95.9377 | Wind Damage | Wood | 1975-01-02 | 1975
CORPUS | PALACIOS | 8550 | 55256575452316 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-19 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7721 | -96.2364 | Wind Damage | Wood | 1960-01-02 | 1960
CORPUS | BAY CITY | 7480 | 56116865532457 | External Rot-Butt/Needs Replacement | Butt/External Rot-Butt | 2018-05-17 | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9865 | -95.9617 | Wind Damage | Wood | 1971-01-02 | 1971
CORPUS | SHROPSHIRE | 3575 | 55738195559378 | Other/Needs Replacement | Condition Based Inspection (CBI) | 2023-09-20 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40â€™4 | 29.0631 | -96.0779 | Wind Damage | Wood | 1980-01-02 | 1980
CORPUS | BLACK CAT | 2960 | 56100185522082 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-30 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9581 | -95.9677 | Wind Damage | Wood | 1978-01-02 | 1978
CORPUS | BLACK CAT | 2960 | 56122525519188 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-04 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.95 | -95.961 | Wind Damage | Wood | 1975-01-02 | 1975
CORPUS | STAFFORD HILL | 1550 | 54391285791582 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2015-09-08 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.7098 | -96.4836 | Tree Damage | Wood | 1975-01-01 | 1975
CORPUS | BAY CITY | 5960 | 56044965532588 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9874 | -95.9841 | Wind Damage | Wood | 1976-01-02 | 1976
CORPUS | WADSWORTH | 7660 | 56093795476572 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 2 | 28.8332 | -95.9734 | Wind Damage | Wood | 2020-05-08 | 2020
CORPUS | BAY CITY | 5960 | 56079865531274 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9835 | -95.9733 | Wind Damage | Wood | 2024-07-26 | 2024
CORPUS | BAY CITY | 1110CN | 56146615533990 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9905 | -95.9523 | Wind Damage | Wood | 1950-01-02 | 1950
CORPUS | BLACK CAT | 3000 | 56104705525062 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 30 Feet - 6 | 28.9663 | -95.9661 | Wind Damage | Wood | 1988-01-02 | 1988
CORPUS | BAY CITY | 2700 | 56128825532535 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.9867 | -95.9579 | Wind Damage | Wood | 2023-01-10 | 2023
CORPUS | BAY CITY | 2700 | 56101475535821 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 35 Feet - 5 | 28.9959 | -95.9662 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | BLACK CAT | 3000 | 56102475523824 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9629 | -95.9669 | Wind Damage | Wood | 1964-01-02 | 1964
CORPUS | BLESSING | 8790 | 55284395489003 | Incomplete Data | #N/A | #N/A | Foreign Owned FRONTIER COMMUNICATIONS | Broken | 35 Feet - 5 | 28.8728 | -96.225 | Wind Damage | Wood | 1977-01-02 | 1977
CORPUS | BAY CITY | 2700 | 56095765532575 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.987 | -95.9683 | Wind Damage | Wood | 1958-01-02 | 1958
CORPUS | BAY CITY | 2700 | 56140105531991 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9851 | -95.9545 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | PALACIOS | 6840 | 55340135431247 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.7137 | -96.2119 | Wind Damage | Wood | 1971-01-02 | 1971
CORPUS | WADSWORTH | 8630 | 56364165442940 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7388 | -95.8918 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | BAY CITY | 1110CN | 56135855527542 | Report | Visual Inspection | 2018-06-12 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.9729 | -95.9562 | Wind Damage | Wood | 1980-01-01 | 1980
CORPUS | BAY CITY | 1110CN | 56114215530671 | Report | Visual Inspection | 2018-05-16 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 4 | 28.9816 | -95.9627 | Wind Damage | Wood | 2012-04-19 | 2012
CORPUS | BAY CITY | 1110CN | 56117375527726 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 35 Feet - 5 | 28.9735 | -95.9619 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | BAY CITY | 1110CN | 56137065529794 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-05-31 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9791 | -95.9556 | Wind Damage | Wood | 1984-01-02 | 1984
CORPUS | BAY CITY | 1110CN | 56151065533379 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9888 | -95.9509 | Wind Damage | Wood | 1953-01-02 | 1953
CORPUS | BAY CITY | 1110CN | 56148295533014 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9878 | -95.9518 | Wind Damage | Wood | 1949-01-02 | 1949
CORPUS | BAY CITY | 1110CN | 56137425527866 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9738 | -95.9556 | Tree Damage | Wood | 1972-01-02 | 1972
CORPUS | BAY CITY | 1110CN | 56137835532332 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 35 Feet - 5 | 28.986 | -95.9551 | Wind Damage | Wood | 1964-01-02 | 1964
CORPUS | MARKHAM | 6440CN | 55782235524808 | External Rot-Butt/Needs Reinforcement | Butt & Internal/Internal Rot-Butt | 2018-05-29 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9678 | -96.0668 | Wind Damage | Wood | 1977-01-02 | 1977
CORPUS | BAY CITY | 6450 | 56092385531670 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9845 | -95.9694 | Wind Damage | Wood | 1986-01-02 | 1986
CORPUS | BAY CITY | 6450 | 56089015530030 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 28.9801 | -95.9706 | Wind Damage | Wood | 1979-01-02 | 1979
CORPUS | BAY CITY | 1110CN | 56122545529941 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9796 | -95.9601 | Wind Damage | Wood | 1945-01-02 | 1945
CORPUS | BAY CITY | 2700 | 56141905537683 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0007 | -95.9534 | Wind Damage | Wood | 1963-01-02 | 1963
CORPUS | BAY CITY | 1110CN | 56121035530693 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-04 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9817 | -95.9605 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | BAY CITY | 1110CN | 56124165530711 | Report | Visual Inspection | 2018-06-04 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.9817 | -95.9595 | Wind Damage | Wood | 2014-06-11 | 2014
CORPUS | BAY CITY | 2700 | 56135175537763 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.001 | -95.9555 | Wind Damage | Wood | 1963-01-02 | 1963
CORPUS | BAY CITY | 6670 | 55997875539151 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 30 Feet - 6 | 29.0058 | -95.9983 | Wind Damage | Wood | 1976-01-02 | 1976
CORPUS | BAY CITY | 6450 | 56088625530767 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9821 | -95.9706 | Wind Damage | Wood | 1966-01-02 | 1966
CORPUS | BAY CITY | 7480 | 56158875529217 | Report | Visual Inspection | 2018-05-22 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 2 | 28.9773 | -95.9488 | Wind Damage | Wood | 2012-05-10 | 2012
CORPUS | BAY CITY | 6450 | 56079015530833 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9823 | -95.9736 | Wind Damage | Wood | 1959-01-02 | 1959
CORPUS | PALACIOS | 8550 | 55287695458067 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-19 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.7877 | -96.2262 | Wind Damage | Wood | 1993-01-01 | 1993
CORPUS | PALACIOS | 8550 | 55216385452681 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-22 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7734 | -96.2489 | Wind Damage | Wood | 1960-01-02 | 1960
CORPUS | PALACIOS | 8550 | 55216445452258 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-19 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7722 | -96.2489 | Wind Damage | Wood | 1985-01-02 | 1985
CORPUS | PALACIOS | 8550 | 55236495452287 | Report | Visual Inspection | 2014-05-19 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.7722 | -96.2426 | Wind Damage | Wood | 2006-08-21 | 2006
CORPUS | BAY CITY | 6450 | 56080245530840 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9823 | -95.9733 | Wind Damage | Wood | 1973-01-02 | 1973
CORPUS | PALACIOS | 6840 | 55338325432467 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-17 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.717 | -96.2123 | Wind Damage | Wood | 1985-01-02 | 1985
CORPUS | PALACIOS | 8550 | 55395205469702 | Report | Visual Inspection | 2016-12-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.819 | -96.1919 | Wind Damage | Wood | 2002-04-18 | 2002
CORPUS | BAY CITY | 7480 | 56158425529211 | Report | Visual Inspection | 2018-05-22 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9773 | -95.949 | Wind Damage | Wood | 2012-05-10 | 2012
CORPUS | PALACIOS | 8550 | 55392885466951 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-12-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.8115 | -96.1928 | Wind Damage | Wood | 1958-01-02 | 1958
CORPUS | PALACIOS | 6840 | 55335395430761 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-17 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 30 Feet - 5 | 28.7124 | -96.2134 | Wind Damage | Wood | 1962-01-02 | 1962
CORPUS | BAY CITY | 6670 | 55962465549823 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0353 | -96.0086 | Wind Damage | Wood | 1972-01-02 | 1972
CORPUS | WADSWORTH | 7660 | 56162115431326 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7084 | -95.9557 | Wind Damage | Wood | 1966-01-02 | 1966
CORPUS | BAY CITY | 7480 | 56168365528975 | Report | Visual Inspection | 2018-05-23 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 2 | 28.9766 | -95.9459 | Wind Damage | Wood | 2012-07-26 | 2012
CORPUS | PALACIOS | 6840 | 55370085432050 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-21 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7157 | -96.2025 | Wind Damage | Wood | 1930-01-02 | 1930
CORPUS | PALACIOS | 6840 | 55346975431802 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-17 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7152 | -96.2097 | Wind Damage | Wood | 1984-01-02 | 1984
CORPUS | BAY CITY | 7480 | 56167865528973 | Report | Visual Inspection | 2018-05-24 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9766 | -95.946 | Wind Damage | Wood | 2012-07-26 | 2012
CORPUS | BLACK CAT | 3000 | 56116585523223 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 35 Feet - 5 | 28.9612 | -95.9625 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | BLESSING | 8780 | 55470935496134 | Meets Specifications | Condition Based Inspection (CBI) | 2016-11-14 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.8911 | -96.1663 | Wind Damage | Wood | 1962-01-02 | 1962
CORPUS | PALACIOS | 6840 | 55315665436573 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-05 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7285 | -96.2191 | Wind Damage | Wood | 1959-01-02 | 1959
CORPUS | PALACIOS | 6840 | 55331445436604 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-05 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.7285 | -96.2142 | Wind Damage | Wood | 1972-01-02 | 1972
CORPUS | BAY CITY | 7480 | 56148615527434 | Report | Visual Inspection | 2018-05-31 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9725 | -95.9522 | Wind Damage | Wood | 1981-01-02 | 1981
CORPUS | PAVLOV | 3535 | 55557225535313 | Report | Visual Inspection | 2018-06-07 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.9982 | -96.1364 | Wind Damage | Wood | 1956-01-02 | 1956
CORPUS | BAY CITY | 2700 | 56181455525976 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-04 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.9683 | -95.942 | Wind Damage | Wood | 1978-01-02 | 1978
CORPUS | PALACIOS | 6840 | 55310775429661 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 30 Feet - 6 | 28.7095 | -96.2211 | Wind Damage | Wood | 1976-01-02 | 1976
CORPUS | PALACIOS | 6840 | 55368565433380 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7194 | -96.2028 | Wind Damage | Wood | 1978-01-02 | 1978
CORPUS | SHROPSHIRE | 3575 | 55791225556248 | Meets Specifications | Condition Based Inspection (CBI) | 2023-09-18 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.0542 | -96.0616 | Wind Damage | Wood | 1983-01-02 | 1983
CORPUS | SHROPSHIRE | 3575 | 55768445559943 | Other/Needs Replacement Immediate | Condition Based Inspection (CBI) | 2023-09-20 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0645 | -96.0684 | Wind Damage | Wood | 1966-01-02 | 1966
CORPUS | SHROPSHIRE | 3575 | 55766615560240 | External Butt Decay/Needs Replacement Immediate | Condition Based Inspection (CBI) | 2023-09-20 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0653 | -96.069 | Wind Damage | Wood | 1966-01-02 | 1966
CORPUS | SHROPSHIRE | 3575 | 55764885560520 | Other/Needs Replacement Immediate | Condition Based Inspection (CBI) | 2023-09-20 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.0661 | -96.0695 | Wind Damage | Wood | 2008-05-28 | 2008
CORPUS | PALACIOS | 6840 | 55342615433476 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7198 | -96.2109 | Wind Damage | Wood | 1985-01-02 | 1985
CORPUS | BAY CITY | 6670 | 55947205551139 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.039 | -96.0132 | Wind Damage | Wood | 1974-01-02 | 1974
CORPUS | PALACIOS | 8550 | 55424375457600 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-21 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7856 | -96.1837 | Wind Damage | Wood | 1960-01-02 | 1960
CORPUS | PALACIOS | 6840 | 55323305428876 | Report | Visual Inspection | 2014-05-21 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7073 | -96.2173 | Tree Damage | Wood | 2007-05-10 | 2007
CORPUS | PALACIOS | 8550 | 55394565458856 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-21 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 50 Feet - 3 | 28.7892 | -96.1929 | Wind Damage | Wood | 1997-01-02 | 1997
CORPUS | BAY CITY | 6670 | 56073905541096 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.0106 | -95.9744 | Wind Damage | Wood | 1979-01-02 | 1979
CORPUS | WADSWORTH | 8630 | 56144745492043 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.8753 | -95.9562 | Wind Damage | Wood | 1987-01-02 | 1987
CORPUS | BLESSING | 8790 | 55202375494224 | Meets Specifications | Condition Based Inspection (CBI) | 2016-11-30 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.8876 | -96.2503 | Wind Damage | Wood | 1986-01-02 | 1986
CORPUS | PALACIOS | 6830 | 55051605451363 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-17 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7704 | -96.3002 | Wind Damage | Wood | 1966-01-02 | 1966
CORPUS | BLESSING | 8790 | 55162625497841 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-12-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.8978 | -96.2624 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | PALACIOS | 8550 | 55339795461424 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 2 | 28.7966 | -96.2098 | Wind Damage | Wood | 2018-11-13 | 2018
CORPUS | BLESSING | 8790 | 55228475496037 | Meets Specifications | Condition Based Inspection (CBI) | 2016-12-15 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.8924 | -96.242 | Wind Damage | Wood | 1994-01-02 | 1994
CORPUS | CARANCAHUA | 1875 | 54844725433967 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-06-14 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7243 | -96.3661 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | CARANCAHUA | 1875 | 54844955433536 | Meets Specifications | Condition Based Inspection (CBI) | 2016-06-14 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.7231 | -96.3661 | Wind Damage | Wood | 1998-01-01 | 1998
CORPUS | PALACIOS | 8550 | 55340155458698 | Not Older than 10 years | N/A | N/A | Foreign Owned Municipality | Broken | 35 Feet - 5 | 28.7891 | -96.2098 | Wind Damage | Wood | 2018-11-13 | 2018
CORPUS | PALACIOS | 6830 | 55301925428550 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-19 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7065 | -96.224 | Wind Damage | Wood | 1986-01-02 | 1986
CORPUS | PALACIOS | 8550 | 55421485461493 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-21 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7963 | -96.1843 | Wind Damage | Wood | 1989-01-01 | 1989
CORPUS | BLACK CAT | 2960 | 56090935522275 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9587 | -95.9706 | Tree Damage | Wood | 1955-01-02 | 1955
CORPUS | BLESSING | 8790 | 54913035448553 | Meets Specifications | Condition Based Inspection (CBI) | 2016-12-13 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.7639 | -96.3438 | Wind Damage | Wood | 1997-01-01 | 1997
CORPUS | BLESSING | 8790 | 54906765447733 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.7617 | -96.3458 | Wind Damage | Wood | 2016-06-15 | 2016
CORPUS | BLESSING | 8790 | 55201165497333 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-11-30 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40-4 | 28.8962 | -96.2504 | Wind Damage | Wood | 1950-01-02 | 1950
CORPUS | BAY CITY | 6670 | 55987815539541 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0069 | -96.0015 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | BLESSING | 1030 | 55319675512372 | Meets Specifications | Condition Based Inspection (CBI) | 2016-11-23 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9367 | -96.2123 | Wind Damage | Wood | 2006-07-24 | 2006
CORPUS | PALACIOS | 6840 | 55333745427338 | Incomplete Data | #N/A | #N/A | Foreign Owned FRONTIER COMMUNICATIONS | Broken | 35 Feet - 5 | 28.703 | -96.2141 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | BAY CITY | 1110CN | 56102875534049 | Report | Visual Inspection | 2018-05-17 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.991 | -95.9659 | Tree Damage | Wood | 1979-01-02 | 1979
CORPUS | SHROPSHIRE | 3575 | 55798205555117 | Meets Specifications | CBI Fumigant | 2023-09-18 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.051 | -96.0595 | Wind Damage | Wood | 1966-01-02 | 1966
CORPUS | BAY CITY | 6670 | 56077275535420 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 4 | 28.9949 | -95.9738 | Wind Damage | Wood | 1986-01-02 | 1986
CORPUS | SHROPSHIRE | 3575 | 55825805550523 | Meets Specifications | Visual Inspection | 2023-09-18 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0382 | -96.0512 | Wind Damage | Wood | 1983-01-02 | 1983
CORPUS | SHROPSHIRE | 3575 | 55805355548433 | Meets Specifications | Visual Inspection | 2023-09-17 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.0326 | -96.0578 | Wind Damage | Wood | 1998-01-02 | 1998
CORPUS | WADSWORTH | 8630 | 56105465490791 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.8721 | -95.9686 | Wind Damage | Wood | 1961-01-02 | 1961
CORPUS | SHROPSHIRE | 1240 | 55811775538980 | NIF (Not in Field) | Visual Inspection | 2018-06-07 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 2 | 29.0065 | -96.0566 | Wind Damage | Wood | 2000-01-02 | 2000
CORPUS | SHROPSHIRE | 3575 | 55795075545116 | Meets Specifications | Visual Inspection | 2023-09-15 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 2 | 29.0235 | -96.0613 | Wind Damage | Wood | 2014-04-20 | 2014
CORPUS | SHROPSHIRE | 1240 | 55741265547601 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 29.0307 | -96.0779 | Wind Damage | Wood | 2017-01-14 | 2017
CORPUS | SHROPSHIRE | 1240 | 55758325544671 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 29.0226 | -96.0728 | Wind Damage | Wood | 2017-01-14 | 2017
CORPUS | BAY CITY | 2700 | 56220225533871 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2018-06-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9897 | -95.9293 | Wind Damage | Wood | 1982-01-02 | 1982
CORPUS | BLACK CAT | 3000 | 56115555525735 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 35 Feet - 5 | 28.9681 | -95.9626 | Wind Damage | Wood | 1979-01-02 | 1979
CORPUS | BLESSING | 8780 | 55494795491011 | Meets Specifications | Condition Based Inspection (CBI) | 2016-11-20 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.8769 | -96.1592 | Wind Damage | Wood | 1990-01-02 | 1990
CORPUS | WADSWORTH | 8630 | 56341305448547 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7544 | -95.8984 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | BAY CITY | 2700 | 56170625524492 | Report | Visual Inspection | 2018-05-17 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9643 | -95.9455 | Wind Damage | Wood | 1957-01-02 | 1957
CORPUS | BAY CITY | 1110CN | 56113705526191 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 feet class 4 | 28.9693 | -95.9632 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | EL CAMPO | 5745 | 55052595612222 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-28 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 25 Feet - 6 | 29.2128 | -96.2885 | Tree Damage | Wood | 1960-01-02 | 1960
CORPUS | BLESSING | 1030 | 55160915521176 | Report | Visual Inspection | 2016-11-20 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.962 | -96.2613 | Wind Damage | Wood | 2014-06-06 | 2014
CORPUS | BAY CITY | 6670 | 56082755558569 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0585 | -95.9703 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | BLESSING | 8780 | 55519475497840 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.8955 | -96.151 | Wind Damage | Wood | 2024-05-28 | 2024
CORPUS | BAY CITY | 2700 | 56187305526693 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9702 | -95.9401 | Wind Damage | Wood | 1963-01-02 | 1963
CORPUS | BAY CITY | 6670 | 56108725535922 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.9961 | -95.964 | Wind Damage | Wood | 1976-01-02 | 1976
CORPUS | CARANCAHUA | 1875 | 54856965437565 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-06-15 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7341 | -96.362 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | CARANCAHUA | 1875 | 54853805436919 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.7323 | -96.3631 | Wind Damage | Wood | 2017-08-28 | 2017
CORPUS | CARANCAHUA | 1875 | 54834575426568 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-06-22 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.704 | -96.3698 | Wind Damage | Wood | 1961-01-02 | 1961
CORPUS | CARANCAHUA | 1875 | 54799825418914 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-06-24 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.6832 | -96.3811 | Wind Damage | Wood | 1975-01-02 | 1975
CORPUS | CARANCAHUA | 1875 | 54799625419326 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2016-06-24 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.6843 | -96.3812 | Wind Damage | Wood | 1985-01-01 | 1985
CORPUS | BAY CITY | 2700 | 56180665525972 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.9683 | -95.9423 | Wind Damage | Wood | 2020-04-22 | 2020
CORPUS | BAY CITY | 2700 | 56113735534233 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9914 | -95.9625 | Wind Damage | Wood | 2017-12-27 | 2017
CORPUS | BAY CITY | 2700 | 56141555535695 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2018-05-15 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9953 | -95.9537 | Wind Damage | Wood | 1988-01-01 | 1988
CORPUS | EL CAMPO | 2800 | 54691505573521 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2014-04-26 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.1087 | -96.4044 | Wind Damage | Wood | 1980-01-01 | 1980
CORPUS | EL CAMPO | 2800 | 54670515574262 | External Butt Decay/Needs Replacement | Condition Based Inspection (CBI) | 2024-03-04 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 30 Feet - 6 | 29.1107 | -96.4108 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | PALACIOS | 6830 | 55311585428559 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-19 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.7065 | -96.2209 | Wind Damage | Wood | 1976-01-02 | 1976
CORPUS | EL CAMPO | 5745 | 55068165612717 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-27 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45Feet - 3 | 29.2141 | -96.2836 | Wind Damage | Wood | 1964-01-02 | 1964
CORPUS | BAY CITY | 7480 | 56138615528841 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-05-23 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9764 | -95.9553 | Wind Damage | Wood | 1963-01-02 | 1963
CORPUS | BAY CITY | 1110CN | 56150035532413 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9862 | -95.9513 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | BAY CITY | 6670 | 56087425538144 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0024 | -95.9704 | Tree Damage | Wood | 1953-01-02 | 1953
CORPUS | BAY CITY | 6670 | 55968095553516 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0454 | -96.0065 | Wind Damage | Wood | 1968-01-02 | 1968
CORPUS | BAY CITY | 6670 | 55973105552212 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0418 | -96.005 | Wind Damage | Wood | 1971-01-02 | 1971
CORPUS | EL CAMPO | 2800 | 54747215578574 | Internal Rot-Butt | S&B Internal | 2014-04-16 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.1221 | -96.3866 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | PALACIOS | 6830 | 55301275427438 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-20 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7035 | -96.2242 | Wind Damage | Wood | 1962-01-02 | 1962
CORPUS | SHROPSHIRE | 3575 | 55721235559708 | External Butt Decay/Needs Replacement Immediate | External Dig | 2023-09-19 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 4 | 29.0641 | -96.0832 | Wind Damage | Wood | 1987-01-02 | 1987
CORPUS | BLACK CAT | 3000 | 56099875526279 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9697 | -95.9675 | Tree Damage | Wood | 1973-01-02 | 1973
CORPUS | EL CAMPO | 2800 | 54802515556094 | External Butt Decay/Needs Replacement Immediate | Condition Based Inspection (CBI) | 2024-03-13 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0604 | -96.3714 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | SHROPSHIRE | 3575 | 55739685559130 | Woodpecker Hole/Needs Replacement | Condition Based Inspection (CBI) | 2023-09-20 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 feet | 29.0624 | -96.0775 | Wind Damage | Wood | 1980-01-02 | 1980
CORPUS | SHROPSHIRE | 3575 | 55741255558867 | Woodpecker Hole/Needs Replacement | Condition Based Inspection (CBI) | 2023-09-19 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 feet | 29.0617 | -96.077 | Wind Damage | Wood | 1980-01-02 | 1980
CORPUS | EL CAMPO | 6370 | 55025495606989 | Report | Visual Inspection | 2014-03-28 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.1986 | -96.2975 | Tree Damage | Wood | 2005-09-02 | 2005
CORPUS | BAY CITY | 6670 | 56121045572697 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.097 | -95.9571 | Tree Damage | Wood | 1979-01-02 | 1979
CORPUS | BAY CITY | 6670 | 55994595538377 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0037 | -95.9994 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | SHROPSHIRE | 1240 | 55764965543894 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0204 | -96.0708 | Wind Damage | Wood | 1957-01-02 | 1957
CORPUS | EL CAMPO | 2800 | 54813905550534 | External Butt Decay/Needs Replacement | External Dig | 2024-03-06 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0448 | -96.3677 | Wind Damage | Wood | 1980-01-02 | 1980
CORPUS | SHROPSHIRE | 1240 | 55765645543778 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0201 | -96.0706 | Wind Damage | Wood | 1957-01-02 | 1957
CORPUS | BAY CITY | 6670 | 55926535549664 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 29.0351 | -96.0198 | Tree Damage | Wood | 1968-01-02 | 1968
CORPUS | BAY CITY | 6670 | 56077645549976 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 29.0349 | -95.9725 | Wind Damage | Wood | 1978-01-02 | 1978
CORPUS | BAY CITY | 6670 | 56080535560951 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0651 | -95.9708 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | BAY CITY | 1110CN | 56137435531977 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9851 | -95.9553 | Tree Damage | Wood | 2010-04-01 | 2010
CORPUS | WADSWORTH | 7660 | 56123495466613 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.8056 | -95.9649 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | BAY CITY | 1110CN | 56136505532569 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9867 | -95.9555 | Wind Damage | Wood | 1949-01-02 | 1949
CORPUS | WADSWORTH | 7660 | 56179575465779 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.8029 | -95.9475 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | WADSWORTH | 7660 | 56104745474118 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.8263 | -95.9701 | Wind Damage | Wood | 1973-01-02 | 1973
CORPUS | BAY CITY | 6670 | 56058925572035 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0965 | -95.9766 | Wind Damage | Wood | 1972-01-02 | 1972
CORPUS | WADSWORTH | 7660 | 56058635485283 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.8573 | -95.9836 | Wind Damage | Wood | 1981-01-02 | 1981
CORPUS | WADSWORTH | 7660 | 56057975486180 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.8598 | -95.9838 | Wind Damage | Wood | 1988-01-02 | 1988
CORPUS | BAY CITY | 6670 | 56062535542603 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0148 | -95.9779 | Wind Damage | Wood | 1979-01-02 | 1979
CORPUS | BAY CITY | 6670 | 56075465545855 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5-4 | 29.0236 | -95.9736 | Wind Damage | Wood | 1980-01-02 | 1980
CORPUS | BAY CITY | 1110CN | 56143825533335 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9887 | -95.9532 | Tree Damage | Wood | 1983-01-02 | 1983
CORPUS | BAY CITY | 6670 | 55984805539696 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.0073 | -96.0024 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | BAY CITY | 6670 | 55998225540671 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40-4 | 29.0099 | -95.9981 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | BAY CITY | 6670 | 56007585541041 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 30 Feet - 5 | 29.0109 | -95.9952 | Wind Damage | Wood | 1976-01-02 | 1976
CORPUS | BAY CITY | 6670 | 56007365541126 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35-5 | 29.0111 | -95.9952 | Tree Damage | Wood | 1975-01-02 | 1975
CORPUS | BAY CITY | 6670 | 56010425541423 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40/4 | 29.0119 | -95.9942 | Tree Damage | Wood | 1965-01-02 | 1965
CORPUS | BAY CITY | 5960 | 56044965532618 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 2 | 28.9875 | -95.9841 | Wind Damage | Wood | 2014-08-14 | 2014
CORPUS | BLACK CAT | 3175 | 56125875526947 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 4 | 28.9713 | -95.9593 | Wind Damage | Wood | 1998-01-02 | 1998
CORPUS | PALACIOS | 6830 | 55280775445138 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-06 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40/4 | 28.752 | -96.2292 | Wind Damage | Wood | 1961-01-02 | 1961
CORPUS | PALACIOS | 6830 | 55273385444407 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-06 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7503 | -96.2317 | Wind Damage | Wood | 1966-01-02 | 1966
CORPUS | BAY CITY | 6670 | 56078565534050 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9912 | -95.9735 | Wind Damage | Wood | 1950-01-02 | 1950
CORPUS | SHROPSHIRE | 1240 | 55640205565425 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0804 | -96.1081 | Wind Damage | Wood | 1974-01-02 | 1974
CORPUS | SHROPSHIRE | 1240 | 55717905588534 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.1434 | -96.082 | Wind Damage | Wood | 1962-01-02 | 1962
CORPUS | SHROPSHIRE | 1240 | 55637375565412 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0804 | -96.109 | Wind Damage | Wood | 1974-01-02 | 1974
CORPUS | PALACIOS | 6840 | 55328125430189 | External Rot-Butt/Needs Reinforcement | Butt & Internal/Internal Rot-Butt | 2014-05-19 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7109 | -96.2157 | Tree Damage | Wood | 1966-01-02 | 1966
CORPUS | BAY CITY | 1110CN | 56121935529287 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-06 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9778 | -95.9604 | Wind Damage | Wood | 1977-01-02 | 1977
CORPUS | PAVLOV | 9925 | 55511345534789 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9971 | -96.1507 | Wind Damage | Wood | 2016-02-10 | 2016
CORPUS | SHROPSHIRE | 1240 | 55607295565269 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0802 | -96.1184 | Wind Damage | Wood | 1974-01-02 | 1974
CORPUS | PALACIOS | 6830 | 55183465441577 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-09 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7431 | -96.2599 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | PALACIOS | 6840 | 55338925435598 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-06 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7256 | -96.2119 | Wind Damage | Wood | 1980-01-02 | 1980
CORPUS | SHROPSHIRE | 1240 | 55590785572933 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 29.1014 | -96.123 | Wind Damage | Wood | 1980-01-02 | 1980
CORPUS | SHROPSHIRE | 1240 | 55671815565302 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0798 | -96.0982 | Wind Damage | Wood | 1963-01-02 | 1963
CORPUS | PALACIOS | 6830 | 55239705426120 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40-4 | 28.7002 | -96.2435 | Wind Damage | Wood | 1979-01-02 | 1979
CORPUS | SHROPSHIRE | 1240 | 55815065538885 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 4 | 29.0065 | -96.0555 | Wind Damage | Wood | 1992-01-02 | 1992
CORPUS | PALACIOS | 6830 | 55252605426443 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.701 | -96.2395 | Wind Damage | Wood | 2004-07-13 | 2004
CORPUS | SHROPSHIRE | 1240 | 55657415550669 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 ft | 29.0397 | -96.1039 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | BAY CITY | 2050 | 56104675529876 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-05-23 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9795 | -95.9657 | Wind Damage | Wood | 1983-01-02 | 1983
CORPUS | EL CAMPO | 6370 | 55079635616076 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-27 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.2233 | -96.2798 | Wind Damage | Wood | 1974-01-02 | 1974
CORPUS | WADSWORTH | 8630 | 56143375502017 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 2 | 28.9027 | -95.9559 | Wind Damage | Wood | 2019-08-06 | 2019
CORPUS | PALACIOS | 6830 | 55255595426449 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.701 | -96.2386 | Wind Damage | Wood | 1984-01-02 | 1984
CORPUS | WADSWORTH | 8630 | 56217275475898 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.8304 | -95.9349 | Wind Damage | Wood | 1968-01-02 | 1968
CORPUS | CARANCAHUA | 5870 | 54674815434308 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7262 | -96.4191 | Tree Damage | Wood | 1977-01-02 | 1977
CORPUS | CARANCAHUA | 5870 | 54674755434428 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7265 | -96.4191 | Tree Damage | Wood | 1977-01-02 | 1977
CORPUS | MARKHAM | 6440CN | 55771895522076 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-05 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9604 | -96.0703 | Wind Damage | Wood | 1954-01-02 | 1954
CORPUS | BLESSING | 1030 | 55401625496487 | External Rot-Butt/Needs Reinforcement | Butt & Internal/Internal Rot-Butt | 2016-11-02 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.8926 | -96.1879 | Wind Damage | Wood | 1979-01-02 | 1979
CORPUS | BLESSING | 8780 | 55452935488221 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2016-11-18 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.8695 | -96.1725 | Wind Damage | Wood | 1981-01-02 | 1981
CORPUS | WADSWORTH | 8630 | 56201905479987 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 2 | 28.8418 | -95.9394 | Wind Damage | Wood | 2023-11-09 | 2023
CORPUS | EL CAMPO | 6370 | 55017865609276 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2014-03-31 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 29.2049 | -96.2997 | Wind Damage | Wood | 1963-01-02 | 1963
CORPUS | CARANCAHUA | 5870 | 54649435435335 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-05-26 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7291 | -96.4272 | Wind Damage | Wood | 1984-01-02 | 1984
CORPUS | CARANCAHUA | 5870 | 54668235434087 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-05-30 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7256 | -96.4211 | Wind Damage | Wood | 1978-01-02 | 1978
CORPUS | WADSWORTH | 8630 | 56237095485477 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 4 | 28.8566 | -95.9279 | Wind Damage | Wood | 2013-07-24 | 2013
CORPUS | EL CAMPO | 7710 | 55096405606510 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-07 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.1969 | -96.2752 | Wind Damage | Wood | 1959-01-02 | 1959
CORPUS | CARANCAHUA | 5870 | 54652845432546 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-06-02 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40Feet - 4 | 28.7215 | -96.426 | Wind Damage | Wood | 1979-01-02 | 1979
CORPUS | CARANCAHUA | 5870 | 54642285433128 | Meets Specifications | Condition Based Inspection (CBI) | 2016-05-24 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.7231 | -96.4295 | Wind Damage | Wood | 1980-01-02 | 1980
CORPUS | BLACK CAT | 2960 | 56097885521494 | Not Older than 10 years | N/A | N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 2 | 28.9565 | -95.9685 | Tree Damage | Wood | 2022-06-03 | 2022
CORPUS | EL CAMPO | 7260 | 55132075605601 | Meets Specifications | Condition Based Inspection (CBI) | 2014-04-11 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.1941 | -96.2641 | Wind Damage | Wood | 1958-01-01 | 1958
CORPUS | EL CAMPO | 7710 | 55110555607531 | Internal Rot-Butt | S&B Internal | 2014-05-02 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 29.1996 | -96.2707 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | EL CAMPO | 6370 | 55053805609940 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-04-29 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 29.2066 | -96.2883 | Wind Damage | Wood | 1976-01-02 | 1976
CORPUS | CARANCAHUA | 5870 | 54667975432936 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-05-29 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 feet class 4 | 28.7225 | -96.4213 | Wind Damage | Wood | 1978-01-02 | 1978
CORPUS | BLACK CAT | 2960 | 56088115522233 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-22 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9586 | -95.9715 | Wind Damage | Wood | 1977-01-02 | 1977
CORPUS | EL CAMPO | 6370 | 55014965608168 | Meets Specifications | Condition Based Inspection (CBI) | 2014-03-31 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 3 | 29.2019 | -96.3006 | Wind Damage | Wood | 1955-01-02 | 1955
CORPUS | WADSWORTH | 8630 | 56190725483857 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40-4 | 28.8525 | -95.9425 | Wind Damage | Wood | 1975-01-02 | 1975
CORPUS | CARANCAHUA | 5870 | 54670295435662 | Meets Specifications | Condition Based Inspection (CBI) | 2016-06-02 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7301 | -96.4205 | Wind Damage | Wood | 1980-01-02 | 1980
CORPUS | EL CAMPO | 6370 | 55013815609257 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2014-03-31 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.2049 | -96.301 | Wind Damage | Wood | 1956-01-02 | 1956
CORPUS | WADSWORTH | 8630 | 56144215502620 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.9044 | -95.9555 | Wind Damage | Wood | 2019-12-03 | 2019
CORPUS | EL CAMPO | 6370 | 55015875613411 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.2163 | -96.3 | Wind Damage | Wood | 2013-06-17 | 2013
CORPUS | EL CAMPO | 7260 | 55129355605401 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-04-15 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 29.1936 | -96.265 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | EL CAMPO | 6370 | 55015885608570 | Meets Specifications | Condition Based Inspection (CBI) | 2014-03-31 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.203 | -96.3003 | Wind Damage | Wood | 1961-01-02 | 1961
CORPUS | EL CAMPO | 7260 | 55133695604160 | Meets Specifications | Condition Based Inspection (CBI) | 2014-04-11 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 29.1902 | -96.2637 | Wind Damage | Wood | 1972-01-02 | 1972
CORPUS | PALACIOS | 6830 | 55226585431274 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-23 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7145 | -96.2472 | Wind Damage | Wood | 1985-01-02 | 1985
CORPUS | BAY CITY | 2700 | 56171105533474 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9889 | -95.9447 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | EL CAMPO | 7260 | 55139615604611 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.1914 | -96.2618 | Wind Damage | Wood | 2019-06-20 | 2019
CORPUS | PALACIOS | 6830 | 55202015432889 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7191 | -96.2548 | Wind Damage | Wood | 1985-01-02 | 1985
CORPUS | EL CAMPO | 6370 | 55030645607122 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2014-03-28 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35-5 | 29.1989 | -96.2959 | Wind Damage | Wood | 1964-01-02 | 1964
CORPUS | EL CAMPO | 6370 | 55032575606400 | Meets Specifications | Condition Based Inspection (CBI) | 2014-03-28 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 6 | 29.1969 | -96.2953 | Wind Damage | Wood | 1961-01-02 | 1961
CORPUS | EL CAMPO | 6370 | 55041165604260 | Meets Specifications | Condition Based Inspection (CBI) | 2014-03-27 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.191 | -96.2927 | Wind Damage | Wood | 1979-01-02 | 1979
CORPUS | EL CAMPO | 6370 | 55044285604216 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2014-03-27 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.1908 | -96.2917 | Wind Damage | Wood | 1979-01-02 | 1979
CORPUS | EL CAMPO | 6370 | 55006895621308 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 45â€™ class 4 | 29.2381 | -96.3022 | Wind Damage | Wood | 1957-01-02 | 1957
CORPUS | BLACK CAT | 2960 | 56062835526042 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-19 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9693 | -95.9791 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | EL CAMPO | 2800 | 54784205542158 | External Butt Decay/Needs Replacement | Condition Based Inspection (CBI) | 2024-03-11 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0217 | -96.3776 | Wind Damage | Wood | 1981-01-02 | 1981
CORPUS | EL CAMPO | 2800 | 54764315580079 | Meets Specifications | Condition Based Inspection (CBI) | 2014-04-16 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 29.1263 | -96.3812 | Wind Damage | Wood | 1980-01-01 | 1980
CORPUS | EL CAMPO | 2800 | 54784095581563 | Meets Specifications | Condition Based Inspection (CBI) | 2014-04-15 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.1302 | -96.3751 | Wind Damage | Wood | 1985-01-01 | 1985
CORPUS | BLACK CAT | 2960 | 56107155522459 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2014-05-30 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9591 | -95.9655 | Wind Damage | Wood | 1985-01-02 | 1985
CORPUS | STAFFORD HILL | 1550 | 54380505791202 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2015-09-09 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.7088 | -96.487 | Wind Damage | Wood | 1980-01-02 | 1980
CORPUS | STAFFORD HILL | 1550 | 54382855792151 | Meets Specifications | Condition Based Inspection (CBI) | 2015-09-08 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.7114 | -96.4862 | Wind Damage | Wood | 1987-01-02 | 1987
CORPUS | BLACK CAT | 2960 | 56034115523110 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-31 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9614 | -95.9883 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | MARKHAM | 6440CN | 55763215523080 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9632 | -96.0729 | Wind Damage | Wood | 2020-02-05 | 2020
CORPUS | BLACK CAT | 2960 | 56003935522871 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-27 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.961 | -95.9977 | Wind Damage | Wood | 1968-01-01 | 1968
CORPUS | EL CAMPO | 2800 | 54993015597111 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2014-04-15 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 29.1715 | -96.3081 | Wind Damage | Wood | 1978-01-01 | 1978
CORPUS | STAFFORD HILL | 1550 | 54390355791510 | Meets Specifications | Condition Based Inspection (CBI) | 2015-09-08 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.7096 | -96.4839 | Wind Damage | Wood | 1978-01-02 | 1978
CORPUS | EL CAMPO | 6370 | 55047205607397 | Meets Specifications | Condition Based Inspection (CBI) | 2014-04-03 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 ft | 29.1996 | -96.2906 | Wind Damage | Wood | 1983-01-02 | 1983
CORPUS | MARKHAM | 6440CN | 55779615522426 | Meets Specifications | Condition Based Inspection (CBI) | 2018-06-05 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9613 | -96.0679 | Wind Damage | Wood | 1992-01-01 | 1992
CORPUS | WADSWORTH | 8630 | 56219215475454 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 4 | 28.8292 | -95.9343 | Wind Damage | Wood | 1995-01-02 | 1995
CORPUS | STAFFORD HILL | 1550 | 54394075791805 | Meets Specifications | Condition Based Inspection (CBI) | 2015-09-08 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.7104 | -96.4827 | Wind Damage | Wood | 1986-01-02 | 1986
CORPUS | EL CAMPO | 6370 | 55038995607362 | Meets Specifications | Condition Based Inspection (CBI) | 2014-04-03 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 3 | 29.1996 | -96.2932 | Wind Damage | Wood | 1957-01-02 | 1957
CORPUS | PALACIOS | 6830 | 55313435428561 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-19 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7065 | -96.2204 | Wind Damage | Wood | 1968-01-02 | 1968
CORPUS | PALACIOS | 6830 | 55034695431161 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7154 | -96.3071 | Wind Damage | Wood | 1971-01-02 | 1971
CORPUS | EL CAMPO | 2800 | 55072885599617 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-25 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.1781 | -96.2831 | Tree Damage | Wood | 1985-01-01 | 1985
CORPUS | PALACIOS | 6830 | 55034975430590 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7138 | -96.307 | Wind Damage | Wood | 1971-01-02 | 1971
CORPUS | WADSWORTH | 8630 | 56224045471952 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.8195 | -95.9331 | Wind Damage | Wood | 1951-01-02 | 1951
CORPUS | WADSWORTH | 8630 | 56138925509755 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-14 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.924 | -95.9566 | Wind Damage | Wood | 1966-01-02 | 1966
CORPUS | BLACK CAT | 3000 | 56094135528413 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9756 | -95.9691 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | BAY CITY | 5960 | 56038175530906 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-10 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9828 | -95.9864 | Wind Damage | Wood | 1981-01-02 | 1981
CORPUS | BAY CITY | 5960 | 56048205531339 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 35 Feet - 5 | 28.9839 | -95.9832 | Wind Damage | Wood | 1968-01-02 | 1968
CORPUS | BLACK CAT | 2960 | 56107945516830 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-05 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9437 | -95.9657 | Wind Damage | Wood | 1966-01-02 | 1966
CORPUS | EL CAMPO | 2800 | 54700605582727 | External Butt Decay/Needs Replacement | Condition Based Inspection (CBI) | 2024-03-06 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.1339 | -96.4013 | Wind Damage | Wood | 1961-01-02 | 1961
CORPUS | EL CAMPO | 5745 | 55060335612561 | Report | N/A | 2003-03-31 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 4 | 29.2137 | -96.2861 | Wind Damage | Wood | 1995-01-02 | 1995
CORPUS | EL CAMPO | 2800 | 54708105582779 | External Butt Decay/Needs Replacement Immediate | Condition Based Inspection (CBI) | 2024-03-06 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.1339 | -96.3986 | Wind Damage | Wood | 1961-01-02 | 1961
CORPUS | EL CAMPO | 2800 | 55057465597003 | Meets Specifications | Condition Based Inspection (CBI) | 2014-04-09 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 30 Feet - 7 | 29.1709 | -96.2881 | Wind Damage | Wood | 1968-01-02 | 1968
CORPUS | BAY CITY | 5960 | 56049675531100 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9833 | -95.9828 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | BLACK CAT | 3175 | 56130415527883 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9739 | -95.9578 | Wind Damage | Wood | 1951-01-02 | 1951
CORPUS | PALACIOS | 6830 | 55039585432657 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7195 | -96.3054 | Wind Damage | Wood | 1984-01-02 | 1984
CORPUS | BAY CITY | 5960 | 56052555531117 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9833 | -95.9819 | Wind Damage | Wood | 1973-01-02 | 1973
CORPUS | BLACK CAT | 2960 | 56097365513686 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9351 | -95.9693 | Wind Damage | Wood | 1977-01-02 | 1977
CORPUS | BAY CITY | 5960 | 56020445534439 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9927 | -95.9917 | Wind Damage | Wood | 1946-01-02 | 1946
CORPUS | BLACK CAT | 2960 | 56058635527972 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9746 | -95.9802 | Wind Damage | Wood | 1972-01-02 | 1972
CORPUS | PALACIOS | 6830 | 55045415432682 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7195 | -96.3036 | Wind Damage | Wood | 1971-01-02 | 1971
CORPUS | BLACK CAT | 2960 | 56107085514828 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9382 | -95.9662 | Wind Damage | Wood | 1977-01-02 | 1977
CORPUS | BLACK CAT | 2960 | 56063905527512 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 35 Feet - 5 &#x27; | 28.9733 | -95.9786 | Wind Damage | Wood | 1972-01-02 | 1972
CORPUS | EL CAMPO | 7710 | 55118495607938 | Internal Rot-Butt | S&B Fumigant | 2014-05-05 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.2006 | -96.2682 | Wind Damage | Wood | 1974-01-02 | 1974
CORPUS | MARKHAM | 6440CN | 55780335522916 | Report | Visual Inspection | 2018-06-05 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 28.9627 | -96.0676 | Tree Damage | Wood | 2014-02-20 | 2014
CORPUS | PALACIOS | 6830 | 55067535432776 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7196 | -96.2967 | Wind Damage | Wood | 1971-01-02 | 1971
CORPUS | MARKHAM | 6440CN | 55780625522871 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9625 | -96.0675 | Tree Damage | Wood | 2020-02-05 | 2020
CORPUS | BLACK CAT | 2960 | 56138375516968 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-05 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.9438 | -95.9562 | Tree Damage | Wood | 1966-01-02 | 1966
CORPUS | EL CAMPO | 5745 | 55065385612414 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-31 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 29.2133 | -96.2845 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | MARKHAM | 5550 | 55681925534290 | Report | Visual Inspection | 2018-06-07 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 4 | 28.9946 | -96.0975 | Wind Damage | Wood | 2002-01-01 | 2002
CORPUS | PALACIOS | 6830 | 55070915432791 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7196 | -96.2957 | Wind Damage | Wood | 1979-01-02 | 1979
CORPUS | BLACK CAT | 2960 | 56116025515105 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 28.9389 | -95.9633 | Wind Damage | Wood | 1971-01-02 | 1971
CORPUS | BLACK CAT | 3175 | 56081575530083 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-13 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9803 | -95.9729 | Tree Damage | Wood | 1969-01-02 | 1969
CORPUS | BLACK CAT | 2960 | 56127595513082 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9332 | -95.9599 | Wind Damage | Wood | 1958-01-02 | 1958
CORPUS | PALACIOS | 6830 | 55152395434089 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.7227 | -96.2702 | Wind Damage | Wood | 1966-01-02 | 1966
CORPUS | EL CAMPO | 2800 | 55087315597622 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-24 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.1725 | -96.2787 | Wind Damage | Wood | 1954-01-02 | 1954
CORPUS | MOCKINGBIRD | 400 | 54200275791943 | Meets Specifications | Visual Inspection | 2024-02-23 | Foreign Owned AT&amp;T | Broken | 40 Feet - 5 | 29.712 | -96.5436 | Wind Damage | Wood | 1963-01-02 | 1963
CORPUS | BLACK CAT | 2960 | 56132515513090 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 30 Feet - 6 | 28.9332 | -95.9584 | Wind Damage | Wood | 1982-01-02 | 1982
CORPUS | EL CAMPO | 2800 | 54690055573594 | External Butt Decay/Needs Replacement Immediate | Condition Based Inspection (CBI) | 2024-03-04 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.1089 | -96.4048 | Wind Damage | Wood | 1982-01-02 | 1982
CORPUS | BLACK CAT | 3175 | 56120985528157 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 50 Feet - 1 | 28.9747 | -95.9608 | Wind Damage | Wood | 2021-04-12 | 2021
CORPUS | EL CAMPO | 6370 | 54986015607925 | Meets Specifications | Condition Based Inspection (CBI) | 2003-02-27 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Ft- 5 | 29.2014 | -96.3097 | Wind Damage | Wood | 1976-01-02 | 1976
CORPUS | GARWOOD CITY | 2560 | 54679605697951 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2003-02-18 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.4507 | -96.3994 | Wind Damage | Wood | 1975-01-02 | 1975
CORPUS | EL CAMPO | 6370 | 54988145607935 | Other/Needs Replacement | N/A | 2003-02-27 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.2014 | -96.309 | Wind Damage | Wood | 2013-01-01 | 2013
CORPUS | SHROPSHIRE | 1240 | 55766975543547 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0194 | -96.0702 | Wind Damage | Wood | 1957-01-02 | 1957
CORPUS | BLACK CAT | 2960 | 56065135527444 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-15 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9731 | -95.9783 | Wind Damage | Wood | 1985-01-02 | 1985
CORPUS | SHROPSHIRE | 1240 | 55765435543344 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 29.0189 | -96.0707 | Wind Damage | Wood | 2017-01-14 | 2017
CORPUS | EL CAMPO | 6370 | 55001365608132 | Meets Specifications | Condition Based Inspection (CBI) | 2003-02-27 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.2018 | -96.3049 | Wind Damage | Wood | 1979-01-02 | 1979
CORPUS | BLACK CAT | 2960 | 56134465511282 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 2 | 28.9282 | -95.9579 | Wind Damage | Wood | 2022-07-22 | 2022
CORPUS | BLACK CAT | 2960 | 56064245527512 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-15 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9733 | -95.9785 | Wind Damage | Wood | 2007-07-13 | 2007
CORPUS | BLACK CAT | 2960 | 56057765528125 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-15 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.975 | -95.9805 | Tree Damage | Wood | 1971-01-02 | 1971
CORPUS | BLACK CAT | 3175 | 56057985529326 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9783 | -95.9803 | Wind Damage | Wood | 1934-01-02 | 1934
CORPUS | BLACK CAT | 2960 | 56061685528035 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 35 Feet - 5 | 28.9748 | -95.9793 | Wind Damage | Wood | 1972-01-02 | 1972
CORPUS | EL CAMPO | 6370 | 55001425607994 | Meets Specifications | Condition Based Inspection (CBI) | 2014-04-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.2014 | -96.3049 | Wind Damage | Wood | 1983-01-02 | 1983
CORPUS | BLACK CAT | 2960 | 56066015528346 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 35 Feet - 5 | 28.9756 | -95.9779 | Wind Damage | Wood | 1971-01-02 | 1971
CORPUS | BAY CITY | 5960 | 56040975534066 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9915 | -95.9853 | Wind Damage | Wood | 1985-01-02 | 1985
CORPUS | EL CAMPO | 5745 | 55077315610772 | Report | Visual Inspection | 2014-05-02 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.2087 | -96.2809 | Tree Damage | Wood | 2009-09-01 | 2009
CORPUS | PALACIOS | 6830 | 55258595426454 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.701 | -96.2376 | Wind Damage | Wood | 1985-01-02 | 1985
CORPUS | SHROPSHIRE | 1240 | 55590505573544 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 50 Feet - 3 | 29.103 | -96.123 | Wind Damage | Wood | 1980-01-02 | 1980
CORPUS | STAFFORD HILL | 1550 | 54389005791403 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2015-09-08 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.7093 | -96.4843 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | PALACIOS | 6830 | 55280315428596 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-15 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7068 | -96.2307 | Wind Damage | Wood | 1963-01-02 | 1963
CORPUS | BAY CITY | 5960 | 56042495533744 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 4 | 28.9906 | -95.9848 | Wind Damage | Wood | 2009-03-10 | 2009
CORPUS | SHROPSHIRE | 1240 | 55651155565477 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0805 | -96.1047 | Wind Damage | Wood | 1974-01-02 | 1974
CORPUS | SHROPSHIRE | 1240 | 55628935565372 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.0803 | -96.1116 | Wind Damage | Wood | 1974-01-02 | 1974
CORPUS | EL CAMPO | 5745 | 55072935612617 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-27 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4b | 29.2138 | -96.2821 | Wind Damage | Wood | 1988-01-02 | 1988
CORPUS | EAGLE LAKE | 320CN | 54878595749003 | Internal Rot-Butt | CBI Fumigant | 2003-03-13 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.5898 | -96.3333 | Wind Damage | Wood | 1952-01-02 | 1952
CORPUS | BLESSING | 8780 | 55555635494822 | Incomplete Data | #N/A | #N/A | Customer Owned CUSTOMER | Broken | 65 Feet - 4 | 28.887 | -96.1399 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | PALACIOS | 8550 | 55421355461692 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-21 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7968 | -96.1843 | Wind Damage | Wood | 1981-01-02 | 1981
CORPUS | EL CAMPO | 2800 | 55070935600142 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-26 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 4 | 29.1795 | -96.2837 | Wind Damage | Wood | 1975-01-01 | 1975
CORPUS | EL CAMPO | 5745 | 55060025613010 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-05 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 29.215 | -96.2862 | Wind Damage | Wood | 1959-01-02 | 1959
CORPUS | WADSWORTH | 8630 | 56125105451465 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.764 | -95.9656 | Wind Damage | Wood | 1969-01-02 | 1969
CORPUS | WADSWORTH | 7660 | 56112375424557 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 4 | 28.6901 | -95.9717 | Wind Damage | Wood | 2021-01-11 | 2021
CORPUS | WADSWORTH | 8630 | 56224425471440 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.8181 | -95.933 | Wind Damage | Wood | 1951-01-02 | 1951
CORPUS | BLACK CAT | 3175 | 56081615530015 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-13 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 3 | 28.9801 | -95.9729 | Tree Damage | Wood | 1965-01-01 | 1965
CORPUS | BLACK CAT | 3175 | 56079625529715 | Meets Specifications | Condition Based Inspection (CBI) | 2014-05-14 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.9793 | -95.9735 | Wind Damage | Wood | 1959-01-02 | 1959
CORPUS | EL CAMPO | 2800 | 54559635564761 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0858 | -96.4459 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | EL CAMPO | 2800 | 54561345564888 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0863 | -96.4451 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | PALACIOS | 8550 | 55421255461911 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-21 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 4 | 28.7974 | -96.1843 | Wind Damage | Wood | 1988-01-02 | 1988
CORPUS | EL CAMPO | 2800 | 54563925565080 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-01 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0868 | -96.4443 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | EL CAMPO | 2800 | 54566325565259 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-04-30 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0873 | -96.4436 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | EL CAMPO | 2800 | 54568695565435 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-04-30 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0878 | -96.4428 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | EL CAMPO | 2800 | 54571085565613 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-04-30 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0882 | -96.442 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | EL CAMPO | 2800 | 54573775565813 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-04-30 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0887 | -96.4412 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | EL CAMPO | 2800 | 54576375566007 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-04-30 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.0892 | -96.4405 | Wind Damage | Wood | 1970-01-02 | 1970
CORPUS | BAY CITY | 6670 | 56087495533057 | Incomplete Data | #N/A | #N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 4 | 28.9884 | -95.9708 | Wind Damage | Wood | 1995-01-02 | 1995
CORPUS | BAY CITY | 6670 | 56067185533605 | Incomplete Data | #N/A | #N/A | Foreign Owned AT&amp;T | Broken | 35 Feet - 5 | 28.99 | -95.9771 | Wind Damage | Wood | 1955-01-02 | 1955
CORPUS | GARWOOD LONE STAR | 8595 | 54850505687000 | Meets Specifications | Condition Based Inspection (CBI) | 2024-03-03 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.4196 | -96.345 | Wind Damage | Wood | 2001-01-02 | 2001
CORPUS | BLACK CAT | 3175 | 56074305529569 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 28.9789 | -95.9752 | Wind Damage | Wood | 2017-04-08 | 2017
CORPUS | BLESSING | 8790 | 55380635492091 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2016-10-12 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 28.8806 | -96.1948 | Wind Damage | Wood | 1963-01-02 | 1963
CORPUS | EL CAMPO | 7710 | 55080875609053 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-25 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.2039 | -96.2799 | Tree Damage | Wood | 1960-01-02 | 1960
CORPUS | EL CAMPO | 2800 | 55082935601142 | Internal Rot-Butt | CBI Fumigant | 2003-03-25 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.1822 | -96.2798 | Tree Damage | Wood | 1965-01-01 | 1965
CORPUS | EL CAMPO | 2800 | 55092005601450 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-25 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 4 | 29.183 | -96.277 | Wind Damage | Wood | 1985-01-02 | 1985
CORPUS | GARWOOD CITY | 2570 | 54722305684943 | Meets Specifications | Condition Based Inspection (CBI) | 2003-07-21 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 35 Feet - 5 | 29.4147 | -96.3869 | Wind Damage | Wood | 1978-01-02 | 1978
CORPUS | EL CAMPO | 5745 | 55077705610771 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-05-02 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 29.2087 | -96.2808 | Tree Damage | Wood | 1974-01-02 | 1974
CORPUS | EL CAMPO | 7710 | 55084005609975 | Meets Specifications | Condition Based Inspection (CBI) | 2003-03-25 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 4 | 29.2065 | -96.2789 | Wind Damage | Wood | 1984-01-02 | 1984
CORPUS | EL CAMPO | 5745 | 55115275603561 | External Rot-Butt (More than 1/2 inch) | Butt/External Rot-Butt | 2014-04-17 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 3 | 29.1886 | -96.2695 | Wind Damage | Wood | 1977-01-02 | 1977
CORPUS | WADSWORTH | 7660 | 56197395465996 | Not Older than 10 years | N/A | N/A | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 45 Feet - 4 | 28.8034 | -95.9419 | Wind Damage | Wood | 2024-05-28 | 2024
CORPUS | WADSWORTH | 7660 | 56228265464379 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-12 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7987 | -95.9324 | Wind Damage | Wood | 1965-01-02 | 1965
CORPUS | WADSWORTH | 7660 | 56227915463218 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-12 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 50 Feet - 3 | 28.7955 | -95.9326 | Wind Damage | Wood | 1982-01-02 | 1982
CORPUS | WADSWORTH | 7660 | 56222075460993 | Internal Rot-Butt | Butt & Internal/Internal Rot-Butt | 2018-06-12 | Company Owned AEP TEXAS CENTRAL COMPANY | Broken | 40 Feet - 5 | 28.7895 | -95.9346 | Wind Damage | Wood | 1965-01-02 | 1965