## Data
CAUSE | TOTAL
HURRICANE | 9829
STRONG WIND | 1319
FLLNG TREE IN EASE | 800
TREE CLEARANCE | 649
FLLNG TREE OUT EAS | 636
UNKNOWN | 563
LIGHTNING | 503
FALLING DEAD TREE | 426
TRANSFORMER | 368
CREW-INS/RPR/CHANG | 274
OTHER | 247
CREW-RESTR SVC OTH | 225
SEC COND OR DROPS | 201
OH SEC/DR CL HOT L | 125
CREW-SYS EMERGENCY | 124
OTHER EQUIPMENT | 123
PRIMARY CONDUCTOR | 123
BU DISC OR BARREL | 114
VINES | 96
LIGHTNING ARRESTER | 70
METER EQUIPMENT | 67
ROTTEN POLE | 46
CUST EQP RELATED | 44
OH SEC/DR CL NEUTR | 41
URD XFMR SEC BUS | 35
HUMAN ERROR | 34
OVERLOAD | 33
SQUIRREL | 22
POLE TOP SWITCH | 20
URD DROPS (CUST) | 19
PRIMARY CABLE FAIL | 17
CROSSARM | 13
FOREIGN MATERIAL | 12
O/H PRIMARY CLAMP | 12
RECLOSER | 11
CREW-CUST REQUEST | 11
URD SEC PDSTL TRML | 10
COLLISION | 9
VANDALISM | 8
TERMINATOR | 7
URD ELBOW | 5
TORNADO | 5
RELAY | 5
SLACK SPANS | 5
URD BUSHING | 5
O/H SPLICE | 3
ICE | 3
REGULATOR | 3
SNAKE | 3
INSULATOR | 3
TRANSMISSION | 3
SPLICE | 3
URD DROPS (HL&P) | 2
SECTIONALIZER | 2
SUBSTATION | 2
CONTRACTOR (HL&P) | 1
OTHER CIRCUIT | 1
OTHER WILDLIFE | 1
BIRD | 1
ANTS | 1
FIRE | 1
WORK TAG | 1
3 PHASE UG CABLE | 1