## PUC RFI
Question Number | Question | Beryl | Derecho | a. | Pole Qty | Wood Qty | Wood % | steel qty | steel % | concrete qty | concrete % | b. | wood fail qty | wood fail % | steel fail Qty | steel fail % | concrete fail qty | Concrete fail % | c. | d. | e. | f. | g.
STAFF 1-56 | Identify all feeders on your distribution system affected by Hurricane Beryl or the May 2024 Derecho and provide the following for each identified feeder in MS Excel format: | Affected by Hurricane Beryl | Affected by May 2024 Derecho | a. The quantity and percentage of each installed pole type (e.g., wood, composite, steel, concrete, other) on the feeder before Hurricane Beryl; | Pole Qty | Wood Qty | Wood % | Steel Qty | Steel % | Concrete Qty | Concrete % | b. The quantity and percentage of pole failures, by pole type, due to Hurricane Beryl; | Wood Fail Qty Beryl | Wood Fail % Beryl | Steel Fail Qty Beryl | Steel Fail % Beryl | Concrete Fail Qty Beryl | Concrete Fail % Beryl | c. Beryl-Identify the primary cause of failure for each pole type on the feeder (e.g., trees, branches, wind, or other); | d. Beryl-Identify the primary point of failure of the poles (e.g., crossarm failure, pole leaning, pole break, or other); | e. NESC construction strength and overload factors the feeder is currently built to; | f. Identify which feeders are in your plans to rebuild to a higher wind loading standard; and | g. Provide an estimate for when identified rebuilds will commence.
| BU50 | N | Y |  | 0 |  | 0% |  | 0% |  | 0% |  |  | 0% |  | 0% |  | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| CE20 | N | Y |  | 0 |  | 0% |  | 0% |  | 0% |  |  | 0% |  | 0% |  | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| CH10 | Y | N | See columns to right | 1285 | 1017 | 79.14% | 262 | 20.39% | 6 | 0.4669% | (1) Wood | 1 | 0.09833% | 0 | 0% | 0 | 0% | Wind and trees | (1) Break | Required Construction Standards Based on the Location of the Installation | NA | NA
| CH30 | Y | N | See columns to right | 4195 | 4028 | 96.02% | 167 | 3.981% | 0 | 0% | See columns to right | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| CH50 | Y | N | See columns to right | 2757 | 2625 | 95.21% | 132 | 4.788% | 0 | 0% | See columns to right | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| GB30 | Y | Y | See columns to right | 1471 | 1439 | 97.82% | 32 | 2.175% | 0 | 0% | See columns to right | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| GB40 | Y | N | See columns to right | 2151 | 2120 | 98.56% | 31 | 1.441% | 0 | 0% | (1) Wood | 1 | 0.04717% | 0 | 0% | 0 | 0% | Wind and trees | (1) Break | Required Construction Standards Based on the Location of the Installation | NA | NA
| GB90 | N | Y | See columns to right | 257 | 229 | 89.11% | 28 | 10.89% | 0 | 0% |  | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| GD90 | Y | Y | See columns to right | 2559 | 2527 | 98.75% | 31 | 1.211% | 1 | 0.03908% | See columns to right | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| LW110 | Y | N | See columns to right | 4781 | 4660 | 97.47% | 121 | 2.531% | 0 | 0% | See columns to right | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| LX30 | N | Y |  | 0 |  | 0% |  | 0% |  | 0% |  |  | 0% |  | 0% |  | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| PG10 | N | Y |  | 0 |  | 0% |  | 0% |  | 0% |  |  | 0% |  | 0% |  | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| PG40 | N | Y | See columns to right | 1715 | 1700 | 99.13% | 10 | 0.5831% | 5 | 0.2915% |  | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| PG50 | N | Y | See columns to right | 3670 | 3653 | 99.54% | 16 | 0.436% | 1 | 0.02725% |  | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| PS60 | Y | N | See columns to right | 1384 | 1291 | 93.28% | 93 | 6.72% | 0 | 0% | (1) Wood | 1 | 0.07746% | 0 | 0% | 0 | 0% | Wind and trees | (1) Break | Required Construction Standards Based on the Location of the Installation | NA | NA
| SW50 | Y | N | See columns to right | 2912 | 2863 | 98.32% | 49 | 1.683% | 0 | 0% | See columns to right | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| WE40 | Y | N | See columns to right | 1846 | 1817 | 98.43% | 29 | 1.571% | 0 | 0% | See columns to right | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| WE50 | N | Y | See columns to right | 2147 | 2063 | 96.09% | 84 | 3.912% | 0 | 0% |  | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| ZK30 | N | Y | See columns to right | 1625 | 1612 | 99.2% | 13 | 0.8% | 0 | 0% |  | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| ZK40 | Y | Y | See columns to right | 4434 | 4249 | 95.83% | 185 | 4.172% | 0 | 0% | See columns to right | 0 | 0% | 0 | 0% | 0 | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| ZK50 | N | Y |  | 0 |  | 0% |  | 0% |  | 0% |  |  | 0% |  | 0% |  | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
| ZK70 | N | Y |  | 0 |  | 0% |  | 0% |  | 0% |  |  | 0% |  | 0% |  | 0% |  |  | Required Construction Standards Based on the Location of the Installation | NA | NA
0