## Sheet1
System Summer Capacity Need (Texas Position**)
Line # | Description | 2026 | 2027 | 2028 | 2029 | 2030
1 | Current Accredited Capacity (MW) | 5038 | 5023.7486 | 4692.6964 | 3492.1125 | 3476.7867
2 | Coincident Peak Demand Total (MW) (Summer 2024 Planning Forecast***) | -4826 | -5683.4481 | -6152.3298 | -6224.954 | -6324.849
3 | Interruptible Load (MW) | 24.2627 | 23.791 | 23.706 | 23.6229 | 23.5422
4 | Firm Load Obligation (MW) (Line 2+ Line 3) | -4801.7373 | -5659.6571 | -6128.6238 | -6201.3311 | -6301.3068
5 | Planning Reserve Margin (MW) (Line 4 multiplied by SPP Seasonal PRM) | -225.2015 | -265.4379 | -287.4325 | -290.8424 | -295.5313
6 | Capacity Need (MW) (Line 4 + Line 5) | -5026.9388 | -5925.0951 | -6416.0563 | -6492.1735 | -6596.8381
7 | Capacity Surplus or Shortfall (Line 1 + Line 6) | 11.0612 | -901.3465 | -1723.3599 | -3000.061 | -3120.0514
System Summer Capacity Need (New Mexico Position****)
Line # | Description | 2026 | 2027 | 2028 | 2029 | 2030
1 | Current Accredited Capacity (MW) | 5174 | 5154.7826 | 4819.5805 | 3612.6585 | 3590.2888
2 | Coincident Peak Demand Total (MW) (Summer 2024 Planning Forecast***) | -4826 | -5683.4481 | -6152.3298 | -6224.954 | -6324.849
3 | Interruptible Load (MW) | 24.2627 | 23.791 | 23.706 | 23.6229 | 23.5422
4 | Firm Load Obligation (MW) (Line 2+ Line 3) | -4801.7373 | -5659.6571 | -6128.6238 | -6201.3311 | -6301.3068
5 | Planning Reserve Margin (MW) (Line 4 multiplied by SPP Seasonal PRM) | -225.2015 | -265.4379 | -287.4325 | -290.8424 | -295.5313
6 | Capacity Need (MW) (Line 4 + Line 5) | -5026.9388 | -5925.0951 | -6416.0563 | -6492.1735 | -6596.8381
7 | Capacity Surplus or Shortfall (Line 1 + Line 6) | 147.0612 | -770.3125 | -1596.4758 | -2879.515 | -3006.5493
System Winter Capacity Need (Texas Position**)
Line # | Description | 2026 | 2027 | 2028 | 2029 | 2030
1 | Current Accredited Capacity (MW) | 5033 | 4945.8128 | 4597.386 | 3427.4607 | 3404.8854
2 | Coincident Peak Demand Total (MW) (Summer 2024 Planning Forecast***) | -4189 | -4797.7049 | -5519.4065 | -5648.9201 | -5748.1636
3 | Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
4 | Firm Load Obligation (MW) (Line 2+ Line 3) | -4189 | -4797.7049 | -5519.4065 | -5648.9201 | -5748.1636
5 | Planning Reserve Margin (MW) (Line 4 multiplied by SPP Seasonal PRM) | -640.917 | -734.0489 | -844.4692 | -864.2848 | -879.469
6 | Capacity Need (MW) (Line 4 + Line 5) | -4829.917 | -5531.7538 | -6363.8757 | -6513.2049 | -6627.6326
7 | Capacity Surplus or Shortfall (Line 1 + Line 6) | 203.083 | -585.9409 | -1766.4897 | -3085.7442 | -3222.7472
System Winter Capacity Need (New Mexico Position****)
Line # | Description | 2026 | 2027 | 2028 | 2029 | 2030
1 | Current Accredited Capacity (MW) | 5076 | 4989.0281 | 4637.4659 | 3464.0006 | 3437.8853
2 | Coincident Peak Demand Total (MW) (Summer 2024 Planning Forecast***) | -4189 | -4797.7049 | -5519.4065 | -5648.9201 | -5748.1636
3 | Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
4 | Firm Load Obligation (MW) (Line 2+ Line 3) | -4189 | -4797.7049 | -5519.4065 | -5648.9201 | -5748.1636
5 | Planning Reserve Margin (MW) (Line 4 multiplied by SPP Seasonal PRM) | -640.917 | -734.0489 | -844.4692 | -864.2848 | -879.469
6 | Capacity Need (MW) (Line 4 + Line 5) | -4829.917 | -5531.7538 | -6363.8757 | -6513.2049 | -6627.6326
7 | Capacity Surplus or Shortfall (Line 1 + Line 6) | 246.083 | -542.7256 | -1726.4098 | -3049.2043 | -3189.7473
*All tables assume full approval from all resources in TX PPA 55849, NM PPA 23-00384-UT, NM CCN 23-00252-UT and TX CCN 55255 (except for Cunningham 1 battery in 55255 which was denied), respectively. All tables assume a change in planning reserve margin ("PRM") from the Southwest Power Pool from 15% PRM in Summer to 16% in 2026 and the introduction of a 36% PRM in Winter. In addition to PRM changes in 2026, the adoption of ELCC for wind, solar, and storage resources for accreditation is assumed, as well as performance based accreditation ("PBA") for thermal units. At the date these tables were generated, the PBA adjusted seasonal PRMs shifts to 4.69% and 15.3%, respectively. Adjustments to PBA and ELCC projections are subject to change pending further information from the Southwest Power Pool.
**In addition to the removal of Cunningham 1 battery mentioned above. The Texas Position does not include the solar resources of SunEdison, Chaves, and Roswell.
***Summer 2024 Planning Forecast obtained from New Mexico Filing 23-00073-UT Document Number 1235085 Appendix D - 2024v2.0Planning Updated.pdf, Table D-2:Forcasted Annual Sales of Energy and Coincident Peak Demand by Customer Class.
****New Mexico Positions Line 7 match the currently issued 2024 SPS All-Source RFP.