# INDEX TO THE DIRECT TESTIMONY

# OF COLER D. SNELLEMAN, WITNESS FOR

# ONCOR ELECTRIC DELIVERY COMPANY LLC

I. POSITION AND QUALIFICATIONS	2

II. PURPOSE OF DIRECT TESTIMONY	3

III. INVESTMENTS IN METERS	3

IV. INVESTMENTS IN DISTRIBUTION TRANSFORMERS, REGULATORS, AND CAPACITORS	8

V. INVESTMENTS IN CAPITAL SPARE SUBSTATION TRANSFORMERS AND MOBILE SUBSTATION EQUIPMENT	13

VI. INVESTMENTS IN SUBSTATION LAND PURCHASES	16

VII. SUMMARY AND CONCLUSION	20

VIII. AFFIDAVIT	21

# DIRECT TESTIMONY OF COLER D. SNELLEMAN

# POSITION AND QUALIFICATIONS

Q.	PLEASE STATE YOUR NAME, CURRENT EMPLOYMENT POSITION, AND BUSINESS ADDRESS.

A.	My name is Coler D. Snelleman.  I am employed by Oncor Electric Delivery Company LLC (“Oncor” or “Company”).  I hold the position of Senior Director of Transmission and Distribution Supply Chain.  My business address is 777 Main Street, Fort Worth, Texas.

Q.	PLEASE DESCRIBE YOUR EDUCATIONAL BACKGROUND AND PROFESSIONAL EXPERIENCE.

A.     I graduated with a bachelor’s degree in Economics from the United States Military Academy at West Point, New York in 1998.  From there, I went on to obtain a master’s degree in Engineering Management from Southern Methodist University in Dallas, Texas in 2001.  After receiving my master’s degree, I spent fifteen years working in a variety of manufacturing and sourcing roles within the supply chain organization at General Mills, including in plant leadership and in business operations at the company’s global headquarters in Minneapolis, Minnesota.  From 2014 to 2018, I was the head of General Mills’ sourcing organization for all of the Latin American region.  I joined Oncor on August 13, 2018.

Q.	WHAT HAVE YOUR RESPONSIBILITIES BEEN WITH ONCOR AS THEY RELATE TO ITS APPLICATION TO AMEND ITS DISTRIBUTION COST RECOVERY FACTOR (“DCRF”)?

A.	I am responsible for purchasing all materials and services relating to the supply chain for Oncor’s transmission and distribution systems.

Q.	HAVE YOU PREVIOUSLY SUBMITTED TESTIMONY BEFORE THE PUBLIC UTILITY COMMISSION OF TEXAS (“COMMISSION”)?

A.	Yes.  I presented pre-filed testimony in Docket No. 51100 on behalf of the City of Lubbock, acting by and through Lubbock Power & Light.  I also submitted testimony in Docket No. 55190, 55525, and 56306 on behalf of Oncor.

# PURPOSE OF DIRECT TESTIMONY

Q.	WHAT IS THE PURPOSE OF YOUR DIRECT TESTIMONY?

A.	The purpose of my direct testimony is to support Oncor’s application to amend its DCRF by addressing Oncor’s investments, including working reserves, in meters and meter-related hardware and distribution transformers, regulators, and capacitors.  I describe the details regarding Oncor’s utilization of these assets, the operational reasons why Oncor must periodically replace them and, for those reasons, why it is critical for the Company to maintain a working reserve in order to provide adequate and uninterrupted service to its customers.  I also explain that the associated investment is used and useful and ensures the reliability and overall service quality of Oncor’s distribution system.  I discuss Oncor’s need for capital spare substation transformers and mobile substation equipment and the reasons why these assets are appropriately included for recovery in this proceeding.  In addition, my testimony discusses Oncor’s need to purchase land for substations and the reasons why Oncor’s substation land should be included for recovery in this proceeding.

Please see the direct testimony of Company witness Mr. W. Alan Ledbetter for the appropriate regulatory accounting treatment of these assets.

My direct testimony, sponsored schedules, and workpapers were prepared by me or under my direction, supervision or control, and are true and correct.  I will address each topic in the same order reflected in the above listing.

# INVESTMENTS IN METERS

Q.	WHAT PROCESS DOES ONCOR USE TO DETERMINE HOW MANY METERS IT NEEDS TO PURCHASE EACH YEAR?

A.	Each year, Oncor conducts a detailed review of the growth experienced within its service territory, the number and type of meters that have failed over the course of the year, and any other unique circumstances that may impact Oncor’s meter requirements.  As part of Oncor’s detailed annual review, Oncor determines the number and type of meters it will need to keep on hand across its service territory where active meters are installed. Oncor also determines the number and type of meters needed to properly stock the approximately 800 measurement and distribution field resources responsible for installing meters across Oncor’s service territory.  These meter needs are monitored throughout the year, and purchases are adjusted as needed.  This strategy allows Oncor to promptly respond to customers’ service needs and comply with its tariff requirements.

Q.	PLEASE EXPLAIN HOW GROWTH INFLUENCES ONCOR’S METER PURCHASING NEEDS.

A.	Oncor continues to experience significant load and premise growth in parts of its service territory.  The Company added, on average, 71,258 new electricity distribution points of delivery over each the past four years (June 2020 through June 2024).  In the twelve months ended June 2024, Oncor added 74,200 new electricity distribution points of delivery.  Currently, Oncor is projecting that it will add approximately 75,000 new electricity distribution points of delivery in calendar year 2024.  As of the end of June 2024, the five-year compound annual growth rate for Oncor’s customers was 1.9%.  As Oncor continues to serve new premises, it must purchase and install new meters at those new locations and maintain a reserve of meters should one or more need to be replaced.

Q.	WHAT ACTION DOES ONCOR TAKE WHEN A METER FAILURE OCCURS?

A.	Oncor’s meters continually perform a self-diagnostic health check.  As part of this process, each meter is programmed to send event and/or alarm notifications to the Company that identify any issue with the meter’s ability to function properly.  When event or alarm notifications indicating a failure are received from a meter, Oncor replaces the existing meter as soon as practical.  Examples of these events or alarms include those for when a meter clock is out of sync, a meter’s non-volatile memory is corrupted, or when a meter has a communication failure.  Meters may also need to be replaced by Oncor as a result of a failure to accept firmware upgrades that are pushed over Oncor’s communication network to the meter.

Q.	ARE THERE ANY OTHER REASONS THAT ONCOR MAY NEED TO REPLACE A METER?

A.	Yes.  There are other reasons for replacing meters such as customer tampering, which is an issue that has been recognized by the Commission and addressed with specific rules.  Also, weather-related impacts or vandalism may cause Oncor to replace a meter to ensure continuity and accurate measurement of electric service to the customer.

Additionally, meters may be replaced due to equipment either being missing, stolen, damaged, or not fully functioning due to a component failure.  A non-functioning meter is removed from service and returned to the manufacturer which, depending on failure type, may be able to upgrade the meter with a new circuit board, after which time Oncor can re-install the meter at a customer’s premise.  The newly installed circuit boards are equipped with more memory and a faster processor, resulting in an advanced metering system meter with the latest functionality.

Q.	DOES ONCOR REPLACE METERS IN A TIMELY MANNER?

A.	Yes, it is Oncor’s standard practice to take prompt action on all meter replacements.  Oncor’s customers and market participants expect accurate metering for billing.  In fact, under Sections 4.7.2 and 4.7.2.2 of Oncor’s Tariff for Retail Delivery Service, the Company is precluded from   performing estimated meter reads for more than three consecutive months before performing an actual meter read, except in cases where the retail customer has failed to provide access to the meter.

Q.	DOES ONCOR ORDER METERS IN ADVANCE OF INSTALLATION AND ENERGIZATION?

A.	Yes.  Oncor maintains a working reserve of meters to ensure customer and market participant requirements are met given variable manufacturing lead times, customer-service dates, and replacement needs.  Typical lead times to obtain meters from the manufacturer are approximately 24 weeks.  If specialty meter items are required, the lead time can be even longer. Another factor that impacts meter lead times is manufacturer plant closings at the end of each year for the holidays.  Other factors such as customer timelines can also impact the number of meters Oncor maintains in working reserves at a given time.  For example, there are high-rise apartment development projects within Oncor’s service territory for which the currently expected due dates for service can extend six months to a year beyond the deadline originally anticipated due to factors impacting the customer’s project that are nearly all outside of Oncor’s control.  Oncor orders meters and holds them for the project based on the original anticipated customer-service date, without knowing whether (or for how long) the date may be extended due to customer circumstances.

Q.	DOES ONCOR IMMEDIATELY INSTALL METERS WHEN THEY ARE RECEIVED FROM THE MANUFACTURER?

A.	No.  Once meters are received from the manufacturer at the Company’s centralized systems operating center, the devices must be added to the Company’s meter management system and sample tests conducted before making the units available for installation, which typically takes less than a week.  The meters are then deployed to the service centers and field resources described above.  Each service center has an established target minimum and maximum reserve level necessary to provide timely service to customers based upon historical and projected meter needs.

Q.	DO METERS AND METER-RELATED HARDWARE HELD IN RESERVE HAVE TO BE INSTALLED OR ENERGIZED TO BE CONSIDERED TO BE “IN SERVICE”?

A.	No, they do not.  From an operational perspective, the units held in reserve at any time during the 30 month period ending June 30, 2024 (the DCRF update period in this proceeding) are part and parcel of Oncor’s day-to-day service to the public.  Using meters as an example, it would not be feasible from a reliability or customer service perspective for Oncor to purchase only the exact number and type of meters it needs to install and energize immediately upon receipt from the manufacturer.  Rather, Oncor must purchase meters to be kept on hand in order to adequately provide electric service.  The meters and meter-related hardware that Oncor purchases and provides to its service center storerooms and to its field resource teams are critical to ensuring that Oncor keeps electricity flowing to all customer premises as well as ensuring all consumption is captured and properly accounted for in the Electric Reliability Council of Texas market in a timely manner.  For all these reasons, Oncor’s meter investments, whether energized or held in reserve, were placed in service during the DCRF update period to provide timely and reliable service to customers.

Q.	ARE ONCOR’S METER INVESTMENTS THAT WERE HELD IN RESERVE AS OF THE END OF THE DCRF UPDATE PERIOD USED AND USEFUL IN THE COMPANY’S PROVISION OF ELECTRIC SERVICE?

A.	Yes. Given the lead time needed for purchasing meters from the manufacturer and the need to have meters on hand for the purposes described above, having additional meters in reserve, on a day-to-day basis, was and is essential to Oncor’s provision of electric service.  The reliability and overall service quality of Oncor’s distribution system would be impaired if Oncor purchased only the exact number of meters it expects to install and energize at any particular point in time. By purchasing and keeping adequate working reserves of meters and meter-related hardware to address unanticipated meter failures, outages, weather-related damage, or new customer installations in the near-term, Oncor was and is able to provide adequate and continuous service to the public and, therefore, the associated investment is used and useful.

# INVESTMENTS IN DISTRIBUTION TRANSFORMERS, REGULATORS, AND CAPACITORS

Q.	DOES ONCOR INCLUDE AS PART OF ITS NET DISTRIBUTION INVESTED CAPITAL CERTAIN COSTS SPENT ON ACQUIRING DISTRIBUTION ASSETS THAT ARE NOT YET ENERGIZED, BUT HELD IN RESERVE?   PLEASE EXPLAIN.

A.	Yes.  As I detail further below, and similar to the meter discussion above, from a customer service and reliability perspective, Oncor must purchase in advance certain long-lead-time distribution assets (such as transformers, including regulators or regulating transformers, and capacitors), some of which must be held in reserve.  For example, the lead times for distribution transformers vary, by style, from 12 to 40 weeks from the time that Oncor orders a transformer until the transformer is received from the manufacturer.  The lead time in any particular case will be dependent upon manufacturing capacity and availability of raw materials and specific components required to build the transformer at the specified voltage, rating, and configuration requested.

Having transformers available for installation is imperative to Oncor’s ability to provide reliable service with minimal interruption to electric customers.  Given the cost and the lead time for this type of distribution asset, as well as the large variability in types of transformers on Oncor’s system, it is not feasible from either an operational perspective or a reliability perspective for Oncor to wait to purchase the asset until Oncor has an immediate need to install and energize it; doing so would significantly prolong new customer installation and impair Oncor’s ability to respond to unexpected, emergency needs as they arise.

For these reasons, Oncor maintains a working reserve supply of distribution transformers.  Thus far in 2024, Oncor has purchased approximately 32,000 transformer units, and approximately 8,700 of those transformer units were installed in that time period.  In total, including units purchased prior to 2024, a total of approximately 19,100 transformer units were installed during the six months ending June 30, 2024.  The Company held the remainder in reserve to meet emergency and customer needs.  On average, in the last twelve months Oncor installed approximately 113 distribution transformers a day.  This number could be substantially higher during storms and other times when the need for replacements on the system is high.  As I explain further below, all of these assets, whether energized or held in working reserve, were in service from an operational perspective and used and useful in connection with Oncor’s service to the public.

Q.	IN ADDITION TO DISTRIBUTION TRANSFORMERS, ARE THERE OTHER TYPES OF DISTRIBUTION ASSETS WITH LONG LEAD TIMES?

A.	Yes, the average lead time for capacitors exceeds the lead time for some transformers.  Currently, the lead time for capacitors is roughly 20-23 weeks.  In the last 6 months, Oncor purchased approximately 1,950 capacitor units.  Oncor also installed 768 capacitors during this same period.  As with transformers, for these types of long-lead-time assets for which Oncor is currently waiting approximately 20-23 weeks to receive in hand, Oncor cannot wait to purchase the assets until there is an immediate need to install and energize them.  Instead, it is essential that Oncor maintain a working reserve quantity to meet unexpected failures or emergency needs in order to maintain system power quality.

Q.	HOW DOES ONCOR’S PRACTICE OF MAINTAINING A WORKING RESERVE OF DISTRIBUTION TRANSFORMERS AND CAPACITORS IMPACT CUSTOMER RELIABILITY?

A.	Oncor’s system is home to a large number of distribution transformers, regulators, and capacitors.  Failures of these types of distribution equipment occur for many reasons but are often increased during storms and extreme weather events.  By maintaining an adequate working reserve of this equipment, Oncor is able to both serve new customers in a timely fashion and quickly address equipment failures sustained during storms or extreme weather.  As a result, the Company reduces delays in fulfillment of new service requests and shortens the duration of customer outages in order to maintain the safe and reliable operation of the system.

Q.	HOW DOES ONCOR’S PRACTICE OF MAINTAINING A WORKING RESERVE OF DISTRIBUTION TRANSFORMERS AND CAPACITORS IMPACT ONCOR’S ABILITY TO SERVE NEW CUSTOMERS?

A.	Oncor continues to experience load and customer growth within its service territory.  By purchasing certain quantities of these distribution assets in advance and holding them in working reserve, Oncor is able to ensure that an adequate supply is readily available to satisfy new customer growth as it arises, rather than having to wait weeks or months to receive the assets from the manufacturer.

Q.	HOW DOES ONCOR DETERMINE THE APPROPRIATE QUANTITIES OF DISTRIBUTION TRANSFORMERS THAT IT NEEDS TO MAINTAIN IN WORKING RESERVE?

A.	There are approximately 1,300 unique styles of distribution transformers on Oncor’s distribution system.  However, to minimize the amount of working reserve needed, Oncor currently uses approximately 500 unique transformer styles specifically designed to serve as compatible working reserve to back stand all transformer styles in the event of equipment failure, as well as to provide service to new customers.  In any given year, 40% to 60% of Oncor’s total demand for transformers is reactive in nature and varies based on style of the transformer and seasonal adverse weather conditions.  To provide for the possibility of a significant increase in demand due to weather, working reserve target levels are increased for the summer and winter seasons and then reduced during the spring and fall.  In addition to the unpredictable Texas weather, Oncor must also consider national demand and account for limited production capacity of the four major distribution transformer manufacturers in North America to respond immediately to a national weather demand event.

In addition, Oncor has to ensure adequate working reserves are available at all of its field service centers.  Field service center stock levels are maintained based on open or pending construction projects, historical and seasonal reactive demand, and the number of similar units installed within a given service area.  Oncor may assign additional units to a particular field service center based on its distance from the central warehouse as well as supply replenishment shipping schedules.  Working reserve at the field service centers are based on one week of historical reactive demand for single-phase transformers in addition to all transformers required for pending open projects within two weeks of each project’s scheduled construction start date.  Oncor resupplies the field service centers weekly from the equipment central warehouse.  As with the central warehouse reserve levels, the Company seasonally adjusts reserve levels at the field service centers based on the higher probability of significant weather events during the summer and winter seasons.

Q.	DOES ONCOR TAKE ANY STEPS TO MODERATE ITS WORKING RESERVE LEVELS?

A.	Yes.  The Company minimizes the working reserve at the central warehouse by leveraging the use of vendor-owned inventory that annually represents approximately 7% of anticipated system needs and up to 14% during heightened seasonal demand. In addition, Oncor administers an equipment refurbishment and repair program that supplies approximately 10% of Oncor’s annual demand.  Oncor designs the working reserve at the central warehouse to provide sufficient replenishment to the field service locations weekly and provide for heightened seasonal demands during the summer and winter seasons. The Company has established the central warehouse standard target working reserve at one to two weeks’ demand to provide for unplanned manufacturing and shipping delays.  Seasonally, this buffer is increased by one to two weeks during the summer and winter seasons.  If a heightened demand is not experienced, then Oncor utilizes the elevated reserve stock during the spring and fall seasons.  In addition to maintaining working reserves at field locations, the central warehouse also maintains the primary working reserve for three-phase transformers, regulating transformers, and specialized transformers, such as large distribution auto transformers, as well as distribution network and underground vault transformers.  We centralize these higher value units to reduce overall cost, and they are only supplied to the field service locations for scheduled upcoming projects, for reactive demand, or for holding in a working reserve status to back stand critical customer installations such as hospitals and first responders.

Q.	HOW DOES ONCOR DETERMINE THE APPROPRIATE QUANTITIES OF CAPACITORS THAT IT NEEDS TO MAINTAIN IN WORKING RESERVE?

A.	For the majority of Oncor’s capacitor needs, Oncor determines its working reserve requirements based on annually planned power factor correction and system improvement project requirements, as well as historically projected quantities needed to serve new customers and to meet reactive capacitor demand.  For all approved, planned projects, the Company orders capacitors for a first quarter delivery date in order to provide adequate time for installation before summer peak demand.  For serving new customers and meeting reactive capacitor requirements, monthly forecasts are provided to the manufacturer in order to reduce lead times.  Oncor typically maintains eight to twelve weeks’ demand of capacitor products at its central warehouse to provide for maintenance and reactive demand throughout the year.  Oncor replenishes field service centers through the central warehouse as needed to maintain existing capacitor requirements in their respective service areas.

Q.	ARE ONCOR’S INVESTMENTS IN DISTRIBUTION TRANSFORMERS AND CAPACITORS HELD IN WORKING RESERVE FOR THE FIRST SIX MONTHS OF 2024 USED AND USEFUL IN THE COMPANY’S PROVISION OF ELECTRIC SERVICE?

A.	Yes, for all the reasons discussed above, these assets are essential to Oncor being able to provide adequate and continuous service to the public and, therefore, the associated investment is used and useful.

# INVESTMENTS IN CAPITAL SPARE SUBSTATION TRANSFORMERS AND MOBILE SUBSTATION EQUIPMENT

Q.	DOES ONCOR INCLUDE IN ITS NET DISTRIBUTION INVESTMENT THE COSTS OF “SPARE” SUBSTATION POWER TRANSFORMERS?

A.	Yes.  Substation power transformers are large, high-cost assets with long-lead purchase times.  The average lead time for Oncor to purchase a substation spare transformer ranges from 40 to 52 weeks.  Therefore, Oncor must maintain a fleet of spare transformers at all times in order to supply emergency needs that may arise.

Q.	HOW DOES ONCOR’S PRACTICE OF MAINTAINING A WORKING RESERVE OF CAPITAL SPARE SUBSTATION TRANSFORMERS IMPACT CUSTOMER RELIABILITY?

A.	At the 30 months ending June 30, 2024, there were approximately 1,790 distribution substation power transformers in-service throughout Oncor’s system.  By maintaining a fleet of capital spare substation transformers, Oncor is able to provide continuous operations during times of equipment failure or loss of the use of the substation transformers on the Oncor system.  Through the use of its capital spare substation transformers, Oncor is also able to relieve installed mobile substations so that they can be used for the minimum duration possible and can be made available for the next emergency that may arise.  By maintaining an adequate working reserve of this equipment, Oncor is able to quickly address equipment failures, thereby reducing customer outage durations and ensuring the reliable operation of the system.

Q.	ARE ALL SUBSTATION POWER TRANSFORMERS THE SAME?

A.	No.  There are many different types of transformers utilized across the Oncor system with various winding configurations, high-side voltages, low-side voltages, and Mega Volt Amp or “MVA” ratings.

Q.	IS IT CONSIDERED GOOD UTILITY PRACTICE TO MAINTAIN CAPITAL SPARE SUBSTATION POWER TRANSFORMERS?

A.	Yes, it is.

Q.	HOW MANY CAPITAL SPARE SUBSTATION POWER TRANSFORMERS DOES ONCOR CURRENTLY HAVE?

A.	As of June 30, 2024, Oncor has 103 capital spare transformers.

Q.	HOW DOES ONCOR DETERMINE THE REQUIRED NUMBER OF CAPITAL SPARE SUBSTATION POWER TRANSFORMERS IT NEEDS TO PURCHASE IN A GIVEN YEAR?

A.	Oncor bases this determination on the characteristics of its existing substation power transformer fleet (taking into consideration voltages and winding configurations), transformer failure rates, the average life span of transformers, and manufacturing lead times.  Oncor continuously monitors and actively manages its level of capital spare transformers to ensure availability of these critical assets.  Oncor procures additional capital spares as its current units are consumed or as equipment failure rates or manufacturing lead times fluctuate.

Q.	ARE SUBSTATION POWER TRANSFORMERS PERIODICALLY REPLACED ACCORDING TO A CERTAIN TIME SCHEDULE?

A.	No.  The Company does not replace substation power transformers on a set schedule.  Instead, Oncor replaces them when required due to increased loading, system changes, or failures.

Q.	WHAT ARE ONCOR’S SOURCES FOR OBTAINING CAPITAL SPARE SUBSTATION POWER TRANSFORMERS?

A.	Oncor purchases new substation power transformers to be kept as capital spare units from the manufacturer.  Additionally, used transformers that are being replaced on Oncor’s system due to various reasons (such as the need for a higher rating or system changes) may be retained by Oncor to be used as capital spare units.

Q.	ARE ONCOR’S INVESTMENTS IN CAPITAL SPARE SUBSTATION POWER TRANSFORMERS AS OF THE 30 MONTHS ENDING JUNE 30, 2024 USED AND USEFUL IN THE COMPANY’S PROVISION OF ELECTRIC SERVICE?

A.	Yes, for all the reasons discussed above, having capital spare substation power transformers on hand was essential to Oncor being able to provide adequate and continuous service to the public and, therefore, the associated investment is used and useful.

Q.	DOES ONCOR INCLUDE IN ITS NET DISTRIBUTION INVESTMENT THE COSTS OF MOBILE SUBSTATION EQUIPMENT?

A.	Yes.  Because substation power transformers are large, high-cost assets with long-lead purchase times, Oncor must maintain mobile substation transformers and associated equipment to respond to emergency needs of the system.  Mobile transformers are not permanent parts of the system, but they play a vital role in maintaining the reliability of the system.  The availability of mobile transformers and related equipment enables Oncor to quickly restore distribution service when there is equipment failure, when there are forced outages for repairs, or in emergency situations due to natural disasters or storm response.  When mobile transformers and equipment are used to restore electrical service, they function as part of the grid system and allow for the system to be reliably served during emergency events or critical outage situations.

Q.	IS IT CONSIDERED GOOD UTILITY PRACTICE TO MAINTAIN MOBILE SUBSTATION EQUIPMENT?

A.	Yes, it is.

Q.	ARE ONCOR’S INVESTMENTS IN MOBILE SUBSTATION EQUIPMENT AS OF THE 30 MONTHS ENDING JUNE 30, 2024 USED AND USEFUL IN THE COMPANY’S PROVISION OF ELECTRIC SERVICE?

A.	Yes, for all the reasons discussed above, having mobile transformers and associated equipment on hand was essential to Oncor being able to provide adequate and continuous service to the public and, therefore, the associated investment is used and useful.

# INVESTMENTS IN SUBSTATION LAND PURCHASES

Q.	HAS ONCOR INCLUDED AS PART OF ITS NET DISTRIBUTION INVESTED CAPITAL THE COSTS OF LAND PURCHASES RELATED TO SUBSTATION CONSTRUCTION FOR SUBSTATIONS THAT WERE NOT ENERGIZED DURING THE DCRF UPDATE PERIOD?

A.	Yes.  As with the working reserve meters, transformers, regulators, and capacitors discussed in my testimony above, there are operational and reliability reasons why Oncor must purchase land for substations in advance, even if the substations on the land may not be immediately built and energized.  Population or industry growth commonly drive the need for substations.  Oncor must, therefore, be strategic in its planning and preparing for needed substations by acquiring property in areas where land acquisition or other development would preclude later purchase of real estate for substation purposes.  This need to acquire property ahead of time continues to intensify given the current state of the real estate market in many areas within Texas, as demand and prices continue to increase while supply has not.  Moreover, the quick pace of development in this state increases the risk that structures will be placed on land that could otherwise be suitable for a substation before Oncor is able to acquire it, making it more difficult to acquire the land through negotiation and/or condemnation.  Once the proper location for a substation is determined, Oncor needs to be able to begin the process of purchasing the land because (1) real estate purchases and permitting take a considerable amount of time, (2) expanded development can eliminate Oncor’s ability to acquire suitable property, and (3) properties must meet certain physical requirements to be eligible for substation placement.

Q.	ONCE ONCOR PLANS A NEW SUBSTATION, HOW LONG DOES IT TYPICALLY TAKE ONCOR TO ACQUIRE THE LAND FOR THE SUBSTATION?

A.	The length of time it takes to acquire land for a substation varies based on the land’s location, size, and ownership, as well as the applicable permitting requirements.  Typically, this process takes between 18 and 24 months.  For all substation land purchase projects included in this DCRF, construction has either (i) already commenced, or (ii) is currently on track to commence within 24 months from the land purchase date.  Even before beginning the land acquisition process, however, Oncor attempts to work proactively with the relevant cities and landowners to identify the appropriate location for the substation. Additionally, if a transmission line extension is required, then additional land rights or landowner consent and an amendment to Oncor’s certificate of convenience and necessity may be required.

Q.	ARE THERE BENEFITS TO ACQUIRING SUBSTATION LAND IN ADVANCE OF THE DATE ON WHICH ONCOR PLANS TO START CONSTRUCTION OF THE SUBSTATION?

A.	Yes.  Acquiring the substation land in advance provides Oncor with certainty of land availability so that Oncor can be assured that it will be able to meet customer and reliability needs.  It also affords flexibility in construction timing.  It should be noted, however, that various factors can impact the planned timing for the construction of the substation and the substation energization date, such as issues with identifying suitable sites, zoning, and permitting activities, floodplain mitigation, and timing of load additions.

Q.	CAN JUST ANY PROPERTY BE USED AS A SUBSTATION SITE?

A.	No.  There are numerous physical requirements for substation development that make only a certain few properties compatible with substation construction.  For example, substations generally cannot have sub-surface facilities, so the property must be free of pipelines and other encumbrances or easements.  A new substation property must also be located out of the floodplain and have quality road access for equipment transport and service restoration purposes.  All of these physical requirements demonstrate why Oncor must be able to acquire substation property in advance of construction while the property is still available, rather than waiting until just before starting physical construction.

Q.	ONCE ONCOR ACQUIRES THE SUBSTATION LAND, HOW SOON DOES CONSTRUCTION OF THE SUBSTATION TYPICALLY BEGIN?

A.	While the construction timeline varies among substations, construction of the substation typically begins within 24 months of the substation land acquisition as of today.  During this time, engineering can then be released to begin final design, procure the material and equipment necessary for the project, and initiate the contractor bidding process for the purpose of assigning resources, which then allows internal stakeholders to establish a construction schedule.  Without having first secured and acquired the land, it would not be reasonable to undertake all of these initial steps, given that Oncor would be incurring costs for substation plans uniquely tailored to a specific site when that site may end up being unavailable for acquisition by the time of the planned construction commencement date.

While the typical lead time is up to 24 months before construction begins, construction schedules may occasionally change due to factors such as timing of customer load additions, resource and clearance availability, permitting requirements, supply chain delays, or other system needs.  These factors cannot always be anticipated with certainty at the time the substation land is acquired; instead, these factors may arise a year or more after the land is purchased and can result in unexpected delays in the commencement of construction of (and, consequently, the completion of construction and the energization of) the substation.

Q.	HOW DOES ONCOR DETERMINE WHETHER SUBSTATION LAND SHOULD BE PLACED IN ELECTRIC PLANT IN SERVICE (“EPIS”) OR ELECTRIC PLANT HELD FOR FUTURE USE (“EPHFU”)?

A.	As explained in more detail in Company witness Mr. Ledbetter’s direct testimony, land purchased for the purpose of substation construction is placed into EPIS if substation design, site preparation, and construction of facilities are planned to begin in the near future.  Otherwise, if Oncor does not intend for site design, preparation, and construction to begin until a later date, then the substation land is placed into EPHFU.  This is the same treatment that Oncor applies to easements acquired for transmission line projects. This is also the same treatment that Oncor applied to land purchased for future substation sites in previous DCRF Docket Nos. 55190 and 56306, which the Commission found to be appropriate.

Q.	ARE ONCOR’S SUBSTATION LAND PURCHASES AS OF THE 30 MONTHS ENDING JUNE 30, 2024 USED AND USEFUL IN THE COMPANY’S PROVISION OF ELECTRIC SERVICE?

A.	Yes, for all the reasons discussed above, the land that was purchased for use in the near future was essential to Oncor being able to provide adequate and continuous service to the public and, therefore, the associated investment is used and useful.

# SUMMARY AND CONCLUSION

Q.	PLEASE SUMMARIZE YOUR DIRECT TESTIMONY.

A.	In summary, due to engineering concerns and manufacturing constraints, and in order to provide reliable service to the public, Oncor must purchase in advance certain distribution assets to be held in working reserve so that an adequate supply is available to satisfy new customer growth, to make necessary unit replacements, and to supply emergency needs as they arise.  Due to long-lead purchase times, the potential for significant weather events, and seasonal variations in manufacturer supply and shipping times, Oncor cannot wait to purchase the assets until the moment at which Oncor has an immediate need to install and energize them.  Accordingly, these working reserve assets are used and useful.  For similar reasons, Oncor’s capital spare transformer and mobile substation equipment investments are also necessary, used, and useful.  Additionally, there are operational and reliability reasons why Oncor must purchase land for substations in advance, even if the substations on the land may not be immediately constructed and energized.  For all of these reasons, these investments in Oncor’s net distribution invested capital are eligible for inclusion in this DCRF update.

Q.	DOES THIS CONCLUDE YOUR DIRECT TESTIMONY?

A.	Yes, it does.

# AFFIDAVIT

STATE OF TEXAS		§

§

COUNTY OF DALLAS	§

BEFORE ME, the undersigned authority, on this day personally appeared Coler D. Snelleman, who, having been placed under oath by me, did depose as follows:

My name is Coler D. Snelleman. I am of legal age and a resident of the State of Texas. The Application in this proceeding complies with 16 TAC § 25.243 and Oncor’s tariffs. The Application and the foregoing direct testimony offered by me are true and correct, and the opinions stated therein are, to the best of my knowledge, information, and belief, accurate, true and correct.

______________________________

Coler D. Snelleman

SUBSCRIBED AND SWORN TO BEFORE ME by the said Coler D. Snelleman this ______ day of August, 2024.

______________________________

Notary Public, State of Texas

See Application of Oncor Electric Delivery Company LLC to Amend its Distribution Cost Recovery Factor and Update Mobile Generation Riders, Docket No. 55190, Interim Order at Finding of Fact 56 (Nov. 3, 2023) (stating in part, “Oncor appropriately recorded land purchased for future substation sites as plant in service because design and construction activities were expected to begin within 18 to 24 months of the purchase and are eligible for inclusion under 16 TAC § 25.243(b)(3)….”) ; see also Application of Oncor Electric Delivery Company LLC to Amend its Distribution Cost Recovery Factor and Update Mobile Generation Riders, Docket No. 56306, Interim Order at Finding of Fact 43 (May 16, 2024) (stating in part, “Oncor appropriately recorded land purchased for future substation sites as plant in service because design and construction activities were expected to begin within 18-24 months of the purchase and are eligible for inclusion under 16 TAC § 25.243(b)(3)….”).