## Substation 6 ME 06302023
Oncor Electric Delivery Company LLC
Distribution Cost Recovery Factor
Substation Projects with Additions >$100,000 (Plant Accounts 353, 360, 361, 362, & 374) for Six Months Ending June 30, 2023
Update Period 01/01/2022 - 06/30/2024
Sponsors: W. Alan Ledbetter & Coler D. Snelleman
Project/Project Description/Property Unit Description | DCRF Addition Amount
0PT37811 | 421318.5053
Ferris Install Distribution Au
353 - Station Equipment | 421318.5053
CONDUIT OR DUCT SYSTEM | 12537.9693
HARDENED NETWORK ROUTER | 9093.4749
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 237225.57
Station Communication Equipment | 57591.9754
SUPERVISORY CONTROL EQUIPMENT | 10223.2656
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 94646.25
0PT37840 | 109747.22
HideaWay Lake Install Distribu
361 - Structures and Improvements | 35.7269
GROUNDING SYSTEM | 35.7269
362 - Station Equipment | 109711.4931
CONDUIT OR DUCT SYSTEM | 607.4756
STRUCTURES, 0-60KV | 14369.77
SUPERVISORY CONTROL EQUIPMENT | 8218.8774
SWITCHBOARD PANEL, 1 FEEDER, 0-60KV | 39082.4
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 47432.97
0PT38924 | 101752.5121
Midland Airport Sub Establish
361 - Structures and Improvements | 8.8021
GROUNDING SYSTEM | 8.8021
362 - Station Equipment | 101743.71
BUSS ASSEMBLY - 0 - 60KV | 3250.36
LIGHTNING ARRESTOR 0-60 KV | 12.12
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 78784.99
SWITCH, DISCONNECT, 0-60KV | 19696.24
0PT39289 | 125511.9015
Waxahachie Replace the 228 MV
353 - Station Equipment | 125511.9015
BATTERY CHARGING SET | 11.8686
BUSS ASSEMBLY - 0 - 60KV | 4262.24
CONDUIT OR DUCT SYSTEM | 665.1706
CONTROL CENTER AND ELECTRICAL EQUIP. | 5855.9519
FOUNDATIONS, 0-60KV | 2458.98
FUSE EQUIPMENT 0-60 KV | 16.38
LIGHTNING ARRESTOR 0-69 KV | 16.38
MOTOR OPERATORS, 0-60KV | 16.38
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 3917.98
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 639.32
Station Communication Equipment | 11.8686
STORAGE BATTERY | 190.0425
STRUCTURES, 0-60KV | 3147.5
SUPERVISORY CONTROL EQUIPMENT | 356.3406
SWITCH, AIRBREAK, 0-60KV | 1147.51
SWITCH, DISCONNECT, 0-60KV | 1786.85
SWITCH, VAC INTERRUPTER, 0-60KV | 16.38
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 2934.38
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 2475.37
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 180.31
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 114.74
TRANSFORMER - AUXILIARY AND STATION SERVICE | 11.8686
TRANSFORMER, INSTRUMENT 0-60 KV | 16.38
TRANSFORMER, POWER 138 KV | 95261.71
0PT39309 | 2429888.8266
Sycamore Creek Sub Install t
361 - Structures and Improvements | 476220.8466
ELECTRICAL SYSTEM | 5523.9294
ENVIRONMENTAL PROTECTION EQUIPMENT | 130248.439
GROUNDING SYSTEM | 31108.4394
MASONRY WALL | 26456.7137
OUTDOOR LIGHTING SYSTEM | 20932.7843
YARD IMPROVEMENTS AND SURFACING | 261950.5408
362 - Station Equipment | 1953667.98
BUSHING, 345KV TRANSFORMER | 118901.92
BUSS ASSEMBLY - 0 - 60KV | 377044.24
LIGHTNING ARRESTOR 0-60 KV | 18382.86
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 45370.46
POWER CIRCUIT BREAKER, 2000 AMPERE, 25KV | 97390.05
RELAY SWITCHBOARD 0-60 KV | 52410.71
STRUCTURES, 0-60KV | 335193.89
SWITCH, AIRBREAK, 0-60KV | 16427.23
SWITCH, DISCONNECT, 0-60KV | 295690.3
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 94652.18
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 52410.71
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 52410.71
TRANSFORMER - AUXILIARY AND STATION SERVICE | 1173.37
TRANSFORMER, INSTRUMENT 0-60 KV | 10951.49
TRANSFORMER, POWER 345 KV | 385257.86
0PT40047 | 261782.413
Frankford Road Sub Install Di
362 - Station Equipment | 261782.413
Station Communication Equipment | 59511.763
SWITCHBOARD PANEL, 1 FEEDER, 0-60KV | 129584.54
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 54670.9
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 18015.21
0PT40648 | 307901.0323
Dillon POD Establish 138KV Po
353 - Station Equipment | 307901.0323
BATTERY CHARGING SET | 4201.7271
BUILDING, ELECTRICAL EQUIPMENT | 112449.5704
CONDUIT OR DUCT SYSTEM | 3560.7819
HARDENED NETWORK ROUTER | 5982.118
METERING, 0-69KV | 17774.02
Station Communication Equipment | 13780.2362
STORAGE BATTERY | 14100.7068
SUPERVISORY CONTROL EQUIPMENT | 13637.8074
TRANSFORMER - AUXILIARY AND STATION SERVICE | 59892.3946
TRANSFORMER, INSTRUMENT 0-60 KV | 62521.67
0PT40729 | 108711.0415
Tyler NorthWest Sub Install
353 - Station Equipment | 108711.0415
Station Communication Equipment | 28552.2515
STRUCTURES, 0-60KV | 72123.97
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 8034.82
0PT40959 | 142089.3635
Reindeer Sub Establish Reinde
361 - Structures and Improvements | 74537.7414
ELECTRICAL SYSTEM | 150.2628
ENVIRONMENTAL PROTECTION EQUIPMENT | 10519.3606
FENCE | 2254.1324
GROUNDING SYSTEM | 12848.6429
OUTDOOR LIGHTING SYSTEM | 676.2256
YARD IMPROVEMENTS AND SURFACING | 48089.1171
362 - Station Equipment | 67551.622
BATTERY CHARGING SET | 150.2628
BUSS ASSEMBLY - 0 - 60KV | 732.1
CONTROL CENTER AND ELECTRICAL EQUIP. | 18033.1949
FOUNDATIONS, 0-60KV | 878.53
LIGHTNING ARRESTOR 0-60 KV | 976.15
POWER CIRCUIT BREAKER, 2000 AMPERE, 25KV | 244.02
STRUCTURES, 0-60KV | 10493.81
SUPERVISORY CONTROL EQUIPMENT | 901.6444
SWITCH, AIRBREAK, 0-60KV | 2440.4
SWITCH, DISCONNECT, 0-60KV | 2440.4
SWITCH, MOTOR OPERATOR, 0-60KV | 244.02
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 2928.49
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 2440.4
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 2440.4
TRANSFORMER - AUXILIARY AND STATION SERVICE | 1952.31
TRANSFORMER, INSTRUMENT 0-60 KV | 732.1
TRANSFORMER, POWER 138 KV | 19523.39
0PT41016 | 538699.1775
Duval Sub Remove 69 kV Station
353 - Station Equipment | 538699.1775
BATTERY CHARGING SET | 3608.8552
BUSS ASSEMBLY - 0 - 60KV | 21080.21
CONDUIT OR DUCT SYSTEM | 23776.0864
CONTROL CENTER AND ELECTRICAL EQUIP. | 54062.3135
FOUNDATIONS, 0-60KV | 5874.79
FUSE EQUIPMENT 0-60 KV | 5989.99
HARDENED NETWORK ROUTER | 12383.374
LIGHTNING ARRESTOR 0-69 KV | 5874.79
MOTOR OPERATORS, 0-60KV | 11634.42
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 58172.19
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 11749.6
RELAY SWITCHBOARD 0-60 KV | 3801.33
Station Communication Equipment | 3821.1434
STORAGE BATTERY | 2335.1387
STRUCTURES, 0-60KV | 52988.55
SUPERVISORY CONTROL EQUIPMENT | 14223.1881
SWITCH, AIRBREAK, 0-60KV | 5298.83
SWITCH, DISCONNECT, 0-60KV | 33866.57
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 38128.71
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 27415.79
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 2534.22
TRANSFORMER - AUXILIARY AND STATION SERVICE | 7146.9682
TRANSFORMER, INSTRUMENT 0-60 KV | 5874.79
TRANSFORMER, POWER 138 KV | 127057.33
0PT41041 | 231779.6605
Courtney Creek Pecos Switch Es
353 - Station Equipment | 231779.6605
BATTERY CHARGING SET | 796.4932
BUSS ASSEMBLY - 0 - 60KV | 23994.37
CONDUIT OR DUCT SYSTEM | 12743.8983
CONTROL CENTER AND ELECTRICAL EQUIP. | 12743.8983
FUSE EQUIPMENT 0-60 KV | 23994.37
HARDENED NETWORK ROUTER | 796.4932
LIGHTNING ARRESTOR 0-69 KV | 23994.37
Station Communication Equipment | 3185.9744
STORAGE BATTERY | 1592.987
STRUCTURES, 0-60KV | 47988.76
SUPERVISORY CONTROL EQUIPMENT | 4778.9618
SWITCH, DISCONNECT, 0-60KV | 23994.37
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 23994.37
TRANSFORMER - AUXILIARY AND STATION SERVICE | 3185.9744
TRANSFORMER, INSTRUMENT 0-60 KV | 23994.37
0PT42130 | 194550.4549
Irving Valley View Sub Instal
361 - Structures and Improvements | 682.5974
ELECTRICAL SYSTEM | 268.9037
FENCE | 20.6762
GROUNDING SYSTEM | 330.9646
YARD IMPROVEMENTS AND SURFACING | 62.0528
362 - Station Equipment | 193867.8575
BATTERY CHARGING SET | 20.6762
BUSS ASSEMBLY - 0 - 60KV | 16007.44
CONDUIT OR DUCT SYSTEM | 1385.9033
CONTROL CENTER AND ELECTRICAL EQUIP. | 19319.8681
LIGHTNING ARRESTOR 0-60 KV | 25.56
MOBILE SUBSTATION 138 KV | 25.56
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 13859.48
POWER CIRCUIT BREAKER, 2000 AMPERE, 25KV | 2429.23
STRUCTURES, 0-60KV | 6648.45
SWITCH, AIRBREAK, 0-60KV | 1380.83
SWITCH, MOTOR OPERATOR, 0-60KV | 536.98
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 7441.16
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 2710.52
TRANSFORMER, POWER 138 KV | 122076.2
0PT42594 | 4795447.9574
Ingle Sub Establish a new 138
361 - Structures and Improvements | 1194318.5561
ELECTRICAL SYSTEM | 8559.6116
ENVIRONMENTAL PROTECTION EQUIPMENT | 312174.3279
FENCE | 32727.9449
GROUNDING SYSTEM | 6042.074
OUTDOOR LIGHTING SYSTEM | 4028.0468
YARD IMPROVEMENTS AND SURFACING | 830786.5508
362 - Station Equipment | 3601129.4013
BATTERY CHARGING SET | 4004.2792
BUSS ASSEMBLY - 0 - 60KV | 814.6
CONDUIT OR DUCT SYSTEM | 54378.748
CONTROL CENTER AND ELECTRICAL EQUIP. | 364389.5923
FOUNDATIONS, 0-60KV | 14811.39
FUSE EQUIPMENT - 0-60 KV | 147.02
LIGHTNING ARRESTOR 0-60 KV | 43.71
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 128500.14
POWER CIRCUIT BREAKER, 2000 AMPERE, 25KV | 28949.53
Station Communication Equipment | 5538.5709
STORAGE BATTERY | 65.3797
STRUCTURES, 0-60KV | 147440.7
SUPERVISORY CONTROL EQUIPMENT | 29203.4012
SWITCH, AIRBREAK, 0-60KV | 238.42
SWITCH, DISCONNECT, 0-60KV | 52203.18
SWITCH, MOTOR OPERATOR, 0-60KV | 79.47
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 106372.75
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 34335.5
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 10771.91
SWITCHBOARD PANEL, STATION METERING, 0-60KV | 29622.79
TRANSFORMER - AUXILIARY AND STATION SERVICE | 5385.95
TRANSFORMER, INSTRUMENT 0-60 KV | 14054.7
TRANSFORMER, POWER 138 KV | 2569777.67
0PT42927 | 265660.9553
Lufkin Hill Street Sub Insta
353 - Station Equipment | 265660.9553
BUSS ASSEMBLY - 0 - 60KV | 5682.39
CONDUIT OR DUCT SYSTEM | 3480.2766
FOUNDATIONS, 0-60KV | 1296.65
FUSE EQUIPMENT 0-60 KV | 1182.24
LIGHTNING ARRESTOR 0-69 KV | 877.15
MOTOR OPERATORS, 0-60KV | 800.88
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 3356.04
STRUCTURES, 0-60KV | 7055.31
SWITCH, AIRBREAK, 0-60KV | 3050.95
SWITCH, DISCONNECT, 0-60KV | 2936.54
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 9038.42
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 800.88
TRANSFORMER - AUXILIARY AND STATION SERVICE | 1057.7287
TRANSFORMER, INSTRUMENT 0-60 KV | 800.88
TRANSFORMER, POWER 138 KV | 224244.62
0PT42928 | 1927408.3227
Antler Hollow Sub Establish w
361 - Structures and Improvements | 1104530.6812
ELECTRICAL SYSTEM | 2420.8788
ENVIRONMENTAL PROTECTION EQUIPMENT | 354660.2708
FENCE | 83520.6703
GROUNDING SYSTEM | 1210.4356
OUTDOOR LIGHTING SYSTEM | 16946.2135
YARD IMPROVEMENTS AND SURFACING | 645772.2122
362 - Station Equipment | 822877.6416
BATTERY CHARGING SET | 4236.5476
BUSS ASSEMBLY - 0 - 60KV | 145342.62
CONDUIT OR DUCT SYSTEM | 53864.7833
CONTROL CENTER AND ELECTRICAL EQUIP. | 324874.2545
FOUNDATIONS, 0-60KV | 40097.73
FUSE EQUIPMENT - 0-60 KV | 4713.8
LIGHTNING ARRESTOR 0-60 KV | 8641.98
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 8109.41
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 13826.8
STORAGE BATTERY | 1815.6611
STRUCTURES, 0-60KV | 22913.83
SUPERVISORY CONTROL EQUIPMENT | 7867.8851
SWITCH, AIRBREAK, 0-60KV | 34567.96
SWITCH, MOTOR OPERATOR, 0-60KV | 11061.44
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 102132.65
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 28282.88
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 9678.76
TRANSFORMER - AUXILIARY AND STATION SERVICE | 848.65
0PT43010 | 134830.2753
Gunsolus Creek Sub Establish
361 - Structures and Improvements | 9218.0259
ELECTRICAL SYSTEM | 565.7748
FENCE | 1435.147
GROUNDING SYSTEM | 1890.5219
OUTDOOR LIGHTING SYSTEM | 496.7781
YARD IMPROVEMENTS AND SURFACING | 4829.8041
362 - Station Equipment | 125612.2494
BUSS ASSEMBLY - 0 - 60KV | 3206.79
CONDUIT OR DUCT SYSTEM | 2138.9152
CONTROL CENTER AND ELECTRICAL EQUIP. | 10128.7842
LIGHTNING ARRESTOR 0-60 KV | 309.28
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 4818.32
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 2637.05
STRUCTURES, 0-60KV | 2913.78
SWITCH, AIRBREAK, 0-60KV | 944.13
SWITCH, DISCONNECT, 0-60KV | 1448.76
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 2620.78
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 341.84
TRANSFORMER - AUXILIARY AND STATION SERVICE | 358.11
TRANSFORMER, INSTRUMENT 0-60 KV | 276.72
TRANSFORMER, POWER 138 KV | 93468.99
0PT43163 | 851964.8877
Smith Creek Formerly Bellevue
361 - Structures and Improvements | 99312.9461
ELECTRICAL SYSTEM | 4848.7933
ENVIRONMENTAL PROTECTION EQUIPMENT | 48488.1297
FENCE | 2395.1741
GROUNDING SYSTEM | 9697.6076
OUTDOOR LIGHTING SYSTEM | 4848.7933
YARD IMPROVEMENTS AND SURFACING | 29034.4482
362 - Station Equipment | 752651.9416
BATTERY CHARGING SET | -14604.8601
BUSS ASSEMBLY - 0 - 60KV | 27633.47
CONDUIT OR DUCT SYSTEM | 4848.7933
CONTROL CENTER AND ELECTRICAL EQUIP. | 29092.8722
FOUNDATIONS, 0-60KV | -13858.27
FUSE EQUIPMENT - 0-60 KV | 6887.6
LIGHTNING ARRESTOR 0-60 KV | 6887.6
Station Communication Equipment | 4848.7933
STORAGE BATTERY | -9756.0669
SUPERVISORY CONTROL EQUIPMENT | -14604.8601
SWITCH, AIRBREAK, 0-60KV | 6887.6
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 13775.23
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 41491.75
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 6887.6
TRANSFORMER - AUXILIARY AND STATION SERVICE | -13858.27
TRANSFORMER, INSTRUMENT 0-60 KV | 6887.6
TRANSFORMER, POWER 138 KV | 663205.36
0PT43226 | 3052164.834
Tower One Sub Establish new 13
361 - Structures and Improvements | 882451.9143
ELECTRICAL SYSTEM | 4445.5907
ENVIRONMENTAL PROTECTION EQUIPMENT | 2540.3325
FENCE | 113680.3359
GROUNDING SYSTEM | 56840.1654
OUTDOOR LIGHTING SYSTEM | 3810.5063
YARD IMPROVEMENTS AND SURFACING | 701134.9835
362 - Station Equipment | 2169712.9197
BATTERY CHARGING SET | 4128.046
BUSS ASSEMBLY - 0 - 60KV | 121452.72
CONDUIT OR DUCT SYSTEM | 13019.2475
CONTROL CENTER AND ELECTRICAL EQUIP. | 316590.2211
FOUNDATIONS, 0-60KV | 1033.4
FUSE EQUIPMENT - 0-60 KV | 12018.75
LIGHTNING ARRESTOR 0-60 KV | 6958.21
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 43014.5
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 55665.82
Station Communication Equipment | 16194.6794
STORAGE BATTERY | 13336.7922
STRUCTURES, 0-60KV | 21959.99
SUPERVISORY CONTROL EQUIPMENT | 32706.9036
SWITCH, AIRBREAK, 0-60KV | 32216.95
SWITCH, DISCONNECT, 0-60KV | 40774.58
SWITCH, MOTOR OPERATOR, 0-60KV | 8223.34
SWITCH, VAC INTERRUPTER, 0-60KV | 632.55
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 46809.9
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 5554.57
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 3487.76
SWITCHBOARD PANEL, STATION METERING, 0-60KV | 65786.88
TRANSFORMER - AUXILIARY AND STATION SERVICE | 108801.4
TRANSFORMER, INSTRUMENT 0-60 KV | 4427.94
TRANSFORMER, POWER 138 KV | 1194917.77
0PT43380 | 165538.6566
DeCordova Dam Sub Relay Upgra
362 - Station Equipment | 165538.6566
Relays, 0-69 KV Relay Panel | 11365.19
Station Communication Equipment | 15098.6866
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 104383.53
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 34691.25
0PT43602 | 964912.3276
Prosper Sub Establish substat
361 - Structures and Improvements | 234661.7851
ELECTRICAL SYSTEM | 112.0484
GROUNDING SYSTEM | 1568.8877
LANDSCAPING | 43816.9764
MASONRY WALL | 44825.5543
OUTDOOR LIGHTING SYSTEM | 560.3165
YARD IMPROVEMENTS AND SURFACING | 143778.0018
362 - Station Equipment | 730250.5425
BUSS ASSEMBLY - 0 - 60KV | 20819.33
CONDUIT OR DUCT SYSTEM | 3361.9128
FUSE EQUIPMENT - 0-60 KV | 165.21
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 19332.24
POWER CIRCUIT BREAKER, 2000 AMPERE, 25KV | 10079.19
STORAGE BATTERY | 1680.9496
STRUCTURES, 0-60KV | 14210
SWITCH, DISCONNECT, 0-60KV | 9583.49
SWITCH, MOTOR OPERATOR, 0-60KV | 165.21
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 15531.88
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 826.16
TRANSFORMER - AUXILIARY AND STATION SERVICE | 165.21
TRANSFORMER, INSTRUMENT 0-60 KV | 165.21
TRANSFORMER, POWER 138 KV | 634164.55
0PT43626 | 250810.3
SOSF SPARE PURCHASE AND STORE
362 - Station Equipment | 250810.3
TRANSFORMER, POWER 69 KV | 250810.3
0PT43629 | 242640.13
SOSF SPARE PURCHASE AND STORE
362 - Station Equipment | 242640.13
TRANSFORMER, POWER 69 KV | 242640.13
0PT43742 | 308382.1902
Bedford Woodson Sub Relay Up
362 - Station Equipment | 308382.1902
CONDUIT OR DUCT SYSTEM | 144.8167
RELAY SWITCHBOARD 0-60 KV | 251668.85
Relays, 0-69 KV Relay Panel | 6439.64
Station Communication Equipment | 728.754
SUPERVISORY CONTROL EQUIPMENT | 493.5595
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 48906.57
0PT43752 | 603346.4287
Euless Sub Relay Upgrade on F
353 - Station Equipment | 603346.4287
BUSS ASSEMBLY - 0 - 60KV | 49395.47
CONDUIT OR DUCT SYSTEM | 5345.1741
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 185202.07
RELAYS, 0-69KV | 18879.23
SUPERVISORY CONTROL EQUIPMENT | 1479.7347
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 156604.7
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 134444.82
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 51995.23
0PT43762 | 444705.4713
Mesquite Forney Road Sub Rela
362 - Station Equipment | 444705.4713
CONDUIT OR DUCT SYSTEM | 4593.8926
RELAY SWITCHBOARD 0-60 KV | 354585.5
Relays, 0-69 KV Relay Panel | 7266.66
Station Communication Equipment | 35451.0228
SUPERVISORY CONTROL EQUIPMENT | 10964.6759
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 31843.72
0PT43763 | 722097.5992
Mesquite North Sub Relay Upgr
362 - Station Equipment | 722097.5992
CONDUIT OR DUCT SYSTEM | 9378.808
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 591963.73
Relays, 0-69 KV Relay Panel | -0.32
Station Communication Equipment | 11692.2483
SUPERVISORY CONTROL EQUIPMENT | 10117.7829
SWITCHBOARD PANEL, 1 FEEDER, 0-60KV | 17821.47
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 81123.88
0PT43793 | 260524.6659
Overton Sub Relay Upgrade on
353 - Station Equipment | 260524.6659
CONDUIT OR DUCT SYSTEM | 4475.6016
RELAY SWITCHBOARD 0-60 KV | 41181.74
Station Communication Equipment | 12903.0696
SUPERVISORY CONTROL EQUIPMENT | 29317.5847
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 118378.78
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 54267.89
0PT43961 | 379421.8621
Pin Oak formerly known as Big
353 - Station Equipment | 379421.8621
BATTERY CHARGING SET | 1350.5383
CONDUIT OR DUCT SYSTEM | 45481.3688
CONTROL CENTER AND ELECTRICAL EQUIP. | 49493.2625
STORAGE BATTERY | 3614.6765
SUPERVISORY CONTROL EQUIPMENT | 1986.086
TRANSFORMER, POWER 69 KV | 277495.93
0PT43970 | 648158.2351
Loy Lake Sub Establish with o
361 - Structures and Improvements | 33262.0608
ELECTRICAL SYSTEM | 172.2663
ENVIRONMENTAL PROTECTION EQUIPMENT | 4399.5688
GROUNDING SYSTEM | 2623.8387
MASONRY WALL | 5950.0217
OUTDOOR LIGHTING SYSTEM | 463.8055
YARD IMPROVEMENTS AND SURFACING | 19652.5598
362 - Station Equipment | 614896.1744
BUSS ASSEMBLY - 0 - 60KV | -141832.22
CONDUIT OR DUCT SYSTEM | 3803.2429
CONTROL CENTER AND ELECTRICAL EQUIP. | 131478.7667
FENCES, PROTECTIVE | 1709.4682
FUSE EQUIPMENT - 0-60 KV | 756.63
LIGHTNING ARRESTOR 0-60 KV | -15129.57
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | -90777.42
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 3367.04
Station Communication Equipment | -4462.7728
STORAGE BATTERY | 8646.6199
SUPERVISORY CONTROL EQUIPMENT | 556.5694
SWITCH, AIRBREAK, 0-60KV | 27073.96
SWITCH, DISCONNECT, 0-60KV | 8739.21
SWITCH, MOTOR OPERATOR, 0-60KV | 529.64
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 3631.87
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 60891.13
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 4766.83
TRANSFORMER - AUXILIARY AND STATION SERVICE | 567.47
TRANSFORMER, POWER 138 KV | 610579.71
0PT44224 | 110816.7709
Gordonville Sub Replace the 1
362 - Station Equipment | 110816.7709
CONDUIT OR DUCT SYSTEM | 4623.1101
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 96735.07
SUPERVISORY CONTROL EQUIPMENT | 702.7108
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 8755.88
0PT44226 | 189112.1466
White Settlement West Sub Ins
361 - Structures and Improvements | 35467.7313
ELECTRICAL SYSTEM | 441.4186
ENVIRONMENTAL PROTECTION EQUIPMENT | 29633.2246
GROUNDING SYSTEM | 441.4186
YARD IMPROVEMENTS AND SURFACING | 4951.6695
362 - Station Equipment | 153644.4153
BUSS ASSEMBLY - 0 - 60KV | 3918.53
CONDUIT OR DUCT SYSTEM | 249.5053
FOUNDATIONS, 0-60KV | 21.19
LIGHTNING ARRESTOR 0-60 KV | 254.18
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 2372.31
STRUCTURES, 0-60KV | 3727.91
SWITCH, DISCONNECT, 0-60KV | 2096.95
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 1948.67
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 1059.06
TRANSFORMER - AUXILIARY AND STATION SERVICE | 105.91
TRANSFORMER, INSTRUMENT 0-60 KV | 741.34
TRANSFORMER, POWER 138 KV | 137148.86
0PT44229 | 177089.2583
Trinity Sub Install 2nd 13812
361 - Structures and Improvements | 11230.351
ELECTRICAL SYSTEM | 140.5884
ENVIRONMENTAL PROTECTION EQUIPMENT | 140.5884
GROUNDING SYSTEM | 4894.9956
OUTDOOR LIGHTING SYSTEM | 140.5884
YARD IMPROVEMENTS AND SURFACING | 5913.5903
362 - Station Equipment | 165858.9073
BUSS ASSEMBLY - 0 - 60KV | 3705.89
CONDUIT OR DUCT SYSTEM | 16542.8573
FOUNDATIONS, 0-60KV | 8442.22
FUSE EQUIPMENT - 0-60 KV | 159.28
LIGHTNING ARRESTOR 0-60 KV | 4.87
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 9511.6
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 24514.03
STRUCTURES, 0-60KV | -3705.89
SWITCH, AIRBREAK, 0-60KV | 23559.91
SWITCH, DISCONNECT, 0-60KV | 19398.93
SWITCH, MOTOR OPERATOR, 0-60KV | 845.18
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 640.33
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | -154.41
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 5575.05
SWITCHBOARD PANEL, STATION METERING, 0-60KV | 25095.95
TRANSFORMER - AUXILIARY AND STATION SERVICE | 159.28
TRANSFORMER, INSTRUMENT 0-60 KV | 12211.51
TRANSFORMER, POWER 138 KV | 19352.32
0PT44233 | 2226336.6433
Bangs Sub Rebuild station by
361 - Structures and Improvements | 809813.3514
ELECTRICAL SYSTEM | 40126.9902
ENVIRONMENTAL PROTECTION EQUIPMENT | 100317.499
FENCE | 25079.368
GROUNDING SYSTEM | 87777.8016
OUTDOOR LIGHTING SYSTEM | 50158.7495
YARD IMPROVEMENTS AND SURFACING | 506352.9431
362 - Station Equipment | 1416523.2919
BATTERY CHARGING SET | 30116.0518
BUILDING, ELECTRICAL EQUIPMENT | 148971.4816
BUSS ASSEMBLY - 0 - 60KV | 85855.28
CONDUIT OR DUCT SYSTEM | 93962.0925
FUSE EQUIPMENT - 0-60 KV | 65324.67
LIGHTNING ARRESTOR 0-60 KV | 63458.25
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 105266.04
STORAGE BATTERY | 18809.5159
SWITCH, AIRBREAK, 0-60KV | 35860.03
SWITCH, MOTOR OPERATOR, 0-60KV | 71720.06
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 3245.07
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 106012.62
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 186641.96
TRANSFORMER - AUXILIARY AND STATION SERVICE | 55992.57
TRANSFORMER, INSTRUMENT 0-60 KV | 46660.47
TRANSFORMER, POWER 138 KV | 298627.13
0PT44242 | 118787.475
Sabana Sub Formerly known as
361 - Structures and Improvements | 28617.9148
ELECTRICAL SYSTEM | 1331.0556
ENVIRONMENTAL PROTECTION EQUIPMENT | 2662.1297
FENCE | 6655.3336
GROUNDING SYSTEM | 6655.3336
OUTDOOR LIGHTING SYSTEM | 665.5186
YARD IMPROVEMENTS AND SURFACING | 10648.5436
362 - Station Equipment | 90169.5602
BATTERY CHARGING SET | 1331.0556
BUSS ASSEMBLY - 0 - 60KV | 4745.5
CONDUIT OR DUCT SYSTEM | 2662.1297
CONTROL CENTER AND ELECTRICAL EQUIP. | 10648.5436
FOUNDATIONS, 0-60KV | 2157.03
FUSE EQUIPMENT - 0-60 KV | 2157.03
LIGHTNING ARRESTOR 0-60 KV | 2157.03
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 4314.09
RELAY SWITCHBOARD 0-60 KV | 2157.03
Station Communication Equipment | 1331.0556
STORAGE BATTERY | 1331.0556
STRUCTURES, 0-60KV | 5565.17
SWITCH, AIRBREAK, 0-60KV | 2157.03
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 4314.09
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 4314.09
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 2157.03
TRANSFORMER - AUXILIARY AND STATION SERVICE | 2157.03
TRANSFORMER, INSTRUMENT 0-60 KV | 2157.03
TRANSFORMER, POWER 138 KV | 32356.54
0PT44244 | 312034.4542
Inwood Road Sub Install transf
361 - Structures and Improvements | -2477.1314
ELECTRICAL SYSTEM | -718.0154
ENVIRONMENTAL PROTECTION EQUIPMENT | -359.0004
GROUNDING SYSTEM | -718.0154
OUTDOOR LIGHTING SYSTEM | -179.4892
YARD IMPROVEMENTS AND SURFACING | -502.6108
362 - Station Equipment | 314511.5856
BUSS ASSEMBLY - 0 - 60KV | -1228.25
CONDUIT OR DUCT SYSTEM | -897.5193
FOUNDATIONS, 0-60KV | -589.55
FUSE EQUIPMENT - 0-60 KV | -12.26
LIGHTNING ARRESTOR 0-60 KV | 70748.36
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 589.58
STORAGE BATTERY | -89.741
SUPERVISORY CONTROL EQUIPMENT | -43440.6141
SWITCH, AIRBREAK, 0-60KV | 176870.88
SWITCH, MOTOR OPERATOR, 0-60KV | -147.38
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | -294.77
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | -491.29
SWITCHGEAR, METAL ENCLOSED 0-60 KV | -4911.07
TRANSFORMER, INSTRUMENT 0-60 KV | 118405.21
0PT44245 | 2597095.6644
Horseman Sub formerly Saginaw
361 - Structures and Improvements | 909811.3788
ELECTRICAL SYSTEM | 8286.0743
ENVIRONMENTAL PROTECTION EQUIPMENT | 165721.5615
FENCE | 61316.979
GROUNDING SYSTEM | 231347.3054
MASONRY WALL | 103410.2564
OUTDOOR LIGHTING SYSTEM | 8286.0743
YARD IMPROVEMENTS AND SURFACING | 331443.128
362 - Station Equipment | 1687284.2856
BATTERY CHARGING SET | 8286.0743
BUSS ASSEMBLY - 0 - 60KV | 197185.65
CONDUIT OR DUCT SYSTEM | 251233.8927
LIGHTNING ARRESTOR 0-60 KV | 16432.13
STORAGE BATTERY | 8286.0743
SUPERVISORY CONTROL EQUIPMENT | 8286.0743
SWITCH, DISCONNECT, 0-60KV | 36150.7
SWITCH, MOTOR OPERATOR, 0-60KV | 16432.13
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 68357.69
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 15774.85
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 32864.27
TRANSFORMER - AUXILIARY AND STATION SERVICE | 16432.13
TRANSFORMER, INSTRUMENT 0-60 KV | 25634.13
TRANSFORMER, POWER 138 KV | 985928.49
0PT44246 | 481715.722
Temple Northwest Sub Replace
361 - Structures and Improvements | -47089.8346
ELECTRICAL SYSTEM | -65828.1219
ENVIRONMENTAL PROTECTION EQUIPMENT | -65828.1219
FENCE | 79235.8585
GROUNDING SYSTEM | 79235.8585
YARD IMPROVEMENTS AND SURFACING | -73905.3078
362 - Station Equipment | 528805.5566
BATTERY CHARGING SET | 3626.5946
BUSS ASSEMBLY - 0 - 60KV | 117573.42
CONDUIT OR DUCT SYSTEM | 272251.0529
CONTROL CENTER AND ELECTRICAL EQUIP. | -333609.8282
FOUNDATIONS, 0-60KV | 704949.9
FUSE EQUIPMENT - 0-60 KV | 3315.82
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | -97678.47
STORAGE BATTERY | -13389.089
STRUCTURES, 0-60KV | -59166.58
SUPERVISORY CONTROL EQUIPMENT | -17015.6836
SWITCH, DISCONNECT, 0-60KV | -47181.32
SWITCH, MOTOR OPERATOR, 0-60KV | 53812.96
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | -20198.86
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | -24916.99
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | -20198.86
TRANSFORMER - AUXILIARY AND STATION SERVICE | -47181.32
TRANSFORMER, INSTRUMENT 0-60 KV | 53812.96
TRANSFORMER, POWER 138 KV | -0.15
0PT44260 | 184385.082
Rowlett Sub Upgrade line equip
361 - Structures and Improvements | 107474.355
ENVIRONMENTAL PROTECTION EQUIPMENT | 84430.312
GROUNDING SYSTEM | 7261.7755
YARD IMPROVEMENTS AND SURFACING | 15782.2674
362 - Station Equipment | 76910.727
CONDUIT OR DUCT SYSTEM | 51607.0545
HARDENED NETWORK ROUTER | 5340.9126
Station Communication Equipment | 19962.7599
0PT44313 | 229740.8258
Short Grass formerly Archer Ci
361 - Structures and Improvements | -98385.9811
ELECTRICAL SYSTEM | 4237.7282
ENVIRONMENTAL PROTECTION EQUIPMENT | -147253.2816
FENCE | 8475.4563
GROUNDING SYSTEM | 4237.7282
OUTDOOR LIGHTING SYSTEM | 27411.8318
YARD IMPROVEMENTS AND SURFACING | 4504.556
362 - Station Equipment | 328126.807
BATTERY CHARGING SET | 4237.7282
BUSS ASSEMBLY - 0 - 60KV | 6717.4
CONDUIT OR DUCT SYSTEM | 23174.1036
CONTROL CENTER AND ELECTRICAL EQUIP. | 40125.0289
FOUNDATIONS, 0-60KV | 6717.4
FUSE EQUIPMENT - 0-60 KV | -23299.44
LIGHTNING ARRESTOR 0-60 KV | 36734.24
STORAGE BATTERY | 4237.7282
STRUCTURES | -23299.44
STRUCTURES, 0-60KV | 33587.02
SUPERVISORY CONTROL EQUIPMENT | 4237.7282
SWITCH, AIRBREAK, 0-60KV | 13434.8
SWITCH, MOTOR OPERATOR, 0-60KV | -23299.44
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 13434.8
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 13434.8
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 6717.4
TRANSFORMER - AUXILIARY AND STATION SERVICE | 30016.84
TRANSFORMER, INSTRUMENT 0-60 KV | 36734.24
TRANSFORMER, POWER 138 KV | 124483.87
0PT44317 | 3185075.2901
Pecan Tree Sub Establish 13813
361 - Structures and Improvements | 951848.9556
ELECTRICAL SYSTEM | 18663.7025
ENVIRONMENTAL PROTECTION EQUIPMENT | 167973.3494
FENCE | 93318.526
GROUNDING SYSTEM | 18663.7025
OUTDOOR LIGHTING SYSTEM | 18663.7025
YARD IMPROVEMENTS AND SURFACING | 634565.9726
362 - Station Equipment | 2233226.3345
BATTERY CHARGING SET | 18736.8214
BUSS ASSEMBLY - 0 - 60KV | 112892.66
CONDUIT OR DUCT SYSTEM | 37327.4117
CONTROL CENTER AND ELECTRICAL EQUIP. | -1316.1463
FOUNDATIONS, 0-60KV | -221.14
HARDENED NETWORK ROUTER | -73.1189
LIGHTNING ARRESTOR 0-60 KV | 28223.16
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 112892.66
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 28333.73
RELAY SWITCHBOARD 0-60 KV | 28333.73
Station Communication Equipment | 18663.7025
STORAGE BATTERY | 18736.8214
STRUCTURES, 0-60KV | 112892.66
SUPERVISORY CONTROL EQUIPMENT | 18663.7025
SWITCH, AIRBREAK, 0-60KV | 28223.16
SWITCH, MOTOR OPERATOR, 0-60KV | 28333.73
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 56446.33
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 28223.16
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 28223.16
TRANSFORMER - AUXILIARY AND STATION SERVICE | -221.14
TRANSFORMER, INSTRUMENT 0-60 KV | 28223.16
TRANSFORMER, POWER 138 KV | 1501688.12
0PT44340 | 110548.1294
Forreston Sub 69 kV Line Termi
361 - Structures and Improvements | 477.0779
GROUNDING SYSTEM | 477.0779
362 - Station Equipment | 110071.0515
BUSS ASSEMBLY - 0 - 60KV | 66991.19
CONDUIT OR DUCT SYSTEM | 62439.1915
LIGHTNING ARRESTOR 0-60 KV | -19359.33
0PT44341 | 6662958.4335
Buntin Drive Sub Convert Stat
361 - Structures and Improvements | 1359157.301
ELECTRICAL SYSTEM | 404258.6657
ENVIRONMENTAL PROTECTION EQUIPMENT | 622462.5924
GROUNDING SYSTEM | 143645.2086
OUTDOOR LIGHTING SYSTEM | 10944.3899
YARD IMPROVEMENTS AND SURFACING | 177846.4444
362 - Station Equipment | 5303801.1324
BATTERY CHARGING SET | 456.2594
BUSS ASSEMBLY - 0 - 60KV | 52519.12
CONDUIT OR DUCT SYSTEM | 59510.1576
FOUNDATIONS, 0-60KV | 103558.85
FUSE EQUIPMENT - 0-60 KV | 616.75
STORAGE BATTERY | 1140.6484
STRUCTURES, 0-60KV | 62875.02
SUPERVISORY CONTROL EQUIPMENT | 17784.637
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 49308.42
SWITCHGEAR, METAL ENCLOSED 0-60 KV | 1827074.12
TRANSFORMER, POWER 138 KV | 3128957.15
0PT44343 | 2951685.1136
Cedar Crest Sub Convert subst
361 - Structures and Improvements | 559660.2185
ELECTRICAL SYSTEM | 11193.1986
ENVIRONMENTAL PROTECTION EQUIPMENT | 205208.7532
FENCE | 74621.3629
GROUNDING SYSTEM | 33579.6027
OUTDOOR LIGHTING SYSTEM | 11193.1986
YARD IMPROVEMENTS AND SURFACING | 223864.1025
362 - Station Equipment | 2392024.8951
BATTERY CHARGING SET | 7430.0045
BUSS ASSEMBLY - 0 - 60KV | 1403.33
CONDUIT OR DUCT SYSTEM | 257.0465
CONTROL CENTER AND ELECTRICAL EQUIP. | 447728.4661
FOUNDATIONS, 0-60KV | 27159.29
FUSE EQUIPMENT - 0-60 KV | 27159.29
HARDENED NETWORK ROUTER | 14924.2671
LIGHTNING ARRESTOR 0-60 KV | 16225.41
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 325911.59
REACTOR 0-60 KV | 54084.71
RELAY SWITCHBOARD 0-60 KV | 81477.89
STORAGE BATTERY | 14924.2671
STRUCTURES, 0-60KV | 325911.59
SUPERVISORY CONTROL EQUIPMENT | 224.9139
SWITCH, AIRBREAK, 0-60KV | 54318.59
SWITCH, DISCONNECT, 0-60KV | 189296.48
SWITCH, MOTOR OPERATOR, 0-60KV | 16295.57
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 70614.17
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 65182.31
SWITCHBOARD PANEL, STATION METERING, 0-60KV | 75718.59
TRANSFORMER - AUXILIARY AND STATION SERVICE | 16295.57
TRANSFORMER, INSTRUMENT 0-60 KV | 16295.57
TRANSFORMER, POWER 138 KV | 543185.98
0PT45122 | 401993.4845
Calmont Sub Add transformer 8
353 - Station Equipment | 401993.4845
BATTERY CHARGING SET | 872.9403
BUSS ASSEMBLY - 0 - 60KV | 28279.58
CONDUIT OR DUCT SYSTEM | 2868.2468
CONTROL CENTER AND ELECTRICAL EQUIP. | 27643.3488
FOUNDATIONS, 0-60KV | 98.52
FUSE EQUIPMENT 0-60 KV | 2167.76
LIGHTNING ARRESTOR 0-69 KV | 98.52
MOTOR OPERATORS, 0-60KV | 1280.94
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 19017.28
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 32023.92
Station Communication Equipment | 831.3735
STORAGE BATTERY | 1288.6333
STRUCTURES, 0-60KV | 22663.07
SUPERVISORY CONTROL EQUIPMENT | 2577.2709
SWITCH, AIRBREAK, 0-60KV | 8474.01
SWITCH, DISCONNECT, 0-60KV | 17637.79
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 11725.67
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 9853.51
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 6207.7
TRANSFORMER - AUXILIARY AND STATION SERVICE | 2120.011
TRANSFORMER, INSTRUMENT 0-60 KV | 591.2
TRANSFORMER, POWER 138 KV | 203672.19
0PT45131 | 4115244.8396
Grand Prairie Sub Rebuild Ent
361 - Structures and Improvements | 911898.1559
ELECTRICAL SYSTEM | 37220.3293
ENVIRONMENTAL PROTECTION EQUIPMENT | 186101.6668
FENCE | 27915.2436
GROUNDING SYSTEM | 186101.6668
MASONRY WALL | 139576.2518
OUTDOOR LIGHTING SYSTEM | 9305.0722
YARD IMPROVEMENTS AND SURFACING | 325677.9254
362 - Station Equipment | 3203346.6837
BATTERY CHARGING SET | 3819.8294
BUSS ASSEMBLY - 0 - 60KV | 344557.42
CONTROL CENTER AND ELECTRICAL EQUIP. | 418728.7621
FOUNDATIONS, 0-60KV | 62020.32
FUSE EQUIPMENT - 0-60 KV | 27564.58
HARDENED NETWORK ROUTER | 13957.6218
LIGHTNING ARRESTOR 0-60 KV | 33946.64
MOBILE SUBSTATION 138 KV | 206734.45
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 339466.45
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 48238.03
REACTOR 0-60 KV | 55129.18
RELAY SWITCHBOARD 0-60 KV | 12333.74
STORAGE BATTERY | 11459.495
STRUCTURES, 0-60KV | 344557.42
SUPERVISORY CONTROL EQUIPMENT | 30558.6555
SWITCH, AIRBREAK, 0-60KV | 11100.36
SWITCH, DISCONNECT, 0-60KV | 206734.45
SWITCH, MOTOR OPERATOR, 0-60KV | 13782.28
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 50919.96
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 20673.44
SWITCHBOARD PANEL, STATION METERING, 0-60KV | 8633.62
TRANSFORMER - AUXILIARY AND STATION SERVICE | 1233.37
TRANSFORMER, POWER 138 KV | 937196.61
0PT45394 | 2842358.6731
Midlothian South Sub Replace
361 - Structures and Improvements | -128238.7151
ELECTRICAL SYSTEM | 178.9628
ENVIRONMENTAL PROTECTION EQUIPMENT | -158253.4709
FENCE | -54544.2178
GROUNDING SYSTEM | 4258.6141
OUTDOOR LIGHTING SYSTEM | -6882.0879
YARD IMPROVEMENTS AND SURFACING | 87003.4846
362 - Station Equipment | 2970597.3882
BATTERY CHARGING SET | 441.3142
BUSS ASSEMBLY - 0 - 60KV | 186914.48
CONDUIT OR DUCT SYSTEM | 25065.7849
CONTROL CENTER AND ELECTRICAL EQUIP. | 447225.6577
FOUNDATIONS, 0-60KV | -20831.18
FUSE EQUIPMENT - 0-60 KV | -2635.16
LIGHTNING ARRESTOR 0-60 KV | 224.7
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 177312.72
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 9302.37
STORAGE BATTERY | 7443.4035
STRUCTURES, 0-60KV | 169780.65
SUPERVISORY CONTROL EQUIPMENT | -441.3221
SWITCH, AIRBREAK, 0-60KV | 12808.35
SWITCH, DISCONNECT, 0-60KV | 94236.04
SWITCH, MOTOR OPERATOR, 0-60KV | -10303.24
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 27623.75
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 38161.69
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | -5824.42
TRANSFORMER - AUXILIARY AND STATION SERVICE | -8086.83
TRANSFORMER, INSTRUMENT 0-60 KV | -8311.53
TRANSFORMER, POWER 138 KV | 1830490.16
0PT45742 | 385369.6332
Prairie Creek Sub Replace tra
361 - Structures and Improvements | 21734.8631
ELECTRICAL SYSTEM | 170.1163
ENVIRONMENTAL PROTECTION EQUIPMENT | 42.5089
FENCE | 42.5089
GROUNDING SYSTEM | 808.1265
OUTDOOR LIGHTING SYSTEM | 297.7237
YARD IMPROVEMENTS AND SURFACING | 20373.8788
362 - Station Equipment | 363634.7701
BATTERY CHARGING SET | 85.0357
BUSS ASSEMBLY - 0 - 60KV | 12853.03
CONDUIT OR DUCT SYSTEM | 4848.8843
FOUNDATIONS, 0-60KV | 47.4
LIGHTNING ARRESTOR 0-60 KV | 47.4
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 12663.31
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 2276.52
STRUCTURES, 0-60KV | 13090.18
SWITCH, AIRBREAK, 0-60KV | 3699.38
SWITCH, DISCONNECT, 0-60KV | 5643.94
SWITCH, MOTOR OPERATOR, 0-60KV | 569.12
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 6497.65
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 1707.39
TRANSFORMER - AUXILIARY AND STATION SERVICE | 47.4
TRANSFORMER, INSTRUMENT 0-60 KV | 284.54
TRANSFORMER, POWER 138 KV | 299273.59
0PT45770 | 276373.2076
Collville Sub Relay Upgrade o
362 - Station Equipment | 276373.2076
SUPERVISORY CONTROL EQUIPMENT | 170.3076
SWITCHBOARD PANEL, 1 FEEDER, 0-60KV | 182179.03
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 68267.88
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 25755.99
0PT45773 | 334075.5
Lemmon Avenue Sub Relay Upgra
362 - Station Equipment | 334075.5
HARDENED NETWORK ROUTER | 40044.9706
Relays, 0-69 KV Relay Panel | 38239.05
Station Communication Equipment | 110762.6827
SUPERVISORY CONTROL EQUIPMENT | 28471.6868
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 116557.11
0PT45778 | 127139.0178
Garland Bobtown Road Sub Rela
362 - Station Equipment | 127139.0178
LIGHTNING ARRESTOR 0-60 KV | 893.02
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 65694.73
Relays, 0-69 KV Relay Panel | 2793.57
Station Communication Equipment | 3361.1603
SUPERVISORY CONTROL EQUIPMENT | 6264.7076
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 15112.75
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 33019.08
0PT45789 | 724023.5374
Carrollton Tarpley Road Sub R
361 - Structures and Improvements | 11933.8577
GROUNDING SYSTEM | 11933.8577
362 - Station Equipment | 712089.6797
BUSS ASSEMBLY - 0 - 60KV | 27.67
CONDUIT OR DUCT SYSTEM | 54225.8192
LIGHTNING ARRESTOR 0-60 KV | 3979.22
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 347148.04
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 125504.87
Relays, 0-69 KV Relay Panel | 20930.73
SUPERVISORY CONTROL EQUIPMENT | 4954.9938
SUPERVISORY CONTROL EQUIPMENT - CPU | 7188.2267
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 148106.89
TRANSFORMER, INSTRUMENT 0-60 KV | 23.22
0PT45804 | 377576.5771
Colony Sub Relay Upgrade on F
362 - Station Equipment | 377576.5771
CONDUIT OR DUCT SYSTEM | -9.6258
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 337380.79
RELAY SWITCHBOARD 0-60 KV | -199.73
Relays, 0-69 KV Relay Panel | 9110.84
Station Communication Equipment | 3726.4168
SUPERVISORY CONTROL EQUIPMENT | 7626.5462
SWITCH, MOTOR OPERATOR, 0-60KV | 19941.34
0PT45807 | 200823.5605
Fair Oaks Sub Relay Upgrade o
362 - Station Equipment | 200823.5605
SUPERVISORY CONTROL EQUIPMENT | 178.1705
SWITCHBOARD PANEL, 1 FEEDER, 0-60KV | 199179.42
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 1465.97
0PT45815 | 415563.4937
Lavon Sub Relay Upgrade on Fe
361 - Structures and Improvements | 22715.1351
GROUNDING SYSTEM | 22715.1351
362 - Station Equipment | 392848.3586
BUSS ASSEMBLY - 0 - 60KV | 2.68
CONDUIT OR DUCT SYSTEM | 68139.0635
LIGHTNING ARRESTOR 0-60 KV | 1.34
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 143798.47
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 86287.1
Station Communication Equipment | 11357.5675
SUPERVISORY CONTROL EQUIPMENT | 11357.5675
SWITCH, MOTOR OPERATOR, 0-60KV | 57524.73
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 14379.84
0PT45816 | 422152.433
Lombardy Lane Sub Relay Upgr
362 - Station Equipment | 422152.433
CONTROL CENTER AND ELECTRICAL EQUIP. | 2509.1369
Station Communication Equipment | 24840.4966
SUPERVISORY CONTROL EQUIPMENT | 24625.4294
SWITCHBOARD PANEL, 1 FEEDER, 0-60KV | 301493.61
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 68596.61
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 87.15
0PT45818 | 217952.4511
North Parkway Sub Relay Upgra
362 - Station Equipment | 217952.4511
Relays, 0-69 KV Relay Panel | 24749.57
Station Communication Equipment | 15072.4913
SUPERVISORY CONTROL EQUIPMENT | 30085.2898
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 148045.1
0PT45821 | 415554.66
Plano Coit Road Sub Relay Upg
361 - Structures and Improvements | 12464.7295
GROUNDING SYSTEM | 12464.7295
362 - Station Equipment | 403089.9305
BUSS ASSEMBLY - 0 - 60KV | 59892.43
CONDUIT OR DUCT SYSTEM | 13.3469
HARDENED NETWORK ROUTER | 325.4439
LIGHTNING ARRESTOR 0-60 KV | 581.04
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 113482.76
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 137082.25
Station Communication Equipment | 10902.5698
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 80810.09
0PT45829 | 298493.7991
Renner Switch Relay Upgrade o
353 - Station Equipment | 298493.7991
BUSS ASSEMBLY - 0 - 60KV | 3563.65
CONDUIT OR DUCT SYSTEM | 603.4069
LIGHTNING ARRESTOR 0-69 KV | 9617.57
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 120949.64
Station Communication Equipment | 14751.405
SUPERVISORY CONTROL EQUIPMENT | 40466.8771
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 108541.25
0PT45830 | 106208.4085
Richardson Collins Blvd Sub R
361 - Structures and Improvements | 10951.2442
GROUNDING SYSTEM | 10951.2442
362 - Station Equipment | 95257.1643
Station Communication Equipment | 43364.6993
STRUCTURES, 0-60KV | 31984.89
SUPERVISORY CONTROL EQUIPMENT | 15060.785
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 4846.79
0PT45832 | 721022.4403
Richardson Spring Creek Sub R
361 - Structures and Improvements | 13383.0227
GROUNDING SYSTEM | 13383.0227
362 - Station Equipment | 707639.4176
BUSS ASSEMBLY - 0 - 60KV | 73903.48
CONDUIT OR DUCT SYSTEM | 291.8188
LIGHTNING ARRESTOR 0-60 KV | 2818.72
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 245309.43
RELAY SWITCHBOARD 0-60 KV | 206559.8
Relays, 0-69 KV Relay Panel | 5725.53
Station Communication Equipment | 19718.1887
SUPERVISORY CONTROL EQUIPMENT | 24311.18
SWITCH, AIRBREAK, 0-60KV | 89142.22
SWITCH, MOTOR OPERATOR, 0-60KV | 39197.91
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 661.14
0PT45833 | 390463.1767
Richardson Woodhaven Sub Rela
361 - Structures and Improvements | 23514.1541
GROUNDING SYSTEM | 23514.1541
362 - Station Equipment | 366949.0226
BUSS ASSEMBLY - 0 - 60KV | 46738.62
CONDUIT OR DUCT SYSTEM | 6330.7125
CONTROL CENTER AND ELECTRICAL EQUIP. | 3212.0901
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 215806.99
Relays, 0-69 KV Relay Panel | 2555.18
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 92305.43
0PT45836 | 314788.7484
Irving Valley Ranch Sub Relay
362 - Station Equipment | 314788.7484
LIGHTNING ARRESTOR 0-60 KV | 6389.42
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 78661.85
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 100665.2
SUPERVISORY CONTROL EQUIPMENT | 5219.0184
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 68337.21
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 55516.05
0PT45864 | 1130081.63
SOSF SPARE PURCHASE AND STORE
362 - Station Equipment | 1130081.63
TRANSFORMER, POWER 138 KV | 1130081.63
0PT46171 | 307355.9824
Riesel Switch Establish 138 k
353 - Station Equipment | 307355.9824
BATTERY CHARGING SET | 905.6999
CONDUIT OR DUCT SYSTEM | 11515.3363
CONTROL CENTER AND ELECTRICAL EQUIP. | 35904.5601
FENCES, PROTECTIVE | 5434.203
METERING, 0-69KV | 121963.46
STORAGE BATTERY | 3849.227
SUPERVISORY CONTROL EQUIPMENT | 2037.8262
TRANSFORMER - AUXILIARY AND STATION SERVICE | 905.6999
TRANSFORMER, INSTRUMENT 0-60 KV | 124839.97
0PT46207 | 976288.1533
Copperas Cove East Switch Ins
361 - Structures and Improvements | 84080.1235
ELECTRICAL SYSTEM | 54369.8629
ENVIRONMENTAL PROTECTION EQUIPMENT | -30804.1444
GROUNDING SYSTEM | 20612.1398
YARD IMPROVEMENTS AND SURFACING | 39902.2652
362 - Station Equipment | 892208.0298
BUSS ASSEMBLY - 0 - 60KV | 25848.34
CONDUIT OR DUCT SYSTEM | 20612.1398
FUSE EQUIPMENT - 0-60 KV | 442.86
LIGHTNING ARRESTOR 0-60 KV | -25848.34
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | -77102.16
RELAY SWITCHBOARD 0-60 KV | 184038.46
STRUCTURES, 0-60KV | 210329.67
SWITCH, AIRBREAK, 0-60KV | 25848.34
SWITCH, DISCONNECT, 0-60KV | -24076.88
SWITCH, MOTOR OPERATOR, 0-60KV | 26291.2
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 51696.68
TRANSFORMER - AUXILIARY AND STATION SERVICE | -77545.02
TRANSFORMER, INSTRUMENT 0-60 KV | 25848.34
TRANSFORMER, POWER 138 KV | 525824.4
0PT46212 | 1759676.6398
Parkdale SVC Replace SVC 1 an
353 - Station Equipment | 1759676.6398
FACTs Control System Computer | 584631.49
HEATING - VENTILATING - AIR CONDITIONING SYSTEM | 955210.0608
RELAYS, 0-69KV | 150116.64
TRANSFORMER - AUXILIARY AND STATION SERVICE | 69718.4491
0PT46230 | 145692.4228
Cedar Creek Pump POD Upgrade
361 - Structures and Improvements | 3031.8065
GROUNDING SYSTEM | 3031.8065
362 - Station Equipment | 142660.6163
CONDUIT OR DUCT SYSTEM | 14.3593
Metering, 0-69 KV | 85670.04
Station Communication Equipment | 10187.447
STRUCTURES | 40704.92
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 6083.85
0PT46252 | 132604.32
Arthur Street Sub Relay Upgra
362 - Station Equipment | 132604.32
Relays, 0-69 KV Relay Panel | 4569.32
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 128035
0PT46403 | 120828.6812
Fairfield West Sub Reconfigure
361 - Structures and Improvements | 120809.2118
FENCE | 25151.1989
GROUNDING SYSTEM | 13708.0015
YARD IMPROVEMENTS AND SURFACING | 81950.0113
362 - Station Equipment | 19.4694
CONDUIT OR DUCT SYSTEM | 19.4694
0PT46413 | 4224089.5072
Mountain Branch Sub Establish
361 - Structures and Improvements | 132248.9683
ELECTRICAL SYSTEM | 858.7525
GROUNDING SYSTEM | 13310.7729
OUTDOOR LIGHTING SYSTEM | 1717.5131
YARD IMPROVEMENTS AND SURFACING | 116361.9298
362 - Station Equipment | 4091840.5388
BUSS ASSEMBLY - 0 - 60KV | 112851.71
CONDUIT OR DUCT SYSTEM | 54960.6127
CONTROL CENTER AND ELECTRICAL EQUIP. | 346938.8961
FOUNDATIONS, 0-60KV | 532.31
FUSE EQUIPMENT - 0-60 KV | 9581.74
LIGHTNING ARRESTOR 0-60 KV | 532.31
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 24486.69
Security System | 429.3722
STORAGE BATTERY | 10734.4911
STRUCTURES, 0-60KV | 94752.85
SUPERVISORY CONTROL EQUIPMENT | 15887.0466
SWITCH, AIRBREAK, 0-60KV | 40988.59
SWITCH, DISCONNECT, 0-60KV | 39391.63
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 100076.05
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 80380.23
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 10646.38
TRANSFORMER, INSTRUMENT 0-60 KV | 532.31
TRANSFORMER, POWER 138 KV | 3148137.32
0PT46419 | 1355748.9512
Centralia Sub Install 138216
361 - Structures and Improvements | 119452.3515
ELECTRICAL SYSTEM | 23890.4703
ENVIRONMENTAL PROTECTION EQUIPMENT | 35835.7054
GROUNDING SYSTEM | 35835.7054
YARD IMPROVEMENTS AND SURFACING | 23890.4703
362 - Station Equipment | 1236296.5997
BUSS ASSEMBLY - 0 - 60KV | 11543.92
CONDUIT OR DUCT SYSTEM | 66916.2197
FOUNDATIONS, 0-60KV | 15090.47
FUSE EQUIPMENT - 0-60 KV | 4617.56
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | -150904.71
Relays, 0-69 KV Relay Panel | 17399.25
STRUCTURES, 0-60KV | 52197.75
SWITCH, AIRBREAK, 0-60KV | -45271.41
SWITCH, DISCONNECT, 0-60KV | 34798.5
SWITCH, MOTOR OPERATOR, 0-60KV | -15090.47
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 52197.75
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 52197.75
TRANSFORMER - AUXILIARY AND STATION SERVICE | 17399.25
TRANSFORMER, INSTRUMENT 0-60 KV | 34798.5
TRANSFORMER, POWER 138 KV | 1088406.27
0PT46465 | 357277.6576
Oakhill Sub Relay Upgrade on
362 - Station Equipment | 357277.6576
Station Communication Equipment | 12806.035
SUPERVISORY CONTROL EQUIPMENT | 20891.6826
SWITCHBOARD PANEL, 1 FEEDER, 0-60KV | 287220.94
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 36359
0PT46471 | 675526.72
Sherry Switch Relay Upgrade o
361 - Structures and Improvements | 32247.68
ELECTRICAL SYSTEM | 7735.09
GROUNDING SYSTEM | 24512.59
362 - Station Equipment | 643279.04
FOUNDATIONS, 0-60KV | 1307.34
HARDENED NETWORK ROUTER | 52548.73
POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV | 83233.86
RELAY SWITCHBOARD 0-60 KV | 255439.16
Station Communication Equipment | 33010.29
SUPERVISORY CONTROL EQUIPMENT | 23314.2
SWITCH, DISCONNECT, 0-60KV | 103824.44
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 90642.12
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | -41.1
0PT46508 | 164001.5259
Dollarhide Sub Upgrade relayi
361 - Structures and Improvements | 1368.8226
ELECTRICAL SYSTEM | 719.8108
GROUNDING SYSTEM | 649.0117
362 - Station Equipment | 162632.7033
BUSS ASSEMBLY - 0 - 60KV | 12965.87
CAPACITOR RACK & COMPONENTS 0-60KV | 4816.83
CONDUIT OR DUCT SYSTEM | -1739.6018
RESISTOR 0-60 KV | 12868.49
SUPERVISORY CONTROL EQUIPMENT | 3476.3451
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 117298.3
TRANSFORMER, INSTRUMENT 0-60 KV | 12946.47
0PT46550 | 235133.7658
Robinson Sub Relay Upgrade on
361 - Structures and Improvements | 15859.2272
ELECTRICAL SYSTEM | 13624.4374
GROUNDING SYSTEM | 2234.7898
362 - Station Equipment | 219274.5386
BUSS ASSEMBLY - 0 - 60KV | 14306.84
CONDUIT OR DUCT SYSTEM | 10585.8886
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 153826.03
Relays, 0-69 KV Relay Panel | 6366.79
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 34188.99
0PT46551 | 176805.3
SL Salt Mine Sub Relay Upgrad
361 - Structures and Improvements | 5499.47
GROUNDING SYSTEM | 5499.47
362 - Station Equipment | 171305.83
CONDUIT OR DUCT SYSTEM | 6851.5
Station Communication Equipment | 105257.37
STRUCTURES, 0-60KV | 33691.11
SUPERVISORY CONTROL EQUIPMENT | 25505.85
0PT46620 | 575777.1989
DFW Northwest Sub Reconfigure
361 - Structures and Improvements | 70573.7773
ELECTRICAL SYSTEM | 39800.3311
GROUNDING SYSTEM | 6154.6867
YARD IMPROVEMENTS AND SURFACING | 24618.7595
362 - Station Equipment | 505203.4216
BATTERY CHARGING SET | 5833.7618
BUSS ASSEMBLY - 0 - 60KV | 221451.36
CONDUIT OR DUCT SYSTEM | 29542.5114
CONTROL CENTER AND ELECTRICAL EQUIP. | 4646.8535
MOBILE SUBSTATION 138 KV | 193830.52
Station Communication Equipment | 16002.1947
STORAGE BATTERY | 18874.3802
STRUCTURES, 0-60KV | 10176.09
SWITCH, DISCONNECT, 0-60KV | 4845.75
0PT46771 | 486737.9474
Consavvy Switch Establish 3451
353 - Station Equipment | 486737.9474
BATTERY CHARGING SET | 282.0025
BUSS ASSEMBLY - 0 - 60KV | 39997.86
CONDUIT OR DUCT SYSTEM | 8983.7964
CONTROL CENTER AND ELECTRICAL EQUIP. | 30859.1398
FOUNDATIONS, 0-60KV | 3333.15
FUSE EQUIPMENT 0-60 KV | 3333.15
GENERATOR SET | 1087.7242
LIGHTNING ARRESTOR 0-69 KV | 3333.15
MOTOR OPERATORS, 0-60KV | 3333.15
POWER CIRCUIT BREAKER 0-60 KV | 166657.75
STORAGE BATTERY | 1369.7267
STRUCTURES, 0-60KV | 173324.04
SUPERVISORY CONTROL EQUIPMENT | 805.7217
SWITCH, AIRBREAK, 0-60KV | 26665.23
SWITCH, DISCONNECT, 0-60KV | 6666.3
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 6666.3
TRANSFORMER - AUXILIARY AND STATION SERVICE | 40.286
TRANSFORMER, INSTRUMENT 0-60 KV | 9999.47
0PT46844 | 212279.6004
Schumm POD Establish 138 kV P
353 - Station Equipment | 212279.6004
BATTERY CHARGING SET | 818.97
BUILDING, ELECTRICAL EQUIPMENT | 49138.8271
CONDUIT OR DUCT SYSTEM | 4356.9634
HARDENED NETWORK ROUTER | 5208.7079
METERING, 0-69KV | 17825.32
Station Communication Equipment | 12808.8492
STORAGE BATTERY | 18410.6755
STRUCTURES, 0-60KV | 1706.66
SUPERVISORY CONTROL EQUIPMENT | 11891.5901
TELEMETERING EQUIPMENT 0-60 KV | 42951.45
TRANSFORMER - AUXILIARY AND STATION SERVICE | 26207.3673
TRANSFORMER, INSTRUMENT 0-60 KV | 20954.22
0PT46862 | 368156.0964
Frow Substation Purchase of L
374 - Land Owned in Fee | 368156.0964
FEE LAND | 368156.0964
0PT46875 | 173644.6329
Yantis Ranch POD Establish 13
353 - Station Equipment | 173644.6329
BATTERY CHARGING SET | 1660.4598
BUILDING, ELECTRICAL EQUIPMENT | 22514.7009
CONDUIT OR DUCT SYSTEM | 900.5871
HARDENED NETWORK ROUTER | 2026.3232
METERING, 0-69KV | 18558.08
Station Communication Equipment | 6163.3996
STORAGE BATTERY | 5853.8235
STRUCTURES, 0-60KV | 19660.53
SUPERVISORY CONTROL EQUIPMENT | 3489.7783
TELEMETERING EQUIPMENT 0-60 KV | 30501.39
TRANSFORMER - AUXILIARY AND STATION SERVICE | 19503.3605
TRANSFORMER, INSTRUMENT 0-60 KV | 42812.2
0PT46892 | 221732.2403
Sandhills Sub Replace Bank 1 w
361 - Structures and Improvements | 81571.0631
ELECTRICAL SYSTEM | 254.76
ENVIRONMENTAL PROTECTION EQUIPMENT | 8195.3151
FENCE | 5562.6153
GROUNDING SYSTEM | 6794.0376
OUTDOOR LIGHTING SYSTEM | 1188.9406
YARD IMPROVEMENTS AND SURFACING | 59575.3946
362 - Station Equipment | 140161.1772
BATTERY CHARGING SET | 212.2913
CONDUIT OR DUCT SYSTEM | 12101.9059
FOUNDATIONS, 0-60KV | 2085.12
FUSE EQUIPMENT - 0-60 KV | 390.94
LIGHTNING ARRESTOR 0-60 KV | 651.58
POWER CIRCUIT BREAKER, 2000 AMPERE, 25KV | 6255.44
SWITCH, AIRBREAK, 0-60KV | 3192.87
SWITCH, DISCONNECT, 0-60KV | 4691.58
SWITCH, MOTOR OPERATOR, 0-60KV | 325.77
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 1368.35
TRANSFORMER, INSTRUMENT 0-60 KV | 3648.99
TRANSFORMER, POWER 138 KV | 105236.34
0PT46906 | 151378.0492
Circle Point Substation Purch
374 - Land Owned in Fee | 151378.0492
FEE LAND | 151378.0492
0PT46922 | 161349.4425
Runaway Bay Substation formerl
374 - Land Owned in Fee | 161349.4425
FEE LAND | 161349.4425
0PT46957 | 310399.7505
Plano Sub Purchase in Fee
374 - Land Owned in Fee | 310399.7505
FEE LAND | 310399.7505
0PT46969 | 245481.6521
Flint Sub Install a 467 MVA 1
361 - Structures and Improvements | 614448.629
ELECTRICAL SYSTEM | 7548.5038
ENVIRONMENTAL PROTECTION EQUIPMENT | 360516.7994
GROUNDING SYSTEM | 6038.8048
YARD IMPROVEMENTS AND SURFACING | 240344.521
362 - Station Equipment | -368966.9769
CONDUIT OR DUCT SYSTEM | 4373.2031
FOUNDATIONS, 0-60KV | 25721.86
FUSE EQUIPMENT - 0-60 KV | 11020.39
LIGHTNING ARRESTOR 0-60 KV | 670.6
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 42869.77
STRUCTURES, 0-60KV | 42502.6
SWITCH, AIRBREAK, 0-60KV | 186.79
SWITCH, DISCONNECT, 0-60KV | 21557.45
SWITCH, MOTOR OPERATOR, 0-60KV | 12860.93
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 33254.83
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 16765.23
TRANSFORMER - AUXILIARY AND STATION SERVICE | 1676.52
TRANSFORMER, INSTRUMENT 0-60 KV | 8097.88
TRANSFORMER, POWER 138 KV | -590525.03
0PT46970 | 1656794.6518
Taylor West Sub Install bank
361 - Structures and Improvements | -149058.2077
ELECTRICAL SYSTEM | -36896.9045
ENVIRONMENTAL PROTECTION EQUIPMENT | -48457.2787
GROUNDING SYSTEM | -38722.2279
OUTDOOR LIGHTING SYSTEM | -2824.2
YARD IMPROVEMENTS AND SURFACING | -22157.5966
362 - Station Equipment | 1805852.8595
BUSS ASSEMBLY - 0 - 60KV | -49222.81
CONDUIT OR DUCT SYSTEM | 8761.5495
FOUNDATIONS, 0-60KV | 125.63
FUSE EQUIPMENT - 0-60 KV | 284.36
LIGHTNING ARRESTOR 0-60 KV | -15747.56
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 29682.87
STRUCTURES, 0-60KV | -38468.26
SWITCH, AIRBREAK, 0-60KV | -25967.07
SWITCH, DISCONNECT, 0-60KV | -21045.78
SWITCH, MOTOR OPERATOR, 0-60KV | -7936.59
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | -48752.14
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | -36223.99
TRANSFORMER - AUXILIARY AND STATION SERVICE | -15588.83
TRANSFORMER, INSTRUMENT 0-60 KV | -15588.83
TRANSFORMER, POWER 138 KV | 2041540.31
0PT46971 | 2637995.5822
Parker Maxwell Creek Sub Inst
361 - Structures and Improvements | 90413.1117
ELECTRICAL SYSTEM | 2122.3642
ENVIRONMENTAL PROTECTION EQUIPMENT | 9975.1478
GROUNDING SYSTEM | 1061.1821
YARD IMPROVEMENTS AND SURFACING | 77254.4177
362 - Station Equipment | 2547582.4705
BUSS ASSEMBLY - 0 - 60KV | 91831.51
CONDUIT OR DUCT SYSTEM | 1910.1205
FUSE EQUIPMENT - 0-60 KV | 1483.86
LIGHTNING ARRESTOR 0-60 KV | 7236.25
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 76795.17
STRUCTURES, 0-60KV | 72691.61
SWITCH, MOTOR OPERATOR, 0-60KV | 7419.31
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 40617.77
TRANSFORMER - AUXILIARY AND STATION SERVICE | 4414.96
TRANSFORMER, POWER 138 KV | 2243181.91
0PT46981 | 3721623.7817
Navigation Sub Establish sub
361 - Structures and Improvements | 539068.6065
ELECTRICAL SYSTEM | 424.7861
FENCE | 74764.4341
GROUNDING SYSTEM | 16142.3058
OUTDOOR LIGHTING SYSTEM | 10619.9418
YARD IMPROVEMENTS AND SURFACING | 437117.1388
362 - Station Equipment | 3182555.1752
BATTERY CHARGING SET | 146.173
BUSS ASSEMBLY - 0 - 60KV | 113763.38
CONTROL CENTER AND ELECTRICAL EQUIP. | 160507.3208
FUSE EQUIPMENT - 0-60 KV | 1058.05
LIGHTNING ARRESTOR 0-60 KV | 211.6
POWER CIRCUIT BREAKER, 2000 AMPERE, 25KV | 32265.99
Relays, 0-69 KV Relay Panel | 32669.32
Security System | 278.613
STORAGE BATTERY | 11469.5347
STRUCTURES, 0-60KV | 86706.14
SUPERVISORY CONTROL EQUIPMENT | 7893.7937
SWITCH, AIRBREAK, 0-60KV | 9099.32
SWITCH, DISCONNECT, 0-60KV | 59033.96
SWITCH, MOTOR OPERATOR, 0-60KV | 211.6
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 22182.87
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 58419.03
TRANSFORMER - AUXILIARY AND STATION SERVICE | 211.6
TRANSFORMER, INSTRUMENT 0-60 KV | 5534.42
TRANSFORMER, POWER 138 KV | 2580892.46
0PT46986 | 3897233.484
Flat Iron Sub Install one 13
361 - Structures and Improvements | 232530.7053
ELECTRICAL SYSTEM | 4866.1033
ENVIRONMENTAL PROTECTION EQUIPMENT | 180741.381
GROUNDING SYSTEM | 3823.3634
OUTDOOR LIGHTING SYSTEM | 17378.9734
YARD IMPROVEMENTS AND SURFACING | 25720.8842
362 - Station Equipment | 3664702.7788
BUSS ASSEMBLY - 0 - 60KV | 121028.19
CONDUIT OR DUCT SYSTEM | 16800.9888
FOUNDATIONS, 0-60KV | 24753.36
FUSE EQUIPMENT - 0-60 KV | 48203.91
LIGHTNING ARRESTOR 0-60 KV | 22582.01
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 176313.43
STRUCTURES, 0-60KV | 106830.3
SWITCH, AIRBREAK, 0-60KV | 22582.01
SWITCH, DISCONNECT, 0-60KV | 19351.39
SWITCH, MOTOR OPERATOR, 0-60KV | 3400.95
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 21279.2
TRANSFORMER - AUXILIARY AND STATION SERVICE | 12159.54
TRANSFORMER, INSTRUMENT 0-60 KV | 43861.21
TRANSFORMER, POWER 138 KV | 3025556.29
0PT47010 | 139513.1928
Rocky Creek Switch Install HV
353 - Station Equipment | 139513.1928
CONDUIT OR DUCT SYSTEM | 8299.6489
Station Communication Equipment | 131213.5439
0PT47086 | 830218.1492
Southlake Sub Install 138 kV C
361 - Structures and Improvements | 777323.3819
ELECTRICAL SYSTEM | 10348.9695
FENCE | 34726.5714
GROUNDING SYSTEM | 51284.9358
MASONRY WALL | 329097.518
OUTDOOR LIGHTING SYSTEM | 1149.8812
YARD IMPROVEMENTS AND SURFACING | 350715.506
362 - Station Equipment | 52894.7674
CONDUIT OR DUCT SYSTEM | 25297.497
FENCES, PROTECTIVE | 27597.2704
0PT47105 | 3358482.3542
Star Ranch Substation fka Norm
374 - Land Owned in Fee | 3358482.3542
FEE LAND | 3358482.3542
0PT47108 | 368735.912
Vanguard Substation Purchase
374 - Land Owned in Fee | 368735.912
FEE LAND | 368735.912
0PT47112 | 127021.2514
Midnight Sub Add 25 kV Feeder
361 - Structures and Improvements | 1272.3942
GROUNDING SYSTEM | 1272.3942
362 - Station Equipment | 125748.8572
BUSS ASSEMBLY - 0 - 60KV | 16669.04
CONDUIT OR DUCT SYSTEM | 11860.1472
LIGHTNING ARRESTOR 0-60 KV | 649.26
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 81425.72
SWITCH, DISCONNECT, 0-60KV | 7240.66
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 7904.03
0PT47179 | 1188822.85
SOSF SPARE: PURCHASE AND STORE
362 - Station Equipment | 1188822.85
TRANSFORMER, POWER 138 KV | 1188822.85
0PT47295 | 1078465.0542
Beals Creek Sub Install 13825
361 - Structures and Improvements | 30886.6986
ELECTRICAL SYSTEM | 376.6599
GROUNDING SYSTEM | 1883.3345
OUTDOOR LIGHTING SYSTEM | 376.6599
YARD IMPROVEMENTS AND SURFACING | 28250.0442
362 - Station Equipment | 1047578.3556
BUSS ASSEMBLY - 0 - 60KV | 96105.67
CONTROL CENTER AND ELECTRICAL EQUIP. | 595510.9914
FUSE EQUIPMENT - 0-60 KV | 1731.63
LIGHTNING ARRESTOR 0-60 KV | 432.9
POWER CIRCUIT BREAKER, 2000 AMPERE, 25KV | 48918.65
STRUCTURES, 0-60KV | 75326.07
SUPERVISORY CONTROL EQUIPMENT | 28250.0442
SWITCH, DISCONNECT, 0-60KV | 67966.62
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 75326.07
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 57143.91
TRANSFORMER - AUXILIARY AND STATION SERVICE | 432.9
TRANSFORMER, INSTRUMENT 0-60 KV | 432.9
0PT47302 | 162361.2772
Bronze Age Sub fka Troy Substa
374 - Land Owned in Fee | 162361.2772
FEE LAND | 162361.2772
0PT47310 | 1600495.54
Rhome Sub Replace 138249 kV 10
361 - Structures and Improvements | 134560.6114
ELECTRICAL SYSTEM | 6268.342
FENCE | 38445.889
GROUNDING SYSTEM | 18805.0524
YARD IMPROVEMENTS AND SURFACING | 71041.3281
362 - Station Equipment | 1465934.9285
BUSS ASSEMBLY - 0 - 60KV | 6489.75
CONDUIT OR DUCT SYSTEM | 98204.1896
CONTROL CENTER AND ELECTRICAL EQUIP. | 346848.8578
FOUNDATIONS, 0-60KV | 126443.42
FUSE EQUIPMENT - 0-60 KV | 4741.61
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 31475.31
POWER CIRCUIT BREAKER, 2000 AMPERE, 25KV | 34519.02
RELAY SWITCHBOARD 0-60 KV | 65434.46
STORAGE BATTERY | 2859.7802
STRUCTURES, 0-60KV | 4574.81
SUPERVISORY CONTROL EQUIPMENT | 16658.231
SWITCH, AIRBREAK, 0-60KV | 12684.7
SWITCH, MOTOR OPERATOR, 0-60KV | 41094.1
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 55811.9
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 21740.68
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 23708.13
TRANSFORMER - AUXILIARY AND STATION SERVICE | 25288.67
TRANSFORMER, INSTRUMENT 0-60 KV | 6489.75
TRANSFORMER, POWER 138 KV | 540867.56
0PT47322 | 1658057.0263
Ennis Southeast Install 1 28M
361 - Structures and Improvements | 270431.0707
ELECTRICAL SYSTEM | 16316.5091
ENVIRONMENTAL PROTECTION EQUIPMENT | 95632.8902
GROUNDING SYSTEM | 66776.8325
OUTDOOR LIGHTING SYSTEM | 14503.5644
YARD IMPROVEMENTS AND SURFACING | 77201.2745
362 - Station Equipment | 1387625.9556
BUSS ASSEMBLY - 0 - 60KV | 58311.24
CONDUIT OR DUCT SYSTEM | 24776.9156
FOUNDATIONS, 0-60KV | 25941.6
FUSE EQUIPMENT - 0-60 KV | 13451.22
LIGHTNING ARRESTOR 0-60 KV | 7444.06
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 37767.69
STRUCTURES, 0-60KV | 45758.19
SWITCH, AIRBREAK, 0-60KV | 11409.52
SWITCH, DISCONNECT, 0-60KV | 15107.07
SWITCH, MOTOR OPERATOR, 0-60KV | 25712.03
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 27319.03
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 17054.23
TRANSFORMER - AUXILIARY AND STATION SERVICE | 22498.03
TRANSFORMER, INSTRUMENT 0-60 KV | 12130.12
TRANSFORMER, POWER 138 KV | 1042945.01
0PT47325 | 839279.9771
Millers Ferry Road Sub Instal
361 - Structures and Improvements | 176087.4099
ELECTRICAL SYSTEM | 7203.5693
ENVIRONMENTAL PROTECTION EQUIPMENT | 97648.4785
GROUNDING SYSTEM | 23131.4791
YARD IMPROVEMENTS AND SURFACING | 48103.883
362 - Station Equipment | 663192.5672
BUSS ASSEMBLY - 0 - 60KV | 79307.82
CONDUIT OR DUCT SYSTEM | 310.1672
FOUNDATIONS, 0-60KV | 674.22
FUSE EQUIPMENT - 0-60 KV | 23684.42
LIGHTNING ARRESTOR 0-60 KV | 69.43
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 877.04
STRUCTURES, 0-60KV | 81479.56
SWITCH, AIRBREAK, 0-60KV | 55220.73
SWITCH, DISCONNECT, 0-60KV | 59766.37
SWITCH, MOTOR OPERATOR, 0-60KV | 16089.95
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 78519
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 29991.68
TRANSFORMER - AUXILIARY AND STATION SERVICE | 3604.15
TRANSFORMER, INSTRUMENT 0-60 KV | 10912.75
TRANSFORMER, POWER 138 KV | 222685.28
0PT47351 | 1502235.0311
Mason Sub Replace Two Transfor
361 - Structures and Improvements | 168262.9487
ENVIRONMENTAL PROTECTION EQUIPMENT | 80951.2508
GROUNDING SYSTEM | 809.5072
YARD IMPROVEMENTS AND SURFACING | 86502.1907
362 - Station Equipment | 1333972.0825
CONDUIT OR DUCT SYSTEM | 578.2225
LIGHTNING ARRESTOR 0-60 KV | 2440.62
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 4881.24
TRANSFORMER, POWER 138 KV | 1326072
0PT47424 | 1610900.3487
Paloma Substation fka Gray Dov
374 - Land Owned in Fee | 1610900.3487
FEE LAND | 1610900.3487
0PT47566 | 215107.46
Blackwell Street Sub Regasket
362 - Station Equipment | 215107.46
TRANSFORMER GASKET SET, POWER 138KV | 215107.46
0PT47702 | 435967.6454
Sherman Texas Instruments Yar
361 - Structures and Improvements | 286548.7009
FENCE | 14185.5706
GROUNDING SYSTEM | 85113.463
YARD IMPROVEMENTS AND SURFACING | 187249.6673
362 - Station Equipment | 149418.9445
CONDUIT OR DUCT SYSTEM | 17022.6887
Station Communication Equipment | 11348.4558
STRUCTURES | 121047.8
0PT47736 | 4110243.159
Sandhills Sub Install Bank 3
361 - Structures and Improvements | 564953.4256
ELECTRICAL SYSTEM | 8709.0578
ENVIRONMENTAL PROTECTION EQUIPMENT | 420307.1954
GROUNDING SYSTEM | 35214.9237
OUTDOOR LIGHTING SYSTEM | 8709.0578
YARD IMPROVEMENTS AND SURFACING | 92013.191
362 - Station Equipment | 3545289.7334
BATTERY CHARGING SET | 2612.4788
BUSS ASSEMBLY - 0 - 60KV | 184196.78
CONDUIT OR DUCT SYSTEM | 86268.313
CONTROL CENTER AND ELECTRICAL EQUIP. | 300435.351
FUSE EQUIPMENT - 0-60 KV | 15312.89
LIGHTNING ARRESTOR 0-60 KV | 41255.42
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 132482.23
POWER CIRCUIT BREAKER, 2000 AMPERE, 25KV | 41836.49
STORAGE BATTERY | 4184.6542
STRUCTURES, 0-60KV | 189426.34
SUPERVISORY CONTROL EQUIPMENT | 20068.7164
SWITCH, AIRBREAK, 0-60KV | 19756.12
SWITCH, DISCONNECT, 0-60KV | 87194.96
SWITCH, MOTOR OPERATOR, 0-60KV | 15688.67
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 154562.6
SWITCHBOARD PANEL, BUS DIFFERENTIAL, 0-60KV | 23957.26
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 8715.93
TRANSFORMER - AUXILIARY AND STATION SERVICE | 47066.05
TRANSFORMER, POWER 138 KV | 2170268.48
0PT47831 | 124366.84
Irving Northeast Sub ReGasket
362 - Station Equipment | 124366.84
PUMP, POWER TRANSFORMER, 138KV | 48089.58
TRANSFORMER GASKET SET, POWER 138KV | 76277.26
0PT47987 | 2780187.4438
Roanoke Switch Install transfo
353 - Station Equipment | 2780187.4438
BUSS ASSEMBLY - 0 - 60KV | 77226.69
CONDUIT OR DUCT SYSTEM | 16973.7771
FUSE EQUIPMENT 0-60 KV | 6544.62
LIGHTNING ARRESTOR 0-69 KV | 13089.26
MOTOR OPERATORS, 0-60KV | 34468.41
POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV | 204192.63
RELAYS, 0-69KV | 6544.62
STRUCTURES, 0-60KV | 297999.07
SWITCH, AIRBREAK, 0-60KV | 43630.89
SWITCH, DISCONNECT, 0-60KV | 43630.89
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 20942.82
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 43194.59
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 37958.87
SWITCHBOARD PANEL, STATION METERING, 0-60KV | 27923.77
TRANSFORMER - AUXILIARY AND STATION SERVICE | 10103.4367
TRANSFORMER, INSTRUMENT 0-60 KV | 15707.12
TRANSFORMER, POWER 138 KV | 1880055.98
0PT48077 | 1379737.9846
Salt Lake Sub Install transfo
361 - Structures and Improvements | 757881.5667
ELECTRICAL SYSTEM | 1897.5447
ENVIRONMENTAL PROTECTION EQUIPMENT | 277042.3407
FENCE | 51233.8523
GROUNDING SYSTEM | 110057.9126
OUTDOOR LIGHTING SYSTEM | 6451.6694
YARD IMPROVEMENTS AND SURFACING | 311198.2471
362 - Station Equipment | 621856.4179
BATTERY CHARGING SET | 15939.422
BUSS ASSEMBLY - 0 - 60KV | 82058.8
CONTROL CENTER AND ELECTRICAL EQUIP. | 261482.429
FUSE EQUIPMENT - 0-60 KV | 3116.15
RELAY SWITCHBOARD 0-60 KV | 41548.76
STRUCTURES, 0-60KV | 66478.02
SUPERVISORY CONTROL EQUIPMENT | 11005.7869
SWITCH, AIRBREAK, 0-60KV | 22332.46
SWITCH, DISCONNECT, 0-60KV | 42068.12
SWITCH, MOTOR OPERATOR, 0-60KV | 4674.23
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 30122.85
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 38951.96
TRANSFORMER - AUXILIARY AND STATION SERVICE | 2077.43
0PT48318 | 152917.4495
Steer Sub (fka Big Springs)
374 - Land Owned in Fee | 152917.4495
FEE LAND | 152917.4495
0PT48351 | 266079.1743
Stephenson Lake POD Establish
353 - Station Equipment | 266079.1743
BATTERY CHARGING SET | 638.3559
BUILDING, ELECTRICAL EQUIPMENT | 86120.3254
CONDUIT OR DUCT SYSTEM | 3917.1923
HARDENED NETWORK ROUTER | 5164.8922
METERING, 0-69KV | 14563.27
Station Communication Equipment | 11954.6987
STORAGE BATTERY | 18019.0966
STRUCTURES, 0-60KV | 2829.82
SUPERVISORY CONTROL EQUIPMENT | 11838.634
TELEMETERING EQUIPMENT 0-60 KV | 27193.96
TRANSFORMER - AUXILIARY AND STATION SERVICE | 46222.9092
TRANSFORMER, INSTRUMENT 0-60 KV | 37616.02
0PT48636 | 195872.89
Bryan Street Sub Replace rel
362 - Station Equipment | 195872.89
SWITCHBOARD PANEL, 1 FEEDER, 0-60KV | 153133.43
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 42739.46
0PT48823 | 165839.3993
Hill Crest Sub Install 4th fe
361 - Structures and Improvements | 3090.2201
GROUNDING SYSTEM | 3090.2201
362 - Station Equipment | 162749.1792
CONDUIT OR DUCT SYSTEM | 6875.7492
FOUNDATIONS, 0-60KV | 4822.21
LIGHTNING ARRESTOR 0-60 KV | 1928.88
POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV | 121462.1
STRUCTURES, 0-60KV | 14524.52
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 13135.72
0PT48904 | 186047.22
Killeen Elms Rd Sub Relay Upgr
362 - Station Equipment | 186047.22
SWITCHBOARD PANEL, 2 FEEDER, 0-60KV | 70988.37
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 81260.91
SWITCHBOARD PANEL, FEEDER BYPASS-BUS TIE, 0-60KV | 33797.94
0PT48963 | 334343.33
2022 Mobile Stepup Transformer
362 - Station Equipment | 334343.33
MOBILE SUBSTATION | 334343.33
0PT49074 | 192269.0631
2022 Texoma SF6 Gas Trailer
361 - Structures and Improvements | 192269.0631
ELECTRICAL SYSTEM | 192269.0631
0PT49076 | 191500.3254
2022 Wichita Falls SF6 Gas Tr
361 - Structures and Improvements | 191500.3254
ELECTRICAL SYSTEM | 191500.3254
0PT49153 | 1239988.1823
Killeen Clear Creek Sub Repla
362 - Station Equipment | 1239988.1823
CONDUIT OR DUCT SYSTEM | 50433.5423
TRANSFORMER, POWER 138 KV | 1189554.64
0PT49963 | 326947.7993
Liggett Switch Replace Damage
353 - Station Equipment | 326947.7993
CONDUIT OR DUCT SYSTEM | 3144.7993
LIGHTNING ARRESTOR 0-69 KV | 7897.62
TRANSFORMER, POWER 138 KV | 308007.76
TRANSFORMER WINDINGS AND COMPONENTS, POWER 138KV | 7897.62
0PT49997 | 1327118.14
SOSF SPARE PURCHASE AND STORE
362 - Station Equipment | 1327118.14
TRANSFORMER, POWER 138 KV | 1327118.14
0PT50089 | 871634.76
Webb Sub Replace Failed Trans
362 - Station Equipment | 871634.76
TRANSFORMER, POWER 345 KV | 871634.76
0PT50267 | 105472.38
Plano Sub Remove and Replace
362 - Station Equipment | 105472.38
TRANSFORMER, POWER 138 KV | 105472.38
0PT50308 | 283823.1027
Celeste Sub Replace Failed T
361 - Structures and Improvements | 18889.4927
ENVIRONMENTAL PROTECTION EQUIPMENT | 18889.4927
362 - Station Equipment | 264933.61
BUSS ASSEMBLY - 0 - 60KV | 161.98
LIGHTNING ARRESTOR 0-60 KV | 27813.65
TRANSFORMER, POWER 138 KV | 236957.98
0PT50726 | 304925.6456
LIGSWTRF01 Replace Damaged Equ
353 - Station Equipment | 304925.6456
BUSHING, 0-60KV TRANSFORMER | 47980.28
BUSHING, 138KV TRANSFORMER | 248537.92
CONDUIT OR DUCT SYSTEM | 3643.6956
LIGHTNING ARRESTOR 0-69 KV | 4763.75
0PT50733 | 177750.09
Trinidad Switch Replace Three
353 - Station Equipment | 177750.09
BUSHING, 0-60KV TRANSFORMER | 177750.09
0PT50984 | 439076.57
SOSF SPARE PURCHASE AND STORE
362 - Station Equipment | 439076.57
TRANSFORMER, POWER 138 KV | 439076.57
0PT51151 | 129674.92
Preston North Sub Replace gas
362 - Station Equipment | 129674.92
TRANSFORMER GASKET SET, POWER 138KV | 129674.92
0PT51512 | 109244.0533
Round Rock Northeast Sub Repl
361 - Structures and Improvements | 90311.34
ELECTRICAL SYSTEM | 7239.5334
ENVIRONMENTAL PROTECTION EQUIPMENT | 67349.597
GROUNDING SYSTEM | 2486.299
YARD IMPROVEMENTS AND SURFACING | 13235.9106
362 - Station Equipment | 18932.7133
CONDUIT OR DUCT SYSTEM | 3144.4433
LIGHTNING ARRESTOR 0-60 KV | 3113.95
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 12674.32
18T65180 | 444103.9419
POLK STREET SUBSTATION DISTRIB
362 - Station Equipment | 444103.9419
CONDUIT OR DUCT SYSTEM | 4504.1518
HARDENED NETWORK ROUTER | 65452.7784
Station Communication Equipment | 114428.3416
SWITCHBOARD PANEL, 1 FEEDER, 0-60KV | 248843.76
SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV | 10874.91
Grand Total | 111152828.1601
Projects with Additions >$100,000 for Substation Accounts | 111152828.1601
Projects with Additions >$100,000 for Non-Substation Accounts | 597762515.97
Projects with Additions >$100,000 from WP/Schedule B-1/1/6 ME 06302023 | 708915344.1301
Projects with Additions <$100,000 from WP/Schedule B-1/1/6 ME 06302023 | 142492315.85
Six Months Ending June 30, 2023 DCRF Additions | 851407659.9801
Six Months Ending June 30, 2024 DCRF Additions | 992033529.7716
Six Months Ending December 31, 2023 DCRF Additions | 973409338.6517
2022 DCRF Additions | 1520316270.3468
Total DCRF Additions for January 1, 2022 through June 30, 2024, Sch B-1, Col 2, Line 24 | 4337166798.7503
Note: This listing reflects only substation projects greater than $100,000 includable in DCRF for six months ending June 30, 2023.