## Retirements - 6 ME 06302023
Oncor Electric Delivery Company LLC
Distribution Cost Recovery Factor
Property Unit Descriptions for Projects with Retirements > $100,000 for Six Months Ending June 30, 2023
Update Period 01/01/2022 - 06/30/2024
Sponsors: W. Alan Ledbetter and Coler D. Snelleman
Project | DCRF Retirement Amount | Property Unit Amount | FERC Account | Property Unit | Project Title / Property Unit Description | Project Description | Retirement Date
0PT41016 | -948396.7603 |  |  |  | Duval Sub Remove 69 kV Station | Duval Sub Remove 69 kV Station | 2023-02-28
0PT41016 |  | -17748.8616 | 353 | 0020 | GENERATOR SET
0PT41016 |  | -2096.3683 | 353 | 0030 | BATTERY CHARGING SET
0PT41016 |  | -4830.6392 | 353 | 0050 | CONDUIT OR DUCT SYSTEM
0PT41016 |  | -187480.07 | 353 | 013A | POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV
0PT41016 |  | -38984.61 | 353 | 013B | POWER CIRCUIT BREAKER, 2000 AMPERE, 15KV
0PT41016 |  | -14881.5958 | 353 | 0160 | STORAGE BATTERY
0PT41016 |  | -434.7121 | 353 | 0210 | TRANSFORMER - AUXILIARY AND STATION SERVICE
0PT41016 |  | -238.107 | 353 | 0260 | BUILDING, ELECTRICAL EQUIPMENT
0PT41016 |  | -8464.9263 | 353 | 0280 | SUPERVISORY CONTROL EQUIPMENT
0PT41016 |  | -297.37 | 353 | 1090 | FUSE EQUIPMENT 0-60 KV
0PT41016 |  | -11024.16 | 353 | 1110 | LIGHTNING ARRESTOR 0-69 KV
0PT41016 |  | -770.72 | 353 | 1140 | RELAY SWITCHBOARD 0-60 KV
0PT41016 |  | -40757.05 | 353 | 1141 | RELAYS, 0-69KV
0PT41016 |  | -10447.36 | 353 | 114H | SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV
0PT41016 |  | -34344.32 | 353 | 1180 | SWITCH 0-60 KV
0PT41016 |  | -7802.45 | 353 | 118D | MOTOR OPERATORS, 0-60KV
0PT41016 |  | -14304.5 | 353 | 118E | SWITCH, VAC INTERRUPTER, 0-60KV
0PT41016 |  | -38986.79 | 353 | 1213 | BUSHING, 0-60KV TRANSFORMER
0PT41016 |  | -32934.29 | 353 | 121C | ENCLOSURE, LOAD TAP CHANGER, POWER TRANSFORMER
0PT41016 |  | -42232.44 | 353 | 1230 | VOLTAGE REGULATOR
0PT41016 |  | -4595.32 | 353 | 1290 | TRANSFORMER, INSTRUMENT 0-60 KV
0PT41016 |  | -349881.7 | 353 | 2210 | TRANSFORMER, POWER 69 KV
0PT41016 |  | -53878 | 353 | 2213 | BUSHING, 69KV TRANSFORMER
0PT41016 |  | -30980.4 | 353 | 221D | TRANSFORMER GASKET SET, POWER 69KV
0PT42596 | -262028.9078 |  |  |  | Neylandville Sub Remove and R | Neylandville Sub Remove and R | 2023-01-31
0PT42596 |  | -5318.6443 | 361 | 0020 | YARD IMPROVEMENTS AND SURFACING
0PT42596 |  | -1958.4091 | 361 | 0105 | DRIVEWAY OR ROADWAY (IN STATION PROTECTIVE FENCE)
0PT42596 |  | -944.7301 | 361 | 013B | GROUNDING SYSTEM
0PT42596 |  | -330.9297 | 362 | 0030 | BATTERY CHARGING SET
0PT42596 |  | -24175.9 | 362 | 0040 | BUS ASSEMBLY - RETIREMENT OF OLD EQUIPMENT ONLY
0PT42596 |  | -3760.3532 | 362 | 0050 | CONDUIT OR DUCT SYSTEM
0PT42596 |  | -74.6585 | 362 | 0070 | CRANE OR HOIST
0PT42596 |  | -12.4721 | 362 | 0100 | YARD LIGHTING SYSTEM
0PT42596 |  | -1272.2277 | 362 | 0160 | STORAGE BATTERY
0PT42596 |  | -3533.32 | 362 | 0170 | STRUCTURES
0PT42596 |  | -1031.16 | 362 | 0200 | STATION METERING
0PT42596 |  | -1.5194 | 362 | 0250 | FENCES, PROTECTIVE
0PT42596 |  | -766.3685 | 362 | 0260 | BUILDING, ELECTRICAL EQUIPMENT
0PT42596 |  | -175.7753 | 362 | 0280 | SUPERVISORY CONTROL EQUIPMENT
0PT42596 |  | -7187.45 | 362 | 1040 | BUSS ASSEMBLY - 0 - 60KV
0PT42596 |  | -4326.27 | 362 | 1090 | FUSE EQUIPMENT - 0-60 KV
0PT42596 |  | -1807.38 | 362 | 1110 | LIGHTNING ARRESTOR 0-60 KV
0PT42596 |  | -61518.58 | 362 | 1130 | POWER CIRCUIT BREAKER 0-60 KV
0PT42596 |  | -1187.06 | 362 | 1140 | RELAY SWITCHBOARD 0-60 KV
0PT42596 |  | -1286.89 | 362 | 114A | SWITCHBOARD PANEL, STATION METERING, 0-60KV
0PT42596 |  | -10856.14 | 362 | 114G | SWITCHBOARD PANEL, CUSTOMER METERING, 0-60KV
0PT42596 |  | -3593.72 | 362 | 114H | SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV
0PT42596 |  | -6429.47 | 362 | 117A | STRUCTURES, 0-60KV
0PT42596 |  | -1928.42 | 362 | 1180 | SWITCH 0-60 KV
0PT42596 |  | -53709.24 | 362 | 1230 | VOLTAGE REGULATOR
0PT42596 |  | -14904.08 | 362 | 1290 | TRANSFORMER, INSTRUMENT 0-60 KV
0PT42596 |  | -21187.92 | 362 | 2210 | TRANSFORMER, POWER 69 KV
0PT42596 |  | -28749.82 | 362 | 3220 | MOBILE SUBSTATION 138 KV
0PT42929 | -758847.2449 |  |  |  | Compton Street Sub Replace tr | Compton Street Sub Replace tr | 2023-02-28
0PT42929 |  | -3161.0815 | 361 | 0040 | SERVICE BUILDING
0PT42929 |  | -246.6783 | 361 | 0070 | OUTDOOR LIGHTING SYSTEM
0PT42929 |  | -821.4735 | 361 | 0130 | ELECTRICAL SYSTEM
0PT42929 |  | -51815.1773 | 362 | 0020 | GENERATOR SET
0PT42929 |  | -36557.95 | 362 | 0040 | BUS ASSEMBLY - RETIREMENT OF OLD EQUIPMENT ONLY
0PT42929 |  | -2427.3412 | 362 | 0050 | CONDUIT OR DUCT SYSTEM
0PT42929 |  | -22122.54 | 362 | 0060 | CAPACITOR BANK STATION
0PT42929 |  | -146.0244 | 362 | 0080 | FIRE PROTECTION SYSTEM
0PT42929 |  | -1742.9907 | 362 | 0100 | YARD LIGHTING SYSTEM
0PT42929 |  | -97002.39 | 362 | 013A | POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV
0PT42929 |  | -5587.6555 | 362 | 0160 | STORAGE BATTERY
0PT42929 |  | -9142.33 | 362 | 0170 | STRUCTURES
0PT42929 |  | -18319.0523 | 362 | 0280 | SUPERVISORY CONTROL EQUIPMENT
0PT42929 |  | -6770.84 | 362 | 1141 | Relays, 0-69 KV Relay Panel
0PT42929 |  | -7252.07 | 362 | 1180 | SWITCH 0-60 KV
0PT42929 |  | -100582.85 | 362 | 1190 | SWITCHGEAR, METAL ENCLOSED 0-60 KV
0PT42929 |  | -213136.84 | 362 | 2210 | TRANSFORMER, POWER 69 KV
0PT42929 |  | -182011.96 | 362 | 3210 | TRANSFORMER, POWER 138 KV
0PT43760 | -121855.09 |  |  |  | Liggett Switch Relay Upgrade | Liggett Switch Relay Upgrade | 2023-01-31
0PT43760 |  | -121855.09 | 353 | 1130 | POWER CIRCUIT BREAKER 0-60 KV
0PT44246 | -115030.7566 |  |  |  | Temple Northwest Sub Replace | Temple Northwest Sub Replace | 2023-04-30
0PT44246 |  | -607.0596 | 361 | 0010 | HVAC
0PT44246 |  | -2762.6342 | 362 | 0030 | BATTERY CHARGING SET
0PT44246 |  | -35876.11 | 362 | 0040 | BUS ASSEMBLY - RETIREMENT OF OLD EQUIPMENT ONLY
0PT44246 |  | -6485.5127 | 362 | 0260 | BUILDING, ELECTRICAL EQUIPMENT
0PT44246 |  | -8324.3889 | 362 | 0280 | SUPERVISORY CONTROL EQUIPMENT
0PT44246 |  | -11803.7912 | 362 | 0600 | Station Communication Equipment
0PT44246 |  | -1949.31 | 362 | 1110 | LIGHTNING ARRESTOR 0-60 KV
0PT44246 |  | -11294.37 | 362 | 1140 | RELAY SWITCHBOARD 0-60 KV
0PT44246 |  | -215.48 | 362 | 114D | SWITCHBOARD PANEL, 1 FEEDER, 0-60KV
0PT44246 |  | -2637.91 | 362 | 114H | SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV
0PT44246 |  | -16776.45 | 362 | 117A | STRUCTURES, 0-60KV
0PT44246 |  | -5791.26 | 362 | 118C | SWITCH, DISCONNECT, 0-60KV
0PT44246 |  | -5343.06 | 362 | 118D | SWITCH, MOTOR OPERATOR, 0-60KV
0PT44246 |  | -5163.42 | 362 | 1290 | TRANSFORMER, INSTRUMENT 0-60 KV
0PT44887 | -125481.5275 |  |  |  | Waco MM Mars Sub Install bank | Waco MM Mars Sub Add a 3rd 1 | 2023-01-31
0PT44887 |  | -4423.5975 | 362 | 0030 | BATTERY CHARGING SET
0PT44887 |  | -4604.1827 | 362 | 0160 | STORAGE BATTERY
0PT44887 |  | -4057.03 | 362 | 0200 | STATION METERING
0PT44887 |  | -4808.8989 | 362 | 0260 | BUILDING, ELECTRICAL EQUIPMENT
0PT44887 |  | -2899.4784 | 362 | 0270 | HEATING - VENTILATING - AIR CONDITIONING SYSTEM
0PT44887 |  | -532.88 | 362 | 1090 | FUSE EQUIPMENT - 0-60 KV
0PT44887 |  | -2000.08 | 362 | 1110 | LIGHTNING ARRESTOR 0-60 KV
0PT44887 |  | -29865.51 | 362 | 1130 | POWER CIRCUIT BREAKER 0-60 KV
0PT44887 |  | -19869.49 | 362 | 1140 | RELAY SWITCHBOARD 0-60 KV
0PT44887 |  | -52392.96 | 362 | 1141 | Relays, 0-69 KV Relay Panel
0PT44887 |  | -27.42 | 362 | 114H | SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV
0PT45122 | -295229.7 |  |  |  | Calmont Sub Add transformer 8 | Calmont Sub Add transformer 8 | 2023-04-30
0PT45122 |  | -8267.96 | 353 | 1190 | SWITCHGEAR, METAL ENCLOSED 0-60 KV
0PT45122 |  | -286961.74 | 353 | 3210 | TRANSFORMER, POWER 138 KV
0PT45394 | -455859.27 |  |  |  | Midlothian South Sub Replace | Midlothian South Sub Replace | 2023-04-30
0PT45394 |  | -121709.08 | 362 | 013A | POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV
0PT45394 |  | -19238.06 | 362 | 1090 | FUSE EQUIPMENT - 0-60 KV
0PT45394 |  | -136962.61 | 362 | 1110 | LIGHTNING ARRESTOR 0-60 KV
0PT45394 |  | -26885.73 | 362 | 1130 | POWER CIRCUIT BREAKER 0-60 KV
0PT45394 |  | -72985.21 | 362 | 117A | STRUCTURES, 0-60KV
0PT45394 |  | -19038.57 | 362 | 1180 | SWITCH 0-60 KV
0PT45394 |  | -20106.61 | 362 | 118A | SWITCH, AIRBREAK, 0-60KV
0PT45394 |  | -28880.1 | 362 | 118C | SWITCH, DISCONNECT, 0-60KV
0PT45394 |  | -10053.3 | 362 | 118D | SWITCH, MOTOR OPERATOR, 0-60KV
0PT46097 | -172944.61 |  |  |  | Coupland Sub Retire and remov | Coupland Sub Retire and remov | 2023-04-30
0PT46097 |  | -17954.35 | 362 | 0040 | BUS ASSEMBLY - RETIREMENT OF OLD EQUIPMENT ONLY
0PT46097 |  | -3388.44 | 362 | 0170 | STRUCTURES
0PT46097 |  | -2551.06 | 362 | 0200 | STATION METERING
0PT46097 |  | -9128.96 | 362 | 1090 | FUSE EQUIPMENT - 0-60 KV
0PT46097 |  | -519.88 | 362 | 1110 | LIGHTNING ARRESTOR 0-60 KV
0PT46097 |  | -9412.62 | 362 | 1140 | RELAY SWITCHBOARD 0-60 KV
0PT46097 |  | -3556.2 | 362 | 114H | SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV
0PT46097 |  | -24347.23 | 362 | 117A | STRUCTURES, 0-60KV
0PT46097 |  | -5446.03 | 362 | 1213 | BUSHING, 0-60KV TRANSFORMER
0PT46097 |  | -1583.6 | 362 | 1290 | TRANSFORMER, INSTRUMENT 0-60 KV
0PT46097 |  | -94290.41 | 362 | 2210 | TRANSFORMER, POWER 69 KV
0PT46097 |  | -765.83 | 362 | 3220 | MOBILE SUBSTATION 138 KV
0PT46329 | -115705.48 |  |  |  | Breckenridge North Sub Replac | Breckenridge North Sub Replac | 2023-04-30
0PT46329 |  | -115705.48 | 362 | 3210 | TRANSFORMER, POWER 138 KV
0PT46587 | -376495.9264 |  |  |  | Mustang Sub Install 47 MVA 13 | Mustang Sub Install 47 MVA 13 | 2023-02-28
0PT46587 |  | -39408.1143 | 361 | 0010 | HVAC
0PT46587 |  | -25292.2916 | 361 | 0020 | YARD IMPROVEMENTS AND SURFACING
0PT46587 |  | -9614.6146 | 361 | 0030 | FENCE
0PT46587 |  | -4716.7654 | 361 | 0040 | SERVICE BUILDING
0PT46587 |  | -41.7003 | 361 | 0070 | OUTDOOR LIGHTING SYSTEM
0PT46587 |  | -8430.7512 | 361 | 013B | GROUNDING SYSTEM
0PT46587 |  | -279.3948 | 362 | 0050 | CONDUIT OR DUCT SYSTEM
0PT46587 |  | -9853.6213 | 362 | 0160 | STORAGE BATTERY
0PT46587 |  | -86349.75 | 362 | 0170 | STRUCTURES
0PT46587 |  | -258.66 | 362 | 0200 | STATION METERING
0PT46587 |  | -823.23 | 362 | 0210 | TRANSFORMER - AUXILIARY AND STATION SERVICE
0PT46587 |  | -2392.2285 | 362 | 0250 | FENCES, PROTECTIVE
0PT46587 |  | -2162.2301 | 362 | 0260 | BUILDING, ELECTRICAL EQUIPMENT
0PT46587 |  | -1519.0573 | 362 | 0270 | HEATING - VENTILATING - AIR CONDITIONING SYSTEM
0PT46587 |  | -26398.6564 | 362 | 0280 | SUPERVISORY CONTROL EQUIPMENT
0PT46587 |  | -15095.5205 | 362 | 0600 | Station Communication Equipment
0PT46587 |  | -9384.21 | 362 | 1040 | BUSS ASSEMBLY - 0 - 60KV
0PT46587 |  | -482.6 | 362 | 1090 | FUSE EQUIPMENT - 0-60 KV
0PT46587 |  | -20240.88 | 362 | 1110 | LIGHTNING ARRESTOR 0-60 KV
0PT46587 |  | -6300.29 | 362 | 1140 | RELAY SWITCHBOARD 0-60 KV
0PT46587 |  | -3409.79 | 362 | 114H | SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV
0PT46587 |  | -13299.05 | 362 | 117A | STRUCTURES, 0-60KV
0PT46587 |  | -250.06 | 362 | 1180 | SWITCH 0-60 KV
0PT46587 |  | -936.46 | 362 | 118C | SWITCH, DISCONNECT, 0-60KV
0PT46587 |  | -89556 | 362 | 3210 | TRANSFORMER, POWER 138 KV
0PT46858 | -966594.9677 |  |  |  | Marlin SES Sub Remove and ret | Marlin SES Sub Remove and ret | 2023-04-30
0PT46858 |  | -827.5477 | 353 | 0050 | CONDUIT OR DUCT SYSTEM
0PT46858 |  | -157790.91 | 353 | 013A | POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV
0PT46858 |  | -31412.92 | 353 | 1040 | BUSS ASSEMBLY - 0 - 60KV
0PT46858 |  | -1260.76 | 353 | 1090 | FUSE EQUIPMENT 0-60 KV
0PT46858 |  | -2205 | 353 | 1110 | LIGHTNING ARRESTOR 0-69 KV
0PT46858 |  | -19713.11 | 353 | 113A | POWER CIRCUIT BREAKER, 1200 AMPERE, 25KV
0PT46858 |  | -81933.82 | 353 | 1140 | RELAY SWITCHBOARD 0-60 KV
0PT46858 |  | -71579.68 | 353 | 114C | SWITCHBOARD PANEL, 2 FEEDER, 0-60KV
0PT46858 |  | -129224.36 | 353 | 114H | SWITCHBOARD PANEL, CONTROL CABLE, 0-60KV
0PT46858 |  | -53162.09 | 353 | 117A | STRUCTURES, 0-60KV
0PT46858 |  | -93063.65 | 353 | 118A | SWITCH, AIRBREAK, 0-60KV
0PT46858 |  | -17640.02 | 353 | 118C | SWITCH, DISCONNECT, 0-60KV
0PT46858 |  | -6242.47 | 353 | 118D | MOTOR OPERATORS, 0-60KV
0PT46858 |  | -2646.01 | 353 | 118F | LIVE PARTS, 0-60KV SWITCH
0PT46858 |  | -100272.91 | 353 | 1230 | VOLTAGE REGULATOR
0PT46858 |  | -134893.18 | 353 | 2210 | TRANSFORMER, POWER 69 KV
0PT46858 |  | -62726.53 | 353 | 2213 | BUSHING, 69KV TRANSFORMER
0PT46892 | -281540.5679 |  |  |  | Sandhills Sub Replace Bank 1 w | Sandhills Sub Replace bank 1 | 2023-01-31
0PT46892 |  | -686.2175 | 361 | 0040 | SERVICE BUILDING
0PT46892 |  | -62.0967 | 361 | 0070 | OUTDOOR LIGHTING SYSTEM
0PT46892 |  | -277.0141 | 362 | 0030 | BATTERY CHARGING SET
0PT46892 |  | -3885.7 | 362 | 0040 | BUS ASSEMBLY - RETIREMENT OF OLD EQUIPMENT ONLY
0PT46892 |  | -32007.56 | 362 | 013A | POWER CIRCUIT BREAKER, 1200 AMPERE, 15KV
0PT46892 |  | -3196.5095 | 362 | 0150 | Security System
0PT46892 |  | -13444.02 | 362 | 0170 | STRUCTURES
0PT46892 |  | -4652.66 | 362 | 0200 | STATION METERING
0PT46892 |  | 9.77 | 362 | 0210 | TRANSFORMER - AUXILIARY AND STATION SERVICE
0PT46892 |  | -116313.65 | 362 | 1040 | BUSS ASSEMBLY - 0 - 60KV
0PT46892 |  | -146.93 | 362 | 1090 | FUSE EQUIPMENT - 0-60 KV
0PT46892 |  | -17152.24 | 362 | 1110 | LIGHTNING ARRESTOR 0-60 KV
0PT46892 |  | -83387.86 | 362 | 118C | SWITCH, DISCONNECT, 0-60KV
0PT46892 |  | -1432.7 | 362 | 1290 | TRANSFORMER, INSTRUMENT 0-60 KV
0PT46892 |  | -4905.18 | 362 | 3220 | MOBILE SUBSTATION 138 KV
0PT48313 | -104633.8388 |  |  |  | Rose Hill Sub Demo and Retire | Rose Hill Sub Demo and Retire | 2023-01-31
0PT48313 |  | -5275.1419 | 361 | 0020 | YARD IMPROVEMENTS AND SURFACING
0PT48313 |  | -3239.6467 | 361 | 0095 | DRIVEWAY OR ROADWAY (OUT STATION PROTECTIVE FENCE)
0PT48313 |  | -30412.33 | 362 | 0040 | BUS ASSEMBLY - RETIREMENT OF OLD EQUIPMENT ONLY
0PT48313 |  | -2023.3485 | 362 | 0050 | CONDUIT OR DUCT SYSTEM
0PT48313 |  | -1204.838 | 362 | 0100 | YARD LIGHTING SYSTEM
0PT48313 |  | -48580.46 | 362 | 0170 | STRUCTURES
0PT48313 |  | -3339.34 | 362 | 0200 | STATION METERING
0PT48313 |  | -4691.3122 | 362 | 0250 | FENCES, PROTECTIVE
0PT48313 |  | -5278.1114 | 362 | 0260 | BUILDING, ELECTRICAL EQUIPMENT
0PT48313 |  | -588.76 | 362 | 1110 | LIGHTNING ARRESTOR 0-60 KV
0PT48313 |  | -0.27 | 362 | 1140 | RELAY SWITCHBOARD 0-60 KV
0PT48313 |  | -0.28 | 362 | 114G | SWITCHBOARD PANEL, CUSTOMER METERING, 0-60KV
0PT48840 | -249719.21 |  |  |  | Graham Plant SES Switch Repla | Graham Plant SES Switch Repla | 2023-02-28
0PT48840 |  | -249719.21 | 353 | 4213 | BUSHING, 345KV TRANSFORMER
0PT49504 | -121200.19 |  |  |  | Dealey Street Replace Failed | Dealey Street Replace Failed | 2023-06-30
0PT49504 |  | -121200.19 | 362 | 3210 | TRANSFORMER, POWER 138 KV
0PT50089 | -680112.32 |  |  |  | Webb Sub Replace Failed Trans | Webb Sub Replace Failed Trans | 2023-05-31
0PT50089 |  | -680112.32 | 362 | 4210 | TRANSFORMER, POWER 345 KV
1003900W | -918888.64 |  |  |  | ARL MNFLD2682 CREEKWOOD CHURCH | ARL MNFLD2682 CREEKWOOD CHURCH TOK | 2023-04-30
1003900W |  | -2403.9 | 364 | 0001 | SINGLE CROSSARM
1003900W |  | -7292.52 | 364 | 0260 | POLE, WOOD, 40'
1003900W |  | -5931.42 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1003900W |  | -903260.8 | 369 | 1400 | SERVICE, UNDERGROUND, GREATER THAN 4/0, 3 PHASES
1016541W | -173515.02 |  |  |  | OMS Work Order, CHROW, 0006, C | OMS Work Order, CHROW, 0006, Conductor | 2023-03-31
1016541W |  | -1108.62 | 364 | 0280 | POLE, WOOD, 45'
1016541W |  | -172406.4 | 369 | 0300 | SERVICE, OVERHEAD, 4/0 AND LESS, 3 PHASE
1025192W | -161821.12 |  |  |  | DSD/DSC22014 Capex Asbuilts - | DSD/DSC22014 Capex Asbuilts - Farmers Branch District | 2023-01-31
1025192W |  | -703.21 | 364 | 0002 | DOUBLE CROSSARMS
1025192W |  | -804.45 | 364 | 0260 | POLE, WOOD, 40'
1025192W |  | -209.26 | 364 | 0280 | POLE, WOOD, 45'
1025192W |  | -160104.2 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1025681W | -193449.6 |  |  |  | DSD/DSC22015 Capex Asbuilts Fa | DSD/DSC22015 Capex Asbuilts Farmers Branch District | 2023-01-31
1025681W |  | -193449.6 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1025993W | -225943.17 |  |  |  | DSD/DSC22014 Capex Asbuilts fo | DSD/DSC22014 Capex Asbuilts for East District/Area | 2023-01-31
1025993W |  | -2775.57 | 364 | 0260 | POLE, WOOD, 40'
1025993W |  | -162 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1025993W |  | -223005.6 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1027679W | -127435.17 |  |  |  | DSD/DSC 22016 - MCK District | DSD/DSC 22016 - MCK District | 2023-01-31
1027679W |  | -3570.87 | 364 | 0001 | SINGLE CROSSARM
1027679W |  | -8572.68 | 364 | 0260 | POLE, WOOD, 40'
1027679W |  | -115291.62 | 367 | 5190 | SWITCHGEAR, PADMOUNT, 25KV
1028159W | -272085.74 |  |  |  | DSD/DSC22016 Capex Asbuilts - | DSD/DSC22016 Capex Asbuilts - East District/Area | 2023-01-31
1028159W |  | -3496.88 | 364 | 0240 | POLE, WOOD, 35'
1028159W |  | -6166.86 | 364 | 0260 | POLE, WOOD, 40'
1028159W |  | -262422 | 369 | 1200 | SERVICE, UNDERGROUND, GREATER THAN 4/0, SINGLE PH
1028662W | -257437.19 |  |  |  | MIKE SWINSON 4839 PIKE RD BLDG | MIKE SWINSON 4839 PIKE RD BLDG MAIN 76450 | 2023-06-30
1028662W |  | -1891.67 | 364 | 0240 | POLE, WOOD, 35'
1028662W |  | -426.72 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
1028662W |  | -48244.8 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1028662W |  | -206874 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
1028822W | -148352.33 |  |  |  | DSD/DSC22019 Capex Asbuilts - | DSD/DSC22019 Capex Asbuilts - East District/Area | 2023-01-31
1028822W |  | -309.83 | 364 | 0220 | POLE, WOOD, 30'
1028822W |  | -844.49 | 364 | 0240 | POLE, WOOD, 35'
1028822W |  | -4077.45 | 364 | 0260 | POLE, WOOD, 40'
1028822W |  | -141.58 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1028822W |  | -5.75 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
1028822W |  | -1451.29 | 366 | 1410 | PADS OR FOUNDATIONS, MEDIUM, 50-100 SQ FT
1028822W |  | -71612 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1028822W |  | -69850.4 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
1028822W |  | -59.54 | 371 | 0010 | GUARD LITE
1030555W | -144356 |  |  |  | OMS Work Order, ADMDS, 6521, U | OMS Work Order, ADMDS, 6521, UG Service | 2023-06-30
1030555W |  | -144356 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
1032223W | -110120 |  |  |  | OMS Work Order, NCSTH, 1501, O | OMS Work Order, NCSTH, 1501, OH Equipment Damaged | 2023-05-31
1032223W |  | -110120 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1032988W | -139324.8 |  |  |  | OMS Work Order, MOSSW, 4612, U | OMS Work Order, MOSSW, 4612, UG Service | 2023-05-31
1032988W |  | -139324.8 | 369 | 1200 | SERVICE, UNDERGROUND, GREATER THAN 4/0, SINGLE PH
1035741W | -191681.56 |  |  |  | DSD/DSC 22022 - CAPEX ASBUILTS | DSD/DSC 22022 - CAPEX ASBUILTS - DES District | 2023-02-28
1035741W |  | -381.22 | 364 | 0220 | POLE, WOOD, 30'
1035741W |  | -1053.43 | 364 | 0240 | POLE, WOOD, 35'
1035741W |  | -3267.94 | 364 | 0260 | POLE, WOOD, 40'
1035741W |  | -2102.67 | 364 | 0280 | POLE, WOOD, 45'
1035741W |  | -211.5 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1035741W |  | -95.2 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
1035741W |  | -184569.6 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1036778W | -110335.22 |  |  |  | JOEY GABBANELLI 76852 | JOEY GABBANELLI 76852 | 2023-03-31
1036778W |  | -276.62 | 364 | 0260 | POLE, WOOD, 40'
1036778W |  | -110058.6 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1037323W | -189986.64 |  |  |  | DSD/DSC22023 Capex Asbuilts - | DSD/DSC22023 Capex Asbuilts - MDL/STN Area | 2023-02-28
1037323W |  | -731.15 | 364 | 0001 | SINGLE CROSSARM
1037323W |  | -457.52 | 364 | 0002 | DOUBLE CROSSARMS
1037323W |  | -276.62 | 364 | 0260 | POLE, WOOD, 40'
1037323W |  | -2821.95 | 364 | 0280 | POLE, WOOD, 45'
1037323W |  | -1020.15 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1037323W |  | -184679.25 | 369 | 1300 | SERVICE, UNDERGROUND, 4/0 AND LESS,3 PHASES
1040984W | -101760.96 |  |  |  | DSD/DSC22024 Capex Asbuilts - | DSD/DSC22024 Capex Asbuilts - Farmers Branch District | 2023-03-31
1040984W |  | -32659.36 | 367 | 5190 | SWITCHGEAR, PADMOUNT, 25KV
1040984W |  | -69101.6 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1041001W | -133749.23 |  |  |  | Fred Book Reactive Removal Idl | Fred Book Reactive Removal Idle Facilities | 2023-04-30
1041001W |  | -952.75 | 364 | 0260 | POLE, WOOD, 40'
1041001W |  | -3.34 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1041001W |  | -132443.4 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1041001W |  | -349.74 | 373 | 0020 | CONDUCTOR, ALUMINUM, OVERHEAD
1041702W | -363094.6 |  |  |  | MCK/ANNA ARDEN PARK RELOCATE | MCK/ANNA ARDEN PARK RELOCATE | 2023-06-30
1041702W |  | -3975.4 | 364 | 0260 | POLE, WOOD, 40'
1041702W |  | -686.4 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1041702W |  | -358432.8 | 369 | 1200 | SERVICE, UNDERGROUND, GREATER THAN 4/0, SINGLE PH
1042016W | -134701.97 |  |  |  | DSD/DSC22026 Capex Asbuilts - | DSD/DSC22026 Capex Asbuilts - East District/Area | 2023-03-31
1042016W |  | -725.49 | 364 | 0220 | POLE, WOOD, 30'
1042016W |  | -1126.65 | 364 | 0240 | POLE, WOOD, 35'
1042016W |  | -2538.5 | 364 | 0260 | POLE, WOOD, 40'
1042016W |  | -3285.83 | 364 | 0280 | POLE, WOOD, 45'
1042016W |  | -54 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1042016W |  | -861.9 | 367 | 0020 | CONDUCTOR, ALUMINUM, LESS THEN 4/0
1042016W |  | -56259.2 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1042016W |  | -69850.4 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
1042206W | -403612.16 |  |  |  | ARL BRTRD7311 AMERICAN CARTON | ARL BRTRD7311 AMERICAN CARTON ADDED LOAD TOK | 2023-06-30
1042206W |  | -353.52 | 366 | 1010 | CONDUIT
1042206W |  | -1920.24 | 367 | 0020 | CONDUCTOR, ALUMINUM, LESS THEN 4/0
1042206W |  | -7749.6 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
1042206W |  | -140969.6 | 369 | 1200 | SERVICE, UNDERGROUND, GREATER THAN 4/0, SINGLE PH
1042206W |  | -252619.2 | 369 | 1400 | SERVICE, UNDERGROUND, GREATER THAN 4/0, 3 PHASES
1042401W | -196991.2 |  |  |  | Tex Luella Svc to Scott Renfro | Tex Luella Svc to Scott Renfro House 3924 Luella Rd. | 2023-06-30
1042401W |  | -196991.2 | 369 | 1300 | SERVICE, UNDERGROUND, 4/0 AND LESS,3 PHASES
1044758W | -1568108.8 |  |  |  | OMS Work Order, MDESA, 4541, U | OMS Work Order, MDESA, 4541, UG Service | 2023-04-30
1044758W |  | -1568108.8 | 369 | 1400 | SERVICE, UNDERGROUND, GREATER THAN 4/0, 3 PHASES
1050288W | -153818.82 |  |  |  | DSD/DSC 22030 CAPEX ASBUILTS - | DSD/DSC 22030 Capex Asbuilts - ABC District | 2023-04-30
1050288W |  | -490.8 | 364 | 0001 | SINGLE CROSSARM
1050288W |  | -1175.69 | 364 | 0220 | POLE, WOOD, 30'
1050288W |  | -1128.47 | 364 | 0240 | POLE, WOOD, 35'
1050288W |  | -2935.48 | 364 | 0260 | POLE, WOOD, 40'
1050288W |  | -89.38 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1050288W |  | -101.4 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
1050288W |  | -147897.6 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1050293W | -171749.94 |  |  |  | DSD/DSC 22028 Capex Asbuilts - | DSD/DSC 22028 CAPEX ASBUILTS - DES District | 2023-04-30
1050293W |  | -554.17 | 364 | 0002 | DOUBLE CROSSARMS
1050293W |  | -165.84 | 364 | 0220 | POLE, WOOD, 30'
1050293W |  | -1862.47 | 364 | 0240 | POLE, WOOD, 35'
1050293W |  | -1275.31 | 364 | 0260 | POLE, WOOD, 40'
1050293W |  | -2205.95 | 364 | 0280 | POLE, WOOD, 45'
1050293W |  | -383.2 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1050293W |  | -5 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
1050293W |  | -7190 | 367 | 0020 | CONDUCTOR, ALUMINUM, LESS THEN 4/0
1050293W |  | -24084 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1050293W |  | -134024 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
1060247W | -121890.88 |  |  |  | DSD/DSC23001 - Capex As-builts | DSD/DSC23001 - Capex As-builts - FWN District | 2023-06-30
1060247W |  | -120.36 | 364 | 0220 | POLE, WOOD, 30'
1060247W |  | -269.01 | 364 | 0260 | POLE, WOOD, 40'
1060247W |  | -58.3 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1060247W |  | -316.01 | 367 | 0020 | CONDUCTOR, ALUMINUM, LESS THEN 4/0
1060247W |  | -34167.2 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1060247W |  | -86960 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
1062245W | -197852.38 |  |  |  | DSD/DSC23001 Capex Asbuilts - | DSD/DSC23001 Capex Asbuilts - Round Rock District/Area | 2023-06-30
1062245W |  | -1730.71 | 364 | 0001 | SINGLE CROSSARM
1062245W |  | -776.63 | 364 | 0220 | POLE, WOOD, 30'
1062245W |  | -5797.53 | 364 | 0240 | POLE, WOOD, 35'
1062245W |  | -15563.49 | 364 | 0260 | POLE, WOOD, 40'
1062245W |  | -11213.43 | 364 | 0280 | POLE, WOOD, 45'
1062245W |  | -4147.98 | 364 | 0300 | POLE, WOOD, 50'
1062245W |  | -14164.44 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1062245W |  | -3851.58 | 365 | 6015 | RECLOSER,SINGLE PHASE,13.2KV AND UNDER,0-3000 AMP
1062245W |  | -140606.59 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1062400W | -129264.09 |  |  |  | DSD/DSC23001-4 Capex Asbuilts | DSD/DSC23001-4 Capex Asbuilts - East District/Area | 2023-06-30
1062400W |  | -62.79 | 364 | 0001 | SINGLE CROSSARM
1062400W |  | -403.48 | 364 | 0220 | POLE, WOOD, 30'
1062400W |  | -2709.22 | 364 | 0240 | POLE, WOOD, 35'
1062400W |  | -478.65 | 364 | 0260 | POLE, WOOD, 40'
1062400W |  | -291.95 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1062400W |  | -118.8 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
1062400W |  | -40359.2 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1062400W |  | -84840 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
1062427W | -100967.51 |  |  |  | DSD/DSC23001-5 Capex Asbuilts | DSD/DSC23001-5 Capex Asbuilts - East District/Area | 2023-06-30
1062427W |  | -756.42 | 364 | 0001 | SINGLE CROSSARM
1062427W |  | -624.73 | 364 | 0220 | POLE, WOOD, 30'
1062427W |  | -1007.22 | 364 | 0240 | POLE, WOOD, 35'
1062427W |  | -3155.71 | 364 | 0260 | POLE, WOOD, 40'
1062427W |  | -2583.94 | 364 | 0280 | POLE, WOOD, 45'
1062427W |  | -30.5 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1062427W |  | -503 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
1062427W |  | -119.79 | 366 | 1400 | PADS OR FOUNDATIONS, SMALL, LESS THAN 50 SQ FT
1062427W |  | -92186.2 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1062556W | -107643.75 |  |  |  | DSD/DSC23001-8 Capex Asbuilts | DSD/DSC23001-8 Capex Asbuilts - East District/Area | 2023-06-30
1062556W |  | -1174.66 | 364 | 0240 | POLE, WOOD, 35'
1062556W |  | -1926.11 | 364 | 0260 | POLE, WOOD, 40'
1062556W |  | -2207.56 | 364 | 0280 | POLE, WOOD, 45'
1062556W |  | -9.5 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1062556W |  | -7.5 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
1062556W |  | -35.22 | 366 | 1150 | SECONDARY BOX
1062556W |  | -102283.2 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1062558W | -342900.64 |  |  |  | DSD/DSC23001-7 Capex Asbuilts | DSD/DSC23001-7 Capex Asbuilts - East District/Area | 2023-06-30
1062558W |  | -480.78 | 364 | 0001 | SINGLE CROSSARM
1062558W |  | -377.95 | 364 | 0220 | POLE, WOOD, 30'
1062558W |  | -999.16 | 364 | 0240 | POLE, WOOD, 35'
1062558W |  | -3221.75 | 364 | 0260 | POLE, WOOD, 40'
1062558W |  | -2810.2 | 364 | 0280 | POLE, WOOD, 45'
1062558W |  | -402 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1062558W |  | -13601.6 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
1062558W |  | -321007.2 | 369 | 1200 | SERVICE, UNDERGROUND, GREATER THAN 4/0, SINGLE PH
1062605W | -167571.7 |  |  |  | DSD/DSC23002 - Capex As-Builts | DSD/DSC23002 - Capex As-Builts - FWN District | 2023-06-30
1062605W |  | -5735.6 | 364 | 0001 | SINGLE CROSSARM
1062605W |  | -1988.56 | 364 | 0002 | DOUBLE CROSSARMS
1062605W |  | -664.74 | 364 | 0220 | POLE, WOOD, 30'
1062605W |  | -6331.43 | 364 | 0240 | POLE, WOOD, 35'
1062605W |  | -18311.03 | 364 | 0260 | POLE, WOOD, 40'
1062605W |  | -21535.09 | 364 | 0280 | POLE, WOOD, 45'
1062605W |  | -12448.04 | 364 | 0300 | POLE, WOOD, 50'
1062605W |  | -10229.03 | 364 | 0310 | POLE, CONCRETE, 50'
1062605W |  | -2599 | 364 | 0320 | POLE, WOOD, 55'
1062605W |  | -4629.28 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
1062605W |  | -320 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
1062605W |  | -170.2 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
1062605W |  | -457.25 | 367 | 0020 | CONDUCTOR, ALUMINUM, LESS THEN 4/0
1062605W |  | -369.6 | 367 | 0025 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
1062605W |  | -81782.85 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
22XFRMER | -334913.88 |  |  |  | TRANSFORMERS - INSTALL & REPL | TRANSFORMERS - INSTALLATION AND/OR REPLACEMENT | 2023-03-31
22XFRMER |  | -195590.84 | 368 | 0005 | 10 KVA AND BELOW OVERHEAD TRANSFORMERS,SINGLE PHAS
22XFRMER |  | -58169.92 | 368 | 0010 | 15 KVA TO 25 KVA OVERHEAD TRANSFORMERS,SINGLE PHAS
22XFRMER |  | -19319.43 | 368 | 0015 | 37.5 KVA TO 50 KVA OVERHEAD TRANSFORMERS,SINGLE PH
22XFRMER |  | -4021.26 | 368 | 0020 | 75 KVA OVERHEAD TRANSFORMERS,SINGLE PHASE
22XFRMER |  | -4153.4 | 368 | 0025 | 100 KVA OVERHEAD TRANSFORMERS,SINGLE PHASE
22XFRMER |  | 5890.4 | 368 | 0035 | 167 KVA OVERHEAD TRANSFORMERS,SINGLE PHASE
22XFRMER |  | 6329.15 | 368 | 0045 | 333 KVA OVERHEAD TRANSFORMERS,SINGLE PHASE
22XFRMER |  | -5711.58 | 368 | 0070 | 25 KVA AND BELOW PADMOUNT TRANSFORMERS,SINGLE PHAS
22XFRMER |  | -21747.9 | 368 | 0075 | 37.5 TO 50 KVA PADMOUNT TRANSFORMERS, SINGLE PHASE
22XFRMER |  | -24631.96 | 368 | 0080 | 75 KVA PADMOUNT TRANSFORMERS, SINGLE PHASE
22XFRMER |  | -16160.99 | 368 | 0085 | 100 KVA PADMOUNT TRANSFORMERS, SINGLE PHASE
22XFRMER |  | -10823.61 | 368 | 0095 | 167 KVA PADMOUNT TRANSFORMERS, SINGLE PHASE
22XFRMER |  | 4356.11 | 368 | 0200 | 75 KVA AND BELOW PADMOUNT TRANSFORMERS,THREE PHASE
22XFRMER |  | 10525.05 | 368 | 0205 | 112 KVA PADMOUNT TRANSFORMERS, THREE PHASE
22XFRMER |  | -1683.7 | 368 | 0225 | 500 KVA PADMOUNT TRANSFORMERS, THREE PHASE
23CAPCTR | -1969089.01 |  |  |  | CAPACITOR - INSTALL & REPLACE | CAPACITOR - INSTALLATION AND/OR REPLACEMENT | 2023-01-31
23CAPCTR |  | -215730.84 | 368 | 1000 | CAPACITORS, 100 KVAR AND BELOW
23CAPCTR |  | -35290.18 | 368 | 1005 | CAPACITORS, 150 KVAR
23CAPCTR |  | -1394004.16 | 368 | 1010 | CAPACITORS, 200 KVAR
23CAPCTR |  | -297962.77 | 368 | 1015 | CAPACITORS, 300 KVAR
23CAPCTR |  | -26101.06 | 368 | 1020 | CAPACITORS, 400 KVAR
23GTCRET | -203277.77 |  |  |  | RETIR project for function GTC | RETIR project for RETIRE COMMUNICATION EQUIPMENT PER REVIEW | 2023-04-30
23GTCRET |  | -203277.77 | 397 | 0155 | MICROWAVE EQUIPMENT
23METERS | -1859512.25 |  |  |  | ELECTRIC METERS | ELECTRIC METERS | 2023-01-31
23METERS |  | -1314549.3 | 370 | 0410 | RF, SELF CONTAINED METER W/INTERNAL DISCONNECT
23METERS |  | -308348.39 | 370 | 0411 | SHU RF, SELF CONTAINED METER W/INTERNAL DISCONNECT
23METERS |  | -84877.41 | 370 | 0420 | RF,SELF CONTAINED METER W/O INTERNAL DISCONNECT
23METERS |  | -96683.31 | 370 | 0421 | SHU RF,SELF CONTAINED METER W/O INTERNAL DISCONNEC
23METERS |  | -53582.44 | 370 | 0430 | RF, INSTRUMENT RATED METER
23METERS |  | -1471.4 | 370 | 0431 | SHU RF, INSTRUMENT RATED METER
23METHRD | -1222190.24 |  |  |  | METER RELATED HARDWARE | METER RELATED HARDWARE | 2023-01-31
23METHRD |  | -170371.85 | 370 | 0100 | INSTRUMENT TRANSFORMERS, 600 VOLTS AND UNDER
23METHRD |  | -597.55 | 370 | 0101 | SHU INSTRUMENT TRANSFORMERS, 600 VOLTS AND UNDER
23METHRD |  | -591860.31 | 370 | 0120 | INSTRUMENT TRANSFORMERS, 601 VOLT TO 25KV
23METHRD |  | -6800.63 | 370 | 0121 | SHU INSTRUMENT TRANSFORMERS, 601 VOLT TO 25KV
23METHRD |  | -85695.25 | 370 | 0150 | PRIMARY METERING PACKAGE
23METHRD |  | -366864.65 | 370 | 0160 | TRANSOCKET
23REMAMG | -640330.09 |  |  |  | RETIRE FUNCTION AMG EQUIPMENT | RETIRE FUNCTION AMG EQUIPMENT | 2023-03-31
23REMAMG |  | -640330.09 | 391 | 0215 | COMPUTER EQUIPMENT
23REMAMS | -9689449.79 |  |  |  | RETIRE FUNCTION AMS METERS | RETIRE FUNCTION AMS METERS | 2023-01-31
23REMAMS |  | -8128964.74 | 370 | 0350 | AMS,RF, SELF CONTAINED METER W/INTERNAL DISCONNECT
23REMAMS |  | -505555.34 | 370 | 0360 | AMS,RF,SELF CONTAINED METER W/O INTERNAL DISCONNEC
23REMAMS |  | -1054929.71 | 370 | 0370 | AMS, RF, INSTRUMENT RATED METER
23RMSVOH | -590553.26 |  |  |  | OVERHEAD SEVICES-SRV EXISTING | OVERHEAD SEVICES-SRV EXISTING | 2023-01-31
23RMSVOH |  | -539269.06 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
23RMSVOH |  | -5253.02 | 369 | 0200 | SERVICE, OVERHEAD, GREATER THEN 4/0, SINGLE PHASE
23RMSVOH |  | -12047.04 | 369 | 0300 | SERVICE, OVERHEAD, 4/0 AND LESS, 3 PHASE
23RMSVOH |  | -33984.14 | 369 | 0400 | SERVICE, OVERHEAD, GREATER THAN 4/0, 3 PHASE
23XFRMER | -10396301.21 |  |  |  | TRANSFORMERS - INSTALL & REPL | TRANSFORMERS - INSTALLATION AND/OR REPLACEMENT | 2023-01-31
23XFRMER |  | -544683.33 | 368 | 0005 | 10 KVA AND BELOW OVERHEAD TRANSFORMERS,SINGLE PHAS
23XFRMER |  | -2584036.52 | 368 | 0010 | 15 KVA TO 25 KVA OVERHEAD TRANSFORMERS,SINGLE PHAS
23XFRMER |  | -1671946.32 | 368 | 0015 | 37.5 KVA TO 50 KVA OVERHEAD TRANSFORMERS,SINGLE PH
23XFRMER |  | -331307.62 | 368 | 0020 | 75 KVA OVERHEAD TRANSFORMERS,SINGLE PHASE
23XFRMER |  | -158765.41 | 368 | 0025 | 100 KVA OVERHEAD TRANSFORMERS,SINGLE PHASE
23XFRMER |  | -146629.33 | 368 | 0035 | 167 KVA OVERHEAD TRANSFORMERS,SINGLE PHASE
23XFRMER |  | -141886.12 | 368 | 0040 | 250 KVA OVERHEAD TRANSFORMERS,SINGLE PHASE
23XFRMER |  | -17838.84 | 368 | 0045 | 333 KVA OVERHEAD TRANSFORMERS,SINGLE PHASE
23XFRMER |  | -58109.15 | 368 | 0047 | 500 KVA OVERHEAD TRANSFORMERS,SINGLE PHASE
23XFRMER |  | -211634.67 | 368 | 0070 | 25 KVA AND BELOW PADMOUNT TRANSFORMERS,SINGLE PHAS
23XFRMER |  | -880474.98 | 368 | 0075 | 37.5 TO 50 KVA PADMOUNT TRANSFORMERS, SINGLE PHASE
23XFRMER |  | -991304.69 | 368 | 0080 | 75 KVA PADMOUNT TRANSFORMERS, SINGLE PHASE
23XFRMER |  | -753674.15 | 368 | 0085 | 100 KVA PADMOUNT TRANSFORMERS, SINGLE PHASE
23XFRMER |  | -599838.13 | 368 | 0095 | 167 KVA PADMOUNT TRANSFORMERS, SINGLE PHASE
23XFRMER |  | -13843.53 | 368 | 0100 | 250 KVA PADMOUNT TRANSFORMERS, SINGLE PHASE
23XFRMER |  | -98420.84 | 368 | 0127 | 3000 KVA AUTO TRANSFORMERS, SINGLE PHASE
23XFRMER |  | -5066.6 | 368 | 0130 | 75 KVA AND BELOW OVERHEAD TRANSFORMERS,THREE PHASE
23XFRMER |  | -1439.49 | 368 | 0140 | 150 KVA OVERHEAD TRANSFORMERS, THREE PHASE
23XFRMER |  | -10270.79 | 368 | 0160 | 750 KVA OVERHEAD TRANSFORMERS, THREE PHASE
23XFRMER |  | -14074.18 | 368 | 0185 | ABOVE 2500 KVA OVERHEAD TRANSFORMERS, THREE PHASE
23XFRMER |  | -10297.43 | 368 | 0200 | 75 KVA AND BELOW PADMOUNT TRANSFORMERS,THREE PHASE
23XFRMER |  | -85100.52 | 368 | 0205 | 112 KVA PADMOUNT TRANSFORMERS, THREE PHASE
23XFRMER |  | -55633.18 | 368 | 0210 | 150 KVA PADMOUNT TRANSFORMERS, THREE PHASE
23XFRMER |  | -118489.01 | 368 | 0215 | 225 KVA PADMOUNT TRANSFORMERS, THREE PHASE
23XFRMER |  | -131475.58 | 368 | 0220 | 300 KVA PADMOUNT TRANSFORMERS, THREE PHASE
23XFRMER |  | -196656.21 | 368 | 0225 | 500 KVA PADMOUNT TRANSFORMERS, THREE PHASE
23XFRMER |  | -167110.93 | 368 | 0230 | 750 KVA PADMOUNT TRANSFORMERS, THREE PHASE
23XFRMER |  | -71663.93 | 368 | 0235 | 1000 KVA PADMOUNT TRANSFORMERS, THREE PHASE
23XFRMER |  | -79657.62 | 368 | 0240 | 1500 KVA PADMOUNT TRANSFORMERS, THREE PHASE
23XFRMER |  | -61487.08 | 368 | 0245 | 2000 KVA PADMOUNT TRANSFORMERS, THREE PHASE
23XFRMER |  | -73712.3 | 368 | 0250 | 2500 KVA PADMOUNT TRANSFORMERS, THREE PHASE
23XFRMER |  | -109772.73 | 368 | 0335 | 10000 KVA AUTO TRANSFORMERS, THREE PHASE
3428938E | -224602.8 |  |  |  | ODE: OFFST:DISCOVERY OPE- APAC | ODE:DISCOVERY OPERATING - APACHE HOLZGRAF 34 PME AL DG/PWR | 2023-01-31
3428938E |  | 0.22 | 364 | 0001 | SINGLE CROSSARM
3428938E |  | -3.19 | 364 | 0002 | DOUBLE CROSSARMS
3428938E |  | 0.52 | 364 | 0240 | POLE, WOOD, 35'
3428938E |  | 9.57 | 364 | 0260 | POLE, WOOD, 40'
3428938E |  | 0.21 | 364 | 0280 | POLE, WOOD, 45'
3428938E |  | -47529.88 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3428938E |  | -177080.25 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3445166E | -259734.39 |  |  |  | TER: TXDOT RELOCATE FACILITIES | TER: TXDOT RELOCATE FACILITIES US 80- SH 205- FM 148: RA | 2023-01-31
3445166E |  | 0.17 | 364 | 0001 | SINGLE CROSSARM
3445166E |  | 0.74 | 364 | 0002 | DOUBLE CROSSARMS
3445166E |  | -0.95 | 364 | 0240 | POLE, WOOD, 35'
3445166E |  | -0.38 | 364 | 0260 | POLE, WOOD, 40'
3445166E |  | 1.2 | 364 | 0280 | POLE, WOOD, 45'
3445166E |  | 0.32 | 364 | 0300 | POLE, WOOD, 50'
3445166E |  | -0.21 | 364 | 0320 | POLE, WOOD, 55'
3445166E |  | -3.96 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3445166E |  | -11.1 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3445166E |  | -0.86 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
3445166E |  | -0.05 | 365 | 6010 | AIRBREAK SWITCH, WITH OR WITHOUT OPERATOR
3445166E |  | 0.18 | 366 | 1400 | PADS OR FOUNDATIONS, SMALL, LESS THAN 50 SQ FT
3445166E |  | 0.1 | 366 | 1440 | PADS OR FOUNDATIONS, DONATED
3445166E |  | -259720 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3445166E |  | 0.41 | 371 | 0010 | GUARD LITE
3460121E | -286835.68 |  |  |  | HOT WAC TXDOT SH 6/SOUTH LOOP | HOT WAC TXDOT SH 6/SOUTH LOOP 340 RELOCATION JFP | 2023-01-31
3460121E |  | 0.15 | 364 | 0240 | POLE, WOOD, 35'
3460121E |  | 0.2 | 364 | 0280 | POLE, WOOD, 45'
3460121E |  | -0.21 | 364 | 0300 | POLE, WOOD, 50'
3460121E |  | -0.19 | 364 | 0320 | POLE, WOOD, 55'
3460121E |  | -0.38 | 364 | 0335 | POLE, WOOD, 60'
3460121E |  | -0.29 | 364 | 0350 | POLE, WOOD, 65'
3460121E |  | -0.48 | 364 | 0380 | POLE, WOOD, 75'
3460121E |  | -151.32 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3460121E |  | -10087.48 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3460121E |  | -111113.8 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3460121E |  | -165249.6 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
3460121E |  | -232.28 | 373 | 0020 | CONDUCTOR, ALUMINUM, OVERHEAD
3473312E | -144391.11 |  |  |  | MSQ:ROWLETT:MILLER RD (GLEN HI | MSQ:ROWLETT:MILLER RD (GLEN HILL TO DALROCK):TJR | 2023-06-30
3473312E |  | -16849.84 | 364 | 0001 | SINGLE CROSSARM
3473312E |  | -8131.21 | 364 | 0002 | DOUBLE CROSSARMS
3473312E |  | -3935.27 | 364 | 0240 | POLE, WOOD, 35'
3473312E |  | -12578.76 | 364 | 0260 | POLE, WOOD, 40'
3473312E |  | -20495.13 | 364 | 0280 | POLE, WOOD, 45'
3473312E |  | -26552.99 | 364 | 0300 | POLE, WOOD, 50'
3473312E |  | -22539.31 | 364 | 0320 | POLE, WOOD, 55'
3473312E |  | -2999.28 | 364 | 0335 | POLE, WOOD, 60'
3473312E |  | -81.76 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3473312E |  | -630.93 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3473312E |  | -25592.95 | 365 | 6010 | AIRBREAK SWITCH, WITH OR WITHOUT OPERATOR
3473312E |  | -10.96 | 366 | 1010 | CONDUIT
3473312E |  | -3.16 | 366 | 1020 | CONDUIT, DONATED
3473312E |  | -1173.28 | 367 | 0020 | CONDUCTOR, ALUMINUM, LESS THEN 4/0
3473312E |  | -1400.97 | 367 | 0100 | FAULT INDICATOR
3473312E |  | -283.42 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3473312E |  | -661.25 | 373 | 1200 | LUMINAIRE, OTHER, 100W
3473312E |  | -470.64 | 373 | 1220 | LUMINAIRE, OTHER, 250W
3480087E | -176205.72 |  |  |  | WAX-VENSW-OFFSITE PLAN ITEM 15 | WAX-VENSW-OFFSITE PLAN ITEM 1500_2020MWAX51-NORTH STAR AD-KT | 2023-06-30
3480087E |  | -1193.86 | 364 | 0001 | SINGLE CROSSARM
3480087E |  | -2471.46 | 364 | 0002 | DOUBLE CROSSARMS
3480087E |  | -1630.51 | 364 | 0260 | POLE, WOOD, 40'
3480087E |  | -49520.52 | 364 | 0280 | POLE, WOOD, 45'
3480087E |  | -4800.04 | 364 | 0300 | POLE, WOOD, 50'
3480087E |  | -6240.62 | 364 | 0320 | POLE, WOOD, 55'
3480087E |  | -1.49 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3480087E |  | -97039.86 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3480087E |  | -317.15 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
3480087E |  | -12915 | 367 | 0025 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3480087E |  | -75.21 | 373 | 0010 | CONDUCTOR, OTHER THAN ALUMINUM, OVERHEAD
3483164E | -104703.56 |  |  |  | TEM: BELTON TXDOT RELOC AT SL | TEM: BELTON TXDOT RELOC AT SL 121 FROM FM439 TO HWY 190-JFP | 2023-01-31
3483164E |  | 1.96 | 364 | 0001 | SINGLE CROSSARM
3483164E |  | 2.7 | 364 | 0002 | DOUBLE CROSSARMS
3483164E |  | -0.09 | 364 | 0260 | POLE, WOOD, 40'
3483164E |  | 12.79 | 364 | 0280 | POLE, WOOD, 45'
3483164E |  | -1.05 | 364 | 0300 | POLE, WOOD, 50'
3483164E |  | -0.87 | 364 | 0310 | POLE, CONCRETE, 50'
3483164E |  | -0.26 | 364 | 0320 | POLE, WOOD, 55'
3483164E |  | -0.73 | 364 | 0335 | POLE, WOOD, 60'
3483164E |  | -3672.5 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3483164E |  | -97745.03 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3483164E |  | -30.33 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
3483164E |  | -0.32 | 365 | 6010 | AIRBREAK SWITCH, WITH OR WITHOUT OPERATOR
3483164E |  | -1617.98 | 366 | 1010 | CONDUIT
3483164E |  | -8862.85 | 367 | 0025 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3483164E |  | 184 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3483164E |  | 1302 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
3483164E |  | 25 | 373 | 0025 | CONDUCTOR, ALUMINUM, UNDERGROUND
3483164E |  | 630 | 373 | 1220 | LUMINAIRE, OTHER, 250W
3483164E |  | 4408 | 373 | 1515 | STANDARD, METAL, 25' AND UNDER
3483164E |  | 662 | 373 | 1640 | MANHOLE (USED EXCLUSIVELY FOR STREET LIGHTING)
3486684E | -139104.1 |  |  |  | Q2 BIG: P4 OPERATING - IDEN PM | Q2 BIG: P4 OPERATING - IDEN PME ADDED LOAD-OFFSITE | 2023-01-31
3486684E |  | -23768.84 | 364 | 0001 | SINGLE CROSSARM
3486684E |  | -53446.31 | 364 | 0260 | POLE, WOOD, 40'
3486684E |  | -6617.13 | 364 | 0280 | POLE, WOOD, 45'
3486684E |  | -55271.82 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3489126E | -197811.47 |  |  |  | MCK-PRI-CYPRESS CREEK APTS OFF | MCK-PRI-CYPRESS CREEK APTS OFFSITE | 2023-01-31
3489126E |  | -1.66 | 364 | 0001 | SINGLE CROSSARM
3489126E |  | -1.12 | 364 | 0002 | DOUBLE CROSSARMS
3489126E |  | 0.85 | 364 | 0280 | POLE, WOOD, 45'
3489126E |  | -0.24 | 364 | 0300 | POLE, WOOD, 50'
3489126E |  | -197809.3 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3489529E | -140301.52 |  |  |  | MID: ENDEAVOR ENERGY- FRONTAGE | MID: ENDEAVOR ENERGY- FRONTAGE ROAD PME OFF-SITE 1-JW-PWR | 2023-06-30
3489529E |  | -21708.47 | 364 | 0001 | SINGLE CROSSARM
3489529E |  | -428.86 | 364 | 0002 | DOUBLE CROSSARMS
3489529E |  | -7886.33 | 364 | 0240 | POLE, WOOD, 35'
3489529E |  | -65171.2 | 364 | 0260 | POLE, WOOD, 40'
3489529E |  | -33921.42 | 364 | 0280 | POLE, WOOD, 45'
3489529E |  | -11185.24 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3490523E | -127701.01 |  |  |  | DSW UGCP STHRL0002 REPLACE PIL | DSW UGCP STHRL0002 REPLACE PILC CABLE 1410 SARGENT RD | 2023-06-30
3490523E |  | -96242.01 | 367 | 0015 | CONDUCTOR, COPPER, 2/0 AND GREATER
3490523E |  | -31459 | 367 | 0035 | CONDUCTOR, COPPER,LEAD SHIELDED,AWG500 AND GREATER
3493322E | -156703.84 |  |  |  | MCK PRI CYPRESS CREEK APTS O | MCK PRI CYPRESS CREEK APTS OFFSITE NUMBER 2 | 2023-01-31
3493322E |  | -0.27 | 364 | 0001 | SINGLE CROSSARM
3493322E |  | -1.12 | 364 | 0002 | DOUBLE CROSSARMS
3493322E |  | -0.22 | 364 | 0220 | POLE, WOOD, 30'
3493322E |  | -2.53 | 364 | 0280 | POLE, WOOD, 45'
3493322E |  | -134.84 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3493322E |  | -158051.86 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3493322E |  | 123 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3493322E |  | 1364 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
3500255E | -101965.07 |  |  |  | MHN FORGE ENERGY BLK 16 PME OF | MHN FORGE ENERGY BLK 16 PME OFFSITE 2:MRB-PWR | 2023-06-30
3500255E |  | -11855.26 | 364 | 0001 | SINGLE CROSSARM
3500255E |  | -1883.15 | 364 | 0002 | DOUBLE CROSSARMS
3500255E |  | -22661.01 | 364 | 0240 | POLE, WOOD, 35'
3500255E |  | -28308.33 | 364 | 0260 | POLE, WOOD, 40'
3500255E |  | -36851.47 | 364 | 0280 | POLE, WOOD, 45'
3500255E |  | -306.82 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3500255E |  | -99.03 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3518362E | -271584.03 |  |  |  | 2021MARL001 SYCRK4512 FHLSW13 | 2021MARL001 SYCRK4512 FHLSW1351 OAKHL3052 RECOND S4 S5 JMS | 2023-06-30
3518362E |  | -20768.57 | 364 | 0001 | SINGLE CROSSARM
3518362E |  | -2572.93 | 364 | 0002 | DOUBLE CROSSARMS
3518362E |  | -377.95 | 364 | 0220 | POLE, WOOD, 30'
3518362E |  | -8502.58 | 364 | 0240 | POLE, WOOD, 35'
3518362E |  | -51649.01 | 364 | 0260 | POLE, WOOD, 40'
3518362E |  | -44574.03 | 364 | 0280 | POLE, WOOD, 45'
3518362E |  | -6887.65 | 364 | 0300 | POLE, WOOD, 50'
3518362E |  | -34905.88 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3518362E |  | -46528.35 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3518362E |  | -390.72 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
3518362E |  | -19108.07 | 365 | 6010 | AIRBREAK SWITCH, WITH OR WITHOUT OPERATOR
3518362E |  | -35318.29 | 365 | 6030 | RECLOSER,2 OR 3 PHASE,OVER 13.2KV,0-3000 AMP
3519240E | -561413.69 |  |  |  | DESOTO TXDOT LOOP 9 RELOCATION | DESOTO TXDOT LOOP 9 RELOCATION I35E INTERCHANGE | 2023-05-31
3519240E |  | -2185.21 | 364 | 0220 | POLE, WOOD, 30'
3519240E |  | -12972.77 | 364 | 0240 | POLE, WOOD, 35'
3519240E |  | -7050.88 | 364 | 0260 | POLE, WOOD, 40'
3519240E |  | -4743.41 | 364 | 0280 | POLE, WOOD, 45'
3519240E |  | -7963.67 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3519240E |  | -102.44 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
3519240E |  | -522360.88 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3519240E |  | -4034.43 | 371 | 0010 | GUARD LITE
3520649E | -170985.9 |  |  |  | DESOTO TXDOT LOOP 9 RELOCATION | DESOTO TXDOT LOOP 9 RELOCATION MCBRIDE RD | 2023-01-31
3520649E |  | -2.45 | 364 | 0240 | POLE, WOOD, 35'
3520649E |  | 0.44 | 364 | 0260 | POLE, WOOD, 40'
3520649E |  | 0.43 | 364 | 0280 | POLE, WOOD, 45'
3520649E |  | -4206.68 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3520649E |  | -108.5 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
3520649E |  | -166668.6 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3520649E |  | -0.54 | 371 | 0010 | GUARD LITE
3529565E | -142500.8 |  |  |  | TXDOT IH635 GARLAND RD REDESIG | TXDOT IH635 GARLAND RD REDESIGN BA | 2023-01-31
3529565E |  | -0.39 | 364 | 0001 | SINGLE CROSSARM
3529565E |  | 0.09 | 364 | 0280 | POLE, WOOD, 45'
3529565E |  | -3.21 | 364 | 0300 | POLE, WOOD, 50'
3529565E |  | -0.03 | 364 | 0335 | POLE, WOOD, 60'
3529565E |  | -1.72 | 364 | 0380 | POLE, WOOD, 75'
3529565E |  | -67.8 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3529565E |  | -1672.49 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3529565E |  | -697.91 | 366 | 1010 | CONDUIT
3529565E |  | -140.56 | 367 | 0020 | CONDUCTOR, ALUMINUM, LESS THEN 4/0
3529565E |  | -139916.78 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3530307E | -254334.61 |  |  |  | ARL- MANSFIELD DAY MIAR RD REL | ARL- MANSFIELD DAY MIAR RD RELOCATE | 2023-06-30
3530307E |  | -4324.32 | 364 | 0001 | SINGLE CROSSARM
3530307E |  | -11398.33 | 364 | 0002 | DOUBLE CROSSARMS
3530307E |  | -29085.33 | 364 | 0260 | POLE, WOOD, 40'
3530307E |  | -16957.62 | 364 | 0280 | POLE, WOOD, 45'
3530307E |  | -11529.83 | 364 | 0300 | POLE, WOOD, 50'
3530307E |  | -7928.87 | 364 | 0320 | POLE, WOOD, 55'
3530307E |  | -3974.45 | 364 | 0335 | POLE, WOOD, 60'
3530307E |  | -10216.16 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3530307E |  | -58550.12 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3530307E |  | -13425.99 | 365 | 6010 | AIRBREAK SWITCH, WITH OR WITHOUT OPERATOR
3530307E |  | -1286.95 | 366 | 1010 | CONDUIT
3530307E |  | -75588.3 | 367 | 0020 | CONDUCTOR, ALUMINUM, LESS THEN 4/0
3530307E |  | -10068.34 | 367 | 0025 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3533358E | -102539.05 |  |  |  | FWN: BURSEY RD & WHITLEY RD RE | FWN: BURSEY RD & WHITLEY RD RELOCATION | 2023-05-31
3533358E |  | -1111.85 | 364 | 0001 | SINGLE CROSSARM
3533358E |  | -1439.62 | 364 | 0240 | POLE, WOOD, 35'
3533358E |  | -6967.91 | 364 | 0260 | POLE, WOOD, 40'
3533358E |  | -4816.41 | 364 | 0280 | POLE, WOOD, 45'
3533358E |  | -2450.85 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3533358E |  | -17661.9 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3533358E |  | -9009.25 | 365 | 6010 | AIRBREAK SWITCH, WITH OR WITHOUT OPERATOR
3533358E |  | -2263.95 | 367 | 0020 | CONDUCTOR, ALUMINUM, LESS THEN 4/0
3533358E |  | -56259.2 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3533358E |  | -558.11 | 371 | 0010 | GUARD LITE
3538888E | -829312.78 |  |  |  | DES-CEDAR HIL BEAUTIFICATION P | DES-CEDAR HIL BEAUTIFICATION PHASE 1-JJS | 2023-01-31
3538888E |  | -1652.66 | 364 | 0240 | POLE, WOOD, 35'
3538888E |  | -708.52 | 364 | 0260 | POLE, WOOD, 40'
3538888E |  | -271.19 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3538888E |  | -685.44 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
3538888E |  | -55916 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3538888E |  | -20555.2 | 369 | 0200 | SERVICE, OVERHEAD, GREATER THEN 4/0, SINGLE PHASE
3538888E |  | -88557.6 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
3538888E |  | -658635.2 | 369 | 1200 | SERVICE, UNDERGROUND, GREATER THAN 4/0, SINGLE PH
3538888E |  | -180.6 | 373 | 0010 | CONDUCTOR, OTHER THAN ALUMINUM, OVERHEAD
3538888E |  | -602.92 | 373 | 0025 | CONDUCTOR, ALUMINUM, UNDERGROUND
3538888E |  | -187.14 | 373 | 1220 | LUMINAIRE, OTHER, 250W
3538888E |  | -1279.76 | 373 | 1250 | LUMINAIRE, LED, 40W TO 150W
3538888E |  | -80.55 | 373 | 1375 | CONDUIT
3541313E | -127485.51 |  |  |  | CLE-21-P043-PM-CLE-DCDAM2001-D | CLE-21-P043-PM-CLE-DCDAM2001-DCDAM2002-DA- PWR | 2023-06-30
3541313E |  | -1978.7 | 364 | 0001 | SINGLE CROSSARM
3541313E |  | -1639.12 | 364 | 0002 | DOUBLE CROSSARMS
3541313E |  | -2589.87 | 364 | 0260 | POLE, WOOD, 40'
3541313E |  | -16145.77 | 364 | 0280 | POLE, WOOD, 45'
3541313E |  | -17025.92 | 365 | 5650 | DIST AUTOMATION CONTROL OVERHEAD
3541313E |  | -12281.4 | 365 | 6010 | AIRBREAK SWITCH, WITH OR WITHOUT OPERATOR
3541313E |  | -41114.82 | 365 | 6030 | RECLOSER,2 OR 3 PHASE,OVER 13.2KV,0-3000 AMP
3541313E |  | -34709.91 | 365 | 6032 | RECLOSER,2 OR 3 PHASE,OVER 13.2KV,OVER 3000 AMP
3541760E | -142588.92 |  |  |  | DNE:UGCP_LOMAL0004- REPLACE PI | DNE:UGCP_LOMAL0004- REPLACE PILC CABLE- 6919 LOMO ALTO DR | 2023-06-30
3541760E |  | -36228.06 | 367 | 0015 | CONDUCTOR, COPPER, 2/0 AND GREATER
3541760E |  | -106360.86 | 367 | 0035 | CONDUCTOR, COPPER,LEAD SHIELDED,AWG500 AND GREATER
3541786E | -104571.87 |  |  |  | DNE:UGCP_LOMAL0011- REPLACE PI | DNE:UGCP_LOMAL0011- REPLACE PILC CABLE- 6919 LOMO ALTO DR | 2023-06-30
3541786E |  | -104571.87 | 367 | 0015 | CONDUCTOR, COPPER, 2/0 AND GREATER
3556456E | -127051.37 |  |  |  | BGS H2O MIDSTREAM BEACH SWD PM | BGS H2O MIDSTREAM BEACH SWD PME ADDED LOAD OFFSITE-MB-PE | 2023-01-31
3556456E |  | -64.63 | 364 | 0001 | SINGLE CROSSARM
3556456E |  | 1.79 | 364 | 0260 | POLE, WOOD, 40'
3556456E |  | -45.36 | 364 | 0280 | POLE, WOOD, 45'
3556456E |  | -25967.42 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3556456E |  | -100975.75 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3560400E | -572081.86 |  |  |  | RRK: COME NS BLESSING RV PARK | RRK: COME NS BLESSING RV PARK PH 2 - BLESSING AVE, RRK - LS | 2023-01-31
3560400E |  | -0.41 | 364 | 0220 | POLE, WOOD, 30'
3560400E |  | 0.75 | 364 | 0240 | POLE, WOOD, 35'
3560400E |  | -2.1 | 364 | 0260 | POLE, WOOD, 40'
3560400E |  | 1.06 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3560400E |  | -572081.2 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3560400E |  | 0.04 | 371 | 0010 | GUARD LITE
3569939E | -174507.88 |  |  |  | 2022 NHIL002 ISP WEST P1 S1 PA | 2022 NHIL002 ISP WEST P1 S1 PART 1 | 2023-01-31
3569939E |  | -2.07 | 364 | 0001 | SINGLE CROSSARM
3569939E |  | 83.09 | 364 | 0002 | DOUBLE CROSSARMS
3569939E |  | -3.1 | 364 | 0280 | POLE, WOOD, 45'
3569939E |  | -10.72 | 364 | 0300 | POLE, WOOD, 50'
3569939E |  | 0.16 | 364 | 0320 | POLE, WOOD, 55'
3569939E |  | -13249.27 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3569939E |  | -161325.97 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3572942E | -174717.14 |  |  |  | BGS LAREDO PETROLEUM SATNIN AD | BGS LAREDO PETROLEUM SATNIN ADDED LOAD OFFSITE #2-AG-PE | 2023-06-30
3572942E |  | -23104.44 | 364 | 0001 | SINGLE CROSSARM
3572942E |  | -20265.67 | 364 | 0260 | POLE, WOOD, 40'
3572942E |  | -66157.23 | 364 | 0280 | POLE, WOOD, 45'
3572942E |  | -65189.8 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3572980E | -161576.07 |  |  |  | BGS LAREDO PETROLEUM ABC PME | BGS LAREDO PETROLEUM ABC PME ADDED LOAD OFFSITE #1 AG/BG | 2023-03-31
3572980E |  | -11628.92 | 364 | 0260 | POLE, WOOD, 40'
3572980E |  | -3307.75 | 364 | 0280 | POLE, WOOD, 45'
3572980E |  | -11521.15 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3572980E |  | -135118.25 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3573880E | -491440.66 |  |  |  | 2022NTAY002 TAYLOR W SUB P1/P2 | 2022NTAY002 TAYLOR W SUB P1/P2 - TBD | 2023-06-30
3573880E |  | -19449.26 | 364 | 0001 | SINGLE CROSSARM
3573880E |  | -3745.01 | 364 | 0002 | DOUBLE CROSSARMS
3573880E |  | -485.84 | 364 | 0220 | POLE, WOOD, 30'
3573880E |  | -8386.08 | 364 | 0240 | POLE, WOOD, 35'
3573880E |  | -33331.87 | 364 | 0260 | POLE, WOOD, 40'
3573880E |  | -87298.67 | 364 | 0280 | POLE, WOOD, 45'
3573880E |  | -7882.85 | 364 | 0300 | POLE, WOOD, 50'
3573880E |  | -1993.04 | 364 | 0320 | POLE, WOOD, 55'
3573880E |  | -3414.41 | 364 | 0335 | POLE, WOOD, 60'
3573880E |  | -86111.71 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3573880E |  | -123162.21 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3573880E |  | -78.01 | 365 | 0030 | CONDUCTOR, OTHER THAN ALUMINUM, LESS THAN 2/0
3573880E |  | -1697.21 | 365 | 1000 | FAULT INDICATOR
3573880E |  | -6852.08 | 365 | 5635 | DIST AUTOMATION REPEATER OVERHEAD
3573880E |  | -58745.64 | 365 | 6010 | AIRBREAK SWITCH, WITH OR WITHOUT OPERATOR
3573880E |  | -17584.83 | 365 | 6027 | RECLOSER,2 OR 3 PHASE,13.2KV AND UNDER,OVR3000 AMP
3573880E |  | -5889.77 | 367 | 0020 | CONDUCTOR, ALUMINUM, LESS THEN 4/0
3573880E |  | -17284.13 | 367 | 0025 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3573880E |  | -7513.78 | 367 | 0100 | FAULT INDICATOR
3573880E |  | -534.26 | 371 | 0010 | GUARD LITE
3578336E | -1292427 |  |  |  | SUL M AND F WESTERN WAREHOUSE | SUL M AND F WESTERN WAREHOUSE | 2023-06-30
3578336E |  | -1292427 | 369 | 1400 | SERVICE, UNDERGROUND, GREATER THAN 4/0, 3 PHASES
3579236E | -153289.75 |  |  |  | MHN VESTS3121 REMOVE IDLE FACI | MHN VESTS3121 REMOVE IDLE FACILITIES FIRE HAZARD | 2023-06-30
3579236E |  | -5925.19 | 364 | 0001 | SINGLE CROSSARM
3579236E |  | -293.91 | 364 | 0240 | POLE, WOOD, 35'
3579236E |  | -2252.28 | 364 | 0260 | POLE, WOOD, 40'
3579236E |  | -28159.02 | 364 | 0280 | POLE, WOOD, 45'
3579236E |  | -6409.3 | 364 | 0300 | POLE, WOOD, 50'
3579236E |  | -1786.76 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3579236E |  | -31818.47 | 365 | 5650 | DIST AUTOMATION CONTROL OVERHEAD
3579236E |  | -76644.82 | 365 | 6030 | RECLOSER,2 OR 3 PHASE,OVER 13.2KV,0-3000 AMP
3580138E | -972161.2 |  |  |  | WATUSI ENERGY OUT OF SPEC FAUL | WATUSI ENERGY OUT OF SPEC FAULT DAMAGED FACILITIES REACTIVE | 2023-01-31
3580138E |  | -972161.2 | 369 | 1300 | SERVICE, UNDERGROUND, 4/0 AND LESS,3 PHASES
3580964E | -217161.4 |  |  |  | TYL KEITH ISAAC 11024 CR 152 B | TYL KEITH ISAAC 11024 CR 152 BULLARD DM | 2023-04-30
3580964E |  | -685.4 | 364 | 0260 | POLE, WOOD, 40'
3580964E |  | -216476 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
3581046E | -131137.6 |  |  |  | ARL-CPG(PS,OH) 1880 NE GREEN O | ARL-CPG(PS,OH) 1880 NE GREEN OAKS BLVD-Q SPEEDWASH | 2023-06-30
3581046E |  | -131137.6 | 369 | 1200 | SERVICE, UNDERGROUND, GREATER THAN 4/0, SINGLE PH
3582689E | -110764.82 |  |  |  | MSQ GARLAND BOBTOWN RD RECONST | MSQ GARLAND BOBTOWN RD RECONSTRUCTION TJR | 2023-01-31
3582689E |  | -0.84 | 364 | 0001 | SINGLE CROSSARM
3582689E |  | 0.62 | 364 | 0002 | DOUBLE CROSSARMS
3582689E |  | -0.16 | 364 | 0260 | POLE, WOOD, 40'
3582689E |  | 0.29 | 364 | 0280 | POLE, WOOD, 45'
3582689E |  | 2.94 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3582689E |  | 16.29 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3582689E |  | 5.14 | 366 | 1010 | CONDUIT
3582689E |  | 177.84 | 367 | 0020 | CONDUCTOR, ALUMINUM, LESS THEN 4/0
3582689E |  | 0.06 | 367 | 0100 | FAULT INDICATOR
3582689E |  | -110967 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3597876E | -100288.92 |  |  |  | WAC:AXTL SERVE AG BARN AXTELL | WAC:AXTL SERVE AG BARN AXTELL ISD - JCL | 2023-03-31
3597876E |  | -463.23 | 364 | 0220 | POLE, WOOD, 30'
3597876E |  | -1036.23 | 364 | 0260 | POLE, WOOD, 40'
3597876E |  | -1083.7 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3597876E |  | -97596.8 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3597876E |  | -108.96 | 371 | 0010 | GUARD LITE
3598606E | -120994.94 |  |  |  | BEN DRM OH/UG 2251 SILVER CREE | BEN DRM OH/UG 2251 SILVER CREEK RD | 2023-04-30
3598606E |  | -925.19 | 364 | 0260 | POLE, WOOD, 40'
3598606E |  | -120069.75 | 369 | 1300 | SERVICE, UNDERGROUND, 4/0 AND LESS,3 PHASES
3604098E | -135148.58 |  |  |  | TEX DEN BIG COIN LAUNDRY CF | TEX DEN BIG COIN LAUNDRY CF | 2023-04-30
3604098E |  | -713.31 | 364 | 0220 | POLE, WOOD, 30'
3604098E |  | -425.32 | 364 | 0260 | POLE, WOOD, 40'
3604098E |  | -750.75 | 365 | 0020 | CONDUCTOR, ALUMINUM, 4/0 AND GREATER
3604098E |  | -133259.2 | 369 | 0200 | SERVICE, OVERHEAD, GREATER THEN 4/0, SINGLE PHASE
3604518E | -113562.71 |  |  |  | BEN - CV - HMPHL2721 - PIE TAP | BEN - CV - HMPHL2721 - PIE TAP | 2023-06-30
3604518E |  | -167.2 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3604518E |  | -113395.51 | 369 | 1300 | SERVICE, UNDERGROUND, 4/0 AND LESS,3 PHASES
3606015E | -321006.4 |  |  |  | TEX DEN PARISH ELECTRIC CO 302 | TEX DEN PARISH ELECTRIC CO 3029 TEXOMA DR CF | 2023-05-31
3606015E |  | -321006.4 | 369 | 1200 | SERVICE, UNDERGROUND, GREATER THAN 4/0, SINGLE PH
3607563E | -121369.91 |  |  |  | MHN 2 NOVA 2022 RECLOSER PH 4 | MHN 3 NOVA 2022 RECLOSER PH 4 MONAHANS FEEDERS BA | 2023-06-30
3607563E |  | -650.29 | 364 | 0001 | SINGLE CROSSARM
3607563E |  | -411.91 | 364 | 0002 | DOUBLE CROSSARMS
3607563E |  | -6153.06 | 364 | 0280 | POLE, WOOD, 45'
3607563E |  | -114154.65 | 365 | 6032 | RECLOSER,2 OR 3 PHASE,OVER 13.2KV,OVER 3000 AMP
3609372E | -575247.81 |  |  |  | TNER AGREEMENT 120828 | TNER AGREEMENT 120828 | 2023-06-30
3609372E |  | -575247.81 | 360 | 0010 | RIGHT OF WAY/EASEMENT
3609418E | -175388.37 |  |  |  | CEL GRNVLE RM IDLE SEC 2162 CR | PROJECT DID NOT CLOSE BECAUSE THE APPROPRIATE CHARGES DO NOT NET ZERO | 2023-01-31
3609418E |  | -42.26 | 364 | 0240 | POLE, WOOD, 35'
3609418E |  | -0.55 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3609418E |  | -175345.56 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
3612378E | -275134.59 |  |  |  | RRK: COME NS 108 MCNUTT RD LLC | RRK: COME NS 108 MCNUTT RD LLC - 108 MCNUTT RD., HUTTO - LS | 2023-05-31
3612378E |  | -888.83 | 364 | 0260 | POLE, WOOD, 40'
3612378E |  | -2129.8 | 364 | 0280 | POLE, WOOD, 45'
3612378E |  | -192.96 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
3612378E |  | -271923 | 369 | 1100 | SERVICE, UNDERGROUND, 4/0 AND LESS, SINGLE PHASE
3612856E | -128345.43 |  |  |  | TEX DEN CORRECT SUB STD CLEARA | TEX DEN CORRECT SUB STD CLEARANCE AT 1312 W MORGAN ST BTB | 2023-04-30
3612856E |  | -128345.43 | 369 | 0100 | SERVICE, OVERHEAD, 4/0 AND LESS, SINGLE PHASE
3614659E | -128385.12 |  |  |  | MDL: RM1555 TXDOT RELOCATE FA | MDL: RM1555 TXDOT RELOCATE FACILITIES | 2023-01-31
3614659E |  | -24499.44 | 364 | 0001 | SINGLE CROSSARM
3614659E |  | -3609.93 | 364 | 0280 | POLE, WOOD, 45'
3614659E |  | -56545.05 | 364 | 0300 | POLE, WOOD, 50'
3614659E |  | -26550.9 | 364 | 0320 | POLE, WOOD, 55'
3614659E |  | -17179.8 | 365 | 0010 | CONDUCTOR, ALUMINUM, LESS THAN 4/0
ICCM2301 | -17186642.29 |  |  |  | Cust. Care & Billing License | Purchased new database licenses for the Distribution Customer Care & Billing functionality. | 2023-06-30
ICCM2301 |  | -17186642.29 | 303 | 1000 | INTANGIBLE
IT2023RT | -4455200.79 |  |  |  | Intangible Retirement for 2023 | Intangible Retirement for 2023 per review by technology | 2023-03-31
IT2023RT |  | -4455200.79 | 303 | 1000 | INTANGIBLE
IWFS2301 | -227792.64 |  |  |  | FIM Enterprise License | Purchased new software licenses for Oncor's Financial Information Management application used to manage Transmission and Distribution financial transactions. | 2023-06-30
IWFS2301 |  | -227792.64 | 303 | 1000 | INTANGIBLE
| -74227907.3778 | -74227907.3778 | DCRF Retirements for Projects > $100,000
| -30414729.19 | DCRF Retirements for Projects <$100,000
| -104642636.5678 | Six Months Ending June 30, 2023 DCRF Retirements
| -149470516.5861 | Six Months Ending December 31, 2023 DCRF Retirements
| -127829411.4164 | Six Months Ending June 30, 2024 DCRF Retirements
| -325449298.9084 | 2022 DCRF Retirements
| -707391863.4786 | Total DCRF Retirements for January 1, 2022 through June 30, 2024, Sch B-5, Col 3, Line 24