Estimated Lengths of Alternative Routes (Miles)

| Route | Total ROW | Total Circuit Installed | Total Circuit Capable |
| --- | --- | --- | --- |
| A | 1.98 | 3.96 | 3.96 |
| B | 1.59 | 3.18 | 3.18 |
| C | 1.81 | 3.62 | 3.62 |
| D | 2.22 | 4.44 | 4.44 |
| E | 2.61 | 5.22 | 5.22 |

TOTAL ESTIMATED COST SUMMARY OF ALTERNATIVE ROUTES

| Route | Total Estimated Cost |
| --- | --- |
| A | $5,622,787 |
| B | $4,917,287 |
| C | $5,818,659 |
| D | $6,659,425 |
| E | $7,769,258 |

# Detailed Estimated Costs of EACH Alternative Route

| Alternative Route A Transmission Facilities |  |
| --- | --- |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,219,959 |
| Engineering and Design (Utility) | $236,550 |
| Engineering and Design (Contract) | $315,723 |
| Procurement of Material and Equipment | $1,819,286 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $2,021,269 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $5,622,787 |
| Alternative Route B Transmission Facilities |  |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,061,139 |
| Engineering and Design (Utility) | $224,912 |
| Engineering and Design (Contract) | $270,592 |
| Procurement of Material and Equipment | $1,615,322 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $1,735,321 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $4,917,287 |
| Alternative Route C Transmission Facilities |  |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,150,730 |
| Engineering and Design (Utility) | $227,586 |
| Engineering and Design (Contract) | $305,959 |
| Procurement of Material and Equipment | $2,030,347 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $2,094,037 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $5,818,659 |

| Alternative Route D Transmission Facilities |  |
| --- | --- |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,317,695 |
| Engineering and Design (Utility) | $247,482 |
| Engineering and Design (Contract) | $348,690 |
| Procurement of Material and Equipment | $2,297,808 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $2,437,750 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $6,659,425 |
| Alternative Route E Transmission Facilities |  |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,476,516 |
| Engineering and Design (Utility) | $250,861 |
| Engineering and Design (Contract) | $400,351 |
| Procurement of Material and Equipment | $2,754,877 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $2,876,654 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $7,769,258 |