SOAH Docket no. 473-25-14211

PUC Docket No. 57501

| APPLICATION OF EL PASO ELECTRIC COMPANY TO AMEND ITS CERTIFICATE OF CONVENIENCE AND NECESSITY FOR A 100 MW SOLAR/100 MW BATTERY STORAGE FACILITY | § § § § § § | before the state office of administrative hearings |
| --- | --- | --- |

COMMISSION STAFF’S FIRST REQUEST FOR INFORMATION TO

EL PASO ELECTRIC COMPANY

QUESTION NOS. STAFF 1-1 THROUGH STAFF 1-10

Pursuant to 16 Texas Administrative Code (TAC) § 22.144 of the Commission’s Procedural Rules, the Staff (Staff) of the Public Utility Commission of Texas (Commission) requests that El Paso Electric Company provide the following information and answer the following questions under oath. The questions shall be answered in sufficient detail to fully present all of the relevant facts, within 20 days as provided by the Presiding Officer in SOAH Order No. 3. Please copy the question immediately above the answer to each question. These questions are continuing in nature, and if there is a relevant change in circumstances, submit an amended answer, under oath, as a supplement to your original answer. State the name of the witness in this cause who will sponsor the answer to the question and can vouch for the truth of the answer.

Provide responses to the Requests for Information by filing with the Commission solely through the Interchange on the Commission’s website and provide notice, by email, to all other parties that the pleading or document has been filed with the Commission, unless otherwise ordered by the presiding officer pursuant to the Second Order Suspending Rules in Project No. 50664.

Dated: April 7, 2025

Respectfully submitted,

PUBLIC UTILITY COMMISSION OF TEXAS

LEGAL DIVISION

Marisa Lopez Wagley

Division Director

John York Harrison

Senior Managing Attorney

/s/ Cheri Hasz

Cheri Hasz

State Bar No. 24126575

1701 N. Congress Avenue

P.O Box 13326

Austin, Texas 78711-3326

(512) 936-7343

(512) 936-7268 (facsimile)

Cheri.Hasz@puc.texas.gov

SOAH Docket no. 473-25-14211

PUC Docket No. 57501

CERTIFICATE OF SERVICE

I certify that unless otherwise ordered by the presiding officer, notice of the filing of this document will be provided to all parties of record via electronic mail on April 7, 2025, in accordance with the Second Order Suspending Rules, issued in Project No. 50664.

/s/ Cheri Hasz

Cheri Hasz

SOAH Docket no. 473-25-14211

Docket No. 57501

COMMISSION STAFF’S FIRST REQUEST FOR INFORMATION TO

EL PASO ELECTRIC COMPANY

QUESTION NOS. STAFF 1-1 THROUGH STAFF 1-10

Definitions

- “You” or “EPE” refers to El Paso Electric Company and any person acting or purporting to act on their behalf, including without limitation, attorneys, agents, advisors, investigators, representatives, employees, or other persons.

- “Document” includes any written, recorded, or graphic matter, however produced or reproduced, including but not limited to correspondence, telegrams, contracts, agreements, notes in any form, memoranda, diaries, voice recording tapes, microfilms, pictures, computer media, work papers, calendars, minutes of meetings or other writings or graphic matter, including copies containing marginal notes or variations of any of the foregoing, now or previously in your possession. In the event any documents requested by this Request for Information have been transferred beyond your control, describe the circumstances under which the document was destroyed or transferred and provide an exact citation to the subject document. In the event that documents containing the exact information do not exist, but documents do exist which contain portions of the required information or which contain substantially similar information, then the definition of “documents” shall include the documents which do exist, and these documents will be provided.

SOAH Docket no. 473-25-14211

Docket No. 57501

COMMISSION STAFF’S FIRST REQUEST FOR INFORMATION TO

EL PASO ELECTRIC COMPANY

QUESTION NOS. STAFF 1-1 THROUGH STAFF 1-10

INSTRUCTIONS

- Pursuant to 16 TAC § 22.144(c)(2), Staff requests that answers to the requests for information be made under oath.

- Please copy the question immediately above the answer to each question. State the name of the witness in this cause who will sponsor the answer to the question and can vouch for the truth of the answer.

- These questions are continuing in nature, and if there is a relevant change in circumstances, submit an amended answer, under oath, as a supplement to your original answer.

- Words used in the plural shall also be taken to mean and include the singular. Words used in the singular shall also be taken to mean and include the plural.

- The present tense shall be construed to include the past tense, and the past tense shall be construed to include the present tense.

- If any document is withheld under any claim of privilege, please furnish a list identifying each document for which a privilege is claimed, together with the following information: date, sender, recipients or copies, subject matter of the document, and the basis upon which such privilege is claimed.

- Pursuant to 16 TAC § 22.144(h)(4), if the response to any request is voluminous, please provide a detailed index of the voluminous material.

- Staff requests that each item of information be made available as it is completed, rather than upon completion of all information requested.

SOAH Docket no. 473-25-14211

Docket No. 57501

COMMISSION STAFF’S FIRST REQUEST FOR INFORMATION TO

EL PASO ELECTRIC COMPANY

QUESTION NOS. STAFF 1-1 THROUGH STAFF 1-10

- Regarding Issue No. 14(e) of the preliminary order filed on March 13, 2025, in this proceeding (Preliminary Order):

In El Paso Electric’s need analysis, what is the jurisdictional allocation for the proposed solar photovoltaic generating facility and battery?

- Is EPE seeking a Commission determination in this proceeding regarding the jurisdictional allocation treatment to be applied to the Newman Buffer in any future ratemaking or fuel reconciliation proceeding?  Please fully explain.

- Does EPE expect the Commission to rule in this proceeding regarding the jurisdictional allocation treatment to be applied to the Newman Buffer in any future ratemaking or fuel reconciliation proceeding?  Please fully explain.

- Does EPE agree that, in the absence of ordering language explicitly addressing future jurisdictional allocation treatment for the Newman Buffer, Commission approval of this CCN application would not impose any requirements regarding the jurisdictional allocation treatment for the Newman Buffer in any future proceeding?  If not, please fully explain.

- Please provide citations to all CCN proceedings EPE is aware of wherein the Commission’s order in that proceeding required a jurisdictional allocation treatment be applied to future proceedings.

- Please provide citations to all CCN proceedings EPE is aware of wherein the Commission in that proceeding rejected or otherwise did not adopt a request to establish a jurisdictional allocation treatment be applied to future proceedings.

Regarding EPE’s filing, where EPE represented:

Through its ongoing resource planning processes, EPE compiles its supply, demand, and reserves information into its L&R documents on an annual basis. The planning process begins with the development of its 20-year load forecast (as discussed in the direct testimony of EPE witness Enedina Soto), together with consideration of the age and planned retirements of existing generating resources, to assess resource needs on a 20-year planning horizon. The L&R documents, developed on a system and jurisdictional basis, show the balance or imbalance of EPE generating and purchased power resources versus expected loads and EPE's annual planning reserve margin.

Please explain:

  - Whether EPE has shown in this current proceeding the L&R documents developed on a system basis;

  - If the answer to part “a” of this question is “yes,” please indicate in what parts of the EPE’s filing this information has been provided; and

  - If the answer to part “a” of this question is “no,” please provide all the information associated with the L&R documents developed on a system basis including workpapers, in electronic spreadsheet formal with cell references and formulae intact.

- Regarding EPE’s filing, where EPE represented:

In 2021, as part of the process of developing its integrated resource plan for New Mexico, EPE determined it would be appropriate to issue two separate resource solicitations for capacity needs, one for Texas and the other for New Mexico, given the differing regulatory requirements between the two jurisdictions. EPE further determined that conducting separate jurisdictional solicitations, and thus developing separate L&R documents, was the best approach to achieve the greatest autonomy between jurisdictions for resource selection and regulatory approvals. The Company has since continued to implement this practice.

Please explain:

  - Whether EPE has performed the analysis for supplying resources to EPE’s resource needs on a system basis;

  - If the answer to part “a” of this question is “yes,” please provide all the results of such analysis.

- Has EPE performed any analysis to show the benefits, costs, and risks of Newman Buffer as a system resource?

- Is EPE presenting Newman Buffer as a Texas-dedicated because of a possible disallowance of this project from other jurisdictions, e.g., New Mexico, or the Federal Energy Regulatory Commission (FERC)?  Please explain.

- How does EPE intend to seek recovery of the costs associated with this CCN proceeding in the future?  Please explain.

- Is it EPE’s position that Newman Buffer will be treated as a system resources in ratemaking proceedings? Please explain.

- Is it EPE’s position that Newman Buffer will be treated as a system resources in fuel reconciliation proceedings? Please explain.

- How does EPE dispatch its generation and energy storage resources on annual, monthly, weekly, daily, hourly, intra hourly basis? Does EPE dispatch its resources on a jurisdictional basis or on a systemwide basis for each of such periods? In other words, does EPE isolate its two jurisdictions and assigns specific resources to each jurisdiction for each of such periods?  Please explain.

- Is it EPE’s position that the state of New Mexico’s statutory or regulatory requirements should dictate or otherwise determine Texas retail ratemaking practice?  Please explain.

SOAH Order No. 3 at 3 (Apr. 4, 2025).

Per the Application at 2 (Jan. 7, 2025), Newman Buffer is a 100-megawatt (MW) solar photovoltaic generating facility together with a 100-MW battery energy storage system (BESS).

Direct Testimony of Emmanuel Villalobos at 7:2-9 (emphasis added).

Direct Testimony of Emmanuel Villalobos at 7:13-19 (emphasis added).