SOAH DOCKET NO. 473-25-11558

Docket No. 57579

| APPLICATION OF CENTERPOINT ENERGY HOUSTON ELECTRIC, LLC FOR APPROVAL OF ITS 2026-2028 TRANSMISSION AND DISTRIBUTION SYSTEM RESILIENCY PLAN | § § § § § | before the state office of administrative hearings |
| --- | --- | --- |

COMMISSION STAFF’S THIRD REQUEST FOR INFORMATION TO

CENTERPOINT ENERGY HOUSTON ELECTRIC, LLC

QUESTION NOs. STAFF 3-1 THROUGH 3-4

Pursuant to 16 Texas Administrative Code (TAC) § 22.144 of the Commission’s Procedural Rules, the Staff (Staff) of the Public Utility Commission of Texas (Commission) requests that CenterPoint Energy Houston Electric, LLC by and through its representative of record, provide the following information and answer the following questions under oath. The questions shall be answered in sufficient detail to fully present all of the relevant facts, within the time limit provided by the Presiding Officer or within 20 days if the Presiding Officer has not provided a time limit. Please copy the question immediately above the answer to each question. These questions are continuing in nature, and if there is a relevant change in circumstances, submit an amended answer, under oath, as a supplement to your original answer. State the name of the witness in this cause who will sponsor the answer to the question and can vouch for the truth of the answer.

Provide responses to the Requests for Information by filing with the Commission solely through the Interchange on the Commission’s website and provide notice, by email, to all other parties that the pleading or document has been filed with the Commission, unless otherwise ordered by the presiding officer pursuant to the Second Order Suspending Rules in Project No. 50664.

Dated: March 20, 2025

Respectfully submitted,

PUBLIC UTILITY COMMISSION OF TEXAS

LEGAL DIVISION

Marisa Lopez Wagley

Division Director

John York Harrison

Senior Managing Attorney

/s/ Anthony Kanalas

Anthony Kanalas

State Bar No. 24125640

Cheri Hasz

State Bar No. 24126575

Garrett Sharp

State Bar No. 24138026

1701 N. Congress Avenue

P.O Box 13326

Austin, Texas 78711-3326

(512) 936-7459

(512) 936-7268 (facsimile)

anthony.kanalas@puc.texas.gov

SOAH DOCKET NO. 473-25-11558

Docket No. 57579

CERTIFICATE OF SERVICE

I certify that unless otherwise ordered by the presiding officer, notice of the filing of this document will be provided to all parties of record via electronic mail on March 20, 2025, in accordance with the Second Order Suspending Rules, issued in Project No. 50664.

/s/ Anthony Kanalas

Anthony Kanalas

SOAH DOCKET NO. 473-25-11558

Docket No. 57579

COMMISSION STAFF’S THIRD REQUEST FOR INFORMATION TO

CENTERPOINT ENERGY HOUSTON ELECTRIC, LLC

QUESTION NOs. STAFF 3-1 THROUGH 3-4

Definitions

- “CenterPoint Energy Houston Electric, LLC” or “you” refers to CenterPoint Energy Houston Electric, LLC and any person acting or purporting to act on their behalf, including without limitation, attorneys, agents, advisors, investigators, representatives, employees, or other persons.

- “Document” includes any written, recorded, or graphic matter, however produced or reproduced, including but not limited to correspondence, telegrams, contracts, agreements, notes in any form, memoranda, diaries, voice recording tapes, microfilms, pictures, computer media, work papers, calendars, minutes of meetings or other writings or graphic matter, including copies containing marginal notes or variations of any of the foregoing, now or previously in your possession. In the event any documents requested by this Request for Information have been transferred beyond your control, describe the circumstances under which the document was destroyed or transferred and provide an exact citation to the subject document. In the event that documents containing the exact information do not exist, but documents do exist which contain portions of the required information or which contain substantially similar information, then the definition of “documents” shall include the documents which do exist, and these documents will be provided.

SOAH DOCKET NO. 473-25-11558

Docket No. 57579

COMMISSION STAFF’S THIRD REQUEST FOR INFORMATION TO

CENTERPOINT ENERGY HOUSTON ELECTRIC, LLC

QUESTION NOs. STAFF 3-1 THROUGH 3-4

INSTRUCTIONS

- Pursuant to 16 TAC § 22.144(c)(2), Staff requests that answers to the requests for information be made under oath.

- Please copy the question immediately above the answer to each question. State the name of the witness in this cause who will sponsor the answer to the question and can vouch for the truth of the answer.

- These questions are continuing in nature, and if there is a relevant change in circumstances, submit an amended answer, under oath, as a supplement to your original answer.

- Words used in the plural shall also be taken to mean and include the singular. Words used in the singular shall also be taken to mean and include the plural.

- The present tense shall be construed to include the past tense, and the past tense shall be construed to include the present tense.

- If any document is withheld under any claim of privilege, please furnish a list identifying each document for which a privilege is claimed, together with the following information: date, sender, recipients or copies, subject matter of the document, and the basis upon which such privilege is claimed.

- Pursuant to 16 TAC § 22.144(h)(4), if the response to any request is voluminous, please provide a detailed index of the voluminous material.

- Staff requests that each item of information be made available as it is completed, rather than upon completion of all information requested.

SOAH DOCKET NO. 473-25-11558

Docket No. 57579

COMMISSION STAFF’S THIRD REQUEST FOR INFORMATION TO

CENTERPOINT ENERGY HOUSTON ELECTRIC, LLC

QUESTION NOs. STAFF 3-1 THROUGH 3-4

- Several of the measures proposed in CenterPoint’s System Resiliency Plan (SRP) include the following list of evaluation metrics: (1) Percent of planned asset installations completed by county, (2) Percent of change in predicted damage based on the event type, (3) Normalized total system restoration performance during Resiliency Events pre- and post-completion of mitigation projects based on the event type, and (4) Normalized restoration performance of predicted high damage concentration area compare to Normalized total system restoration performance pre- and post-completion of mitigation projects during Resiliency Events based on the event type.

  - Please elaborate further on metric (3) above. In particular, please provide additional detail around the normalization process and how this metric will demonstrate the effectiveness of measures to which it is applied.

  - Please elaborate further on metric (4) above. In particular, please provide additional detail around the normalization process and how this metric will demonstrate the effectiveness of measures to which it is applied.

  - Under 16 TAC 25.62(c)(2)(C)(iii), the resiliency plan must include an estimate or analysis of the expected effectiveness of each measure using the selected evaluation metric or criteria. For each of the following measures included in the SRP, how does the above list of evaluation metrics demonstrate the effectiveness of the proposed measure, relative to the baseline of not implementing these measures? Is there any way to estimate the amount of improvement in performance of the system (e.g., in terms of avoided costs, avoided outages, decreased restoration time) that is directly attributable to the implementation of each measure?

    - Distribution Circuit Resiliency (pp. 1235-1236)

    - Strategic Undergrounding (p. 1240)

    - Restoration IGSD (p. 1245)

    - Distribution Pole Replacement/Bracing (p. 1248)

    - Vegetation Management (p. 1251)

    - MUCAMS (p. 1275)

    - Mobile Substations (p. 1278)

    - Loadshed IGSD (pp. 1284-1285)

    - Distribution Capacity Enhancement/Substations (p. 1290)

    - Major Underground (MUG) Reconductor (p. 1293)

    - URD Cable Modernization (pp. 1295-1296)

    - Contamination Mitigation (p. 1299)

    - Digital Substation (pp. 1304-1305)

    - Wildfire Mitigation (p. 1309)

- Under 16 TAC 25.62(c)(2)(C)(iii), the resiliency plan must include an estimate or analysis of the expected effectiveness of each measure using the selected evaluation metric or criteria. Please refer to page 1322 of the SRP, which describes the performance metrics that will be tracked in relation to the Spectrum Acquisition Resiliency measure.

  - How does tracking these metrics demonstrate the effectiveness of the measure without a comparison of similar values before implementation of this measure?

  - Is there any way to estimate the amount of improvement in performance of the system (e.g., in terms of avoided costs, avoided outages, decreased restoration time) that is directly attributable to the implementation of this measure?

- Under 16 TAC 25.62(c)(2)(C)(iii), the resiliency plan must include an estimate or analysis of the expected effectiveness of each measure using the selected evaluation metric or criteria. Please refer to page 1338 of the SRP, which describes the performance metrics that CenterPoint plans to use for tracking the effectiveness of the Network Security & Vulnerability Management resiliency measure.

  - How does tracking these metrics demonstrate the effectiveness of the measure without a comparison of similar values before implementation of this measure?

  - Is there any way to estimate the amount of improvement in performance of the system (e.g., in terms of avoided costs, avoided outages, decreased restoration time) that is directly attributable to the implementation of this measure?

- Under 16 TAC 25.62(c)(2)(C)(iii), the resiliency plan must include an estimate or analysis of the expected effectiveness of each measure using the selected evaluation metric or criteria. Please refer to page 1346 of the SRP, which describes the performance metrics that CenterPoint plans to use for tracking the effectiveness of the IT/OT Cybersecurity Monitoring resiliency measure.

  - How does tracking these metrics demonstrate the effectiveness of the measure without a comparison of similar values before implementation of this measure?

  - Is there any way to estimate the amount of improvement in performance of the system (e.g., in terms of avoided costs, avoided outages, decreased restoration time) that is directly attributable to the implementation of this measure?