## PUC 02-01
Docket 57579
2026 - 2028 Transmission & Distribution System Resiliency Plan
PUC RFI 02-01
|  | Estimated Capital Costs (millions) | Estimated Incremental O&M Costs (millions) | Estimated Timeframe (years)
System Hardening
RM-1 | Distribution Circuit Resiliency | 513.4 | 0 | 2026 - 2028
RM-2 | Strategic Undergrounding | 860 | 0 | 2026 - 2028
RM-4 | Distribution Pole Replacement/Bracing | 251.6 | 0 | 2026 - 2028
RM-6 | Transmission System Hardening | 1467.25 | 0.75 | 2026 - 2028
RM-7 | 69kV Conversion Projects | 369.3 | 0 | 2026 - 2028
RM-8 | S90 Tower Replacements | 118.4 | 0 | 2026 - 2028
RM-9 | Coastal Resiliency Projects | 177.35 | 0.75 | 2026 - 2028
RM-38 | Emergency Operations Center | 50 | 6 | 2026 - 2028
RM-39 | Hardened Service Centers | 107.6 | 0 | 2026 - 2028
RM-16 | Distribution Capacity Enhancement/Substations | 579.6 | 0 | 2026 - 2028
RM-17 | MUG Reconductor | 245 | 0 | 2026 - 2028
RM-20 | Substation Fire Barriers | 9 | 0 | 2026 - 2028
|  | 4748.5 | 7.5
Grid Modernization
RM-3 | Restoration IGSD | 107.31 | 0.49 | 2026 - 2028
RM-15 | Loadshed IGSD | 4.49 | 0.1 | 2026 - 2028
RM-14 | Anti-Galloping Technologies | 14 | 1 | 2026 - 2028
RM-18 | URD Cable Modernization | 128.4 | 0 | 2026 - 2028
RM-19 | Contamination Mitigation | 144 | 6 | 2026 - 2028
|  | 398.2 | 7.59
Flood Control
RM-10 | Substation Flood Control | 43.8 | 0 | 2026 - 2028
RM-11 | Control Center Flood Control | 7 | 0 | 2026 - 2028
RM-12 | MUCAMS | 10.8 | 0 | 2026 - 2028
RM-13 | Mobile Substations | 30 | 0 | 2026 - 2028
|  | 91.6 | 0
Information Technology to Support Operations
RM-21 | Digital Substation | 31.8 | 0 | 2026 - 2028
RM-33 | Advanced Aerial Imagery/Digital Twin | 18.36 | 2.04 | 2026 - 2028
RM-34 | Weather Stations | 0 | 0.3 | 2026 - 2028
RM-35 | Wildfire Cameras | 0 | 0.9 | 2026 - 2028
|  | 50.16 | 3.24
Information Technology
RM-28 | Spectrum Acquisition | 42 | 0 | 2026 - 2028
RM-29 | Data Center Modernization | 12.65 | 1.25 | 2026 - 2028
RM-37 | Backhaul Microwave Communication | 12.65 | 0 | 2026 - 2028
RM-36 | Voice & Mobile Data Radio System | 20.9 | 0 | 2026 - 2028
|  | 88.2 | 1.25
Cybersecurity
RM-30 | Network Security & Vulnerability Management | 7.5 | 2 | 2026 - 2028
RM-31 | IT/OT Cybersecurity Monitoring | 13.4 | 4.2 | 2026 - 2028
RM-32 | Cloud Security, Product Security & Risk Management | 4 | 6 | 2026 - 2028
|  | 24.9 | 12.2
Physical Security
RM-27 | Substation Security Upgrades | 19.4 | 0.1 | 2026 - 2028
RM-26 | Substation Physical Security Fencing | 18 | 0 | 2026 - 2028
|  | 37.4 | 0.1
Vegetation Management
RM-5 | Vegetation Management | 0 | 146.1 | 2026 - 2028
|  | 0 | 146.1
Wildfire Mitigation
RM-22 | Wildfire Advanced Analytics | 0 | 0.9 | 2026 - 2028
RM-23 | Wildfire Strategic Undergrounding | 50 | 0 | 2026 - 2028
RM-24 | Wildfire Vegetation Management | 0 | 30 | 2026 - 2028
RM-25 | Wildfire IGSD | 19.36 | 0.3 | 2026 - 2028
|  | 69.36 | 31.2
Pilot Program
PP-1 | Microgrid Pilot Program | 35 | 1.5 | 2026 - 2028
|  | 35 | 1.5
| TOTAL PROGRAMS | 5543.32 | 210.68