## Sheet1
Summary Table of Recommended Plan Changes ($ Million)
Measure | Measure Name | CEHE Proposed | CEHE Proposed | OPUC Recomm. | OPUC Recomm. | Difference | Difference
|  | Capital | O&M | Capital | O&M | Capital | O&M
RM-1 | Distrib. Circuit Resiliency | 513.4 | 0 | 312.8 | 0 | -200.6 | 0
RM-2 | Strategic Undergrounding | 860 | 0 | 260 | 0 | -600 | 0
RM-3 | IGSD Installation | 107.3 | 0.49 | 107.3 | 0.49 | 0 | 0
RM-4 | Distrib. Pole Replace/Bracing | 251.6 | 0 | 251.6 | 0 | 0 | 0
RM-5 | Vegetation Management | 0 | 146.1 | 0 | 146.1 | 0 | 0
RM-6 | Transmission System Hardening | 1467.3 | 0.75 | 400 | 0 | -1067.3 | -0.75
RM-7 | 69 kV Conversion | 369.3 | 0 | 0 | 0 | -369.3 | 0
RM-8 | S90 Tower Replacements | 118.4 | 0 | 118.4 | 0 | 0 | 0
RM-9 | Coastal Resiliency | 177.4 | 0.75 | 0 | 0 | -177.4 | -0.75
RM-10 | Substation Flood Control | 43.8 | 0 | 0 | 0 | -43.8 | 0
RM-11 | AOC Flood Control | 7 | 0 | 0 | 0 | -7 | 0
RM-12 | MUCAMS | 10.8 | 0 | 0 | 0 | -10.8 | 0
RM-13 | Mobile Substations | 30 | 0 | 15 | 0 | -15 | 0
RM-14 | Anti-Galloping Technologies | 14 | 1 | 14 | 1 | 0 | 0
RM-15 | Load Shed IGSD | 4.5 | 0.1 | 4.5 | 0.1 | 0 | 0
RM-16 | Distrib. Capacity Enhacements | 579.6 | 0 | 0 | 0 | -579.6 | 0
RM-17 | MUG Reconductor | 245 | 0 | 0 | 0 | -245 | 0
RM-18 | URD Cable Modernization | 128.4 | 0 | 0 | 0 | -128.4 | 0
RM-19 | Contamination Mitigation | 144 | 6 | 0 | 0 | -144 | -6
RM-20 | Substation Fire Barriers | 9 | 0 | 0 | 0 | -9 | 0
RM-21 | Digital Substation | 31.8 | 0 | 0 | 0 | -31.8 | 0
RM-22 | Wildfire Advanced Analytics | 0 | 0.9 | 0 | 0.9 | 0 | 0
RM-23 | Wildfire Strategic Undergrounding | 50 | 0 | 0 | 0 | -50 | 0
RM-24 | Wildfire Vegetation Management | 0 | 30 | 0 | 30 | 0 | 0
RM-25 | Wildfire IGSD | 19.4 | 0.3 | 0 | 0 | -19.4 | -0.3
RM-26 | Substation Phys. Security Fencing | 18 | 0 | 18 | 0 | 0 | 0
RM-27 | Substation Security Upgrades | 19.4 | 0.1 | 19.4 | 0.1 | 0 | 0
RM-28 | Spectrum Acquisition | 42 | 0 | 0 | 0 | -42 | 0
RM-29 | Data Center Modernization | 12.7 | 1.3 | 0 | 0 | -12.7 | -1.3
RM-30 | Network Sec & Vul. Mgmnt. | 7.5 | 2 | 0 | 0 | -7.5 | -2
RM-31 | IT/OT Cybersecurity | 13.4 | 4.2 | 0 | 0 | -13.4 | -4.2
RM-32 | Cloud Security, Risk Management | 4 | 6 | 0 | 0 | -4 | -6
RM-33 | Digital Twin | 18.4 | 2 | 0 | 0 | -18.4 | -2
RM-34 | Weather Stations | 0 | 0.3 | 0 | 0.3 | 0 | 0
RM-35 | Wildfire Cameras | 0 | 0.9 | 0 | 0.9 | 0 | 0
RM-36 | Voice, Mobile Data Radio System | 20.9 | 0 | 0 | 0 | -20.9 | 0
RM-37 | Backhaul Microwave | 12.7 | 0 | 0 | 0 | -12.7 | 0
RM-38 | Emergency Operations Center | 50 | 6 | 50 | 6 | 0 | 0
RM-39 | Hardened Service Centers | 107.6 | 0 | 107.6 | 0 | 0 | 0
PP-1 | Microgrid Pilot Project | 35 | 1.5 | 0 | 0 | -35 | -1.5
| Total | 5543.6 | 210.69 | 1678.6 | 185.89 | -3865 | -24.8