## AttSN-6 CONF CBA INPUTS
Attachment SN-6
CONFIDENTIAL

## TBL1, 3& 5 CEHE RELIAB w SRP
TBL 1 - Total 25 SRP Rel Impact |  |  |  | TBL 3 - VM Reliab Impact | TBL-5 Trans Hard Reliab Impact
T&D
| Major Events | T&D CMI w Major Events | Major Events | T&D CMI w Major Events | T&D CMI w Major Events
| CMI | All SRP Measures | w RSP, CMI | VegMgt Measure | Trans Hard Measure
2017 | 771159352 | 1123155238 |  | 1123155238 | 1123155238
2018 | 14306379.16 | 459152176.47 |  | 459152176.47 | 459152176.47
2019 | 68928123.19 | 584616319.74 |  | 584616319.74 | 584616319.74
2020 | 165088511.58 | 591492659.05 |  | 591492659.05 | 591492659.05
2021 | 5850589196.62 | 6323080823.38 |  | 6323080823.38 | 6323080823.38
2022 | 7320959.26 | 630907847.38 |  | 630907847.38 | 630907847.38
2023 | 592776753.76 | 1080759705.52 |  | 1080759705.52 | 1080759705.52
2024 | 11802693445.9 | 12294062804.21 |  | 12294062804.21 | 12294062804.21
2017-24 Average CMI | 2409107840.1838 | 2885903446.7188 |  | 2885903446.7188 | 2885903446.7188
2017-24 Avg SAIDI | 860.3957 | 1030.6798 |  | 1030.6798 | 1030.6798
2017-24 Reliability w/o SRP | 99.84% | 99.8% |  | 99.8% | 99.8%
SRP Est. CMI Reduction | 436312458.6676 | 436312458.6676 |  | 45666666.6667 | 74600000
Total w SRP CMI Reduction | 1972795381.5162 | 2449590988.0512 |  | 2840236780.0521 | 2811303446.7188
T&D w RSP SAIDI | 704.5698 | 874.8539 |  | 1014.3703 | 1004.0369
2026-28 T&D Reliability w SRP | 99.87% | 99.83% |  | 99.81% | 99.81%
Reliability Change w SRP | 0.02965% | 0.02965% |  | 0.003103% | 0.005069%
T&D Major events | 771159352 | 14306379.16 | 68928123.19 | 165088511.58 | 5850589196.62 | 7320959.26 | 592776753.76 | 11802693445.9 |  | 2394270531.5025
T&D Total w ME | 1123155238 | 459152176.47 | 584616319.74 | 591492659.05 | 6323080823.38 | 630907847.38 | 1080759705.52 | 12294062804.21
TCUC RFI 1-11: CEHE’s Annual Distribution System SAIDI, SAIFI and CMI Including Extreme Weather Events
SAIFI | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 |  | 2017-24 AVG
Major Event | 0.449 | 0.033 | 0.082 | 0.265 | 3.159 | 0.015 | 0.374 | 2.049 |  | 0.80325
Forced Interruptions | 1.038 | 1.163 | 1.263 | 1.144 | 1.207 | 1.414 | 1.376 | 1.476 |  | 1.2601
Scheduled Interruptions | 0.288 | 0.338 | 0.373 | 0.304 | 0.319 | 0.446 | 0.38 | 0.364 |  | 0.3515
Outside Causes | 0.086 | 0.142 | 0.107 | 0.113 | 0.094 | 0.111 | 0.099 | 0.079 |  | 0.10387
SAIDI | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Major Event | 312.17 | 4.85 | 26.73 | 63.24 | 2189.01 | 2.69 | 177.57 | 4143.98 |  | 865.03
Forced Interruptions | 102.73 | 116.46 | 152.68 | 122.03 | 135.94 | 164.65 | 140.16 | 138.53 |  | 134.1475
Scheduled Interruptions | 36.84 | 50.05 | 45.31 | 37.47 | 37.46 | 59.65 | 32.16 | 30.94 |  | 41.235
Outside Causes | 2.62 | 7.23 | 3.08 | 3.84 | 3.46 | 4.79 | 4.15 | 3.07 |  | 4.03
CMI | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Major Event | 770486997 | 12203207.7 | 68528755.93 | 165088511.58 | 5838852535.93 | 7320959.26 | 490418220.19 | 11801265064.43 |  | 2394270531.5025
Forced Interruptions | 253559379 | 293154830.4 | 391495997 | 318564023.86 | 362598292.74 | 448185125 | 387107631.63 | 394495481.09 |  | 356145095.09
Scheduled Interruptions | 90925354 | 125994918.53 | 116185634.52 | 97810773.17 | 99909741.92 | 162373733.94 | 88828657.27 | 88121290.52 |  | 108768762.9838
Outside Causes | 6475986 | 18201066.07 | 7905990.37 | 10028762.18 | 9240979.86 | 13028029.18 | 11471972.17 | 8752586.7 |  | 10638171.5663
| 1121447716 | 449554022.7 | 584116377.82 | 591492070.79 | 6310601550.45 | 630907847.38 | 977826481.26 | 12292634422.74 |  | 2869822561.1425
SOAH DOCKET NO. 473-25-11558
PUC Docket No. 57579
TCUC01-13 - CEHE Transmission SAIDI, SAIFI, and CMI Including Extreme Weather Events.xlsx
Page 1 of 1
SAIFI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2017-24 AVG
Outside Causes - Transmission (Major Event) | 0 | 0.012 | 0.003 | 0 | 0.012 | 0 | 0.029 | 0 | 0.007
Outside Causes - Transmission (Non-Major Event) | 0.002 | 0.011 | 0.003 | 0 | 0 | 0 | 0.002 | 0 | 0.00225
Outside Causes - Total | 0.002 | 0.023 | 0.006 | 0 | 0.012 | 0 | 0.031 | 0 | 0.00925
SAIDI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Outside Causes - Transmission (Major Event) | 0.27 | 0.84 | 0.16 | 0 | 4.4 | 0 | 37.06 | 0.5 | 5.4038
Outside Causes - Transmission (Non-Major Event) | 0.42 | 2.98 | 0.04 | 0 | 0.28 | 0 | 0.21 | 0 | 0.49125
Outside Causes - Total | 0.69 | 3.82 | 0.2 | 0 | 4.68 | 0 | 37.27 | 0.5 | 5.895
CMI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Outside Causes - Transmission (Major Event) | 672355 | 2103171.46 | 399367.26 | 0 | 11736660.69 | 0 | 102358533.57 | 1428381.47 | 14837308.6812
Outside Causes - Transmission (Non-Major Event) | 1035167 | 7494982.31 | 100574.66 | 588.26 | 742612.24 | 0 | 574690.69 | 0 | 1243576.895
Outside Causes - Total | 1707522 | 9598153.77 | 499941.92 | 588.26 | 12479272.93 | 0 | 102933224.26 | 1428381.47 | 16080885.5762

## TBL2 VM Incr
Tbl 2 - VM Spending Incr
2019 | 32.6
2020 | 29.6
2021 | 31.4
2022 | 34.6
2023 | 45.8
2019-23 Avg | 34.8
2026-28 SRP Avg | 48.7 | 48.7
Increase, % | 139.9%
56548 | 25
57579 | 146.1
Increase | 121.1
% Increase | x

## TBL4 TransHard Inc
Tbl 4 - TRANS HARD Spending Incr
2019 | 10.8
2020 | 13.3
2021 | 160.4
2022 | 275.3
2023 | 167.9
2019-23 Avg | 125.54
2026-28 SRP Avg | 489.6 | 48.7
Increase, % | 390%
56548 | 377
57579 | 1468.8
Increase | 1091.8
% Increase | 289.6%
TCUC RFI 1-15: CEHE’s annual capital additions and O&M expenses for the following resilience measures for each year since 2017
Annual Capital ($ in millions) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 |  |  |  | 2021-24 TOTAL | 2021-24 AVG/YR |  | 2017-20 TOTAL | 2017-20 AVG/YR
a. Distribution circuit resiliency | [5 empty] | 40 | 40 | 17 |  |  |  | 97 | 32.3333 |  | 0 | #DIV/0!
b. Strategic undergrounding |  |  |  |  | 0.6 | 8 | 11 | 14 |  |  |  | 33.6 | 8.4 |  | 0 | #DIV/0!
c. Distribution pole replacement and bracing | 18 | 17 | 19 | 29 | 30 | 61 | 52 | 78 |  |  |  | 221 | 55.25 |  | 83 | 20.75
d. Transmission system hardening | 0.7 | 4 | 10 | 12 | 159 | 274 | 166 | 65 |  |  |  | 664 | 166 |  | 26.7 | 6.675
e. Vegetation management | 0 | [13 empty] | 0 | 0
f. 69kV conversion projects |  |  |  | 16 | 3 | 49 | 90 | 22 |  |  |  | 164 | 41 |  | 16 | 16
g. S90 tower replacements |  |  | 0.9 | 3 | 20 | 24 | 10 | 10 |  |  |  | 64 | 16 |  | 3.9 | 1.95
h. Distribution capacity enhancements/substations | 13 | 9 | 13 | 22 | 14 | 20 | 81 | 57 |  |  |  | 172 | 43 |  | 57 | 14.25
i. Substation flood control |  | 0.9 | 5 | 18 | 13 | 20 | 20 | 4 |  |  |  | 57 | 14.25 |  | 23.9 | 7.9667
TOTAL | 31.7 | 30.9 | 47.9 | 100 | 239.6 | 496 | 470 | 267 |  |  |  | 1472.6 | 368.15 |  | 210.5 | 52.625
Annual O&M ($ in millions) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
a. Distribution circuit resiliency | [11 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
b. Strategic undergrounding | [11 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
c. Distribution pole replacement and bracing | [11 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
d. Transmission system hardening | 0.9 | 1.4 | 0.8 | 1.3 | 1.4 | 1.3 | 1.9 | 0.3 |  |  |  | 4.9 | 1.225 |  | 4.4 | 1.1
e. Vegetation management* | 28.5 | 35.7 | 32.6 | 29.6 | 31.4 | 34.6 | 45.8 | 147.1 |  |  |  | 258.9 | 64.725 |  | 126.4 | 31.6
f. 69kV conversion projects | [11 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
g. S90 tower replacements | [11 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
h. Distribution capacity enhancements/substations |  |  | 0.025 |  |  |  | 0.005 | 0.008 |  |  |  | 0.013 | 0.0065 |  | 0.025 | 0.025
i. Substation flood control | [11 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
TOTAL | 29.4 | 37.1 | 33.425 | 30.9 | 32.8 | 35.9 | 47.705 | 147.408 |  |  |  | 263.813 | 65.9532 |  | 130.825 | 32.7062
* This data can also be found in Project 41381 - ANNUAL VEGETATION MANAGEMENT PLANS AND REPORTS PURSUANT TO PUC SUBST. R. §25.96.
TOTAL O&M/CAPITAL | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 |  | 26-28 PLAN TOT | 26-28 AVG | 2019-23 TOTAL | 2019-23 AVG/YR |  | 2017-20 TOTAL | 2017-20 AVG/YR
a. Distribution circuit resiliency | 0 | 0 | 0 | 0 | 0 | 40 | 40 | 17 |  | 245 | 81.6667 | 80 | 16 |  | 0 | 0
b. Strategic undergrounding | 0 | 0 | 0 | 0 | 0.6 | 8 | 11 | 14 |  | 128.4 | 42.8 | 19.6 | 3.92 |  | 0 | 0
c. Distribution pole replacement and bracing | 18 | 17 | 19 | 29 | 30 | 61 | 52 | 78 |  | 9 | 3 | 191 | 38.2 |  | 83 | 20.75
d. Transmission system hardening | 1.6 | 5.4 | 10.8 | 13.3 | 160.4 | 275.3 | 167.9 | 65.3 | 508.5 | 0.9 | 0.3 | 627.7 | 125.54 | 376.62 | 31.1 | 7.775
e. Vegetation management* | 28.5 | 35.7 | 32.6 | 29.6 | 31.4 | 34.6 | 45.8 | 147.1 | 227.5 | 31.8 | 10.6 | 174 | 34.8 |  | 126.4 | 31.6
f. 69kV conversion projects | 0 | 0 | 0 | 16 | 3 | 49 | 90 | 22 |  | 30 | 10 | 158 | 31.6 |  | 16 | 4
g. S90 tower replacements | 0 | 0 | 0.9 | 3 | 20 | 24 | 10 | 10 |  | 50 | 16.6667 | 57.9 | 11.58 |  | 3.9 | 0.975
h. Distribution capacity enhancements/substations | 13 | 9 | 13.025 | 22 | 14 | 20 | 81.005 | 57.008 |  | 218.75 | 72.9167 | 150.03 | 30.006 |  | 57.025 | 14.2562
i. Substation flood control | 0 | 0.9 | 5 | 18 | 13 | 20 | 20 | 4 |  | 18 | 6 | 76 | 15.2 |  | 23.9 | 5.975
TOTAL | 61.1 | 68 | 81.325 | 130.9 | 272.4 | 531.9 | 517.705 | 414.408 |  |  |  | 1534.23 | 306.846 |  | 341.325 | 85.3312
[10 empty] | TIMES 2017-20 |  | 4.4949 | 3.5959

## TCUC Adjust WP
| Dkt 56548 | Dkt 57579 | Dkt 57579 | Dkt 57579 |  |  | TCUC | TCUC
| CEHE Request | CEHE Request | TCUC Recommended | TCUC Adjustment |  | 2019-23 Avg | REC INCR/YR | Recommended Increase
Vegetation Management | 25 | 147.1 | 25 | -122.1 | -2.122% | 34.8 | 8.3333 | 23.95%
Transmission System Hardening | 1092.1 | 1468 | 501.675 | -966.325 | -16.79% | 125.54 | 41.685 | 33.2%
Amount Not Addressed by TCUC |  | 4138.9 | N/A | N/A
Total CEHE SRP Amount | 3440 | 5754 | 526.675 | -1088.425
-18.92%
2314
67.27%

## HIST RESIL SPEND WP
TCUC RFI 1-15: CEHE’s annual capital additions and O&M expenses for the following resilience measures for each year since 2017
Annual Capital ($ in millions) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | [5 empty] | 2021-24 TOTAL | 2021-24 AVG/YR |  | 2017-20 TOTAL | 2017-20 AVG/YR
a. Distribution circuit resiliency | [5 empty] | 40 | 40 | 17 | [5 empty] | 97 | 32.3333 |  | 0 | #DIV/0!
b. Strategic undergrounding |  |  |  |  | 0.6 | 8 | 11 | 14 | [5 empty] | 33.6 | 8.4 |  | 0 | #DIV/0!
c. Distribution pole replacement and bracing | 18 | 17 | 19 | 29 | 30 | 61 | 52 | 78 | [5 empty] | 221 | 55.25 |  | 83 | 20.75
d. Transmission system hardening | 0.7 | 4 | 10 | 12 | 159 | 274 | 166 | 65 | [5 empty] | 664 | 166 |  | 26.7 | 6.675
e. Vegetation management | 0 | [15 empty] | 0 | 0
f. 69kV conversion projects |  |  |  | 16 | 3 | 49 | 90 | 22 | [5 empty] | 164 | 41 |  | 16 | 16
g. S90 tower replacements |  |  | 0.9 | 3 | 20 | 24 | 10 | 10 | [5 empty] | 64 | 16 |  | 3.9 | 1.95
h. Distribution capacity enhancements/substations | 13 | 9 | 13 | 22 | 14 | 20 | 81 | 57 | [5 empty] | 172 | 43 |  | 57 | 14.25
i. Substation flood control |  | 0.9 | 5 | 18 | 13 | 20 | 20 | 4 | [5 empty] | 57 | 14.25 |  | 23.9 | 7.9667
TOTAL | 31.7 | 30.9 | 47.9 | 100 | 239.6 | 496 | 470 | 267 | [5 empty] | 1472.6 | 368.15 |  | 210.5 | 52.625
Annual O&M ($ in millions) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
a. Distribution circuit resiliency | [13 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
b. Strategic undergrounding | [13 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
c. Distribution pole replacement and bracing | [13 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
d. Transmission system hardening | 0.9 | 1.4 | 0.8 | 1.3 | 1.4 | 1.3 | 1.9 | 0.3 | [5 empty] | 4.9 | 1.225 |  | 4.4 | 1.1
e. Vegetation management* | 28.5 | 35.7 | 32.6 | 29.6 | 31.4 | 34.6 | 45.8 | 147.1 | [5 empty] | 258.9 | 64.725 |  | 126.4 | 31.6
f. 69kV conversion projects | [13 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
g. S90 tower replacements | [13 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
h. Distribution capacity enhancements/substations |  |  | 0.025 |  |  |  | 0.005 | 0.008 | [5 empty] | 0.013 | 0.0065 |  | 0.025 | 0.025
i. Substation flood control | [13 empty] | 0 | #DIV/0! |  | 0 | #DIV/0!
TOTAL | 29.4 | 37.1 | 33.425 | 30.9 | 32.8 | 35.9 | 47.705 | 147.408 | [5 empty] | 263.813 | 65.9532 |  | 130.825 | 32.7062
* This data can also be found in Project 41381 - ANNUAL VEGETATION MANAGEMENT PLANS AND REPORTS PURSUANT TO PUC SUBST. R. §25.96. | [11 empty] | -125.54
-100%
TOTAL O&M/CAPITAL | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2021-24 TOT | 2021-24 AVG | 2019-23 AVG | 26-28 PLAN TOT | 26-28 AVG | 2019-23 TOTAL | 2019-23 AVG/YR |  | 2017-20 TOTAL | 2017-20 AVG/YR
a. Distribution circuit resiliency | 0 | 0 | 0 | 0 | 0 | 40 | 40 | 17 |  |  | 16 | 513.4 | 171.1333 | 80 | 16 |  | 0 | 0
b. Strategic undergrounding | 0 | 0 | 0 | 0 | 0.6 | 8 | 11 | 14 |  |  | 3.92 | 860 | 286.6667 | 19.6 | 3.92 |  | 0 | 0
c. Distribution pole replacement and bracing | 18 | 17 | 19 | 29 | 30 | 61 | 52 | 78 |  |  | 38.2 | 251.6 | 83.8667 | 191 | 38.2 |  | 83 | 20.75
d. Transmission system hardening | 1.6 | 5.4 | 10.8 | 13.3 | 160.4 | 275.3 | 167.9 | 65.3 | 668.9 | 167.225 | 125.54 | 1468 | 489.3333 | 627.7 | 125.54 | 376.62 | 31.1 | 7.775
e. Vegetation management* | 28.5 | 35.7 | 32.6 | 29.6 | 31.4 | 34.6 | 45.8 | 147.1 |  | 64.725 | 34.8 | 146.1 | 48.7 | 174 | 34.8 | 71.43% | 126.4 | 31.6
f. 69kV conversion projects | 0 | 0 | 0 | 16 | 3 | 49 | 90 | 22 |  |  | 31.6 | 369.3 | 123.1 | 158 | 31.6 |  | 16 | 4
g. S90 tower replacements | 0 | 0 | 0.9 | 3 | 20 | 24 | 10 | 10 |  |  | 11.58 | 118.4 | 39.4667 | 57.9 | 11.58 |  | 3.9 | 0.975
h. Distribution capacity enhancements/substations | 13 | 9 | 13.025 | 22 | 14 | 20 | 81.005 | 57.008 |  |  | 30.006 | 579.6 | 193.2 | 150.03 | 30.006 |  | 57.025 | 14.2562
i. Substation flood control | 0 | 0.9 | 5 | 18 | 13 | 20 | 20 | 4 |  |  | 15.2 | 43.8 | 14.6 | 76 | 15.2 |  | 23.9 | 5.975
TOTAL | 61.1 | 68 | 81.325 | 130.9 | 272.4 | 531.9 | 517.705 | 414.408 |  |  | 306.846 |  |  | 1534.23 | 306.846 |  | 341.325 | 85.3312
[12 empty] | TIMES 2017-20 |  | 4.4949 | 3.5959

## DIST SAIDI W MAJ EVENTS WP
TCUC RFI 1-11: CEHE’s Annual Distribution System SAIDI, SAIFI and CMI Including Extreme Weather Events
SAIFI | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2017-24 AVG | % of Hours/Year
Major Event | 0.449 | 0.033 | 0.082 | 0.265 | 3.159 | 0.015 | 0.374 | 2.049 | 0.80325
Forced Interruptions | 1.038 | 1.163 | 1.263 | 1.144 | 1.207 | 1.414 | 1.376 | 1.476 | 1.2601
Scheduled Interruptions | 0.288 | 0.338 | 0.373 | 0.304 | 0.319 | 0.446 | 0.38 | 0.364 | 0.3515
Outside Causes | 0.086 | 0.142 | 0.107 | 0.113 | 0.094 | 0.111 | 0.099 | 0.079 | 0.10387
SAIDI | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Major Event | 312.17 | 4.85 | 26.73 | 63.24 | 2189.01 | 2.69 | 177.57 | 4143.98 | 865.03 | 0.1646%
Forced Interruptions | 102.73 | 116.46 | 152.68 | 122.03 | 135.94 | 164.65 | 140.16 | 138.53 | 134.1475 | 0.02552%
Scheduled Interruptions | 36.84 | 50.05 | 45.31 | 37.47 | 37.46 | 59.65 | 32.16 | 30.94 | 41.235 | 0.007845%
Outside Causes | 2.62 | 7.23 | 3.08 | 3.84 | 3.46 | 4.79 | 4.15 | 3.07 | 4.03 | 0.0007667%
CMI | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Major Event | 770486997 | 12203207.7 | 68528755.93 | 165088511.58 | 5838852535.93 | 7320959.26 | 490418220.19 | 11801265064.43 | 2394270531.5025
Forced Interruptions | 253559379 | 293154830.4 | 391495997 | 318564023.86 | 362598292.74 | 448185125 | 387107631.63 | 394495481.09 | 356145095.09
Scheduled Interruptions | 90925354 | 125994918.53 | 116185634.52 | 97810773.17 | 99909741.92 | 162373733.94 | 88828657.27 | 88121290.52 | 108768762.9838
Outside Causes | 6475986 | 18201066.07 | 7905990.37 | 10028762.18 | 9240979.86 | 13028029.18 | 11471972.17 | 8752586.7 | 10638171.5663
| 1121447716 | 449554022.7 | 584116377.82 | 591492070.79 | 6310601550.45 | 630907847.38 | 977826481.26 | 12292634422.74 | 2869822561.1425
TCUC RFI 1-12: Distribution System SAIDI, SAIFI, and CMI Excluding Extreme Weather Events
SAIFI | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Forced Interruptions | 1.038 | 1.163 | 1.263 | 1.144 | 1.207 | 1.414 | 1.376 | 1.4757 | 1.2601
Scheduled Interruptions | 0.288 | 0.338 | 0.373 | 0.304 | 0.319 | 0.446 | 0.38 | 0.3641 | 0.35151
Outside Causes | 0.086 | 0.142 | 0.107 | 0.113 | 0.094 | 0.111 | 0.099 | 0.07877 | 0.10385
SAIDI | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Forced Interruptions | 102.73 | 116.46 | 152.68 | 122.03 | 135.94 | 164.65 | 140.16 | 138.53 | 134.1475
Scheduled Interruptions | 36.84 | 50.05 | 45.31 | 37.47 | 37.46 | 59.65 | 32.16 | 30.94 | 41.235
Outside Causes | 2.62 | 7.23 | 3.08 | 3.84 | 3.46 | 4.79 | 4.15 | 3.07 | 4.03
CMI | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Forced Interruptions | 253559379 | 293154830.4 | 391495997 | 318564023.86 | 362598292.74 | 448185125 | 387107631.63 | 394495481.09 | 356145095.09
Scheduled Interruptions | 90925354 | 125994918.53 | 116185634.52 | 97810773.17 | 99909741.92 | 162373733.94 | 88828657.27 | 88121290.52 | 108768762.9838
Outside Causes | 6475986 | 18201066.07 | 7905990.37 | 10028762.18 | 9240979.86 | 13028029.18 | 11471972.17 | 8752586.7 | 10638171.5663

## Trans SAIDI & CMI WP
SOAH DOCKET NO. 473-25-11558
PUC Docket No. 57579
TCUC01-13 - CEHE Transmission SAIDI, SAIFI, and CMI Including Extreme Weather Events.xlsx
Page 1 of 1
SAIFI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2017-24 AVG
Outside Causes - Transmission (Major Event) | 0 | 0.012 | 0.003 | 0 | 0.012 | 0 | 0.029 | 0 | 0.007
Outside Causes - Transmission (Non-Major Event) | 0.002 | 0.011 | 0.003 | 0 | 0 | 0 | 0.002 | 0 | 0.00225
Outside Causes - Total | 0.002 | 0.023 | 0.006 | 0 | 0.012 | 0 | 0.031 | 0 | 0.00925
SAIDI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Outside Causes - Transmission (Major Event) | 0.27 | 0.84 | 0.16 | 0 | 4.4 | 0 | 37.06 | 0.5 | 5.4038
Outside Causes - Transmission (Non-Major Event) | 0.42 | 2.98 | 0.04 | 0 | 0.28 | 0 | 0.21 | 0 | 0.49125
Outside Causes - Total | 0.69 | 3.82 | 0.2 | 0 | 4.68 | 0 | 37.27 | 0.5 | 5.895
CMI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Outside Causes - Transmission (Major Event) | 672355 | 2103171.46 | 399367.26 | 0 | 11736660.69 | 0 | 102358533.57 | 1428381.47 | 14837308.6812
Outside Causes - Transmission (Non-Major Event) | 1035167 | 7494982.31 | 100574.66 | 588.26 | 742612.24 | 0 | 574690.69 | 0 | 1243576.895
Outside Causes - Total | 1707522 | 9598153.77 | 499941.92 | 588.26 | 12479272.93 | 0 | 102933224.26 | 1428381.47 | 16080885.5762
Note: CenterPoint Houston’s focus during an extreme weather event is on the rapid restoration of power to our customers. The Company does track the cause of a particular outage; However, crews focusing on the rapid restoration of power are not always precise in their cause selection. Therefore, the Company does not believe this source of information is reliable for answering the question posed. However, in the interest of transparency, CenterPoint is providing the data. See attachment TCUC01-13.xlsx for annual Transmission system SAIDI, SAIFI, and CMI including extreme weather events.

## 25 SRP CBA Results WP
ALL MEASURES
RESILIENCY MEASURE | Resiliency Measure (RM) | 3yr %/Total | 3-Yr Cost ($MM) | 3-Yr O&M Expense | BCA | 3-Yr CMI | 2026 CMI | 2027 CMI | 2028 CMI | CMI Total | CMI Ben, $35,000 | BCA
Extreme Wind
Distribution Circuit Resiliency | RM - 1 | 8.764% | 513.4 | 0 | 12.1288 | 262.9597 | 42.3756 | 87.1892 | 133.3949 | 262.9597 | 9.2036e+12 | 17926.7434
Strategic Undergrounding | RM - 2 | 14.68% | 860 | 0 | 2.8273 | 81.1443 | 7.0956 | 23.0288 | 51.0199
Restoration IGSD | RM - 3 | 1.848% | 107.8 | 0.49 | 19.2651 | 97.006 | 16.1247 | 32.3862 | 48.4952
Distribution Pole Replacements/Bracing | RM - 4 | 4.295% | 251.6 | 0 | 9.926 | 120.994 | 19.8594 | 40.3455 | 60.7891 |  | RESILIENCY MEASURE | % of Total Cost | Cost ($MM) | 3-YR O&M | BCA | 3-Yr CMI | 2025 CMI | 2026 CMI | 2027 CMI
Vegetation Management | RM - 5 | 4.988% | 146.1 | 146.1 | 3.6503 | 136.9617 | 62.3247 | 51.7405 | 22.8964 |  | System Hardening
Transmission System Hardening | RM - 6 | 25.07% | 1468 | 0.75 | 3.8662 | 223.7638 | 23.5789 | 77.7197 | 122.4652 | 74.5879 | Transmission System Hardening | 18.45% | 376 | 0.75 | 5.9575 | 205.9515 | 41.646 | 76.7331 | 87.5724
S90 Tower Replacements | RM - 7 | 2.021% | 118.4 | 0 | 9.3944 | 59.4744 | 14.6091 | 21.073 | 23.7923 |  | S90 Tower Replacements | 5.082% | 103.8 | 0 | 4.923 | 41.7196 | 11.4422 | 13.9268 | 16.3507
69kV-138kV Conversion Projects | RM - 8 | 6.304% | 369.3 | 0 | 2.6799 | 65.5264 | 12.4724 | 25.4132 | 27.6407 |  | 69kV-138kV Conversion Projects | 13.14% | 268.4 | 0 | 1.9124 | 46.8338 | 10.6436 | 16.1613 | 20.0289
Coastal Transmission Resliency | RM - 9 | 3.054% | 178.1 | 0.8 | 2.0231 | 8.2976 | 0.11213 | 0.33862 | 7.8468 |  | Coastal Transmission Resliency | 12.72% | 259 | 0.75 | 1.4363 | 21.9359 | 0 | 0 | 21.9359
Group Subtotal |  | 71.02% | 4012.7 | 148.14 | 5.4586 | 1056.1279 | 198.5527 | 359.2347 | 498.3405 |  | Substation Transformer Fire Protection Barriers | 0.1175% | 2.4 | 0 | 3.6926 | 0.49092 | 0.081 | 0.16362 | 0.2463
Extreme Water (Flood) |  | 0% |  | 0 | [6 empty] | Distribution Pole Replacements/Bracing | 4.862% | 99.3 | 0 | 6.2429 | 41.3288 | 6.7479 | 13.7679 | 20.813
Substation Flood Control | RM - 10 | 0.7477% | 43.8 |  | 2.1354 | 3.9274 | 0.648 | 1.309 | 1.9704 |  | Distribution Resiliency – Circuit Rebuilds | 15.31% | 312.8 | 0 | 7.0147 | 137.3519 | 22.2839 | 45.6764 | 69.3916
Control Center Facility Upgrades | RM - 11 | 0.1195% | 7 | 0 | 15.2371 | 2.4725 | 0 | 0 | 2.4725 |  | Strategic Undergrounding/Freeway Crossings | 1.53% | 31.24 | 0 | 3.7928 | 4.39 | 0.72433 | 1.4632 | 2.2026
MUCAMS | RM - 12 | 0.1844% | 10.8 | 0 | 1.3249 | 0.627 | 0.10155 | 0.20803 | 0.20803 |  | Group Subtotal | 71.21% | 1452.94 | 1.5 | 4.5272 | 500.0025 | 93.5689 | 167.8923 | 238.5413
Mobile Substations | RM - 13 | 0.5121% | 30 | 0 | 2.9954 | 3.9274 | 0.648 | 1.309 | 1.9704 |  | Grid Modernization
Group Subtotal |  | 1.564% | 91.6 | 0 | 3.3227 | 10.9543 | 1.3975 | 2.8259 | 6.6214 |  | Trip Savers | 2.885% | 58.9 | 0.03 | 61.2779 | 240.3425 | 38.4705 | 79.641 | 105.8108
Extreme Temperature (Freezing) |  | 0% | [8 empty] | IGSD Installation Program | 2.674% | 53.8 | 0.815 | 15.74 | 58.1372 | 11.0259 | 19.4047 | 27.7067
Anti-Galloping Technologies | RM - 14 | 0.2731% | 15 | 1 | 7.1285 | 5.3241 | 0.8925 | 1.7849 | 2.6467 |  | Medical Center Substation | 5.001% | 102 | 0.15 | 0.72199 | 4.8919 | 0 | 0 | 4.8919
Loadshed IGSD | RM - 15 | 0.08023% | 4.6 | 0.1 | [6 empty] | Group Subtotal | 10.56% | 214.7 | 0.995 | 21.0979 | 303.3717 | 49.4964 | 99.0456 | 138.4093
Microgrids | PP - 1 | 0.6487% | 36.5 | 1.5 | [6 empty] | Flood Control
Group Subtotal |  | 1.002% | 56.1 | 2.6 | 7.1285 | 5.3241 | 0.8925 | 1.7849 | 2.6467 |  | Substation Flood Control | 1.498% | 30.6 | 0 | 7.5259 | 14.1619 | 2.7216 | 4.72 | 6.7203
Extreme Temperature (Drought) |  | 0% | [8 empty] | Control Center Facility Upgrades | 0.3427% | 7 | 0 | 12.463 | 6.0965 | 1.2 | 2.424 | 2.4725
Distribution Capacity Enhancement | RM - 16 | 9.894% | 579.6 | 0 | 5.638 | 138.123 | 22.0407 | 45.4846 | 70.5977 |  | Group Subtotal | 1.841% | 37.6 | 0 | 8.445 | 20.2584 | 3.9216 | 7.144 | 9.1928
MUGS Reconductoring | RM - 17 | 4.182% | 245 | 0 | 1.4043 | 13.6206 | 1.6524 | 4.5396 | 7.4286 |  | Information Technology
URD Cable Modernization | RM - 18 | 2.192% | 128.4 | 0 | 2.2084 | 12.9622 | 2.1498 | 4.3434 | 6.4689 |  | Advanced Aerial Imagery Platform/Digital Twin | 0.4876% | 9.9 | 0.06 | 3.3828 | 0.79231 | 0.17185 | 0.2775 | 0.34296
Contamination Mitigation | RM - 19 | 2.663% | 150 | 6 | 2.4429 | 15.6933 | 2.5893 | 5.2304 | 7.8736 |  | Advanced Distribution Technology | 11.79% | 225.8 | 15 | 4.8124 | 61.1142 | 0 | 20.498 | 40.6162
Substation Transformer Fire Protection Barriers | RM - 20 | 0.1536% | 9 | 0 | 4.0426 | 1.4728 | 0.243 | 0.49086 | 0.73891 |  | Digital Substation | 1.195% | 25 | -0.6 | 1.881 | 1.3395 | 0.1512 | 0.41913 | 0.7692
Digital Substation | RM - 21 | 0.5428% | 31.8 | 0 | 1.75 | 1.2169 | 0.15968 | 0.3888 | 0.66843 |  | Group Subtotal | 13.47% | 260.7 | 14.46 | 4.477 | 63.2461 | 0.32305 | 21.1946 | 41.7284
Wildfire Advanced Analytics | RM - 22 | 0.03073% | 0.9 | 0.9 | [6 empty] | System Secuity
Wildfire Strategic Undergrounding | RM - 23 | 0.8535% | 50 | 0 | [6 empty] | Substation Physical Security Fencing | 0.7344% | 15 | 0 | 15.6093 | 14.6537 | 2.4504 | 4.9004 | 7.3029
Wildfire Vegetation Management | RM - 24 | 1.024% | 30 | 30 | [6 empty] | Substation Security Upgrades | 0.9591% | 19.5 | 0.09 | 20.5449 | 25.0952 | 4.1965 | 8.3921 | 12.5066
Wildfire IGSD | RM - 25 | 0.3414% | 19.7 | 0.3 | [6 empty] | Group Subtotal | 1.694% | 34.5 | 0.09 | 18.399 | 39.7489 | 6.6469 | 13.2924 | 19.8096
Group Subtotal |  | 21.88% | 1244.4 | 37.2 | 3.8065 | 183.0887 | 28.8349 | 60.4777 | 93.7761 |  | Vegetation Management
Physical Attack |  | 0% | [8 empty] | Targeted Critical Circuit Vegetation Management | 1.224% | 0 | 25 | 1.7655 | 13.8716 | 4.2173 | 5.4521 | 4.2021
Substation Physical Security Fencing | RM - 26 | 0.3073% | 18 | 0 | 21.7917 | 17.5845 | 2.9405 | 5.8804 | 8.7635 |  | Group Subtotal | 1.224% | 0 | 25 | 1.7655 | 13.8716 | 4.2173 | 5.4521 | 4.2021
Substation Security Upgrades | RM - 27 | 0.3344% | 19.5 | 0.09 | 28.6892 | 25.0952 | 4.1965 | 8.3921 | 12.5066 |  | Totals | 100% | 2000.44 | 42.045 | 6.6341 | 940.4991 | 158.1742 | 314.0212 | 451.8835
Group Subtotal |  | 0.6417% | 37.5 | 0.09 | 25.3784 | 42.6796 | 7.137 | 14.2725 | 21.2701
Situational Awareness |  | 0%
Advanced Aerial Imagery Platform/Digital Twin | RM - 33 | 0.3824% | 20.4 | 2 | 4.8439 | 10.7628 | 1.9476 | 3.7375 | 5.0777 |  |  | 2024 SRP | 2042.485
Weather Stations | RM - 34 | 0.01024% | 0.3 | 0.3 | [7 empty] | 2025 SRP | 5858.28
Wildfire Cameras | RM - 35 | 0.03073% | 0.9 | 0.9 | [7 empty] | 2025 Increase | 3815.795
Backhaul Microwave Communication | RM - 36 | 0.2159% | 12.65 | 0 | [7 empty] | 2025%Incr | 186.8%
Voice & Mobile Data Radio System Refresh | RM - 37 | 0.3568% | 20.9 | 0
Emergency Operations Center | RM - 38 | 1.058% | 56 | 6
Hardened Service Centers | RM - 39 | 1.837% | 107.6
Group Subtotal |  | 3.891% | 218.75 | 9.2 | 4.8439 | 10.7628 | 1.9476 | 3.7375 | 5.0777
Totals |  | 100% | 5661.05 | 197.23 | 5.023 | 1308.9374 | 238.7622 | 442.3332 | 627.7325
|  |  | 5858.28 |  |  | 436.3125
RESILIENCY MEASURE | Resiliency Measure (RM) | 3yr %/Total | 3-Yr Cost ($MM) | 3-Yr O&M Expense | BCA | 3-Yr CMI | 2026 CMI | 2027 CMI | 2028 CMI
Strategic Undergrounding | RM - 2 | 14.68% | 860 | 0 | 2.8273 | 81.1443 | 7.0956 | 23.0288 | 51.0199
Vegetation Management | RM - 5 | 4.988% | 146.1 | 146.1 | 3.6503 | 136.9617 | 62.3247 | 51.7405 | 22.8964
Transmission System Hardening | RM - 6 | 25.07% | 1468 | 0.75 | 3.8662 | 223.7638 | 23.5789 | 77.7197 | 122.4652
|  | 44.74% | 2474.1 | 146.85 |  | 441.8698 | 92.9992 | 152.489 | 196.3816
|  | RM Reviewed | 2620.95
|  | Total RM | 5858.28 | [5 empty] | 224.1902
|  | Rev,% of total | 44.74%

## 24 RSP CBA Results WP
RESILIENCY MEASURE | % of Total Cost | Cost ($MM) | 3-YR O&M | BCA | 3-Yr CMI | 2025 CMI | 2026 CMI | 2027 CMI
System Hardening
Transmission System Hardening | 18.45% | 376 | 0.75 | 5.9575 | 205.9515 | 41.646 | 76.7331 | 87.5724
S90 Tower Replacements | 5.082% | 103.8 | 0 | 4.923 | 41.7196 | 11.4422 | 13.9268 | 16.3507
69kV-138kV Conversion Projects | 13.14% | 268.4 | 0 | 1.9124 | 46.8338 | 10.6436 | 16.1613 | 20.0289
Coastal Transmission Resliency | 12.72% | 259 | 0.75 | 1.4363 | 21.9359 | 0 | 0 | 21.9359
Substation Transformer Fire Protection Barriers | 0.1175% | 2.4 | 0 | 3.6926 | 0.49092 | 0.081 | 0.16362 | 0.2463
Distribution Pole Replacements/Bracing | 4.862% | 99.3 | 0 | 6.2429 | 41.3288 | 6.7479 | 13.7679 | 20.813
Distribution Resiliency – Circuit Rebuilds | 15.31% | 312.8 | 0 | 7.0147 | 137.3519 | 22.2839 | 45.6764 | 69.3916
Strategic Undergrounding/Freeway Crossings | 1.53% | 31.24 | 0 | 3.7928 | 4.39 | 0.72433 | 1.4632 | 2.2026
Group Subtotal | 71.21% | 1452.94 | 1.5 | 4.5272 | 500.0025 | 93.5689 | 167.8923 | 238.5413
Grid Modernization
Trip Savers | 2.885% | 58.9 | 0.03 | 61.2779 | 240.3425 | 38.4705 | 79.641 | 105.8108
IGSD Installation Program | 2.674% | 53.8 | 0.815 | 15.74 | 58.1372 | 11.0259 | 19.4047 | 27.7067
Medical Center Substation | 5.001% | 102 | 0.15 | 0.72199 | 4.8919 | 0 | 0 | 4.8919
Group Subtotal | 10.56% | 214.7 | 0.995 | 21.0979 | 303.3717 | 49.4964 | 99.0456 | 138.4093
Flood Control
Substation Flood Control | 1.498% | 30.6 | 0 | 7.5259 | 14.1619 | 2.7216 | 4.72 | 6.7203
Control Center Facility Upgrades | 0.3427% | 7 | 0 | 12.463 | 6.0965 | 1.2 | 2.424 | 2.4725
Group Subtotal | 1.841% | 37.6 | 0 | 8.445 | 20.2584 | 3.9216 | 7.144 | 9.1928
Information Technology
Advanced Aerial Imagery Platform/Digital Twin | 0.4876% | 9.9 | 0.06 | 3.3828 | 0.79231 | 0.17185 | 0.2775 | 0.34296
Advanced Distribution Technology | 11.79% | 225.8 | 15 | 4.8124 | 61.1142 | 0 | 20.498 | 40.6162
Digital Substation | 1.195% | 25 | -0.6 | 1.881 | 1.3395 | 0.1512 | 0.41913 | 0.7692
Group Subtotal | 13.47% | 260.7 | 14.46 | 4.477 | 63.2461 | 0.32305 | 21.1946 | 41.7284
System Secuity
Substation Physical Security Fencing | 0.7344% | 15 | 0 | 15.6093 | 14.6537 | 2.4504 | 4.9004 | 7.3029
Substation Security Upgrades | 0.9591% | 19.5 | 0.09 | 20.5449 | 25.0952 | 4.1965 | 8.3921 | 12.5066
Group Subtotal | 1.694% | 34.5 | 0.09 | 18.399 | 39.7489 | 6.6469 | 13.2924 | 19.8096
Vegetation Management
Targeted Critical Circuit Vegetation Management | 1.224% | 0 | 25 | 1.7655 | 13.8716 | 4.2173 | 5.4521 | 4.2021
Group Subtotal | 1.224% | 0 | 25 | 1.7655 | 13.8716 | 4.2173 | 5.4521 | 4.2021
Totals | 100% | 2000.44 | 42.045 | 6.6341 | 940.4991 | 158.1742 | 314.0212 | 451.8835
Resiliency Program |  | Program Cost ($MM) | VOLL $5/kWH | VOLL $9/kWH | VOLL $25/kWH | VOLL $65/kWH
System Hardening
Transmission System Hardening |  | 376 | 1.1866 | 2.1408 | 5.9575 | 15.4995
S90 Tower Replacements |  | 103.8 | 0.98889 | 1.7757 | 4.923 | 12.7911
69kV-138kV Conversion Projects |  | 268.4 | 0.38253 | 0.68851 | 1.9124 | 4.9723
Coastal Islands Upgrades |  | 259.005 | 0.30264 | 0.52937 | 1.4363 | 3.7035
Substation Fire Protection Barriers |  | 2.4 | 0.97135 | 1.5156 | 3.6926 | 9.1351
Distribution Pole Replacements/Bracing |  | 99.3 | 1.4116 | 2.3778 | 6.2429 | 15.9055
Distribution Resiliency – Circuit Rebuilds |  | 312.8 | 1.9021 | 2.9246 | 7.0147 | 17.2399
Strategic Undergrounding/Freeway Crossings |  | 31.24 | 1.1313 | 1.6636 | 3.7928 | 9.1157
Group Subtotal |  | 1452.945 | 1.0342 | 1.7328 | 4.5272 | 11.5132
Grid Modernization
Trip Savers |  | 58.9 | 13.4695 | 23.0312 | 61.2779 | 156.8948
IGSD Installation Program |  | 53.8 | 3.1622 | 5.6778 | 15.74 | 40.8956
Medical Center Substation |  | 102 | 0.14239 | 0.25831 | 0.72199 | 1.8812
Group Subtotal |  | 214.7 | 4.5552 | 7.8638 | 21.0979 | 54.1834
Flood Control
Substation Flood Mitigation |  | 30.6 | 1.6926 | 2.8592 | 7.5259 | 19.1926
Control Center Facility Upgrades |  | 7 | 3.0392 | 4.9239 | 12.463 | 31.3108
Group Subtotal |  | 37.6 | 1.9433 | 3.2436 | 8.445 | 21.4486
Information Technology
Advanced Aerial Imagery Platform/Digital Twin |  | 9.9 | 0.61873 | 1.1715 | 3.3828 | 8.911
Advanced Distribution Technology |  | 225.8 | 0.081553 | 1.0277 | 4.8124 | 14.2741
Digital Substation |  | 25 | 0.59782 | 0.85446 | 1.881 | 4.4473
Group Subtotal |  | 260.7 | 0.15146 | 1.0166 | 4.477 | 13.1281
System Security
Substation Physical Security Fencing |  | 15 | 3.2445 | 5.7175 | 15.6093 | 40.3388
Substation Security Upgrades |  | 19.5 | 4.2562 | 7.514 | 20.5449 | 53.1221
Group Subtotal |  | 34.5 | 3.8164 | 6.7329 | 18.399 | 47.5642
Vegetation Management
Targeted Critical Circuit Vegetation Management |  | 0 | 0.4 | 0.7 | 1.8 | 4.5
Group Subtotal |  | 0 | 0.4 | 0.7 | 1.8 | 4.5
Totals |  | 2000.445 | 1.3621 | 2.4121 | 6.612 | 17.2
Measure |  | Cost ($MM) | O&M ($MM) | BCA Ratio
System Hardening
Transmission System Hardening |  | 376 | 0.75 | 5.9575
S90 Tower Replacements |  | 103.8 | 0 | 4.923
69kV-138kV Conversion Projects |  | 268.4 | 0 | 1.9124
Coastal Resliency Upgrades |  | 259 | 0.75 | 1.4363
Substation Transformer Fire Protection Barriers |  | 2.4 | 0 | 3.6926
Distribution Pole Replacements/Bracing |  | 99.3 | 0 | 6.2429
Distribution Resiliency – Circuit Rebuilds |  | 312.8 | 0 | 7.0147
Strategic Undergrounding/Freeway Crossings |  | 31.24 | 0 | 3.7928
Grid Modernization
Trip Savers |  | 58.9 | 0.03 | 61.2779
IGSD Installations |  | 53.8 | 0.815 | 15.74
Texas Medical Center Substation |  | 102 | 0.15 | 0.72199
Flood Control
Substation Flood Control |  | 30.6 | 0 | 7.5259
Control Center Facility Upgrades |  | 7 | 0 | 12.463
Information Technology
Advanced Aerial Imagery Platform/Digital Twin |  | 9.9 | 0.06 | 3.3828
Advanced Distribution Technology |  | 225.8 | 15 | 4.8124
Digital Substation |  | 25 | -0.6 | 1.881
System Secuity
Substation Physical Security Fencing |  | 15 | 0 | 15.6093
Substation Security Upgrades |  | 19.5 | 0.09 | 20.5449
Vegetation Management
Targeted Critical Circuit Vegetation Management |  | 0 | 25 | 1.7655
Totals |  | 2000.44 | 42.045 | 6.6341

## TRANS SAIDI WP
SOAH DOCKET NO. 473-25-11558
PUC Docket No. 57579
TCUC01-13 - CEHE Transmission SAIDI, SAIFI, and CMI Including Extreme Weather Events.xlsx
Page 1 of 1
SAIFI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2017-24 AVG
Outside Causes - Transmission (Major Event) | 0 | 0.012 | 0.003 | 0 | 0.012 | 0 | 0.029 | 0 | 0.007
Outside Causes - Transmission (Non-Major Event) | 0.002 | 0.011 | 0.003 | 0 | 0 | 0 | 0.002 | 0 | 0.00225
Outside Causes - Total | 0.002 | 0.023 | 0.006 | 0 | 0.012 | 0 | 0.031 | 0 | 0.00925
SAIDI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Outside Causes - Transmission (Major Event) | 0.27 | 0.84 | 0.16 | 0 | 4.4 | 0 | 37.06 | 0.5 | 5.4038
Outside Causes - Transmission (Non-Major Event) | 0.42 | 2.98 | 0.04 | 0 | 0.28 | 0 | 0.21 | 0 | 0.49125
Outside Causes - Total | 0.69 | 3.82 | 0.2 | 0 | 4.68 | 0 | 37.27 | 0.5 | 5.895
CMI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Outside Causes - Transmission (Major Event) | 672355 | 2103171.46 | 399367.26 | 0 | 11736660.69 | 0 | 102358533.57 | 1428381.47 | 14837308.6812
Outside Causes - Transmission (Non-Major Event) | 1035167 | 7494982.31 | 100574.66 | 588.26 | 742612.24 | 0 | 574690.69 | 0 | 1243576.895
Outside Causes - Total | 1707522 | 9598153.77 | 499941.92 | 588.26 | 12479272.93 | 0 | 102933224.26 | 1428381.47 | 16080885.5762
Note: CenterPoint Houston’s focus during an extreme weather event is on the rapid restoration of power to our customers. The Company does track the cause of a particular outage; However, crews focusing on the rapid restoration of power are not always precise in their cause selection. Therefore, the Company does not believe this source of information is reliable for answering the question posed. However, in the interest of transparency, CenterPoint is providing the data. See attachment TCUC01-13.xlsx for annual Transmission system SAIDI, SAIFI, and CMI including extreme weather events.

## DIST FO CAUSE WP
Source: CEHE Annual Service Quality Reports
Causes of CEHE Distribution Forced Outages, % of Total
|  |  |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2020-24 AVG
Weather (Including Lightning) | 15.5% | 16.03% | 16.6% | 13.8% | 15.5% | 16.5% | 14.45% | 14.06% | 14.86%
Vegetation | 13.29% | 13.99% | 13% | 13.3% | 13.9% | 12.37% | 13.12% | 15.88% | 13.71%
Animals and Birds | 8.09% | 7.796% | 8% | 7.8% | 6.8% | 7.995% | 7.505% | 7.26% | 7.472%
People (Including cars and farm equip) | 1.62% | 1.487% | 1.3% | 1.4% | 1.3% | 2.249% | 2.275% | 2.15% | 1.875%
Utility-owned Equipment | 23.09% | 22.76% | 24.9% | 26% | 25% | 35.55% | 46.43% | 45.62% | 35.72%
Other | 17.3% | 18.14% | 16.8% | 19.3% | 19.5% | 18.21% | 10.37% | 9.28% | 15.33%
Unknown | 21.09% | 19.81% | 19.4% | 18.3% | 18% | 7.112% | 5.854% | 5.75% | 11%
| 99.98% |  | 100%

## Ex ELS-2 SRP RM COSTS WP
| RM | Cost | BCA | 3yr CMI | 3yr HRS | Est VOLL | Est RestorBen | RestorCost/Hr
| Trans Hardening | 1468.1 | 3.9 | 223.8 | 3.73 | 1958.25 | 3767.34 | 1010.0107
| Veg Mgt | 146.1 | 3.7 | 137 | 2.2833 | 1198.75 | -658.18 | -288.254
| Total | 5321 | 5 | 1309 | 21.8167 | 11453.75 | 15151.25 | 694.4805
Avg CMI/Yr
436.3333

## Customers WP
CEHE 2026-2028 System Resiliency Plan
Docket 57579
RFI: TCUC 01-10
Year End Customer Count
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Residential | 2164073 | 2198225 | 2243188 | 2303315 | 2359168 | 2402329 | 2455309 | 2506284
COM_SVS | 145282 | 148123 | 151254 | 152854 | 154578 | 153597 | 155776 | 158557
COM_SVL_AMS | 130144 | 134120 | 134844 | 138589 | 142056 | 145458 | 147146 | 148076
COM_SVL_IDR | 2152 | 2226 | 2281 | 2326 | 2388 | 2455 | 2545 | 2658
COM_PVS_AMS | 395 | 413 | 407 | 420 | 418 | 414 | 402 | 400
COM_PVS_IDR | 229 | 234 | 246 | 250 | 260 | 273 | 294 | 309
COM_MLS | 13222 | 12698 | 12229 | 11837 | 11460 | 11035 | 10660 | 10204
COM_SLS | 4072 | 4237 | 4310 | 4432 | 4520 | 4635 | 4744 | 4813
Commercial | 295496 | 302051 | 305571 | 310708 | 315680 | 317867 | 321567 | 325017
IND_SVL_IDR | 1514 | 1516 | 1507 | 1505 | 1497 | 1488 | 1479 | 1467
IND_PVS_IDR | 347 | 352 | 352 | 350 | 350 | 351 | 351 | 350
Small Industrial | 1861 | 1868 | 1859 | 1855 | 1847 | 1839 | 1830 | 1817
Large Industrial | 196 | 204 | 207 | 218 | 223 | 233 | 233 | 242
Municipal | 826 | 863 | 916 | 898 | 897 | 912 | 910 | 918
TOTAL | 2462452 | 2503211 | 2551741 | 2616994 | 2677815 | 2723180 | 2779849 | 2834278