## 2015-2024 Reliability
PUC DOCKET NO. 56211
|  |  | Forced Interruptions |  | TCUC-RFI02-07
|  |  | SAIDI (FI) | CEHE Trend | Current SAIDI Goal Maximum
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2015 | 154.61 | 125.6204 | 125.72
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2016 | 119.81 | 127.6514 | 125.72
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2017 | 102.73 | 129.6824 | 125.72
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2018 | 116.46 | 131.7135 | 125.72
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2019 | 152.68 | 133.7445 | 125.72
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2020 | 122.03 | 135.7755 | 125.72
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2021 | 135.94 | 137.8065 | 125.72
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2022 | 164.65 | 139.8376 | 125.72
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2023 | 140.16 | 141.8686 | 125.72
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2024 | 138.53 | 143.8996 | 125.72
|  |  | SAIFI (FI) | CEHE Trend | Current SAIFI Goal Maximum
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2015 | 1.46 | 1.1908 | 1.24
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2016 | 1.22 | 1.2098 | 1.24
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2017 | 1.038 | 1.2287 | 1.24
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2018 | 1.163 | 1.2476 | 1.24
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2019 | 1.263 | 1.2666 | 1.24
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2020 | 1.144 | 1.2855 | 1.24
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2021 | 1.207 | 1.3045 | 1.24
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2022 | 1.414 | 1.3234 | 1.24
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2023 | 1.376 | 1.3424 | 1.24
PUC DOCKET NO. 57975 | REQUEST NO: HCC-RFI01-02 | 2024 | 1.4757 | 1.3613 | 1.24

## 2019-2023 Rel & Res Expenditure
PUC DOCKET NO. 56211
TCUC-RFI02-22
Projects associated with CEHE grid hardening, resiliency or improved distribution reliability.
|  | 2019 | 2020 | 2021 | 2022 | 2023
| IGSD | 7585927 | 1257748 | 4838115 | 13188364 | 12735374
| TripSaver |  |  |  | 8602565 | 6352631
| Grid Resiliency |  |  | 23086 | 47845755 | 43516063
| MUG |  |  |  |  | 6999392
| Hardening, Resiliency, Reliabilty projects | 7585927 | 1257748 | 4861201 | 69636684 | 69603460
| SAIDI/SAIFI Projects | 7585927 | 1257748 | 4838115 | 21790929 | 19088005

## All Measures
Risk Category | Resiliency Measure | Estimated Capital Costs (millions) | Estimated Incremental O&M Expense (millions)
Extreme Wind | Distribution Circuit Resiliency (RM-1) | 513.4 | -
| Strategic Undergrounding (RM-2) | 860 | -
| Restoration IGSD (RM-3) | 107.3 | 0.5
| Distribution Pole Replacement/Bracing Program (RM-4) | 251.6 | -
| Vegetation Management (RM-5) | - | 146.1
| Transmission System Hardening (RM-6) | 1467.3 | 0.8
| 69kV Conversion Projects (RM-7) | 369.3 | -
| S90 Tower Replacements (RM-8) | 118.4 | -
| Coastal Resiliency Projects (RM-9) | 177.4 | 0.8
Extreme Water | Substation Flood Control (RM-10) | 43.8 | -
| Control Center Flood Control (RM-11) | 7 | -
| Major Underground Control and Monitoring System (MUCAMS) (RM-12) | 10.8 | -
| Mobile Substation (RM-13) | 30 | -
Extreme Temperature (Freeze) | Anti-Galloping Technologies (RM-14) | 14 | 1
| Load Shed IGSD (RM-15) | 4.5 | 0.1
| Microgrid Pilot Project (PP-1) | 35 | 1.5
Extreme Temperature (Heat) | Distribution Capacity Enhancements/Substations (RM- 16) | 579.6 | -
| MUG Reconductor (RM-17) | 245 | -
| URD Cable Modernization (RM-18) | 128.4 | -
| Contamination Mitigation (RM-19) | 144 | 6
| Substation Fire Barriers (RM-20) | 9 | -
| Digital Substation (RM-21) | 31.8 | -
| Wildfire Advanced Analytics (RM-22) | - | 0.9
| Wildfire Strategic Undergrounding (RM-23) | 50 | -
| Wildfire Vegetation Management (RM-24) | - | 30
| Wildfire IGSD (RM-25) | 19.4 | 0.3
Physical Attack | Substation Physical Security Fencing (RM-26) | 18 | -
| Substation Security Upgrades (RM-27) | 19.4 | 0.1
Technology & Cybersecurity | Spectrum Acquisition (RM-28) | 42 | -
| Data Center Modernization (RM-29) | 12.7 | 1.3
| Network Security & Vulnerability Management (RM-30) | 7.5 | 2
| IT/OT Cybersecurity Monitoring (RM-31) | 13.4 | 4.2
| Cloud Security, Product Security & Risk Management (RM-32) | 4 | 6
Situational Awareness | Advanced Aerial Imagery Platform / Digital Twin (RM-33) | 18.4 | 2
| Weather Stations (RM-34) | - | 0.3
| Wildfire Cameras (RM-35) | - | 0.9
| Voice and Mobile Data Radio System (RM-36) | 20.9 | -
| Backhaul Microwave Communication (RM-37) | 12.7 | -
| Emergency Operations Center (RM-38) | 50 | 6
| Hardened Service Centers (RM-39) | 107.6 | -
| Total | 5543.3 | 210.7

## Normal Operations Measures
Normal Operations Measures
Distribution Circuit Resiliency (RM-1)
Restoration IGSD (RM-3)
Vegetation Management (RM-5)
69kV Conversion Projects (RM-7)
Coastal Resiliency Projects (RM-9)
Major Underground Control and Monitoring System (MUCAMS) (RM-12)
Distribution Capacity Enhancements/Substations (RM- 16)
MUG Reconductor (RM-17)
URD Cable Modernization (RM-18)
Contamination Mitigation (RM-19)
Digital Substation (RM-21)
Spectrum Acquisition (RM-28)
Advanced Aerial Imagery Platform / Digital Twin (RM-33)
Voice and Mobile Data Radio System (RM-36)
Backhaul Microwave Communication (RM-37)