## Sheet1
SOAH DOCKET NO. 473-25-11558
PUC Docket No. 57579
TCUC01-13 - CEHE Transmission SAIDI, SAIFI, and CMI Including Extreme Weather Events.xlsx
Page 1 of 1
SAIFI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Outside Causes - Transmission (Major Event) | 0 | 0.012 | 0.003 | 0 | 0.012 | 0 | 0.029 | 0
Outside Causes - Transmission (Non-Major Event) | 0.002 | 0.011 | 0.003 | 0 | 0 | 0 | 0.002 | 0
Outside Causes - Total | 0.002 | 0.023 | 0.006 | 0 | 0.012 | 0 | 0.031 | 0
SAIDI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Outside Causes - Transmission (Major Event) | 0.27 | 0.84 | 0.16 | 0 | 4.4 | 0 | 37.06 | 0.5
Outside Causes - Transmission (Non-Major Event) | 0.42 | 2.98 | 0.04 | 0 | 0.28 | 0 | 0.21 | 0
Outside Causes - Total | 0.69 | 3.82 | 0.2 | 0 | 4.68 | 0 | 37.27 | 0.5
CMI
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Outside Causes - Transmission (Major Event) | 672355 | 2103171.46 | 399367.26 | 0 | 11736660.69 | 0 | 102358533.57 | 1428381.47
Outside Causes - Transmission (Non-Major Event) | 1035167 | 7494982.31 | 100574.66 | 588.26 | 742612.24 | 0 | 574690.69 | 0
Outside Causes - Total | 1707522 | 9598153.77 | 499941.92 | 588.26 | 12479272.93 | 0 | 102933224.26 | 1428381.47
Note: CenterPoint Houston’s focus during an extreme weather event is on the rapid restoration of power to our customers. The Company does track the cause of a particular outage; However, crews focusing on the rapid restoration of power are not always precise in their cause selection. Therefore, the Company does not believe this source of information is reliable for answering the question posed. However, in the interest of transparency, CenterPoint is providing the data. See attachment TCUC01-13.xlsx for annual Transmission system SAIDI, SAIFI, and CMI including extreme weather events.