## Sheet1
TCUC RFI 1-15: CEHE’s annual capital additions and O&M expenses for the following resilience measures for each year since 2017
Annual Capital ($ in millions) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
a. Distribution circuit resiliency | [5 empty] | 40 | 40 | 17
b. Strategic undergrounding |  |  |  |  | 0.6 | 8 | 11 | 14
c. Distribution pole replacement and bracing | 18 | 17 | 19 | 29 | 30 | 61 | 52 | 78
d. Transmission system hardening | 0.7 | 4 | 10 | 12 | 159 | 274 | 166 | 65
e. Vegetation management | none
f. 69kV conversion projects |  |  |  | 16 | 3 | 49 | 90 | 22
g. S90 tower replacements |  |  | 0.9 | 3 | 20 | 24 | 10 | 10
h. Distribution capacity enhancements/substations | 13 | 9 | 13 | 22 | 14 | 20 | 81 | 57
i. Substation flood control |  | 0.9 | 5 | 18 | 13 | 20 | 20 | 4
Annual O&M ($ in millions) | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
a. Distribution circuit resiliency | none
b. Strategic undergrounding | none
c. Distribution pole replacement and bracing | none
d. Transmission system hardening | 0.9 | 1.4 | 0.8 | 1.3 | 1.4 | 1.3 | 1.9 | 0.3
e. Vegetation management* | 28.5 | 35.7 | 32.6 | 29.6 | 31.4 | 34.6 | 45.8 | 147.1
f. 69kV conversion projects | none
g. S90 tower replacements | none
h. Distribution capacity enhancements/substations |  |  | 0.025 |  |  |  | 0.005 | 0.008
i. Substation flood control | none
* This data can also be found in Project 41381 - ANNUAL VEGETATION MANAGEMENT PLANS AND REPORTS PURSUANT TO PUC SUBST. R. §25.96.