## Data
HCC RFP 1-4 - Derecho outage causes recorded
CAUSE | TOTAL
STRONG WIND | 2593
LIGHTNING | 645
FLLNG TREE IN EASE | 634
FLLNG TREE OUT EAS | 575
TREE CLEARANCE | 509
FALLING DEAD TREE | 414
UNKNOWN | 320
TRANSFORMER | 307
SEC COND OR DROPS | 198
TORNADO | 193
OTHER | 177
CREW-INS/RPR/CHANG | 110
BU DISC OR BARREL | 106
CREW-RESTR SVC OTH | 102
VINES | 98
OTHER EQUIPMENT | 86
PRIMARY CONDUCTOR | 86
OH SEC/DR CL HOT L | 83
OH SEC/DR CL NEUTR | 52
OVERLOAD | 40
CREW-SYS EMERGENCY | 40
SQUIRREL | 35
LIGHTNING ARRESTER | 31
ROTTEN POLE | 28
HUMAN ERROR | 28
METER EQUIPMENT | 25
URD XFMR SEC BUS | 20
URD DROPS (CUST) | 16
CUST EQP RELATED | 14
O/H PRIMARY CLAMP | 13
FOREIGN MATERIAL | 12
PRIMARY CABLE FAIL | 9
RELAY | 9
URD ELBOW | 8
URD SEC PDSTL TRML | 8
CREW-CUST REQUEST | 6
ANTS | 5
RECLOSER | 5
COLLISION | 5
3 PHASE UG CABLE | 5
SNAKE | 5
TERMINATOR | 4
HURRICANE | 4
POLE TOP SWITCH | 4
VANDALISM | 4
SECTIONALIZER | 3
INSULATOR | 3
RISING WATER | 3
ICE | 3
SLACK SPANS | 3
URD BUSHING | 3
CROSSARM | 3
REGULATOR | 2
URD DROPS (HL&P) | 2
SPLICE | 2
URD TR CTSTRPHC FL | 1
CONTRACTOR-NON HLP | 1
SUBSTATION | 1
OTHER WILDLIFE | 1
CONTRACTOR (HL&P) | 1
OTHER CIRCUIT | 1
FIRE | 0