## Sheet1
TIEC RFI 1-4 - Figures APP-4 and APP-5, provide the same tables, but inclusive of 2024 cost
2020 - 2024 Resiliency-Related Projects (in millions)
Description | 2020 | 2021 | 2022 | 2023 | 2024* | Total
IGSD Installation | 1 | 5 | 12 | 13 | 17 | 48
Transmission System Hardening | 12 | 159 | 274 | 166 | 65 | 676
Substation Flood Control | 18 | 13 | 20 | 20 | 4 | 75
Distribution Pole Replacement/Bracing | 29 | 30 | 61 | 52 | 78 | 250
Substation Physical Security | 5 | 20 | 24 | 10 | 15.5 | 74.5
S90 Tower Replacements | 3 | 20 | 55 | 14 | 10 | 102
69 kV Conversions | 16 | 3 | 49 | 90 | 22 | 180
Distribution Circuit Resiliency | 0 | 0 | 40 | 40 | 17 | 97
Distribution Resiliency - TripSaver | 0 | 0 | 7 | 5 | 2 | 14
Total 2020 - 2024 | 84 | 250 | 542 | 410 | 230.5 | 1516.5
*Note: The spend associated with major storms (Derecho, Beryl, etc) were deferred to a regulatory
asset, and thus are excluded.
2020 - 2024 Vegetation Management Projects (in millions)
Description | 2020 | 2021 | 2022 | 2023 | 2024 | Total
Scheduled VM (Proactive Tree Trimming) | 25.2 | 26.5 | 28.2 | 35.6 | 132.7 | 248.2
Unscheduled VM (Reactive Tree Trimming) | 3.6 | 3.5 | 3.7 | 5.5 | 9.7 | 26
Tree Risk Management (Proactive Hazard Tree Removal) | 0.06 | 0.164 | 0.911 | 3.7 | 2.8 | 7.635
Emergency and Post-Storm Activities | 0.719 | 1.2 | 1.8 | 1 | 2 | 6.719
Total 2020 - 2024 | 29.579 | 31.364 | 34.611 | 45.8 | 147.2 | 288.554