## Sheet1
MOBILE SUBSTATION / TRANSFORMER
MANUFACTURER | EQUIPMENT TYPE | VOLTAGE (kV) | MVA | NOTES | Cost Functionalization
TBD - Mobile Substation | JEEP / TRANSFORMER / DOLLY | 141 x 70.5 / 37.5 x 12.5 | 50MVA | Mobile Sub | 100% Distribution
| SWITCH TRAILER | 141
| BREAKER TRAILER | 37.5 x 12.5
| BREAKER TRAILER | 37.5 x 12.5
TBD - Mobile Substation | JEEP / TRANSFORMER / DOLLY | 141 x 70.5 / 37.5 x 12.5 | 50MVA | Mobile Sub | 100% Distribution
| SWITCH TRAILER | 141
| BREAKER TRAILER | 37.5 x 12.5
| BREAKER TRAILER | 37.5 x 12.5
TBD - Mobile Substation | JEEP / TRANSFORMER / DOLLY | 141 x 70.5 / 37.5 x 12.5 | 50MVA | Mobile Sub | 100% Distribution
| SWITCH TRAILER | 141
| BREAKER TRAILER | 37.5 x 12.5
| BREAKER TRAILER | 37.5 x 12.5
TBD - Mobile Substation | JEEP / TRANSFORMER / DOLLY | 141 x 70.5 / 37.5 x 12.5 | 50MVA | Mobile Sub | 100% Distribution
| SWITCH TRAILER | 141
| BREAKER TRAILER | 37.5 x 12.5
| BREAKER TRAILER | 37.5 x 12.5
TBD - Mobile Substation | JEEP / TRANSFORMER / DOLLY | 141 x 70.5 / 37.5 x 12.5 | 50MVA | Mobile Sub | 100% Distribution
| SWITCH TRAILER | 141
| BREAKER TRAILER | 37.5 x 12.5
| BREAKER TRAILER | 37.5 x 12.5
TBD - Mobile Substation | JEEP / TRANSFORMER / DOLLY | 141 x 70.5 / 37.5 x 12.5 | 50MVA | Mobile Sub | 100% Distribution
| SWITCH TRAILER | 141
| BREAKER TRAILER | 37.5 x 12.5
| BREAKER TRAILER | 37.5 x 12.5