## 2021 P3 Data (hidden)
Row Labels | Sum of Quantity | Sum of Claimed kW | Sum of Claimed kWh | EUL - Weighted
2021 Xcel Commercial Standard Offer Program | 78 | 910.08 | 4136779 | 14.9652
2021 Xcel Hard-to-Reach Standard Offer Program | 1510 | 1198.032 | 3779105.14 | 13.7466
2021 Xcel Low Income Weatherization Program | 301 | 278.937 | 788674.07 | 14.9716
2021 Xcel Refrigerator Recycling Program | 126 | 11.605 | 91414.03 | 7.8026
2021 Xcel Residential Standard Offer Program | 644 | 258.482 | 765716.7 | 22.0543
2021 Xcel Residential Standard Offer Program - Special | 81 | 64.97 | 89247 | 17.7374
2021 Xcel Small Commercial Program | 65 | 230.54 | 1116624 | 14.5707
2021 Xcel Smart Thermostat Program | 441 | 0 | 616077 | 11
Grand Total | 3246 | 2952.646 | 11383636.94 | 14.7489
P3 Program Total | 3246 | 2952.646 | 11383636.94 | 14.7489 | https://sharepoint.xcelenergy.com/sites/spop05/TXDSMRegulatory/TX%20DSM/EEPR%20and%20EECRF/2022/EEPR/Tables%20and%20Data/Evaluation%20Data/YE%20Data%20Request/Xcel%20Texas%20-%20PY2021%20EM%26V_Revised020322%20(1).xlsx?d=w868a04aa037d489880e13b3818c29978
Retro-Commissioning MTP | 29 | 921.61 | 5198711 | 15.034
Load Management SOP | 9 | 3772.13 | 15088.52 | 1
Home Lighting MTP (Res) | 236591.96 | 1857.7458 | 6281114.1954 | 11.1145 | https://sharepoint.xcelenergy.com/sites/spop05/TXDSMRegulatory/TX%20DSM/EEPR%20and%20EECRF/2023/EEPR/Tables%20and%20Data/Data%20Request/EOY%20Data%20Request/Home%20Lighting%20Full%20Program%20Year%20Data%202022.xlsx?d=w263f33d44861471f9d23b412328f2f30
Home Lighting MTP (Bus) | 12399.04 | 369.5029 | 1883643.517 | 9.0468
2021 Portfolio Total | 252275 | 9873.6347 | 24762194.1724 | NA | Why didn't the 2020 Portfolio Total include the Bus Home Lighting achievement?
| 236591.96 | 1857.7458 | 6281114.1954 | 11.1145
| 12399.04 | 369.5029 | 1883643.517 | 9.0468

## Historic Pgm Data
|  | Achievement Forecast -2022 |  | Reported Achievement - 2022 |  | Achievement Verified - 2022 |  | Budget Forecast - 2022 |  |  |  |  | Spend - 2022 |  |  |  |  | Achievement Forecast -2023 |  | Reported Achievement - 2023 |  | Achievement Verified - 2023 |  | Budget Forecast - 2023 |  |  |  |  | Spend - 2023 |  |  |  |  | Achievement Forecast -2024 |  | Reported Achievement - 2024 |  | Achievement Verified - 2024 |  | Budget Forecast - 2024 |  |  |  |  | Spend - 2024
|  | kW | kWh | kW | kWh | kW | kWh | Incentive | Admin | R&D | EM&V | Total | Incentive | Admin | R&D | EM&V | Total | kW | kWh | kW | kWh | kW | kWh | Incentive | Admin | R&D | EM&V | Total | Incentive | Admin | R&D | EM&V | Total | kW | kWh | kW | kWh | kW | kWh | Incentive | Admin | R&D | EM&V | Total | Incentive | Admin | R&D | EM&V | Total | Verify
Commercial | Commercial | 7972 | 10884490.77 | 4839.6729 | 7783250.977 | 4567.6479 | 6298053.867 | 1858344.8 | 85175.2 | 0 | 0 | 1943520 | 1332291.87 | 60901.37 | 0 | 0 | 1393193.24 | 7730 | 10884000 | 5346.8985 | 9887189.0782 | 5233.0685 | 9237643.0782 | 1858345 | 87730.25 | 0 | 0 | 1946075.25 | 1948238.04 | 44082.63 | 0 | 0 | 1992320.67 | 7280 | 9328000 | 4304.998 | 6961243.63 | 4279.758 | 6853526.63 | 1855064 | 90362.1575 | 0 | 0 | 1945426.1575 | 1531923.1495 | 39425.7315 | 0 | 0 | 1571348.881 | 1
Commercial SOP | Commercial SOP | 1015 | 3825600 | 551.96 | 2953229 | 308.73 | 1447635 | 390200 | 44730 | 0 | 0 | 434930 | 258053.45 | 33565.66 | 0 | 0 | 291619.11 | 1020 | 3826000 | 770.65 | 4267344 | 683.65 | 3746110 | 390200 | 46071.9 | 0 | 0 | 436271.9 | 381007.98 | 32428.93 | 0 | 0 | 413436.91 | 1020 | 3826000 | 970.421 | 4531847.93 | 945.131 | 4423387.93 | 390200 | 47454.057 | 0 | 0 | 437654.057 | 463906.07 | 30231.44 |  |  | 494137.51 | 1
Retro-Commissioning MTP | Retro-Commissioning MTP | 900 | 3969230.77 | 512 | 2391123 | 483.14 | 2411457.55 | 800000 | 0 | 0 | 0 | 800000 | 670150.33 |  | 0 | 0 | 670150.33 | 900 | 3969000 | 695.64 | 2721767 | 678.46 | 2635099 | 800000 | - | 0 | 0 | 800000 | 948785.81 | 0 | 0 | 0 | 948785.81 | 900 | 3969000 | 268.62 | 1246832.06 | 268.67 | 1247575.06 | 800000 | 0 | 0 | 0 | 800000 | 659790.94 | 0 |  |  | 659790.94 | 1
Load Management SOP | Load Management SOP | 5250 | 21000 | 3282.46 | 3282.46 | 3282.46 | 3282.46 | 250500 | 34250 | 0 | 0 | 284750 | 204123 | 25984.71 | 0 | 0 | 230107.71 | 5000 | 20000 | 3275 | 3275 | 3275 | 3275 | 250500 | 35277.5 | 0 | 0 | 285777.5 | 156411.88 | 11653.7 | 0 | 0 | 168065.58 | 5000 | 20000 | 2816.2 | 2816.2 | 2816.2 | 2816.2 | 250500 | 36335.825 | 0 | 0 | 286835.825 | 126743.75 | 8792.99 |  |  | 135536.74 | 1
Small Commercial MTP | Small Commercial MTP | 220 | 1000000 | 123.75 | 551973 | 123.815 | 552035.34 | 400000 | 5460 | 0 | 0 | 405460 | 182151.09 |  | 0 | 0 | 182151.09 | 220 | 1000000 | 286.96 | 1256614 | 277.31 | 1214970 | 400000 | 5623.8 | 0 | 0 | 405623.8 | 414682.62 | 0 | 0 | 0 | 414682.62 | 220 | 1000000 | 177.26 | 806061.44 | 177.26 | 806061.44 | 400000 | 5792.514 | 0 | 0 | 405792.514 | 266006.88 | 0 |  |  | 266006.88 | 1
Home Lighting MTP | Home Lighting MTP | 587 | 2068660 | 369.5029 | 1883643.517 | 369.5029 | 1883643.517 | 17644.8 | 735.2 |  | 0 | 18380 | 17814 | 1351 | 0 | 0 | 19165 | 590 | 2069000 | 318.6485 | 1638189.0782 | 318.6485 | 1638189.0782 | 17645 | 757.05 | 0 | 0 | 18402.05 | 47349.75 |  | 0 | 0 | 47349.75 | 140 | 513000 | 72.497 | 373686 | 72.497 | 373686 | 14364 | 779.7615 | 0 | 0 | 15143.7615 | 15475.5095 | 401.3015 | 0 | 0 | 15876.811 | 1
Residential | Residential | 2723.66 | 9969536 | 2304.8638 | 7783709.1854 | 2305.1105 | 7783824.3854 | 1012691.2 | 53890.24 | 0 | 0 | 1066581.44 | 787794.8 | 71590.87 | 0 | 0 | 859385.67 | 2690 | 9255000 | 1941.9141 | 6530635.8008 | 1941.9141 | 6530635.8008 | 1012651 | 63746.7 | 0 | 0 | 1076397.7 | 1343235.7 | 72602.64 | 0 | 0 | 1415838.34 | 1120 | 4079000 | 809.14 | 2383833.37 | 809.06 | 2383676.69 | 1020311 | 70659.101 | 0 | 0 | 1090970.101 | 785505.8005 | 63507.4385 | 0 | 0 | 849013.239 | 1
Residential SOP | Residential SOP | 708.66 | 1811020 | 436.122 | 1175714.54 | 436.3687 | 1175829.74 | 472440 | 27531.44 | 0 | 0 | 499971.44 | 415368.26 | 33565.66 | 0 | 0 | 448933.92 | 400 | 900000 | 304.943 | 863995.73 | 304.943 | 863995.73 | 272400 | 26296.93 | 0 | 0 | 298696.93 | 287974.89 | 36343.59 | 0 | 0 | 324318.48 | 360 | 810000 | 302.667 | 903892.09 | 302.667 | 903892.09 | 272400 | 27085.8379 | 0 | 0 | 299485.8379 | 327686.02 | 39182.62 |  |  | 366868.64 | 1
Home Lighting MTP | Home Lighting MTP | 1965 | 6925516 | 1857.7458 | 6281114.1954 | 1857.7458 | 6281114.1954 | 335251.2 | 13968.8 | 0 | 0 | 349220 | 338459 | 25677 | 0 | 0 | 364136 | 2000 | 7000000 | 1630.0691 | 5520111.4608 | 1630.0691 | 5520111.4608 | 335251 | 14388.07 | 0 | 0 | 349639.07 | 899645.25 | 25219.34 | 0 | 0 | 924864.59 | 470 | 1718000 | 297.277 | 1008930 | 297.277 | 1008930 | 272911 | 14819.7121 | 0 | 0 | 287730.7121 | 294332.5405 | 7624.7285 | 0 | 0 | 301957.269 | 1
Smart Thermostat MTP | Smart Thermostat MTP | 0 | 838200 | 0 | 240284 | 0 | 240284 | 30000 | 3675 | 0 | 0 | 33675 | 9500 | 1912.03 | 0 | 0 | 11412.03 | 0 | 600000 | 0 | 92202 | 0 | 92202 | 30000 | 3785.25 | 0 | 0 | 33785.25 | 2850 | 1466.94 | 0 | 0 | 4316.94 | 0 | 600000 | 0 | 40513 | 0 | 40513 | 30000 | 3898.8075 | 0 | 0 | 33898.8075 | 2350 | 10539.44 | N/A |  | 12889.44 | 1
Refrigerator Recycling MTP | Refrigerator Recycling MTP | 50 | 394800 | 10.996 | 86596.45 | 10.996 | 86596.45 | 175000 | 8715 | 0 | 0 | 183715 | 24467.54 | 10436.18 | 0 | 0 | 34903.72 | 50 | 395000 | 6.902 | 54326.61 | 6.902 | 54326.61 | 175000 | 8976.45 | 0 | 0 | 183976.45 | 36554.68 | 9572.77 | 0 | 0 | 46127.45 | 50 | 395000 | 3.08 | 24233.17 | 3.08 | 24233.17 | 175000 | 9245.7435 | 0 | 0 | 184245.7435 | 47401.78 | 5955.47 |  |  | 53357.25 | 1
Residential HVAC MTP | Residential HVAC MTP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  | 240 | 360000 | N/A | N/A | 0 | 0 | 200000 | 10300 | 0 | 0 | 210300 | 116210.88 |  | 0 | 0 | 116210.88 | 240 | 360000 | 206.116 | 406265.11 | 206.036 | 406108.43 | 200000 | 10609 | 0 | 0 | 210609 | 58696.28 | 205.18 |  |  | 58901.46 | 1
Residential Codes MTP | Residential Codes MTP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  |  | 0 | 0 | 0 | 0 | 196000 | 0 | 361303 | 0 | 361303 | 70000 | 5000 | 0 | 0 | 75000 | 55039.18 | 0 |  |  | 55039.18 | 1
Hard-to-Reach | Hard-to-Reach | 750 | 2074850 | 1558.564 | 4800646.85 | 1559.12 | 4800646.85 | 835274.8 | 18902.79 | 0 | 0 | 854177.59 | 1205406 | 9930.96 | 0 | 0 | 1215336.96 | 1650 | 5875000 | 1383.092 | 4304701.77 | 1383.092 | 4304701.77 | 1050275 | 27710.09 |  | 0 | 1077985.09 | 1107809.43 | 36945.27 | 0 | 0 | 1144754.7 | 1039 | 3271000 | 1384.214 | 4394258.9 | 1384.204 | 4394232.84 | 1050275 | 28541.3927 |  | 0 | 1078816.3927 | 1487165.81 | 136.84 | 0 | 0 | 1487302.65 | 1
Hard-to-Reach SOP | Hard-to-Reach SOP | 500 | 1309850 | 1210.508 | 3757797.06 | 1211.064 | 3757797.06 | 385274.8 | 18902.79 | 0 | 0 | 404177.59 | 758301.12 | 9930.96 | 0 | 0 | 768232.08 | 500 | 1310000 | 355.169 | 944058.46 | 355.169 | 944058.46 | 385275 | 19470.09 | 0 | 0 | 404745.09 | 396264.93 | 36345.27 | 0 | 0 | 432610.2 | 450 | 1180000 | 349.611 | 895252.16 | 349.611 | 895252.16 | 385275 | 20054.1927 | 0 | 0 | 405329.1927 | 520454.93 | 2.93 | 0 | 0 | 520457.86 | 1
Hard-to-Reach Food Bank SOP | Hard-to-Reach Food Bank SOP | [13 empty] | 0 | 0 | 0 | 900 | 3800000 | 678.011 | 2487825.95 | 678.011 | 2487825.95 | 200000 | 8240 | 0 | 0 | 208240 | 194935.68 |  | 0 | 0 | 194935.68 | 339 | 1326000 | 759.417 | 2844874.52 | 759.417 | 2844874.52 | 200000 | 8487.2 | 0 | 0 | 208487.2 | 512911.43 | 0 | 0 | 0 | 512911.43
Low-Income Weatherization | Low-Income Weatherization | 250 | 765000 | 348.056 | 1042849.79 | 348.056 | 1042849.79 | 450000 | 0 | 0 | 0 | 450000 | 447104.88 | 0 | 0 | 0 | 447104.88 | 250 | 765000 | 349.912 | 872817.36 | 349.912 | 872817.36 | 465000 | 0 | 0 | 0 | 465000 | 516608.82 | 600 | 0 | 0 | 517208.82 | 250 | 765000 | 275.186 | 654132.22 | 275.176 | 654106.16 | 465000 | 0 | 0 | 0 | 465000 | 453799.45 | 133.91 | 0 | 0 | 453933.36 | 1
School Kits MTP | [30 empty] | 0 | 0 | 0
Research & Development | Research & Development* | [6 empty] | 0 | 0 | 160000 | 0 | 160000 | 0 | Admin: 0; R&D: 97958.82; EM&V: 0; Total: 97958.82 | 0 | 0 | 160000 | 0 | 160000 |  |  | 105073.83 | 0 | 105073.83 | [6 empty] | 0 | 0 | 160000 | 0 | 160000 | 0 | 0 | 93784.64 | 0 | 93784.64 | 1
General Administration | General Administration | [6 empty] | 0 | 205100 | 0 | 0 | 205100 | 0 | Admin: 148200; R&D: 0; EM&V: 0; Total: 148200 | 0 | 211253 | 0 | 0 | 211253 |  | 104905.71 | 0 | 0 | 104905.71 | [6 empty] | 0 | 217591 | 0 | 0 | 217591 | 0 | 227460.68 | 0 | 0 | 227460.68 | 1
Evaluation, Measurement & Verification | Evaluation, Measurement & Verification | [6 empty] | 0 | 0 | 0 | 34163 | 34163 | 0 | Admin: 0; R&D: 0; EM&V: 34162.87; Total: 34162.87 | 0 | 0 | 0 | 52248 | 52248 |  |  | 0 | 52248.46 | 52248.46 | [6 empty] | 0 | 0 | 0 | 52415 | 52415 | 0 | 0 | 0 | 52401.73 | 52401.73 | 1
Rider Expenses | Rider Expenses | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | Admin: 17061.64; R&D: 0; Total: 17061.64 | 0 | 0 | 0 | 0 | 0 |  | 19690.67 | 0 | 0 | 19690.67 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 39667.02 | 0 | 0 | 39667.02 | 1
Grand Total | Grand Total | 11445.66 | 22928876.77 | 8703.1007 | 20367607.0124 | 8431.8784 | 18882525.1024 | 3706310.8 | 363068.23 | 160000 | 34163 | 4263542.03 | 3325492.67 | 307684.84 | 97958.82 | 34162.87 | 3765299.2 | 12070 | 26014000 | 8671.9046 | 20722526.649 | 8558.0746 | 20072980.649 | 3921271 | 390440.04 | 160000 | 52248 | 4523959.04 | 4399283.17 | 278226.92 | 105073.83 | 52248.46 | 4834832.38 | 9439 | 16678000 | 6498.352 | 13739335.9 | 6473.022 | 13631436.16 | 3925650 | 407153.6512 | 160000 | 52415 | 4545218.6512 | 3804594.76 | 370197.71 | 93784.64 | 52401.73 | 4320978.84 | 1
|  |  |  | 8.7031 | 20367.607 | 8.4319 | 18882.5251 | [6 empty] | Reported Achievement - 2023 kW: 8.6719; Reported Achievement - 2023 kWh: 20722.5266; Achievement Verified - 2023 kW: 8.5581; Achievement Verified - 2023 kWh: 20072.9806 | [5 empty] | 112.2% | 258536.25 |  |  | 725224.857 |  |  | 6.4984 | 13739.3359 | 6.473 | 13631.4362 | [5 empty] | 96.92% | 330530.69 | 4268577.11 |  | 648146.826 | -224239.8112
|  |  |  | 144.4% | 192.9% | 139.9% | 178.8% | [6 empty] | Reported Achievement - 2023 kW: 143.9%; Reported Achievement - 2023 kWh: 196.3%; Achievement Verified - 2023 kW: 142%; Achievement Verified - 2023 kWh: 190.1% | [6 empty] | 66.22% | [5 empty] | 107.8% | 130.1% | 107.4% | 129.1% | [6 empty] | 81.18% |  |  | 95.07%
[14 empty] | Admin: Admin Spend (15%); R&D: 8.172% | [6 empty] | Admin Spend (15%) | 5.755% |  | 4762893.25 | [12 empty] | Admin Spend (15%) | 8.567% |  | 4228910.09
[14 empty] | Admin: R&D Spend (10%); R&D: 2.602% | [6 empty] | R&D Spend (10%) | 2.791% | [14 empty] | R&D Spend (10%) | 1.94%
[14 empty] | Admin: R&D + Admin (20%); R&D: 10.77% | [6 empty] | R&D + Admin (20%) | 7.928% | [14 empty] | R&D + Admin (20%) | 10.74%
[14 empty] | Admin: LI Spend (10%); R&D: 11.87% | [6 empty] | LI Spend (10%) | 10.7% | [14 empty] | LI Spend (10%) | 10.51%
[14 empty] | Admin: Spend/Forecast; R&D: 88.31% | [6 empty] | Spend/Forecast | 106.9% | [14 empty] | Spend/Forecast | 95.07%
[13 empty] | 166274.6335 | [16 empty] | 71.26% | [15 empty] | 90.92%
[14 empty] | EM&V: 0.88319; Total: 3457614.36 | [8 empty] | 0.90991 | 4815141.71 | [14 empty] | 0.88049 | 4281311.82
| Home Lighting | [12 empty] | EM&V: 0.89725; Total: 0.81097 | [5 empty] | 356272.93 | 27028.3 |  | 1.1219 | 1.0644 | [11 empty] | 356272.93 | 27028.3 |  | 0.96916 | 0.94194
[14 empty] | EM&V: 118% | [8 empty] | 71.26% | [15 empty] | 90.92%
|  |  |  | Achievement Reported - 2024 | [9 empty] | Reported Achievement - 2023 kW: Achievement Verified - 2024 | [12 empty] | Achievement Verified - 2023
|  |  |  | kW | kWh | Incentive* | Participant | [6 empty] | Reported Achievement - 2023 kW: kW; Reported Achievement - 2023 kWh: kWh; Achievement Verified - 2023 kW: Incentive; Achievement Verified - 2023 kWh: Participant |  |  |  |  | Frontier Source | [7 empty] | kW | kWh | Incentive | Participant |  |  |  |  | Frontier Source
|  |  |  | Source: Claimed Savings | [9 empty] | Reported Achievement - 2023 kW: Source: TetraTech |  |  |  |  | Commercial | [7 empty] | Source: TetraTech | [7 empty] | Commercial
|  |  | 2024 Xcel Commercial Standard Offer Program | 970.421 | 4531847.93 | 463906.07 | 178 | [6 empty] | Reported Achievement - 2023 kW: 945.131; Reported Achievement - 2023 kWh: 4423387.93; Achievement Verified - 2023 kW: 463906.07; Achievement Verified - 2023 kWh: 178 |  |  |  |  | Commercial SOP | [7 empty] | 858.131 | 3902153.93 | 463906.07 | 178 |  |  |  |  | Commercial SOP
|  | Non-Frontier | Retro-Commissioning MTP | 268.62 | 1246832.06 | 655288.7 | 12 | [6 empty] | Reported Achievement - 2023 kW: 268.67; Reported Achievement - 2023 kWh: 1247575.06; Achievement Verified - 2023 kW: 655288.7; Achievement Verified - 2023 kWh: 12 |  |  |  |  | Recommissiong MTP | [7 empty] | 251.49 | 1160907.06 | 655288.7 | 12 |  |  |  |  | Recommissiong MTP
|  |  | Load Management SOP | 2816.2 | 2816.2 | 126743.75 | 6 | [6 empty] | Reported Achievement - 2023 kW: 2816.2; Reported Achievement - 2023 kWh: 2816.2; Achievement Verified - 2023 kW: 126743.75; Achievement Verified - 2023 kWh: 6 |  |  |  |  | Load Management SOP | [7 empty] | 2816.2 | 2816.2 | 126743.75 | 6 |  |  |  |  | Load Management SOP
|  |  | 2024 Xcel Small Commercial Program | 177.26 | 806061.44 | 220214.98 | 134 | [6 empty] | Reported Achievement - 2023 kW: 177.26; Reported Achievement - 2023 kWh: 806061.44; Achievement Verified - 2023 kW: 220214.98; Achievement Verified - 2023 kWh: 134 |  |  |  |  | Small Commercial MTP | [7 empty] | 167.61 | 764417.44 | 220214.98 | 134 |  |  |  |  | Small Commercial MTP
|  |  | Home Lighting MTP (Bus) | 72.497 | 373686 | 0 | 7785 | [6 empty] | Reported Achievement - 2023 kW: 72.497; Reported Achievement - 2023 kWh: 373686; Achievement Verified - 2023 kW: 0; Achievement Verified - 2023 kWh: 7785 |  |  |  |  | Home Lighting | [7 empty] | 72.497 | 373686 | 0 | 7785 |  |  |  |  | Home Lighting
|  |  | 2024 Xcel Residential Standard Offer Program | 302.667 | 903892.09 | 284792.03 | 931 | [6 empty] | Reported Achievement - 2023 kW: 302.667; Reported Achievement - 2023 kWh: 903892.09; Achievement Verified - 2023 kW: 284792.03; Achievement Verified - 2023 kWh: 931 |  |  |  |  | Residential SOP | [7 empty] | 302.667 | 903892.09 | 284792.03 | 931 |  |  |  |  | Residential SOP
|  |  | Home Lighting MTP (Res) | 297.277 | 1008930 | 0 | 150513 | [6 empty] | Reported Achievement - 2023 kW: 297.277; Reported Achievement - 2023 kWh: 1008930; Achievement Verified - 2023 kW: 0; Achievement Verified - 2023 kWh: 150513 |  |  |  |  | Home Lighting | [7 empty] | 297.277 | 1008930 | 0 | 150513 |  |  |  |  | Home Lighting
|  |  | Res Smart Thermostat | 0 | 40513 | 0 | 29 | [6 empty] | Reported Achievement - 2023 kW: 0; Reported Achievement - 2023 kWh: 40513; Achievement Verified - 2023 kW: 0; Achievement Verified - 2023 kWh: 29 |  |  |  |  | Smart Thermostat MTP Pilot | [7 empty] | 0 | 40513 | 0 | 29 |  |  |  |  | Smart Thermostat MTP Pilot
|  |  | 2024 Xcel Refrigerator Recycling Program | 3.08 | 24233.17 | 1850 | 37 | [6 empty] | Reported Achievement - 2023 kW: 3.08; Reported Achievement - 2023 kWh: 24233.17; Achievement Verified - 2023 kW: 1850; Achievement Verified - 2023 kWh: 37 |  |  |  |  | Refrigerator Recycling MTP Pilot | [7 empty] | 3.08 | 24233.17 | 1850 | 37 |  |  |  |  | Refrigerator Recycling MTP Pilot
|  |  | 2024 Xcel Residential HVAC Program | 206.116 | 406265.11 | 55475 | 92 | [6 empty] | Reported Achievement - 2023 kW: 206.036; Reported Achievement - 2023 kWh: 406108.43; Achievement Verified - 2023 kW: 55475; Achievement Verified - 2023 kWh: 92 |  |  |  |  | Residential HVAC MTP | [7 empty] | 206.116 | 406265.11 | 55475 | 92 |  |  |  |  | Residential HVAC MTP
|  |  | Res Codes MTP | 0 | 361303 | 0 | 0 | [6 empty] | Reported Achievement - 2023 kW: 0; Reported Achievement - 2023 kWh: 361303; Achievement Verified - 2023 kW: 0; Achievement Verified - 2023 kWh: 0 |  |  |  |  | Residential Codes MTP | [15 empty] | Residential Codes MTP
|  |  | 2024 Xcel Hard-to-Reach Standard Offer Program | 349.611 | 895252.16 | 382200.58 | 1110 | [6 empty] | Reported Achievement - 2023 kW: 349.611; Reported Achievement - 2023 kWh: 895252.16; Achievement Verified - 2023 kW: 382200.58; Achievement Verified - 2023 kWh: 1110 |  |  |  |  | HTR SOP | [7 empty] | 349.611 | 895252.16 | 382200.58 | 1110 |  |  |  |  | HTR SOP
|  |  | 2024 Texas Food Bank Kits | 759.417 | 2844874.52 | 435596.36 | 84984 | [6 empty] | Reported Achievement - 2023 kW: 759.417; Reported Achievement - 2023 kWh: 2844874.52; Achievement Verified - 2023 kW: 435596.36; Achievement Verified - 2023 kWh: 84984 |  |  |  |  | Hard-to-Reach Food Bank | [7 empty] | 759.417 | 2844874.52 | 435596.36 | 84984 |  |  |  |  | Hard-to-Reach Food Bank
|  |  | 2024 Xcel Targeted Low Income Program | 275.186 | 654132.22 | 402032.02 | 396 | [6 empty] | Reported Achievement - 2023 kW: 275.176; Reported Achievement - 2023 kWh: 654106.16; Achievement Verified - 2023 kW: 402032.02; Achievement Verified - 2023 kWh: 396 |  |  |  |  | Low-Income Weatherization | [7 empty] | 275.176 | 654106.16 | 402032.02 | 396 |  |  |  |  | Low-Income Weatherization
|  |  |  | 0 | 0 | 0 | 0 | bar: Reported Achievement - 2023 kW to Achievement Verified - 2023 kWh
|  |  |  | 6498.352 | 14100638.9 | 3028099.49 | 246207 | [6 empty] | Reported Achievement - 2023 kW: Savings Adjustments | [12 empty] | Savings Adjustments
|  |  |  | TRUE | FALSE | TRUE | FALSE | [6 empty] | Achievement Verified - 2023 kW: kW; Achievement Verified - 2023 kWh: kWh | [14 empty] | kW | kWh
[5 empty] | 361303 | 1.1642e-08 | 84948
[5 empty] | FALSE | TRUE | FALSE | [5 empty] | Tetra Tech Program Result Adjustments.xlsx | Reported Achievement - 2023 kW: Commercial SOP; Achievement Verified - 2023 kW: -25.29; Achievement Verified - 2023 kWh: -108460 | [12 empty] | Commercial SOP |  | -87 | -521234
[13 empty] | Tetra Tech Program Result Adjustments.xlsx | Reported Achievement - 2023 kW: Res HVAC; Achievement Verified - 2023 kW: -0.08; Achievement Verified - 2023 kWh: -156.68 | [12 empty] | Recommissiong MTP |  | -17.18 | -86668
[20 empty] | Low Income |  | -0.01 | -26.06
[13 empty] | Tetra Tech Program Result Adjustments.xlsx | Reported Achievement - 2023 kW: Retro Commissioning; Achievement Verified - 2023 kW: 0.05; Achievement Verified - 2023 kWh: 743 | [12 empty] | Small Commercial MTP |  | -9.65 | -41644
[20 empty] | Total |  | -25.33 | -107899.74
*Incentive totals might not align with the P3 data totals since the P3 data doesn't capture some incentive costs that might be associated with market transformation, etc.

## 2024 P3 Data
Xcel 2024 Summary
|  |  |  | Note: These are only cash incentives; any implementer non-cash incentives (fees) won't show up in P3. I can help you allocate them if needed though | Please verify against bonus calc--sometimes EULs are off, especially for 3-party implemented programs
Row Labels | Sum of Quantity | Sum of Claimed kW | Sum of Claimed kWh | Sum of Incentive Amount | Average of EUL
2024 Texas Food Bank Kits | 36 | 759.417 | 2844874.52 | 435596.36 | 13.3333
R-LED | 24 | 686.648 | 2321589.39 | 403463.83 | 16
R-LEDNightLight | 12 | 72.769 | 523285.13 | 32132.53 | 8
2024 Xcel Commercial Standard Offer Program | 178 | 970.421 | 4531847.93 | 463906.07 | 14.7753
C-Commercial Solar | 1 | 189.441 | 614203 | 84671.23 | 30
C-DXAC | 44 | 57.69 | 65464 | 17274.28 | 15
C-DXHP | 2 | 0.48 | 827 | 163.49 | 15
C-ESRoof | 1 | 12.72 | 62304 | 7159.68 | 15
C-IntCornLEDExt | 10 | 18.07 | 112159 | 9221.95 | 15
C-IntCornLEDInt | 3 | 10.36 | 37429 | 3943.45 | 15
C-IntLEDExt | 4 | 0.49 | 2972 | 246.6 | 9
C-IntLEDInt | 6 | 2.73 | 10435 | 1067.75 | 9
C-LEDFixExt | 18 | 193.91 | 1046990.93 | 91131.52 | 15
C-LEDFixInt | 32 | 325.42 | 1433887 | 136778.35 | 15
C-LEDTubesInt | 53 | 29.82 | 116121 | 11770.05 | 15
C-M&V - VFD | 1 | 121.4 | 1019503 | 98073.21 | 15
C-ScrollChiller | 1 | 6.47 | 6482 | 1877.14 | 20
C-VRFHP | 2 | 1.42 | 3071 | 527.37 | 15
2024 Xcel Hard-to-Reach Standard Offer Program | 1110 | 349.611 | 895252.16 | 382200.58 | 14.9631
R-AdvPowStrip | 200 | 14.163 | 83501.55 | 15590.78 | 10
R-AirInf | 173 | 83.454 | 154685.39 | 83513.07 | 11
R-CeilingIns | 200 | 153.839 | 434218.16 | 180059.96 | 25
R-DuctEff | 57 | 19.155 | 34944.48 | 18873.21 | 18
R-DuctEffAlt | 71 | 41.18 | 39618 | 33867 | 18 | \Users\318378\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\501Y0ZFX\[2024 Xcel P3 EMV Report v1.xlsx]EE Source'!$A$1:$AO$2915
R-FaucetAertr | 109 | 3.479 | 12798.45 | 4642.23 | 10
R-LED | 136 | 4.806 | 16442.85 | 6169.55 | 19.6471
R-LFShwrhd | 164 | 29.535 | 119043.28 | 39484.78 | 10
2024 Xcel Refrigerator Recycling Program | 37 | 3.08 | 24233.17 | 1850 | 7.1351
R-RefrigFreezRecycling | 37 | 3.08 | 24233.17 | 1850 | 7.1351
2024 Xcel Residential HVAC Program | 92 | 206.116 | 406265.11 | 55475 | 17.0652
R-CentAC | 66 | 53.064 | 38301.78 | 14850 | 18
R-CentHP | 24 | 153.052 | 366635.96 | 40525 | 15
R-DownSmtTstat | 2 | 0 | 1327.37 | 100 | 11
2024 Xcel Residential Standard Offer Program | 931 | 302.667 | 903892.09 | 284792.03 | 16.1364
R-AdvPowStrip | 208 | 14.425 | 87132.83 | 15258.86 | 10
R-CeilingIns | 127 | 150.796 | 493599.75 | 148263.24 | 25
R-DuctEff | 156 | 55.694 | 91048.25 | 45089.63 | 18
R-DuctEffAlt | 147 | 58.38 | 141435 | 51104.4 | 18
R-FaucetAertr | 43 | 1.667 | 6127.71 | 1799.53 | 10
R-LED | 160 | 5.101 | 17643.41 | 5662.14 | 18.65
R-LFShwrhd | 90 | 16.604 | 66905.14 | 17614.23 | 10
2024 Xcel Small Commercial Program | 134 | 177.26 | 806061.44 | 220214.98 | 14.2388
C-DXAC | 1 | 0.95 | 534 | 213.6 | 15
C-DXHP | 2 | 1.03 | 1975 | 790 | 15
C-IntCornLEDExt | 1 | 0.16 | 974 | 262.98 | 15
C-IntLEDExt | 2 | 0.02 | 117 | 31.59 | 9
C-IntLEDInt | 15 | 17.19 | 76260 | 20590.2 | 9
C-LEDFixExt | 13 | 41.68 | 258798.44 | 69875.55 | 15
C-LEDFixInt | 70 | 83.22 | 366389 | 98925.03 | 15
C-LEDTubesInt | 26 | 21.32 | 83689 | 22596.03 | 15
C-VRFAC | 2 | 8.5 | 658 | 263.2 | 15
C-VRFHP | 2 | 3.19 | 16667 | 6666.8 | 15
2024 Xcel Targeted Low Income Program | 396 | 275.186 | 654132.22 | 402032.02 | 8.9874
R-AdminFee | 54 | 0 | 0 | 13638.8 | 0
R-AirPurifier | 54 | 3.672 | 23976 | 21600 | 9
R-Assess | 54 | 0 | 0 | 14850 | 0
R-CeilingIns | 54 | 42.673 | 39615.43 | 109978.6 | 25
R-CentHP | 50 | 226.766 | 550942.48 | 214408 | 15
R-DownSmtTstat | 50 | 0 | 33343.02 | 3500 | 11
R-LED | 25 | 1.895 | 6032.58 | 9366 | 16
R-OtherCost | 53 | 0 | 0 | 14300.12 | 0
R-SlrScrn | 1 | 0.176 | 186.05 | 335.5 | 10
R-WHPipeIns | 1 | 0.004 | 36.66 | 55 | 13
Grand Total | 2914 | 3043.758 | 11066558.64 | 2246067.04 | 14.4279
Total Portfolio Check
| Participants | kW demand reduction | kWh savings | Incentive spending | EUL
P3 Program Total | 2914 | 3043.758 | 11066558.64 | 2246067.04 | 14.4279
Retro-Commissioning MTP | 12 | 268.62 | 1246832.06 | 655288.7
Load Management SOP | 6 | 2816.2 | 2816.2 | 126743.75 | 1 | 2024 Xcel P3 EMV Report v1 - Frontier.xlsx
Home Lighting MTP (Res) | 150513 | 297.277 | 1008930 |  |  | FINAL YEAR END ALL STATES Copy of Xcel Lighting Scorecard December 2024_Final.xlsx
Home Lighting MTP (Bus) | 7785 | 72.497 | 373686 |  |  | FINAL YEAR END ALL STATES Copy of Xcel Lighting Scorecard December 2024_Final.xlsx
Res Codes MTP |  | 0 | 361303
Res Smart Thermostat | 29 | 0 | 40513
2024 Portfolio Total | 161259 | 6498.352 | 13739335.9 | 3028099.49 | NA
|  | 72.497 | 373686

## 2020 P3 Data (hidden)
P3 Program Pivot |  |  |  |  | Source: Tetra Tech Interm Impact Findings Xcel 20210402 V2 |  |  |  |  | Source: Tetra Tech Interm Impact Findings Xcel 20210402 V2
Row Labels | Sum of Quantity | Sum of Claimed kW | Sum of Claimed kWh | Average of EUL | Verified Savings | Sum of Quantity | Sum of Verified kW | Sum of Verified kWh | Average of EUL | Tech Tech Interm Adjustments | Sum of Difference-kW | Sum of Difference-kWh
2020 Xcel Commercial Standard Offer Program | 97 | 580.929 | 2936827.4 | 13.6598 | 2020 Xcel Commercial Standard Offer Program | 97 | 565.78 | 2917683 | 13.6598 | Commercial SOP | -15.149 | -19144.4
C-IntCornLED | 12 | 29.02 | 161709 | 15 | C-IntCornLED | 12 | 28.29 | 159038 | 15 | C-IntCornLED | -0.73 | -2671
C-IntLED | 20 | 21.52 | 102488 | 9 | C-IntLED | 20 | 20.02 | 97437 | 9 | C-IntLED | -1.5 | -5051
C-LEDFix | 33 | 299.94 | 1409584 | 15 | C-LEDFix | 33 | 293.1 | 1409596 | 15 | C-LEDFix | -6.84 | 12
C-LEDTubes | 30 | 220.319 | 1253882 | 15 | C-LEDTubes | 30 | 215.92 | 1243420 | 15 | C-LEDTubes | -4.399 | -10462
C-LightCtrl | 1 | 0.57 | 1528 | 10 | C-LightCtrl | 1 | 0.75 | 2006 | 10 | C-LightCtrl | 0.18 | 478
C-WndFilm | 1 | 9.56 | 7636.4 | 10 | C-WndFilm | 1 | 7.7 | 6186 | 10 | C-WndFilm | -1.86 | -1450.4
2020 Xcel Hard-to-Reach Standard Offer Program | 831 | 687.034 | 1501333.44 | 17.8869 | 2020 Xcel Hard-to-Reach Standard Offer Program | 831 | 687.034 | 1501333.44 | 17.8869 | Grand Total | -15.149 | -19144.4
R-AirInf | 158 | 158.337 | 308565.3 | 11 | R-AirInf | 158 | 158.337 | 308565.3 | 11
R-CeilingIns | 380 | 484.644 | 1057865.53 | 25 | R-CeilingIns | 380 | 484.644 | 1057865.53 | 25
R-DuctEff | 87 | 28.366 | 83317.78 | 18 | R-DuctEff | 87 | 28.366 | 83317.78 | 18
R-FaucetAertr | 3 | 0.03 | 80.49 | 10 | R-FaucetAertr | 3 | 0.03 | 80.49 | 10
R-LED | 152 | 5.594 | 21907.6 | 10 | R-LED | 152 | 5.594 | 21907.6 | 10
R-LFShwrhd | 51 | 10.063 | 29596.74 | 10 | R-LFShwrhd | 51 | 10.063 | 29596.74 | 10
2020 Xcel Low Income Weatherization Program | 315 | 294.881 | 805886.35 | 11.9651 | 2020 Xcel Low Income Weatherization Program | 315 | 294.881 | 805886.35 | 11.9651
10LED | 46 | 4.229 | 13345.75 | 10 | 10LED | 46 | 4.229 | 13345.75 | 10
7LED | 43 | 2.664 | 8402.57 | 10 | 7LED | 43 | 2.664 | 8402.57 | 10
ATT | 51 | 39.144 | 31990.77 | 25 | ATT | 51 | 39.144 | 31990.77 | 25
HP | 71 | 241.16 | 743921.1 | 15 | HP | 71 | 241.16 | 743921.1 | 15
PIPE | 3 | 0.023 | 143.66 | 13 | PIPE | 3 | 0.023 | 143.66 | 13
SLR | 50 | 7.661 | 8082.5 | 10 | SLR | 50 | 7.661 | 8082.5 | 10
STE | 51 | 0 | 0 | 0 | STE | 51 | 0 | 0 | 0
2020 Xcel Refrigerator Recycling Program | 96 | 13.728 | 108288 | 0 | 2020 Xcel Refrigerator Recycling Program | 96 | 13.728 | 108288 | 0
Refrigerator Recycling | 96 | 13.728 | 108288 | 0 | Refrigerator Recycling | 96 | 13.728 | 108288 | 0
2020 Xcel Residential Standard Offer Program | 1223 | 972.083 | 2166145.17 | 16.5765 | 2020 Xcel Residential Standard Offer Program | 1223 | 972.083 | 2166145.17 | 16.5765
R-AirInf | 198 | 207.924 | 401835.97 | 11 | R-AirInf | 198 | 207.924 | 401835.97 | 11
R-AtticEncap | 6 | 9.81 | 16938.13 | 25 | R-AtticEncap | 6 | 9.81 | 16938.13 | 25
R-CeilingIns | 393 | 580.783 | 1368330.62 | 25 | R-CeilingIns | 393 | 580.783 | 1368330.62 | 25
R-CentAC | 89 | 68.683 | 86196.77 | 18 | R-CentAC | 89 | 68.683 | 86196.77 | 18
R-CentHP | 13 | 17.29 | 55847 | 15 | R-CentHP | 13 | 17.29 | 55847 | 15
R-DuctEff | 194 | 64.51 | 160854.25 | 18 | R-DuctEff | 194 | 64.51 | 160854.25 | 18
R-FaucetAertr | 3 | 0.03 | 80.49 | 10 | R-FaucetAertr | 3 | 0.03 | 80.49 | 10
R-HVACBonus | 1 | 0 | 0 | 0 | R-HVACBonus | 1 | 0 | 0 | 0
R-LED | 231 | 8.47 | 33164.57 | 8 | R-LED | 231 | 8.47 | 33164.57 | 8
R-LFShwrhd | 94 | 14.579 | 42864.17 | 10 | R-LFShwrhd | 94 | 14.579 | 42864.17 | 10
R-WHPipeIns | 1 | 0.004 | 33.2 | 13 | R-WHPipeIns | 1 | 0.004 | 33.2 | 13
2020 Xcel Small Commercial Program | 48 | 159.809 | 735175.99 | 13.1458 | 2020 Xcel Small Commercial Program | 48 | 159.809 | 735175.99 | 13.1458
C-IntCornLED | 3 | 4.91 | 26490 | 15 | C-IntCornLED | 3 | 4.91 | 26490 | 15
C-IntLED | 14 | 22.898 | 141501 | 9 | C-IntLED | 14 | 22.898 | 141501 | 9
C-LEDFix | 17 | 103.621 | 458528.99 | 15 | C-LEDFix | 17 | 103.621 | 458528.99 | 15
C-LEDTubes | 13 | 28.36 | 108562 | 15 | C-LEDTubes | 13 | 28.36 | 108562 | 15
C-LightCtrl | 1 | 0.02 | 94 | 10 | C-LightCtrl | 1 | 0.02 | 94 | 10
2020 Xcel Smart Thermostat Program | 179 | 0 | 250063 | 11 | 2020 Xcel Smart Thermostat Program | 179 | 0 | 250063 | 11
R-SmtTstat | 179 | 0 | 250063 | 11 | R-SmtTstat | 179 | 0 | 250063 | 11
(blank) |  |  |  |  | (blank) | 0 | 0 | 0 | 0
(blank) |  |  |  |  | (blank) | 0 | 0 | 0 | 0
Grand Total | 2789 | 2708.464 | 8503719.35 | 15.3571 | Grand Total | 2789 | 2708.464 | 8503719.35 | 15.3571
P3 Program Total | 2789 | 2708.464 | 8503719.35 | 15.3571
Retro-Commissioning MTP | 23 | 1248.21 | 6919253 | 14.48
Load Management SOP | 9 | 4922 | 78720 | 1
Home Lighting MTP (Res) | 312815.4 | 2413.2 | 8159150.63 | 11.4
Home Lighting MTP (Bus) | 13134.6 | 395.72 | 2021573.6 | 11.4
2020 Portfolio Total | 315636.4 | 11291.874 | 23660842.98 | NA
Source:https://sharepoint.xcelenergy.com/sites/spop05/TXDSMRegulatory/TX%20DSM/EEPR%20and%20EECRF/2021/EEPR/Tables%20%26%20Data/Savings%20Data/Xcel%20Texas%20-%20PY2020%20EM%26V%20Primary%20Data%20Request%20v2.xlsx?d=w3245c23f27744e83ac285d9d638f046f

## 2019 Biz_Verfication (hidden)
Reporting Status | Adjusted Claimed to Evaluated Results (Yes/No) | Quarter | Program | Participant ID | Measure Category | Claimed kW | Evaluated kW | kW Realization Rate | Claimed kWh | Evaluated kWh | kWh Realization Rate | Impact Type | Project Scope Summary | EM&V Description of Savings Gap
Unchanged from Interim Results |  | Q1-2 | Commercial SOP | 1112688 | Lighting | 31.23 | 31.87 | 102% | 155286 | 155720 | 100.3% | Desk Review & Onsite | The project included interior and exterior lighting retrofits at a retail strip mall building. | Saving gap was due to the following adjustments in the post retrofit equipment inventory: 1) Exterior Line item 1 was adjusted from 110W to 150W per DLC certification for the model number listed. This decreased savings. 2) Exterior Line item 2 was adjusted from 78W to 77W per DLC certification for the model number listed. This slightly increased savings. 3) Interior Line item 2 was adjusted from 1,458 lamps to 1,362 lamps per on-site findings. This increased the evaluated savings. The net savings resulted in a negligible increase in energy savings and a slight increase in peak demand savings.
Unchanged from Interim Results |  | Q3 | Commercial SOP | 1112692 | Lighting | 50.37 | 50.09 | 99.44% | 366701 | 364595 | 99.43% | Desk Review | The project included interior and exterior lighting retrofits at a manufacturing facility. | Fixtures wattages were adjusted per inspection notes and DLC certification from 125W to 132W, and 185W to 187W.
Unchanged from Interim Results |  | Q1-2 | Commercial SOP | 1112694 | Lighting | 3.83 | 3.83 | 100% | 17393 | 17393 | 100% | Desk Review | The project included interior lighting retrofits at a non-refrigerated warehouse. | Philips appeared to change product names, although specification and product ID remained. DLC certifications and specifications matched the submitted product. Evaluation accepted the certification.
Unchanged from Interim Results |  | Q1-2 | Commercial SOP | 1112696 | Lighting | 4.43 | 4.35 | 98.19% | 23892 | 23500 | 98.36% | Desk Review & Onsite | The project included interior and exterior lighting retrofits at a non-24-hr supermarket. | For interior lighting, the EM&V team corrected the building type selection for interior lighting from “Custom” to “Supermarket Non-24 Hours” (HOU (4706) and CF (0.95) stayed the same). CUSTOMLED1 and CUSTOMLED2 was adjusted based upon the model numbers provided in each respective line item. Line Item 3 and 4 were adjusted to 15.5W from 16W per ENERGY STAR certification. Line Item 7 was adjusted to 9W from 16W for LED lamps per ENERGY STAR certification. The quantity of LED009-SCRW lamps was adjusted from 6 to 4 based on on-site verification. For exterior lighting, fixture wattage was adjusted to 41W from 43W per DLC certification (Line item 2).
Unchanged from Interim Results |  | Q3 | Commercial SOP | 1112697 | Lighting | 3.68 | 3.67 | 99.73% | 19869 | 19806 | 99.68% | Desk Review | The project included interior and exterior lighting retrofits at a non-24-hr supermarket. | For interior lighting, the EM&V team corrected the building type selection for interior lighting from “Custom” to “Supermarket Non-24 Hours” (HOU (4706) and CF (0.95) stayed the same). Fixtures wattages were adjusted per DLC certification from 145W to 150W. Wattages were also adjusted for LED bulbs from 16W to 15.5W since version 2018.5 of the LSF calculator allows for wattages in 0.5 increments (up to 25W) that match the rated wattages.
Unchanged from Interim Results |  | Q1-2 | Commercial SOP | 1112700 | Lighting | 3.46 | 3.47 | 100.3% | 18432 | 18456 | 100.1% | Desk Review & Onsite | The project included interior and exterior lighting retrofits at a non-24-hr supermarket. | LED wattages were adjusted to match DLC certification. Line Item 3 for exterior lighting was adjusted to from 84W to 78W.
Unchanged from Interim Results |  | Q1-2 | Small Commercial MTP | 1112712 | Lighting | 16.4 | 18.27 | 111.4% | 88021 | 103712 | 117.8% | Desk Review & Onsite | The project included exterior lighting retrofits at a public assembly type facility. | The EM&V team corrected the building type selection from “Religious” to “Public Assembly”. The arena is owned by a church but rented out, therefore making the building type different from religious. The installed LED outdoor fixture in Line item 1 and 7 was adjusted to 195W from 150 W per DLC certification. The pre- and post-install controls for the interior lighting was adjusted to none from Occupancy Sensor per on-site M&V visit findings. | 1.87 | 15691
Unchanged from Interim Results |  | Q1-2 | Small Commercial MTP | 1112722 | Lighting | 8.95 | 7.44 | 83.13% | 36254 | 33703 | 92.96% | Desk Review & Onsite | The project included interior and exterior lighting retrofits at a non-refrigerated warehouse. | The EM&V team corrected the building type selection from “Retail Other” to “Warehouse Non-Refrigerated” because that was the majority of the area. The installed LED lamp wattage was adjusted from 16W to 15W and from 7W to 7.5W per certification. The quantity of 4-foot linear fluorescent T8 fixtures installed in the warehouse was adjusted from 75 to 72 per on-site M&V visit findings. | -1.51 | -2551
New Evaluated Project |  | Q4 | Commercial SOP | 1183653 | Lighting | 48.49 | 46.34 | 95.57% | 278642 | 266593 | 95.68% | Desk Review | The project included interior and exterior lighting retrofits at a school. | For interior lighting, the EM&V team adjusted pre and post fixture quantities in Line Item 90 to zero based on post inspection findings. The notes showed the line crossed out, but the Ex Ante lighting inventory still included the savings. For exterior lighting, fixture wattages was adjusted from 16W to 15.5W (L16A19N1541K) per ENERGY STAR certification since version 2018.5 of the LSF calculator allows for wattages in 0.5 increments (up to 25W) that match the rated wattages. | 0.36 | 13140
New Evaluated Project |  | Q4 | Commercial SOP | 1183655 | Lighting | 18.55 | 19.09 | 102.9% | 136583 | 131883 | 96.56% | Desk Review & Onsite | The project included interior and exterior lighting retrofits at a custom building. | The EM&V team adjusted the building type from 'Custom' to 'Retail/Supermarket 24-Hour' and post fixture wattages per DLC and ENERGY STAR certification: 1) from 150W to 149W (model numbers LED150ED28/740) 2) from 43W to 41W (model number WLM43LED) 3) from 145W to 150W (model number CPY250ADMDEULWH) 4) from 84W to 79W (model number PFL84LED) 5) from 16W to 15.5W (model number L16A19N1541K) since version 2018.5 of the LSF calculator allows for wattages in 0.5 increments (up to 25W) that match the rated wattages.
New Evaluated Project |  | Q1-2 | Retro-Commissioning | 1129020 | Lighting | 378.4 | 373.18 | 98.62% | 1736773 | 1723704 | 99.25% | Desk Review & Onsite | The project included interior lighting retrofits at a manufacturing facility. | The manufacturing space had no air conditioning at Building 1 and 1A, so the air conditioning type was adjusted from ‘air conditioned’ to ‘none’.
New Evaluated Project |  | Q1-2 | Retro-Commissioning | 1129021 | Lighting & HVAC-Chiller | 81.36 | 82.06 | 100.9% | 438060 | 441248 | 100.7% | Desk Review | The project included an early replacement of HVAC equipment and interior lighting retrofits at a manufacturing facility. | The savings gap is due to a discrepancy in rounding wattages (rounding up instead of to the nearest watt), model number 24GR4240D was adjusted from 31W to 30W and model number 4SNLED-LD4-32SL-UNV-L840-CD1 was adjusted from 26W to 25W. In addition - there was significant delamping in the project which was unable to be confirmed.
New Evaluated Project |  | Q4 | Retro-Commissioning | 1156861 | Lighting & Refrigeration | 154.4 | 154.47 | 100% | 763025 | 763329 | 100% | Desk Review | The project included interior lighting retrofits at an office, a refrigerated and non-refrigerated warehouses and VFD installation for refrigeration. | For lighting at the non-refrigerated warehouse, the fixture wattage was adjusted from 183W to 182W per DLC certification (model number DLE-18-ST-N-750). This increased the savings, but had minimal impact on the overall realized savings.
New Evaluated Project |  | Q4 | Retro-Commissioning | 1181195 | Lighting | 6.83 | 6.86 | 100.4% | 45817 | 45359 | 99% | Desk Review & Onsite | The project included interior and exterior lighting retrofits at an airport. | The claimed interior annual hours of use was 24/7 although self-reported hours is from 4:00 a.m. to 11:00 p.m. from Sunday to Friday. On Saturday, it is from 4:40 am to 11 pm for the interior lights. This equates to approximately 146.3 hours weekly or 7,600 hours annually. The calculations were adjusted from 8760 annual hours to 7,600. A slight difference in savings was attributed to the adjustment of fixture wattage for the wall packs, as the DLC certificate rated the Eiko model: WMC-2C-40K-U at 20W. The ExAnte inventory listed the wall packs at 21W, which should have been rounded down to 20W. One of the 2’x4’ flat panel LED fixtures model number TCPFP4UZD5041K was not installed due to lack of space in the break room. It was found to be still in the original packaging. This reduced the quantity of installed 50W fixtures in line item 1. Line item 2 was adjusted from 21 installed fixtures model number TCPFP2UZD3641K to 22 fixtures.
New Evaluated Project |  | Q3 | Small Commercial MTP | 1112730 | Lighting | 27.83 | 27.83 | 100% | 117058 | 117058 | 100% | Desk review | The project included interior lighting retrofits at retail strip mall store. | None
New Evaluated Project |  | Q3 | Small Commercial MTP | 1112731 | Lighting | 6.81 | 6.86 | 100.7% | 23977 | 24178 | 100.8% | Desk Review | The project included interior lighting retrofits at a single shift manufacturing facility. | The EM&V team adjusted the wattage for installed LED lamps from 120W to 116W per DLC certification. This slightly increased the savings.

## 2019 P3 Data (hidden)
Row Labels | Sum of Quantity | Sum of Claimed kW | Sum of Claimed kWh | Sum of Incentive Amount
2019 Xcel Commercial Standard Offer Program | 73 | 604.42 | 3067097 | 231417.85
C-DXAC | 2 | 53.48 | 53671 | 15522.57
C-IBLED | 22 | 75.12 | 431401 | 30370.9
C-LED | 44 | 472.32 | 2561223 | 184077.39
C-LightCtrl | 5 | 3.5 | 20802 | 1446.99
2019 Xcel Hard-to-Reach Standard Offer Program | 922 | 691.035 | 1531446.03 | 496979.66
R-AirInf | 175 | 160.272 | 298867.85 | 107661.5
R-CeilingIns | 365 | 480.376 | 1108729.51 | 351436.47
R-DuctEff | 130 | 32.076 | 68077.94 | 22662.42
R-LED | 163 | 2.985 | 10663.27 | 2693.19
R-LFShwrhd | 89 | 15.326 | 45107.46 | 12526.08
2019 Xcel Low Income Weatherization Program | 229 | 265.008 | 730511.74 | 378824.21
10LED | 33 | 1.323 | 4163.72 | 3141.77
12LED | 1 | 0.01 | 30.51 | 36.42
7LED | 25 | 0.533 | 1687.02 | 2281.02
ATT | 30 | 26.664 | 24201.35 | 33265.28
HP | 71 | 231.78 | 695428.9 | 322500
PIPE | 1 | 0.009 | 50.09 | 16.2
SLR | 33 | 4.689 | 4950.15 | 5258.52
STE | 35 | 0 | 0 | 12325
2019 Xcel Refrigerator Recycling Program | 353 | 50.479 | 398184 | 17650
Refrigerator Recycling | 353 | 50.479 | 398184 | 17650
2019 Xcel Residential Standard Offer Program | 828 | 806.516 | 1945200.97 | 512430.63
R-AirInf | 142 | 161.048 | 328178.69 | 95395.77
R-CeilingIns | 371 | 594.339 | 1468876.05 | 381694.24
R-DuctEff | 93 | 30.159 | 84502.87 | 20514.78
R-LED | 128 | 2.002 | 7851.79 | 1619.55
R-LFShwrhd | 94 | 18.968 | 55791.57 | 13206.29
2019 Xcel Residential Standard Offer Program - Special | 59 | 92.002 | 189138.16 | 55352.76
R-CentAC | 38 | 53.857 | 67551.44 | 27049.26
R-CentHP | 21 | 38.145 | 121586.72 | 28303.5
2019 Xcel Small Commercial Program | 53 | 317.28 | 1432668 | 243553.56
C-IBLED | 19 | 75.72 | 297536 | 50581.12
C-LED | 33 | 241.33 | 1134136 | 192803.12
C-LightCtrl | 1 | 0.23 | 996 | 169.32
2019 Xcel Smart Thermostat Program | 26 | 0 | 36322 | 1300
R-SmtTstat | 26 | 0 | 36322 | 1300
(blank)
(blank)
Grand Total | 2543 | 2826.74 | 9330567.9 | 1937508.67
EE Total | 2543 | 2826.74 | 9330567.9 | 1937508.67
LM Total | 7 | 3417 | 27312 | 170850
Total (Frontier P3 programs) | 2550 | 6243.74 | 9357879.9 | 2108358.67
need to add in any non-P3 programs
Source
Home Lighting | 210841.1 | 1683 | 5650639 | 0 | https://sharepoint.xcelenergy.com/sites/spop05/TXDSMRegulatory/TX%20DSM/EEPR%20and%20EECRF/2020/EEPR/Tables%26%20Data/Savings%20data/FW%20%202019%20P3%20data%20with%20load%20mgmt.msg
Commercial Lighting | 11096.9 | 415 | 1702497 | 0
Retro-Commissioning MTP | 29 | 1214.96 | 6555117 |  | https://sharepoint.xcelenergy.com/sites/spop05/TXDSMRegulatory/TX%20DSM/EEPR%20and%20EECRF/2020/EEPR/Tables%26%20Data/Savings%20data/Home%20Lighting-%20Tetra%20TechTexas%20Data%20Request%20Xcel%20Full%20Year.xlsx?d=w67f95a9a6dec42af9df30fc639ee94a8
221938

## 2018 P3 Data (hidden)
Row Labels | Average of EUL | Sum of Quantity | Sum of Claimed kW | Sum of Claimed kWh | Sum of Incentive Amount
2018 Xcel Commercial Standard Offer Program | 12.2184 | 103 | 652.479 | 3655048 | 265470.29
C-DXAC | 15 | 2 | 8.11 | 7114 | 2296.4
C-HID | 15.5 | 1 | 1.35 | 4860 | 420.5
C-IBLED | 9 | 42 | 78.21 | 459082 | 32668.97
C-LED | 15 | 51 | 554.229 | 3130971 | 226093.06
C-LightCtrl | 10 | 7 | 10.58 | 53021 | 3991.36
2018 Xcel Hard-to-Reach Standard Offer Program | 20.249 | 731 | 681.1628 | 1550944.4822 | 495746.51
R-AirInf | 11 | 81 | 103.436 | 209169.43 | 70602.37
R-CeilingIns | 25 | 353 | 517.8048 | 1219090.8922 | 383414.57
R-DuctEff | 18 | 81 | 28.919 | 68473.54 | 21389.92
R-FaucetAertr | 10 | 5 | 0.044 | 119.27 | 34.57
R-LED | 16.2074 | 135 | 2.428 | 9047.63 | 2241.13
R-LFShwrhd | 10 | 34 | 6.625 | 19479.62 | 5412.17
R-WallIns | 25 | 42 | 21.906 | 25564.1 | 12651.78
2018 Xcel Low Income Weatherization Program | 13.7692 | 208 | 281.781 | 800171.56 | 368745.55
10LED | 16 | 26 | 1.837 | 5640.32 | 3752.89
7LED | 16 | 8 | 0.139 | 429.59 | 482.03
ATT | 25 | 26 | 19.815 | 16495.23 | 29013.39
HP | 15 | 92 | 254.28 | 771472.88 | 318295
JCK | 7 | 1 | 0.043 | 233.55 | 52.92
PIPE | 13 | 1 | 0.011 | 57.38 | 16.2
SLR | 10 | 27 | 5.656 | 5842.61 | 7008.12
STE | 0 | 27 | 0 | 0 | 10125
2018 Xcel Residential Standard Offer Program | 19.9538 | 736 | 735.012 | 1734891.75 | 462646.55 | summed below
R-AirInf | 11 | 103 | 107.094 | 216297.46 | 63213.85
R-CeilingIns | 25 | 381 | 587.715 | 1414526.86 | 373072.57
R-DuctEff | 18 | 94 | 31.053 | 75552.07 | 19805.49
R-FaucetAertr | 10 | 2 | 0.02 | 53.66 | 13.34
R-LED | 16.6316 | 114 | 1.732 | 6689.38 | 1389.16
R-LFShwrhd | 10 | 42 | 7.398 | 21772.32 | 5152.14
2018 Xcel Residential Standard Offer Program – Special | 16.8134 | 134 | 210.233 | 400985.35 | 121376.79 | summed below
R-CentAC | 18 | 81 | 121.635 | 154737.95 | 61340.22
R-CentHP | 15 | 53 | 88.598 | 246247.4 | 60036.57
2018 Xcel Small Commercial Program | 12.7845 | 58 | 267.57 | 1212389 | 239849.8
C-IBLED | 9 | 21 | 100.23 | 436722 | 87344.4
C-LED | 15 | 31 | 147.19 | 696325 | 136637
C-LFluorescent | 15.5 | 5 | 20.06 | 79052 | 15810.4
C-LightCtrl | 10 | 1 | 0.09 | 290 | 58
Xcel Refrigerator Recycling Program-2018 | 0 | 94 | 13.442 | 106032 | 4700
Refrigerator Recycling | 0 | 94 | 13.442 | 106032 | 4700
(blank)
(blank)
Grand Total | 17.735 | 2064 | 2841.658 | 9448348.92 | 1958535.49
Combined: Res SOP + Res SOP Special |  | 870 | 945.245 | 2135877.1 | 584023.34
Load Mgmt |  | 7 | 4544 | 18176 | 227200
Low Income (being pulled from eHomePower) |  | 119 | 281.78 | 800171.69 | 409717.26
Home Lighting |  | 136749 | 1067.4973 | 3531002.093 | 221320.5595
Commercial Lighting |  | 7197 | 227 | 1051912 | 11648.4505
Retro-Commissioning MTP |  | 24 | 906.91 | 4950639 | 881579.17
2018 Portfolio Total - Cash Incentives Only |  | 146160 | 9868.8453 | 19800249.703 | 3710000.93
| HL Bulbs | 143946

## 2019 Res_Verification (hidden)
Utility | Program | ParticipantID | Onsite Completed | Claimed ExAntekW | Evaluated ExPost kW | kW RR | Adjusted Claimed to Evaluated Results (Yes/No) | EM&V Notes for Savings Gap
Xcel Energy | Hard-to-Reach SOP | 1112954 | No | 1.784 | 0.6713 | 37.63% |  | Missing attic floor picture | -1.1127
|  | 1112966 | No | 2.22 | 2.2203 | 100%
|  | 1112968 | Yes | 3.481 | 3.481 | 100%
|  | 1113029 | Yes | 2.429 | 3.312 | 136.4% |  | Air infiltration test measure lower leakage | 0.883
|  | 1113032 | Yes | 2.22 | 2.892 | 130.3% |  | Air infiltration test measure lower leakage; Duct blaster test measured higher leakage | 0.672 | 1.555
|  | 1139114 | No | 1.812 | 1.0315 | 56.93% |  | Missing attic floor picture | -0.78046 | -1.8932
|  | Total |  | 13.946 | 13.6081 | 97.58%
| Residential SOP | 1112742 | No | 1.417 | 1.4172 | 100%
|  | 1112760 | No | 1.049 | 1.0488 | 99.98%
|  | 1112773 | Yes | 2.765 | 2.765 | 100%
|  | 1112774 | Yes | 4.358 | 4.358 | 100%
|  | 1112899 | No | 1.55 | 1.55 | 100%
|  | 1112929 | Yes | 1.296 | 1.296 | 100%
|  | Total |  | 12.435 | 12.4351 | 100%
Utility | Program | ParticipantID | Onsite Completed | Claimed ExAntekW | Evaluated ExPost kW | kW RR | Adjusted Claimed to Evaluated Results (Yes/No) | EM&V Notes for Savings Gap
Xcel Energy | Hard-to-Reach SOP | 1112954 | No | 5226.67 | 3091.6322 | 59.15% |  | Missing attic floor picture | -2135.0378
|  | 1112966 | No | 5880.65 | 5872.4813 | 99.86%
|  | 1112968 | Yes | 9183.85 | 9184.08 | 100%
|  | 1113029 | Yes | 6237.19 | 8152 | 130.7% |  | Air infiltration test measure lower leakage | 1914.81
|  | 1113032 | Yes | 5295.33 | 6532.08 | 123.4% |  | Air infiltration test measure lower leakage; Duct blaster test measured higher leakage | 1236.75 | 3151.56
|  | 1139114 | No | 4410.12 | 2366.82 | 53.67% |  | Missing attic floor picture | -2043.3 | -4178.3378
|  | Total |  | 36233.81 | 35199.0935 | 97.14%
| Residential SOP | 1112742 | No | 3464.79 | 3465.02 | 100%
|  | 1112760 | No | 2827.2 | 2827.2 | 100%
|  | 1112773 | Yes | 6747.31 | 6747.54 | 100%
|  | 1112774 | Yes | 10627.15 | 10627.38 | 100%
|  | 1112899 | No | 3339.12 | 3339.739 | 100%
|  | 1112929 | Yes | 4361.47 | 4361.47 | 100%
|  | Total |  | 31367.04 | 31368.349 | 100%

## Forecast Pgm Data
| Achievement Forecasts - 2024 |  | Budget Forecast - 2024 |  |  |  |  | Achievement Forecasts - 2025 |  | Budget Forecast - 2025 |  |  |  |  | Achievement Forecasts - 2026 |  | Budget Forecast - 2026
| kW | kWh | Incentive | Admin | R&D | EM&V | Total | kW | kWh | Incentive | Admin | R&D | EM&V | Total | kW | kWh | Incentive | Admin | R&D | EM&V | Total
Commercial | 7280 | 9328000 | 1855064 | 90362.1575 | 0 | 0 | 1945426.1575 | 6475 | 8553000 | 1945200 | 92276.9681 | 0 | 0 | 2037476.9681 | 6821 | 9810306 | 1964650 | 92183 | 0 | 0 | 2056833
Commercial SOP | 1020 | 3826000 | 390200 | 47454.057 | 0 | 0 | 437654.057 | 700 | 3900000 | 390200 | 48877.6787 | 0 | 0 | 439077.6787 | 1100 | 4250000 | 475000 | 50000 |  |  | 525000
Retro-Commissioning MTP | 900 | 3969000 | 800000 | 0 | 0 | 0 | 800000 | 700 | 2500000 | 900000 |  | 0 | 0 | 900000 | 900 | 3969000 | 800000 |  |  |  | 800000
Load Management SOP | 5000 | 20000 | 250500 | 36335.825 | 0 | 0 | 286835.825 | 4500 | 18000 | 225000 | 33683 | 0 | 0 | 258683 | 4500 | 18000 | 225000 | 33683 |  |  | 258683
Small Commercial MTP | 220 | 1000000 | 400000 | 5792.514 | 0 | 0 | 405792.514 | 230 | 1100000 | 400000 | 5966.2894 | 0 | 0 | 405966.2894 | 250 | 1200000 | 450000 | 8000 |  |  | 458000
Home Lighting MTP | 140 | 513000 | 14364 | 779.7615 |  | 0 | 15143.7615 | 345 | 1035000 | 30000 | 3750 | 0 | 0 | 33750 | 71 | 373306 | 14650 | 500 | 0 | 0 | 15150
Residential | 1120 | 4079000 | 1020311 | 70659.101 | 0 | 0 | 1090970.101 | 1795 | 5161000 | 1227400 | 131225.683 | 0 | 0 | 1358625.683 | 827 | 2790425 | 1229350 | 92927 | 0 | 0 | 1322277
Residential SOP | 360 | 810000 | 272400 | 27085.8379 | 0 | 0 | 299485.8379 | 375 | 850000 | 272400 | 27898.413 | 0 | 0 | 300298.413 | 250 | 730000 | 228000 | 36000 |  |  | 264000
Home Lighting MTP | 470 | 1718000 | 272911 | 14819.7121 | 0 | 0 | 287730.7121 | 1155 | 3465000 | 570000 | 71250 | 0 | 0 | 641250 | 294 | 1009310 | 278350 | 9500 |  |  | 287850
Smart Thermostat MTP | 0 | 600000 | 30000 | 3898.8075 | 0 | 0 | 33898.8075 | 0 | 100000 | 5000 | 1000 | 0 | 0 | 6000 | 0 | 167640 | 6000 | 3000 |  |  | 9000
Refrigerator Recycling MTP | 50 | 395000 | 175000 | 9245.7435 | 0 | 0 | 184245.7435 | 25 | 190000 | 110000 | 15000 | 0 | 0 | 125000 | 43 | 327475 | 97000 | 12500 |  |  | 109500
Residential HVAC MTP | 240 | 360000 | 200000 | 10609 | 0 | 0 | 210609 | 240 | 360000 | 200000 | 10927.27 | 0 | 0 | 210927.27 | 240 | 360000 | 200000 | 10927 |  |  | 210927
Residential Codes MTP | 0 | 196000 | 70000 | 5000 | 0 | 0 | 75000 | 0 | 196000 | 70000 | 5150 | 0 | 0 | 75150 | 0 | 196000 | 70000 | 5000 |  |  | 75000
School Kits MTP | [14 empty] | 900 | 3727035 | 350000 | 16000 | 0 | 0 | 366000
Hard-to-Reach | 1039 | 3271000 | 1050275 | 28541.3927 | 0 | 0 | 1078816.3927 | 1350 | 4150000 | 1115275 | 29397.6345 | 0 | 0 | 1144672.6345 | 1200 | 3105000 | 1253275 | 56054.1927 | 0 | 0 | 1309329.1927
Hard-to-Reach SOP | 450 | 1180000 | 385275 | 20054.1927 | 0 | 0 | 405329.1927 | 500 | 1300000 | 385275 | 20655.8185 | 0 | 0 | 405930.8185 | 500 | 1300000 | 338000 | 36000 |  |  | 374000
Hard-to-Reach Food Bank SOP | 339 | 1326000 | 200000 | 8487.2 | 0 | 0 | 208487.2 | 500 | 2000000 | 200000 | 8741.816 | 0 | 0 | 208741.816 | 450 | 1180000 | 385275 | 20054.1927 | 0 | 0 | 405329.1927
Low-Income Weatherization | 250 | 765000 | 465000 | 0 | 0 | 0 | 465000 | 350 | 850000 | 530000 |  | 0 | 0 | 530000 | 250 | 625000 | 530000 |  |  |  | 530000
Research & Development |  |  | 0 | 0 | 160000 | 0 | 160000 |  |  | 0 | 0 | 160000 | 0 | 160000 |  |  |  |  | 160000 |  | 160000
General Administration |  |  | 0 | 217591 | 0 | 0 | 217591 |  |  | 0 | 224119 | 0 | 0 | 224119 |  |  |  | 230000 |  |  | 230000
Evaluation, Measurement & Verification |  |  | 0 | 0 | 0 | 52415 | 52415 |  |  | 0 | 0 | 0 | 52414.99 | 52414.99 | [5 empty] | 52415 | 52415
Rider Expenses |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Grand Total | 9439 | 16678000 | 3925650 | 407153.6512 | 160000 | 52415 | 4545218.6512 | 9620 | 17864000 | 4287875 | 477019.2856 | 160000 | 52414.99 | 4977309.2756 | 8848 | 15705731 | 4447275 | 471164.1927 | 160000 | 52415 | 5130854.1927
[14 empty] | 4924894.2856 | [6 empty] | 5078439.1927
R&D
[13 empty] | Admin Spend (15%) | 9.584% | [5 empty] | Admin Spend (15%) | 9.183%
[13 empty] | R&D Spend (10%) | 3.215% | [5 empty] | R&D Spend (10%) | 3.118%
[13 empty] | R&D + Admin (20%) | 12.8% | [5 empty] | R&D + Admin (20%) | 12.3%
[13 empty] | LI Spend (10%) | 10.65% | [5 empty] | LI Spend (10%) | 10.33%
Home Lighting MTP

## Table MFL-2
| 2023 (Actual) |  | 2024 (Actual) |  | 2025 (Projected) |  | 2026 (Projected)
Customer Class | $/kW | $/kWh | $/kW | $/kWh | $/kW | $/kWh | $/kW | $/kWh
Commercial | 380.7175 | 0.21567 | 367.1583 | 0.22928 | 314.6683 | 0.23822 | 301.5442 | 0.20966
Residential | 729.0942 | 0.2168 | 1049.3823 | 0.35618 | 756.8945 | 0.26325 | 1598.8839 | 0.47386
Hard-to-Reach | 827.6779 | 0.26593 | 1074.4823 | 0.33847 | 847.9057 | 0.27582 | 1091.1077 | 0.42168
Total | 564.9439 | 0.22538 | 667.5366 | 0.31699 | 517.3918 | 0.27862 | 579.8886 | 0.32669

## Table MVP-X (affexp) (hidden)
Total
Labor and Loading Expenses | 159009.29 | 91040.42
Non-Labor Expenses | 7391.46 | 75360.33
Total Expenses | 166400.75
DEF EE Conf/Seminar/Training | 56.51
Def EE Exp Airfare | 851.61
Def EE Exp Car Rental | 382.39
Def EE Exp Hotel | 1412.68
Def EE Exp Meals - EE's | 583.05
Def EE Exp Meals-Incl Non-EE's | 27.14
Def EE Exp Mileage | 3280.75
Def EE Exp Parking | 43.33
Def EE Exp Taxi/Bus | 129
Def Personal Comm Devices | 625
Def Contract Labor | 298.86
Def Productive Labor | 89562.69
Def Reg Lab Load-Incentive | 13718.06
Def Reg Lab Load-Inj&Damages | 223.2
Def Reg Lab Load-Insurance | 16653.81
Def Reg Lab Load-NonProd | 15018.56
Def Reg Lab Load-Pens&401K | 15422.44
Def Reg Lab Load-Taxes | 8111.67

## Mnth Aff Exp (hidden)
Affiliate Cost Receipts
Witson | Mileage | Travel | Phone | Misc
January |  |  |  |  | 0
February |  |  |  |  | 0
March |  | 803.38 |  |  | 803.38
April |  |  |  |  | 0
May |  |  |  |  | 0
June |  | 60.39 |  |  | 60.39
July |  |  |  |  | 0
August |  | 41.85 |  |  | 41.85
September |  |  |  |  | 0
October |  | 847.6 |  |  | 847.6
November |  |  |  |  | 0
December |  |  |  |  | 0
January |  |  |  |  | 0
Whit ST | 0 | 1753.22 | 0 | 0 | 1753.22
Pascucci |  |  |  |  | 0
January |  |  |  |  | 0
February |  |  |  |  | 0
March |  |  |  |  | 0
April |  |  |  |  | 0
May |  |  |  |  | 0
June |  |  |  |  | 0
July |  |  |  |  | 0
August |  |  |  |  | 0
September |  | 434.17 |  |  | 434.17
October |  |  |  |  | 0
November |  |  |  |  | 0
December |  |  |  |  | 0
January |  |  |  |  | 0
Pas ST | 0 | 434.17 | 0 | 0 | 434.17
Shockley |  |  |  |  | 0
January |  |  |  |  | 0
February |  | 551.7 |  |  | 551.7
March |  |  |  |  | 0
April |  |  |  |  | 0
May | 27.12 | 738.13 |  |  | 765.25
June |  |  |  |  | 0
July |  |  |  |  | 0
August |  |  |  |  | 0
September |  |  |  |  | 0
October |  |  |  |  | 0
November |  |  |  |  | 0
December |  |  |  |  | 0
January |  |  |  |  | 0
Shok ST | 27.12 | 1289.83 | 0 | 0 | 1316.95
Total | 27.12 | 3477.22 | 0 | 0 | 3504.34