## Goal Calculation
| Table 4: Annual Growth in Demand and Energy Consumption (at Meter) | [13 empty] | Table 4: Annual Growth in Demand and Energy Consumption (at Source)
| Calendar Year | Peak Demand (MW) @ Meter |  |  |  |  | Energy Consumption (MWh) @ Meter |  |  |  | Growth (MW) | Average Growth (MW)5 | Demand Goal | Energy Goal | Calendar Year | Peak Demand (MW) @ Source |  |  |  |  | Energy Consumption (MWh) @ Source |  |  |  | Growth (MW) | Average Growth (MW) 5
|  | Total System |  | Residential & Commercial |  | Opt Outs | Total System |  | Residential & Commercial | [6 empty] | Total System |  | Residential & Commercial |  | Opt-Outs | Total System |  | Residential & Commercial
Demand Line Loss Factor |  | Actual | Actual Weather Adjusted | Actual | Actual Weather Adjusted | Actual Weather Adjusted | Actual | Actual Weather Adjusted | Actual | Actual Weather Adjusted | Actual Weather Adjusted | Actual Weather Adjusted |  |  |  | Actual | Actual Weather Adjusted | Actual | Actual Weather Adjusted | Actual Weather Adjusted | Actual | Actual Weather Adjusted | Actual | Actual Weather Adjusted | Actual Weather Adjusted | Actual Weather Adjusted
| 2008 | 2336.4079 | 2337.9866 | 1529.7625 | 1531.181 | 0 | 14143863.872 | 14198484.2613 | 7668155.3935 | 7717743.5175 | 27.6242 | 0 | NA | NA | 2008 | 2587.2957 | 2589.044 | 1694.0312 | 1695.602 | 0 | 15354264.6853 | 15413559.3675 | 8324379.2944 | 8378211.0612 | 30.5906 | 0
8.062% | 2009 | 2340.6362 | 2312.8579 | 1566.5742 | 1541.5784 | 46.3969 | 13920044.8045 | 13932332.0436 | 7371820.5125 | 7382989.0513 | -35.8113 | 0 | NA | NA | 2009 | 2591.9781 | 2561.2169 | 1734.7958 | 1707.1159 | 50.4653 | 15111291.6734 | 15124630.4274 | 8002684.725 | 8014809.0428 | -39.6568 | 0
9.697% | 2010 | 2317.7076 | 2331.7363 | 1541.0992 | 1549.1859 | 36.4696 | 14175553.0453 | 14110580.4049 | 7512089.308 | 7452379.8228 | 17.6727 | 23.1762 | NA | NA | 2010 | 2566.5874 | 2582.1225 | 1706.5853 | 1715.5404 | 39.6674 | 15388665.7484 | 15318132.8921 | 8154957.416 | 8090138.1242 | 19.5704 | 25.6649
Energy Line Loss Factor | 2011 | 2277.6553 | 2251.8324 | 1606.5649 | 1580.742 | 44.6737 | 14054829.6916 | 13730734.2264 | 7963150.2536 | 7639054.7884 | 23.9234 | 3.5137 | NA | NA | 2011 | 2522.2341 | 2493.6384 | 1779.0808 | 1750.4851 | 48.5909 | 15257611.1553 | 14905780.3118 | 8644619.1669 | 8292788.3234 | 26.4924 | 3.891
6.933% | 2012 | 2378.8009 | 2278.1127 | 1703.6905 | 1603.0023 | 55.0747 | 13880057.7175 | 13721134.615 | 7748839.4932 | 7589916.3907 | 12.2624 | 7.0535 | NA | NA | 2012 | 2634.241 | 2522.7407 | 1886.636 | 1775.1357 | 59.904 | 15067882.5793 | 14895359.1867 | 8411968.1622 | 8239444.7696 | 13.5792 | 7.8109
7.883% | 2013 | 2228.7525 | 2189.7292 | 1495.8203 | 1474.8576 | 72.8244 | 13994645.7724 | 13859305.5023 | 7764905.6508 | 7629565.3807 | -148.215 | 10.4275 | NA | NA | 2013 | 2468.0801 | 2424.8664 | 1656.4443 | 1633.2306 | 79.2101 | 15192276.8283 | 15045354.4351 | 8429409.2263 | 8282486.8331 | -164.1306 | 11.5472
| 2014 | 2263.3077 | 2255.3027 | 1544.7098 | 1536.7048 | 49.5658 | 14061579.4235 | 14038723.4371 | 7712573.4763 | 7689717.4899 | 86.2258 | 9.1343 | NA | NA | 2014 | 2506.3459 | 2497.4813 | 1710.5837 | 1701.7191 | 53.912 | 15264938.5143 | 15240126.5628 | 8372598.5792 | 8347786.6278 | 95.4849 | 10.1152
not tied in - data provided @ Meter | 2015 | 2172.0659 | 2238.0262 | 1461.3051 | 1527.2654 | 47.3279 | 14032058.3913 | 14004866.0179 | 7621820.8433 | 7594628.4699 | -7.3724 | -26.0335 | -7.8101 | -13683.2332 | 2015 | 2405.3063 | 2478.3496 | 1618.2228 | 1691.266 | 51.4779 | 15232891.137 | 15203371.7 | 8274079.5352 | 8244560.0982 | -8.1641 | -28.8291
| 2016 | 2256.6802 | 2211.7003 | 1559.1258 | 1514.1459 | 38.8198 | 13958247.8904 | 13905332.991 | 7498352.0852 | 7445437.1858 | -4.849 | -1.6261 | -0.48784 | -854.6967 | 2016 | 2499.0068 | 2449.1969 | 1726.5476 | 1676.7377 | 42.2237 | 15152764.0955 | 15095320.8553 | 8140044.5918 | 8082601.3516 | -5.3697 | -1.8008
| 2017 | 2225.3826 | 2197.9945 | 1512.6817 | 1485.2936 | 42.8374 | 13844659.178 | 13912070.8759 | 7358371.0683 | 7425782.7662 | -33.3923 | -6.6352 | -1.9905 | -3487.4366 | 2017 | 2464.3484 | 2434.0193 | 1675.1163 | 1644.7872 | 46.5936 | 15029454.7105 | 15102635.3535 | 7988084.3069 | 8061264.9499 | -36.978 | -7.3476
| 2018 | 2332.5315 | 2318.2307 | 1668.5435 | 1654.2427 | 46.0299 | 14297146.565 | 14100462.7027 | 7722999.993 | 7526316.1307 | 168.816 | -12.3896 | -3.7169 | -6511.9958 | 2018 | 2583.0031 | 2567.1667 | 1847.7149 | 1831.8784 | 50.0661 | 15520664.9746 | 15307149.3392 | 8383917.3744 | 8170401.739 | 186.9438 | -13.7201
| 2019 | 2242.2256 | 2266.6075 | 1537.119 | 1561.4906 | 33.6555 | 14037836.1612 | 13944983.1972 | 7465519.2546 | 7372666.2906 | -82.0573 | -21.5206 | -6.4562 | -11311.218 | 2019 | 2483 | 2510 | 1702.1777 | 1729.1664 | 36.6066 | 15239163.3558 | 15138364.2391 | 8104401.9997 | 8003602.8829 | -90.8688 | -23.8315
| 2020 | 2141.4995 | 2102.9412 | 1514.1343 | 1475.576 | 44.2507 | 13360219.4833 | 13247231.7611 | 7260442.2476 | 7147454.5254 | -98.0656 | 41.8856 | 6.1063 | 10698.1721 | 2020 | 2371.4577 | 2328.7589 | 1676.7249 | 1634.0261 | 48.1308 | 14503557.7305 | 14380900.7671 | 7881774.9528 | 7759117.9895 | -108.596 | 46.3834
| 2021 | 2271 | 2196 | NA | 1358.1584 | NA | 14145894.6137 | 14127187.7362 | 7632057.3709 | 7013178.1101 | -85.2932 | 8.229 | 2.4687 | 4325.1586 | 2021 | 2271 | 2196 | 1580 | 1504 | 10 | 14145894.6137 | 14127187.7362 | 7632057.3709 | 7613350.4934 | -94.4522 | 9.1126
| 2022 | 2313.5026 | 2268.6822 | NA | 1377.4466 | NA | 14749444.1415 | 14524533.1069 | 8063726.8031 | 7220869.6033 | 20.2089 | -9.9096 | -2.9729 | -5208.5072 | 2022 | 2313.5026 | 2268.6822 | 1570.1798 | 1525.3594 | 9.4286 | 14749444.1415 | 14524533.1069 | 8063726.8031 | 7838815.7685 | 22.3789 | -10.9738
| 2023 | 2411.1382 | 2265.958 | NA | 1421.4883 | NA | 14403122.4083 | 14299014.1821 | 7977254.844 | 7327319.3585 | 23.9216 | -25.9985 | -7.7995 | -13664.8021 | 2023 | 2411.1382 | 2265.958 | 1691.3122 | 1546.132 | 4.605 | 14403122.4083 | 14299014.1821 | 7977254.844 | 7873146.6177 | 26.0191 | -28.2782
| 2024 | 2528.5071 | 2359.0121 | NA | 1518.724 | NA | 14659091.6194 | 14438858.4647 | 8172536.6296 | 7400988.4517 | 87.0745 | -15.2782 | -4.5835 | -8030.2457 | 2024 | 2528.5071 | 2359.0121 | 1821.3888 | 1651.8938 | 14.7662 | 14659091.6194 | 14438858.4647 | 8172536.6296 | 7952303.475 | 94.7096 | -16.6179
| 2025 | NA | NA | NA | 1538.4022 | NA | NA | NA | NA | 7990297.1491 | 28.0902 | -44.2571 | -13.2771 | -23261.5462 | 2025 | NA | NA | 0 | 1673.2974 | 0 | NA | NA | NA | 8585511.0029 | 30.5533 | -48.1378
| 2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Goal Data
| Peak Demand at the Source |  | Peak Demand at the Meter |  |  | Sales at the Meter |  |  |  | Caclulations
|  | Weather |  | Retail Peak |  | Actual | Weather | Actual | Weather | At Meter |  |  |  |  | 30% DG | 4/1 of 1%
|  | Normalized |  | with LLF | Annual | Texas | Normalized | Texas | Normalized | Five Year | 30% of | Five Year | 4/10 of 1% |  | Energy | DG Energy
| Texas Retail | Texas Retail | Opt Out | Applied Minus | Increase | Load | Texas Load | Retail | Texas Retail | Average | Average | Average | of Peak | Trigger | Savings | Savings
| Peak (MW) | Peak (MW) | MW | Opt-Out (MW) | (MW) | (MWh) | (MWh) | Sales (MWh) | Sales (MWh) | Growth (MW) | Growth (MW) | Peak Demand (MW) | Demand (MW) | Reached? | Goal (MWh) | Goal (MWh)
2006 | 1657.7009 | 1645.1852 |  | 1512.5563 |  | 13039006.879 | 13038019 | 7534770.363 | 7533883.8718 |  |  |  |  | 2 | 0 | 0
2007 | 1439.9571 | 1665.5556 |  | 1531.2844 | 18.7282 | 13180377.3415 | 13207469.3541 | 7613587.32 | 7638052.7703 |  |  |  |  | 1 | 0 | 0
2008 | 1694.0312 | 1695.602 |  | 1558.9087 | 27.6242 | 14143863.872 | 14198484.2613 | 7668155.3935 | 7717743.5175 |  |  |  |  | 1 | 0 | 0
2009 | 1734.7958 | 1707.1159 | 46.3969 | 1523.0974 | -35.8113 | 13920044.8045 | 13932332.0436 | 7371820.5125 | 7382989.0513 |  |  |  |  | 1 | 0 | 0 | Load Factor | 20%
2010 | 1706.5853 | 1715.5404 | 36.4696 | 1540.7701 | 17.6727 | 14175553.0453 | 14110580.4049 | 7512089.308 | 7452379.8228 | 23.1762 | 6.9529 | 1534.2498 | 6.137 | 1 | 12181.4139 | 10752.0225 | Hours in Year | 8760
2011 | 1779.0808 | 1750.4851 | 44.6737 | 1564.6935 | 23.9234 | 14054829.6916 | 13730734.2264 | 7963150.2536 | 7639054.7884 | 3.5137 | 1.0541 | 1531.4617 | 6.1258 | 2 | 1846.8079 | 10732.4835
2012 | 1886.636 | 1775.1357 | 55.0747 | 1576.9559 | 12.2624 | 13880057.7175 | 13721134.615 | 7748839.4932 | 7589916.3907 | 7.0535 | 2.116 | 1533.3234 | 6.1333 | 2 | 3707.2961 | 10745.5301
2013 | 1656.4443 | 1633.2306 | 72.8244 | 1428.7409 | -148.215 | 13994645.7724 | 13859305.5023 | 7764905.6508 | 7629565.3807 | 10.4275 | 3.1282 | 1543.7508 | 6.175 | 2 | 5480.6685 | 10818.6057
2014 | 1710.5837 | 1701.7191 | 49.5658 | 1514.9667 | 86.2258 | 14061579.4235 | 14038723.4371 | 7712573.4763 | 7689717.4899 | 9.1343 | 2.7403 | 1552.8851 | 6.2115 | 2 | 4800.9842 | 10882.6188
2015 | 1618.2228 | 1691.266 | 47.3279 | 1507.5943 | -7.3724 | 14032058.3913 | 14004866.0179 | 7621820.8433 | 7594628.4699 | -26.0335 | -7.8101 | 1526.8516 | 6.1074 | 2 | -13683.2332 | 10700.1757
2016 | 1726.5476 | 1676.7377 | 38.8198 | 1502.7453 | -4.849 | 13958247.8904 | 13905332.991 | 7498352.0852 | 7445437.1858 | -1.6261 | -0.48784 | 1525.2254 | 6.1009 | 2 | -854.6967 | 10688.7798
2017 | 1675.1163 | 1644.7872 | 42.8374 | 1469.353 | -33.3923 | 13844659.178 | 13912070.8759 | 7358371.0683 | 7425782.7662 | -6.6352 | -1.9905 | 1518.5903 | 6.0744 | 2 | -3487.4366 | 10642.2806
2018 | 1847.7149 | 1831.8784 | 46.0299 | 1638.169 | 168.816 | 14297146.565 | 14100462.7027 | 7722999.993 | 7526316.1307 | -12.3896 | -3.7169 | 1506.2006 | 6.0248 | 2 | -6511.9958 | 10555.454
2019 | 1702.1777 | 1729.1664 | 33.6555 | 1556.1117 | -82.0573 | 14037836.1612 | 13944983.1972 | 7465519.2546 | 7372666.2906 | -21.5206 | -6.4562 | 1484.68 | 5.9387 | 2 | -11311.218 | 10404.6378
2020 | 1676.7249 | 1634.0261 | 44.2507 | 1458.0461 | -98.0656 | 13360219.4833 | 13247231.7611 | 7260442.2476 | 7147454.5254 | 41.8856 | 12.5657 | 1526.5657 | 6.1063 | 1 | 22015.0771 | 10698.1721
2021 | 1580 | 1504 | 10 | 1372.7529 | -85.2932 | 13030751.512 | 13013519.3271 | 7030410.2951 | 7013178.1101 | 8.229 | 2.4687 | 1534.7947 | 6.1392 | 2 | 4325.1586 | 10755.8409
2022 | 1570.1798 | 1525.3594 | 9.4286 | 1392.9618 | 20.2089 | 13586722.2821 | 13379541.3378 | 7428050.5476 | 7220869.6033 | -9.9096 | -2.9729 | 1524.885 | 6.0995 | 2 | -5208.5072 | 10686.3942
2023 | 1691.3122 | 1546.132 | 4.605 | 1416.8833 | 23.9216 | 13404586.8532 | 13307696.2123 | 7424209.9994 | 7327319.3585 | -25.9985 | -7.7995 | 1498.8865 | 5.9955 | 2 | -13664.8021 | 10504.1968
2024 | 1821.3888 | 1651.8938 | 14.7662 | 1503.9578 | 87.0745 | 13642810.3039 | 13437845.4105 | 7605953.3451 | 7400988.4517 | -15.2782 | -4.5835 | 1483.6083 | 5.9344 | 2 | -8030.2457 | 10397.1269
2025 |  | 1673.2974 |  | 1511.0392 | 28.0902 |  |  |  | 7990297.1491 | -44.2571 | -13.2771 | 1439.3512 | 5.7574 | 2 | -23261.5462 | 10086.9729
2026 |  | 1665.1198 |  | 1503.6545 | -7.3847 |  |  |  | 8023103.8483 | -10.4308 | -3.1292 |  |  | 2 | -5482.4157 | 0
2027 |  | 1670.8398 |  | 1508.8199 | 5.1654 |  |  |  | 8074571.6065 | 14.8004 | 4.4401 |  |  | 1 | 7779.0809 | 0
2028 |  | 1686.1731 |  | 1522.6663 | 13.8464 |  |  |  | 8138010.8275 | 30.3821 | 9.1146 |  |  | 1 | 15968.8253 | 0
2029 |  | 1700.2719 |  | 1535.398 | 12.7317 |  |  |  | 8213858.9999 | 27.3734 | 8.212 |  |  | 1 | 14387.4513 | 0
2030 |  | 1722.6101 |  | 1555.57 | 20.172 |  |  |  | 8293394.6696 | 25.3584 | 7.6075 |  |  | 1 | 13328.3504 | 0
2031 |  | 1734.062 |  | 1565.9115 | 10.3414 |  |  |  | 8392952.3957 | 10.4898 | 3.1469 |  |  | 1 | 5513.439 | 0
2032 |  | 1765.6068 |  | 1594.3974 | 28.486 |  |  |  | 8557054.4069 | 8.9062 | 2.6718 |  |  | 1 | 4681.0788 | 0
2033 |  | 1797.9875 |  | 1623.6382 | 29.2407 |  |  |  | 8740217.027 | 12.4514 | 3.7354 |  |  | 1 | 6544.4465 | 0
2034 |  | 1831.445 |  | 1653.8514 | 30.2132 |  |  |  | 8936676.301 | 17.1155 | 5.1347 |  |  | 1 | 8995.9089 | 0
2035 |  | 1860.4317 |  | 1680.0273 | 26.1759 |  |  |  | 9138390.8133 | 20.1944 | 6.0583 |  |  | 1 | 10614.1606 | 0
2036 |  | 1900.4683 |  | 1716.1816 | 36.1543 |  |  |  | 9355835.3095 | 23.6907 | 7.1072 |  |  | 1 | 12451.8173 | 0
2037 |  | 1939.8498 |  | 1751.7442 | 35.5627 |  |  |  | 9596944.0451 | 24.8914 | 7.4674 |  |  | 1 | 13082.9442 | 0
2038 |  | 1984.2906 |  | 1791.8757 | 40.1315 |  |  |  | 9861416.2823 | 30.054 | 9.0162 |  |  | 1 | 15796.3926 | 0
2039 |  | 2025.1121 |  | 1828.7387 | 36.8631 |  |  |  | 10159014.2199 | 31.4694 | 9.4408 |  |  | 1 | 16540.2937 | 0
2040 |  | 2078.8037 |  | 1877.2239 | 48.4851 |  |  |  | 10498153.767 | 33.6475 | 10.0942 |  |  | 1 | 17685.1259 | 0

## Line Loss Factors
| Line Loss Factors |  | New Loss Factors to use
| in 2017 Rate Case |  | in 2023 Texas Rate Case
| Docket No. 47527 |  | Docket No. 54634
Energy Loss Factors
Sales at the Generator | 1 | 7.883% | 1 | 6.933%
@ Generation
Sales @ 115, 230 & 345 KV | 1.0296 |  | 1.0228
Level 2
Sales @ 69 KV | 1.0359 |  | 1.0283
Level 3
Sales @ Primary (33kv - 2.4kv) | 1.1059 |  | 1.0953
Level 4
Secondary Sales @ the Transf. | 1.125 |  | 1.1112
Level 5
Sales served by secondary lines | 1.1284 |  | 1.1148
Level 6
Composit Factors 5 & 6 | 1.1269 |  | 1.1129
Used in billing
Demand Loss Factors
Sales at the Generator | 1 | 9.697% | 1 | 8.062%
@ Generation
Sales @ 115, 230 & 345 KV | 1.0237 |  | 1.0205
Level 2
Sales @ 69 KV | 1.031 |  | 1.0264
Level 3
Sales @ Primary (33kv - 2.4kv) | 1.131 |  | 1.11
Level 4
Secondary Sales @ the Transf. | 1.1618 |  | 1.1332
Level 5
Sales served by secondary lines | 1.1665 |  | 1.1379
Level 6
Composit Factors 5 & 6 | 1.1648 |  | 1.1363
Used in billing

## Opt Out Info
Usage Data for TX Energy Efficiency Plan Report
Premise Number | Year Received | Final Year | 2024 | 2023 | 2022 | 2021 | 2020 | 2019 | 2018
1 | 2025 | 2028 | 0.78384 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2025 | 2028 | 8.7078
3 | 2025 | 2028 | 25.7342 | 17 | 0 | 0 | 0 | 11 | 26
4 | 2025 | 2028 | 6546.1723
5 | 2025 | 2028 | 169.1762
6 | 2025 | 2028 | 7.5911
7 | 2025 | 2028 | 5.7767
8 | 2025 | 2028 | 1.8413
9 | 2025 | 2028 | 30.3508 | 20 | 22 | 39 | 32 | 0 | 49
10 | 2025 | 2028 | 4.774
11 | 2025 | 2028 | 808.8144
12 | 2025 | 2028 | 34.8335 | 31 | 0 | 31 | 33 | 31 | 34
13 | 2025 | 2028 | 1025.8408
14 | 2025 | 2028 | 1.6517
15 | 2025 | 2028 | 319.8915
16 | 2025 | 2028 | 1.1842
17 | 2025 | 2028 | 24.7682 | 17 | 28 | 29 | 31 | 29 | 30
18 | 2025 | 2028 | 22.7642 | 16 | 17 | 27 | 28 | 27 | 27
19 | 2025 | 2028 | 173.3782
20 | 2025 | 2028 | 525.0656
21 | 2025 | 2028 | 1176.0988
22 | 2025 | 2028 | 4.9264
23 | 2025 | 2028 | 49.1076
24 | 2025 | 2028 | 22.1552 | 39 | 0 | 37 | 0 | 0 | 63
25 | 2025 | 2028 | 5.5402
26 | 2025 | 2028 | 1.4238
27 | 2025 | 2028 | 54.6957
28 | 2025 | 2028 | 4.5336
29 | 2025 | 2028 | 60.8431
30 | 2025 | 2028 | 1710.4619
31 | 2025 | 2028 | 18.2803
32 | 2025 | 2028 | 37.226
33 | 2025 | 2028 | 33.1603
34 | 2025 | 2028 | 476.4404
35 | 2025 | 2028 | 47.8122 | 46 | 46 | 52 | 52 | 0 | 54
36 | 2025 | 2028 | 0.4378
37 | 2025 | 2028 | 26.1201
38 | 2025 | 2028 | 577.6978
39 | 2025 | 2028 | 19.9897
40 | 2025 | 2028 | 3.6187
41 | 2025 | 2028 | 5.0385
42 | 2025 | 2028 | 688.2031
43 | 2025 | 2028 | 3.2822
| Totals |  | 14.7662 | 0.186 | 0.113 | 0.215 | 0.176 | 0.098 | 0.283