TO:		Anthony Kanalas, Attorney

Legal Division

FROM:	James Harville, Infrastructure Analyst

Infrastructure Division

DATE:	June 11, 2025

RE:	Docket No. 58098 – Application of T&W Water Service Company dba Blue Topaz Utilities and Inline Utilities, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Harris County

On May 12, 2025, T & W Water Service Company dba Blue Topaz Utilities (Blue Topaz) and the Inline Utilities, LLC (Inline Utilities) (collectively Applicants) filed an application for the sale, transfer, or merger (STM) of facilities and certificate rights in Harris County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, Blue Topaz, Certificate of Convenience and Necessity (CCN) Nos. 12892 and 21127, seeks approval to acquire facilities and to transfer all of the water and sewer certificated service area from Inline Utilities under water CCN No. 13313 and sewer CCN No. 21142.

Based on the mapping review by Dave Babicki, Infrastructure Division, the maps and digital mapping data filed with Item 2 on May 12, 2025, are sufficient.

Requested Water Area:

The requested water area includes 557 customer connections and approximately 372 acres to transfer from CCN No. 13313 to CCN No. 12892. The application proposes the subtraction of approximately 372 acres from CCN No. 13313 and the addition of approximately 372 acres to CCN No. 12892.

The application indicates that the total acreage being requested is approximately 370.6 acres, however, the mapping review determined the requested area is approximately 372 acres.

Requested Sewer Area:

The requested sewer area includes 956 customer connections and approximately 372.8 acres to transfer from CCN No. 21142 to CCN No. 21127. The application proposes the subtraction of approximately 372.8 acres from CCN No. 21142 and the addition of approximately 372.8 acres to CCN No. 21127.

The application indicates that the total acreage being requested is approximately 371.4 acres, however, the mapping review determined the requested area is approximately 372.8 acres.

Based on the mapping review and my technical and managerial review of the information filed, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Aqua Texas, Inc. (CCN Nos. 13203 and 21065)

- City of Houston

- City of Tomball (CCN Nos. 13257 and 21103)

- Coastal Water Authority

- Dowdell Public Utility District (PUD)

- H-M-W Special Utility District (SUD) (CCN No. 10342)

- Harris County Flood Control District (FCD)

- Harris County Municipal Utility District (MUD) 24

- Harris County MUD 273

- Harris County MUD 280

- Harris County MUD 367

- Harris County MUD 368

- Harris County MUD 383

- Harris County MUD 401

- Harris County MUD 480

- Harris County MUD 530

- Harris County Water Control & Improvement District (WCID) 119

- Harris-Galveston Subsidence District

- Midway Water Utilities, Inc. (CCN Nos. 12087 and 20705)

- Nextera Water Texas, LLC (CCN No. 13302)

- North Harris County Regional Water Authority

- Northpointe WCID

- Northwest Harris County MUD 15

- Northwest Harris County MUD 32

- Pinewood Community, LP (CCN Nos. 13158 and 21030)

- Port of Houston Authority

- SP Utility Company, Inc. (CCN No. 12978)

- Texas Water Utilities, L.P. (CCN No. 12983)

  - The county judge of each county that is wholly or partially included in the requested area:

- Harris County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Harris-Galveston Subsidence District

  - Each owner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area. Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected existing customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Provide notice using the attached notice forms.

- Provide a copy of the maps deemed sufficient (general location and detailed maps) during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, landowners and customers.

- Within 30 days of the date the notice was mailed, Blue Topaz must file the following as proof of notice in the docket:

  - A copy of the notices (1 example of each type of notice).

  - The general location and detailed maps deemed sufficient during administrative review.

  - The signed affidavits for the mailed notices.

  - A list specifying every person and entity to whom notice was provided.

  - If there are multiple landowners provide a list of the applicable county appraisal district parcels located within the requested area. The list should include the following for a landowner of a tract of land that is at least 25 acres or more and is wholly or partially within the requested area;

    - Each property ID;

    - Landowner Name;

    - Address; and

    - The acreage owned by each listed landowner.

Staff may determine that additional information is needed to make a final recommendation in this docket. If additional information is needed, Staff may send requests for information (RFI) to Blue Topaz and Inline Utilities.  Blue Topaz and Inline Utilities will have 20 days from the receipt of the RFI to respond.