# SUMMARY OF Estimated Costs of Alternative Routes

| ROUTE | ESTIMATED COST |
| --- | --- |
| A | $7,610,383.45 |
| B | $8,347,059.96 |
| C | $8,010,547.91 |
| D | $10,326,390.52 |
| E | $7,858,266.44 |
| F | $7,690,015.14 |
| G | $8,095,067.57 |
| H | $7,894,153.49 |
| I | $7,491,479.04 |
| J | $10,114,663.35 |
| K | $8,459,804.27 |

379

# Detailed Estimated Costs of Alternative Routes

| Alternative Route A Transmission Facilities |  |
| --- | --- |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,034,602 |
| Engineering and Design (Utility) | $236,070 |
| Engineering and Design (Contract) | $1,282,004 |
| Procurement of Material and Equipment | $1,416,214 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $3,631,494 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $7,610,384 |
| Alternative Route B Transmission Facilities |  |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $982,340 |
| Engineering and Design (Utility) | $252,709 |
| Engineering and Design (Contract) | $1,299,187 |
| Procurement of Material and Equipment | $1,783,574 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $4,019,250 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $8,347,060 |
| Alternative Route C Transmission Facilities |  |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,053,606 |
| Engineering and Design (Utility) | $247,955 |
| Engineering and Design (Contract) | $1,299,663 |
| Procurement of Material and Equipment | $1,548,444 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $3,850,880 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $8,010,548 |

380

| Alternative Route D Transmission Facilities |  |
| --- | --- |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,048,855 |
| Engineering and Design (Utility) | $275,542 |
| Engineering and Design (Contract) | $1,342,283 |
| Procurement of Material and Equipment | $2,508,317 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $5,141,395 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $10,326,392 |
| Alternative Route E Transmission Facilities |  |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,053,606 |
| Engineering and Design (Utility) | $255,617 |
| Engineering and Design (Contract) | $1,312,571 |
| Procurement of Material and Equipment | $1,348,159 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $3,878,314 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $7,858,267 |
| Alternative Route F Transmission Facilities |  |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,039,353 |
| Engineering and Design (Utility) | $255,439 |
| Engineering and Design (Contract) | $1,311,093 |
| Procurement of Material and Equipment | $1,276,718 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $1,141,938 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $5,034,541 |

381

| Alternative Route G Transmission Facilities |  |
| --- | --- |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,039,353 |
| Engineering and Design (Utility) | $259,548 |
| Engineering and Design (Contract) | $1,321,133 |
| Procurement of Material and Equipment | $1,464,428 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $4,000,607 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $8,095,069 |
| Alternative Route H Transmission Facilities |  |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $972,383 |
| Engineering and Design (Utility) | $258,481 |
| Engineering and Design (Contract) | $1,313,891 |
| Procurement of Material and Equipment | $1,456,279 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $3,882,664 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $7,893,698 |
| Alternative Route I Transmission Facilities |  |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $972,383 |
| Engineering and Design (Utility) | $254,372 |
| Engineering and Design (Contract) | $1,303,853 |
| Procurement of Material and Equipment | $1,268,569 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $3,681,848 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $7,491,025 |

382

| Alternative Route J Transmission Facilities |  |
| --- | --- |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $1,120,120 |
| Engineering and Design (Utility) | $264,901 |
| Engineering and Design (Contract) | $1,334,154 |
| Procurement of Material and Equipment | $2,389,107 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $4,996,381 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $10,114,663 |
| Alternative Route K Transmission Facilities |  |
| COST TYPE | AEP TEXAS |
| Right-of-way and Land Acquisition | $991,842 |
| Engineering and Design (Utility) | $256,995 |
| Engineering and Design (Contract) | $1,301,693 |
| Procurement of Material and Equipment | $1,808,689 |
| Construction of Facilities (Utility) | $10,000 |
| Construction of Facilities (Contract) | $4,090,585 |
| Other (all costs not included above) | $0 |
| Estimated Total Cost | $8,459,804 |

383