PUC DOCKET NO. 18607

APPLICATION OF WEST TEXAS UTILITIES COMPANY

FOR AUTHORITY TO RECONCILE FUEL COSTS

WEST TEXAS UTILITIES COMPANY’S RESPONSE TO

CITY OF SAN ANGELO’S SECOND REQUEST FOR INFORMATION

Question No. SA2-1:

Please identify each instance during the fuel reconciliation period in which either off-system purchases or sales were restricted or precluded due to transmission constraints.    For each such instance, provide the following information:

- The date and time of the transmission constraint,

- The duration of the constraint,

- The amount of capacity and/or energy flow constrained,

- The cost of the power and/or energy that could not be delivered (purchased or sold) because of the constraint,

- The cost of the power and/or energy that replaced the constrained power and/or energy that could have been purchased if the constraint had not existed,

- A brief description of the cause of the transmission constraint, and

- A description of all actions taken by WTU to prevent the transmission constraint from recurring or to eliminate the constraint.

Response No. SA2-1:

WTU does not maintain records that would allow responses to items (a) through (g) above.    As stated in WTU's Narrative Summary, page 25:

During the reconciliation period, constraints to the unit commitment process, including those attributable to fuel supply, plant operations and transmission system conditions, were limited in nature and in no case were considered outside the normal operations of WTU's electric system.

WTU's transmission system is designed so that it operates in conjunction with WTU's generating units to ensure compliance with ERCOT reliability criteria requiring WTU's system to be protected against first contingency events (such as a loss of a single generating unit, transformer, or single or double circuit transmission line that causes a violation of voltage or transient stability limits or exceeds transmission element ratings).

WTU engages in beneficial purchase and sales transactions with other utilities to the extent allowed by actual conditions prevailing on its system at the time a transaction takes place.    As discussed in the Direct Testimony of Scott P. Moore, page 42:

Through CSW System Operations, off-system companies are contacted to determine the availability and price of energy and/or capacity for time periods of interest.    If a transaction is determined to be economical, then a check is made to verify that transmission capacity is available and to determine whether wheeling is required.    Currently this is a manual process of checking system conditions on the impacted utility systems.    If sufficient transmission capacity is available, then a schedule is set up between the receiving and sending control areas.    Control areas must enter the schedules in their EMS computers so that the automatic generation control systems will either raise or lower generation depending on the direction of the schedule.

As can be gathered from the above discussion, transactions among electric utility systems occur in real-time and involve dynamic, changing conditions on complex transmission systems. In order to engage in transactions, system dispatchers must be aware in real-time of the conditions prevailing on the transmission system at the time they dispatch generating units and schedule electric energy transactions.    As discussed in the response to the City of San Angelo's Second Request for Information, Question No. SA2-3, while CSWS ensures that its system dispatchers have access to all relevant information relating to system and market conditions reasonably available at the time transactions are consummated, records are not maintained that document those conditions for historical, after-the-fact review.    Also, while records are compiled and maintained of transactions actually consummated, records are not maintained of potential transactions that may not have taken place for any reason, be it as a result of system conditions or economics reasonably available and who have incentives to search out and execute these beneficial transactions to the extent conditions on the WTU and other utilities' systems allow.

To ensure that beneficial purchase and sales transactions are consummated for the benefit of WTU's customers, CSWS relies on having well-trained, competent power marketers, who have access on a real-time basis to all relevant information on market opportunities and who have incentives to search out and execute beneficial transactions to the extent conditions on the WTU and other utilities' systems allow.    To ensure economic and efficient dispatch of the system, CSWS relies on having well-trained, competent dispatchers who have access on a real-time basis to all relevant information on system conditions reasonably available, who have at their disposal a state-of-the-art Energy Management System (EMS) computer to dispatch the system and to execute beneficial transactions.    See the responses to General Counsel's Second Request for Information, Question Nos. HH-29, HH-30, HH-31, HH-32, HH-33, HH-34 and HH-48, to General Counsel's Fourth Request for Information, Question Nos. MSD-49, MSD-50, MSD-51, MSD-53, MSD-54, MSD-55, and MSD-56, and to General Counsel's Fifth Request for Information, Question No. MSD-58, for discussions of the training and compensation of CSWS power marketers and system dispatchers, the system and market conditions information made available to them and the information maintained with respect to WTU's purchases from and sales with other entities.

Generally, within the finite transmission system capacity available on the system installed to comply with ERCOT reliability criteria, transmission system constraints do not have a material impact on WTU's ability to engage in beneficial purchase and sale transactions with other entities.    Most transmission constraints that occur have local effects and do not affect bulk power transfers.    The most significant transmission system constraint on the CSW ERCOT control area involves the north-south transfer limitations between the western portions of the WTU and CPL service territories.    A study of this constraint and the steps to be taken to relieve it is included as part of the voluminous response to this question and can be reviewed at the CSW Voluminous Room, Suite 610, 400 West 15th Street, Austin, TX (512) 481-4547.

There are four categories of constraints that can affect the installed transmission system:

Scheduled maintenance -- The removal of transmission elements from operation to conduct scheduled maintenance can result in reduced transmission capacity.    However, to the extent possible, WTU schedules transmission element maintenance to minimize the impact on the dispatch of its system, by scheduling such maintenance for low-load periods or by coordinating such maintenance with other of its activities or those of other utilities to minimize the impact.    Information available for the first six months of 1997 related to scheduled maintenance of transmission elements is included as part of the voluminous response to this question and can be reviewed at the CSW Voluminous Room, Suite 610, 400 West 15th Street, Austin, TX (512) 481-4547.

Forced outages -- Despite preventive maintenance efforts to prevent outages, forced outages can occur as a result of factors which are not within the control of utility personnel.    These factors include adverse weather, unexpected equipment failure, contact by wildlife and/or humans, etc.    Not all forced outages adversely affect WTU's ability to participate in transactions with other entities.    When forced outages occur, WTU devotes resources to correct the situation and, with respect to forced outages that do adversely affect the dispatch of the system, devotes additional resources to correct the problem or to ameliorate its effect to the extent reasonably possible.    During the reconciliation period, forced outages of transmission elements had a minimal impact on WTU's involvement in purchases from and sales with other entities.

Line loadings -- Extremely hot or cold temperatures can result in customer demands that cause the loadings on transmission lines to exceed acceptable limitations.    Generally, these conditions are sufficiently infrequent that the remedying of the situation by constructing additional transmission lines or upgrading the conductors on existing lines is not cost-effective.    See the response to General Counsel's Sixth Request for Information, Question No. HH-63, for a discussion of the relative economics of making transmission system improvements to eliminate system constraints.    Also, the conditions that adversely affect line loadings generally coincide with increased demands on other utilities' systems which mean that opportunities to purchase power are generally diminished during these periods.

Neighboring utility systems -- The transmission systems of neighboring utilities are constructed to meet the same criteria as WTU's system and have finite capacity.    These systems are subject to the same constraints as WTU's system.    These systems must perform scheduled maintenance, experience forced outages, are affected by line loading limitations and are, in turn, affected by conditions on neighboring utility systems.    To ensure that the entire integrated system functions properly to the maximum extent reasonably possible, utilities coordinate scheduled maintenance, communicate information as to the status of system elements and attempt to reasonably minimize the effects on each other's systems of events that result in constraints.

WTU has designed, has constructed and operates a reliable transmission system.    The design and construction of the system have been performed in compliance with generally accepted utility practices and the applicable reliability council criteria.    WTU operates the system in compliance with generally accepted utility practices.    These steps produce a very reliable system by any measure.    WTU continually evaluates its transmission system and investigates ways to upgrade it that are cost-effective.    When improvements are identified and determined to be cost-effective, WTU undertakes them.    However, under circumstances where curtailments are infrequent as a result of transmission system constraints and the margins from infrequently curtailed transactions in terms of savings from purchases or profits from sales are small (on the order of $3.00/MWh, or less), the cost of additional transmission lines, reconductoring of existing lines or upgrading transmission elements generally is not justified.

Preparer:	Paul Dougherty, P.E.	Title:	Energy Services Engineer/Consultant

James Armke, P.E.		Director, Transmission Planning

Sponsor:	Scott P. Moore, P.E.	Title:	Director, System Operations