PUC DOCKET NO. 18607

APPLICATION OF WEST TEXAS UTILITIES COMPANY

FOR AUTHORITY TO RECONCILE FUEL COSTS

WEST TEXAS UTILITIES COMPANY’S RESPONSE TO

CITY OF SAN ANGELO’S SECOND REQUEST FOR INFORMATION

Question No. SA2-6:

Prior to the combination of the WTU and CPL control areas, please describe all obstacles that prevented the two companies from achieving the benefits described on page 36, lines 18 through 20, of the direct testimony of WTU witness Scott Moore.

Response No. SA2-6:

There were two obstacles to WTU and CPL achieving the benefits described in Mr. Moore's testimony at page 36, lines 18-20, prior to April 5, 1995.    First, an Energy Management System (EMS) that could allow operation of WTU and CPL as one control area needed to be installed, tested and made operational prior to operating the WTU and CPL systems as a single control area.    This was not completed until April 5, 1995.    CSW spent four years in planning, designing and working intensely on the new EMS with the EMS vendor, ESCA, to place a state-of-the-art EMS in service.    Second, until the WTU and CPL systems could be operated as a single control area, ERCOT Operating Guides II.A and III.B (June 1995 version of ERCOT Operating Guides) required the separate WTU and CPL control areas to plan for their individual daily generating capacity obligation (including load, responsive reserve and firm schedule obligations) for their respective peaks each day.    WTU and CPL had to have separate unit commitments in order to comply with that obligation.    When WTU and CPL were combined into one control area, CSW was able to more efficiently conduct the commitment process by combining operating reserve requirements and better matching of units to customer load.

Preparer:	Paul Dougherty, P.E.	Title:	Energy Services Engineer/Consultant

Sponsor:	Scott P. Moore, P.E.	Title:	Director System Operations