PUC DOCKET NO. 18607

APPLICATION OF WEST TEXAS UTILITIES COMPANY

FOR AUTHORITY TO RECONCILE FUEL COSTS

WEST TEXAS UTILITIES COMPANY’S RESPONSE TO

CITY OF SAN ANGELO’S THIRD REQUEST FOR INFORMATION

Question No. SA3-3:

At the top of page 8 of the comments filed by CSW in PUC Project No. 17555, various constraints to participating fully in wholesale power markets are listed.    During the fuel reconciliation period, list each such constraint that occurred for CSW and/or WTU and provide the period(s) the constraint impacted wholesale market participation.

Response No. SA3-3:

As discussed in the responses to the City of San Angelo's Second Request for Information, Question Nos. SA2-1 and SA2-3, CSWS relies upon having experienced, competent system dispatchers with access to all relevant information reasonably available on real-time conditions affecting the system and tools, such as a state-of-the-art Energy Management System, to enable them to minimize production costs given the circumstances prevailing in on the system.    CSWS also relies upon experienced, competent power marketers with access to all relevant information reasonably available on market conditions and who are provided incentives to enter into advantageous wholesale purchases and sales.    For the reasons discussed in those responses, records are not maintained or archived for after-the-fact review of the specific moment-by-moment conditions and factors that affect the system and constrain the commitment and dispatch of generating units or the scheduling of purchases and sales, as the compiling and maintenance of such records would be extremely burdensome and such records are not useful to the activities of the System Operations department.    Also as discussed in those responses, records are not maintained of wholesale transactions that were not made for economic or other reasons.

The unit commitment process, constraints that arise as a result of the status of system equipment and facilities, the need to meet customer demands and reliability council criteria, the function of the CSWS morning operations meeting, the process to evaluate transactions with third parties, the types of records retained as to wholesale transactions, and the constraints implicit in the terms under which third parties offer to provide energy are described in many prior responses to Requests for Information, including:

General Counsel’s 2nd HH-34

General Counsel’s 3rd HH-48

General Counsel's 4th MSD-50

General Counsel's 4th MSD-51

General Counsel’s 4th MSD-53

General Counsel’s 4th MSD-54

General Counsel’s 4th MSD-55

General Counsel’s 4th MSD-56

General Counsel’s 4th MSD-57

General Counsel's 5th MSD-58

General Counsel's 6th MSD-62

City of San Angelo’s 2nd SA2-1

City of San Angelo’s 2nd SA2-3

City of San Angelo’s 2nd SA2-17

Please see these responses for more specific discussion of system constraints and evaluation and scheduling of wholesale transactions.

Preparer:	Paul Dougherty, P.E.	Title:	Energy Services Engineer/Consultant

Sponsor:	Scott P. Moore, P.E.	Title:	Director System Operations