RESPONSE

QUESTION NO. CR-298

For each operating company, state separately the number of distribution and transmission pole inspections for the years 1995-1998.  Include the number of poles replaced during those years, as well as the total number of poles on the system.

RESPONSE NO. CR-298

Records of the number of distribution and transmission poles inspected are not maintained in the companies’ property accounting records.  Such records are maintained in distribution transmission field operations, which report the following poles inspected:

|  | 1995 |  | 1996 |  | 1997 |  | 1998 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Dist | Trans | Dist | Trans | Dist | Trans | Dist | Trans |
| CPL | 40,040 | 5,350 | 32,665 | 4,838 | 47,446 | 5,285 | 41,475 | 5,438 |
| SWEPCO * | 68,597 | - | 70,432 | - | 72,300 | - | 73,226 | - |
| WTU | - | 4000 | - | - | - | - | 3,200 | 8,000 |

*	A breakdown between distribution and transmission is not maintained.

Records are not kept as to the number of poles replaced in the CSW companies’ property accounting records.  The following table provides the total number of poles as well as total pole additions and total pole removals.  Pole additions include those for new construction and for replacements.  Pole removals reflect those removed for replacement/retirement and poles removed and returned to inventory.

|  |  |  |  | Balance | 1996 |  |  |  |  | Balance |  | 1997 |  |  |  | Balance |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 12/31/95 | Additions |  | Removals |  |  | 12/31/96 |  | Additions |  | Removals |  | 12/31/97 |
| CPL |  | Transmission |  | 72,458 | 303 |  | 4 |  |  | 72,757 |  | 1,174 |  | 2,114 |  | 71,817 |
|  |  | Distribution |  | 682,844 | 24,936 |  | 354 |  |  | 707,426 |  | 14,822 |  | 3,708 |  | 718,540 |
|  |  | Area Lighting |  | 1,845 | 1,547 |  | 3 |  |  | 3,389 |  | 404 |  | 230 |  | 3,563 |
|  |  | Street Lighting |  | 14,724 | 2,059 |  | 6 |  |  | 16,777 |  | 1,294 |  | 97 |  | 17,974 |
|  |  |  |  | 771,871 | 28,845 |  | 367 |  |  | 800,349 |  | 17,694 |  | 6,149 |  | 811,894 |
| SWEP - TX | Transmission |  | 24,808 |  |  | 320 |  | 84 | 25,044 |  | 301 |  | 569 |  | 24,776 |  |
|  | Distribution |  | 195,705 |  |  | 15,078 |  | 2,224 | 208,559 |  | 4,888 |  | 2,351 |  | 211,096 |  |
|  | Area Lighting |  | 4,538 |  |  | 836 |  | 13 | 5,361 |  | 142 |  | 10 |  | 5,493 |  |
|  | Street Lighting |  | 178 |  |  | 276 |  | 9 | 445 |  | 39 |  | 22 |  | 462 |  |
|  |  |  | 225,229 |  |  | 16,510 |  | 2,330 | 239,409 |  | 5,370 |  | 2,952 |  | 241,827 |  |
| WTU | Transmission |  | 82,298 |  |  | 251 |  | 0 | 82,549 |  | 945 |  | 425 |  | 83,069 |  |
|  | Distribution |  | 282,406 |  |  | 12,920 |  | 2,170 | 293,156 |  | 5,260 |  | 1,335 |  | 297,081 |  |
|  | Area Lighting |  | 25,324 |  |  | 533 |  | 0 | 25,857 |  | 114 |  | 0 |  | 25,971 |  |
|  | Street Lighting |  | 13,787 |  |  | 2,157 |  | 5 | 15,939 |  | 144 |  | 15 |  | 16,068 |  |
|  |  |  | 403,815 |  |  | 15,861 |  | 2,175 | 417,501 |  | 6,463 |  | 1,775 |  | 422,189 |  |

Although records of pole replacements are not maintained in the property accounting records, the following are estimates of replacements:

|  | 1995 |  | 1996 |  | 1997 |  | 1998 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Dist | Trans | Dist | Trans | Dist | Trans | Dist | Trans |
| CPL | 76 | 68 | 104 | 68 | 177 | 132 | 161 | 106 |
| SWEPCO * | 1,542 | - | 995 | - | 677 | - | 832 | - |
| WTU | 300 | 17 | 300 | - | 300 | - | 96 | 80 |

*	A breakdown between distribution and transmission is not maintained.

Prepared By:	Grady O’Shields

Sponsored By:	M. Bruce Evans